## BoQ1
Government eProcurement System Created By: Binu S Sivan Created Date/Time: 16-Sep-2025 06:34 PM Tender Title: Interior works for DGCA Examination hall in AAICLAS Building at Chennai Airport Chennai Tender ID: 2025_AAI_245594_1
Tender Inviting Authority: SM (Engg-Civil),Operational Office,Chennai Airport, Chennai- 600 016.
Name of Work: “ Interior works for DGCA Examination hall in AAICLAS Building at Chennai Airport, Chennai.”
Contract No: 2025_AAI_ 245594_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Hiranya Construction (GSTN-33AAHFH9090C2ZG) BID ID -893799 |  | Intex Space Solutions Private Limited (GSTN-33AABCI6589E2ZH) BID ID -893934 |  | Decoland Designs Private Limited (GSTN-NA) BID ID -894638
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable materials and stacking of serviceable materials with in 50 meters lead as directed by Engineer-in-charge. | 188.00 | sqm |  | 105.00 | 19740.00 | 150.00 | 28200.00 | 500.00 | 94000.00 | 19740.00 | Hiranya Construction
2.00 | Carriage of material by mechanical transport including loading, unloading and stacking. Lime/ Moorum/ Building Rubbish for lead of 5km | 2.00 | Cum |  | 330.00 | 660.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 660.00 | Hiranya Construction
3.00 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 1224.00 | Kg |  | 114.00 | 139536.00 | 120.00 | 146880.00 | 185.00 | 226440.00 | 139536.00 | Hiranya Construction
4.00 | Providing and fixing in position wall panelling at all heights with integral densified calcium silicate panels/tiles of size 595 x 595 mm, having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity <0.043 W/m K as per ASTM 518:1991, comprising of a frame made from especially fabricated galvanised mild steel sheet 0.50 mm thick pressed section (galvanizing @120 grams per sqm including both sides) i.e.vertical studs of size 48 x 34 x 36 mm are placed at 600 mm centre to centre in a floor and ceiling channel section of size 50 x 32 mm fixed to the floor and soffit at 600 mm centre using 12 mm dia,50 mm long wedge type expanded zinc alloy dash fastner with 10 mm bolt. This same channel is then to be fixed in horiziontal direction at 600 mm centre to centre so as to form a grid of 600 mm x 600 mm. Glasswool of 50 mm thickness is then to be inserted in the slots and finally calcium silicate non combustible panels/tiles are to be screw fixed with self tapping pan head nickel coated mild steel screws of size 13 x 3.2 mm on to this grid leaving an even groove of 1 mm between the panels. The joints between the panels are to be duly jointed and finished using recommended jointing calcium silicate based compound and fiber joint tape roll 50 mm wide (90 metre )roll and two coats of primer suitable for panelling as per manufacturer’s specification as per direction of Engineerin-Charge all complete. With 15 mm thick fully perforated square/butt edge light weight calcium silicate panels/ tiles | 172.00 | Sqm |  | 3300.00 | 567600.00 | 2100.00 | 361200.00 | 2800.00 | 481600.00 | 361200.00 | Intex Space Solutions Private Limited
5.00 | Providing and fixing internal wall panels on Light gauge steel frame work with 12.5 mm thick gypsum plaster board conforming IS 2095:2011 fixed on cement board as per standard sizes fixed with self-drilling / taping screws / fasteners @ 60 cm c/c of approved make, Screws shall be of counter sunk rib head of 1.60 mm to 4 mm thick or 8 to 10 gauge of length varying from 25 to 45 mm. Proper taping and jointing to be done using fiber mesh tape and epoxy and acrylic based jointing compound for seamless finish.(cost of frame work to be paid for separately. Cement Fiber Board 8 mm thick of Type B, Category III as per IS 14862:2000 (High pressure Steam Cured) | 54.00 | Sqm |  | 3030.00 | 163620.00 | 1500.00 | 81000.00 | 2000.00 | 108000.00 | 81000.00 | Intex Space Solutions Private Limited
6.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 12.5 mm thick fully perforated gypsum board tile made from plater board having glass fibre confirming to IS:2095 part I,of size 595x595 mm, having perforation of 9.7x9.7 mm at 19.4 mm c/c with center borders of 48 mm and the side borders of 30 mm, backed with non woven tissue on the back side, having an NRC (Noice Reduction Coefficient) of 0.79 with 50 mm resin bonded glass wool backing. | 160.00 | Sqm |  | 2022.00 | 323520.00 | 2500.00 | 400000.00 | 1300.00 | 208000.00 | 208000.00 | Decoland Designs Private Limited
7.00 | Providing & fixing in position Phenol bonded Bamboo wood flooring with planks of sizes 14 mm thick, minimum 1800 mm length and minimum 100 mm wide, in approved colour, texture and finish, having Performance Appraisal Certificate (PAC) issued by Building Materials & Technology Promotion Council (BMTPC). The flooring shall be fixed with tongue and groove interlocking system, with underlayment of 4 mm thick expanded polyethylene foam sheets having density 40 kg/cum, over prepared surface with necessary quarter round planks of size 1900 mm x 18 mm and door reducer of size 1900 mm x 44 mm, wherever required. The bamboowood planks shall have minimum density of 1000 Kg/cum & minimum Hardness 1000 Kgf. with Eco friendly UV coating, all complete as per direction of the Engineer in-charge. | 68.00 | Sqm |  | 7800.00 | 530400.00 | 4500.00 | 306000.00 | 5820.00 | 395760.00 | 306000.00 | Intex Space Solutions Private Limited
8.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete | 3.00 | Each |  | 330.00 | 990.00 | 400.00 | 1200.00 | 250.00 | 750.00 | 750.00 | Decoland Designs Private Limited
9.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 3.00 | Each |  | 3200.00 | 9600.00 | 1200.00 | 3600.00 | 3000.00 | 9000.00 | 3600.00 | Intex Space Solutions Private Limited
10.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds Casement door single panel with zinc alloy (zamak) 3D hinges, multi-point locking system with cylinder, zinc alloy (zamak) powder coated handles on both sides Using R3 series with frame (55 mm & above) x (50 mm & above) & sash (55 mm & above) x (85 mm & above) (Height upto 2.5 metre). | 5.67 | Sqm |  | 17800.00 | 100926.00 | 7000.00 | 39690.00 | 7500.00 | 42525.00 | 39690.00 | Intex Space Solutions Private Limited
11.00 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side, having 12 mm air gap, including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings and direction of Engineer-in-charge complete. | 5.23 | Sqm |  | 6630.00 | 34674.90 | 4500.00 | 23535.00 | 5000.00 | 26150.00 | 23535.00 | Intex Space Solutions Private Limited
| Total in Figures |  |  |  |  | 1891266.90 |  | 1397305.00 |  | 1597225.00
Lowest Amount Quoted BY: Intex Space Solutions Private Limited(1397305.00)

## BOQ Summary
BOQ Summary Details Tender Title: Interior works for DGCA Examination hall in AAICLAS Building at Chennai Airport Chennai Tender ID: 2025_AAI_245594_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Intex Space Solutions Private Limited (BID ID -893934) | 1397305.00 | L1
| 2 | Decoland Designs Private Limited (BID ID -894638) | 1597225.00 | L2
| 3 | Hiranya Construction (BID ID -893799) | 1891266.90 | L3