## BoQ1
Government eProcurement System Created By: Mandeep Singh Created Date/Time: 24-Oct-2025 05:46 PM Tender Title: Establishment of RTR lab at DGCA office R K Puram New Delhi Tender ID: 2025_AAI_245844_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Establishment of RTR lab at DGCA office, R.K Puram New Delhi.
Contract No: 2025_AAI_245844_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CREATORS ENGINEERS AND INTERIORS (GSTN-07AAGFC0762R2Z1) BID ID -893064 |  | ESS KAY CONSTRUCTIONS (GSTN-07AABFE6199D1ZF) BID ID -893812 |  | MDP Infra India Pvt Ltd (GSTN-NA) BID ID -893941
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil works Dismantling wooden boardings in lining of walls and partitions, excluding supporting members but including stacking within 50 metres lead : Up to 10 mm thick | 190.00 | Sqm |  | 120.00 | 22800.00 | 50.00 | 9500.00 | 81.00 | 15390.00 | 9500.00 | ESS KAY CONSTRUCTIONS
2.00 | Dismantling Cubicals and partitions made of board and laminates supported on floor, a) Up to 100 mm thick including stacking within 100 metres lead :( surface area to be measured for payment purposes) | 936.00 | sqm |  | 45.00 | 42120.00 | 50.00 | 46800.00 | 94.00 | 87984.00 | 42120.00 | CREATORS ENGINEERS AND INTERIORS
3.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge | 224.00 | Sqm |  | 150.00 | 33600.00 | 45.00 | 10080.00 | 76.00 | 17024.00 | 10080.00 | ESS KAY CONSTRUCTIONS
4.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 214.00 | Sqm |  | 70.00 | 14980.00 | 20.00 | 4280.00 | 40.00 | 8560.00 | 4280.00 | ESS KAY CONSTRUCTIONS
5.00 | 12 mm cement plaster of mix : a) 1:6 (1 cement: 6 fine sand) | 296.00 | Sqm |  | 50.00 | 14800.00 | 285.00 | 84360.00 | 456.00 | 134976.00 | 14800.00 | CREATORS ENGINEERS AND INTERIORS
6.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. a) With cement mortar 1:4 (1 cement : 4 fine sand) | 100.00 | Sqm |  | 160.00 | 16000.00 | 440.00 | 44000.00 | 550.00 | 55000.00 | 16000.00 | CREATORS ENGINEERS AND INTERIORS
7.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 493.00 | Sqm |  | 120.00 | 59160.00 | 120.00 | 59160.00 | 50.00 | 24650.00 | 24650.00 | MDP Infra India Pvt Ltd
8.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : a) New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 493.00 | Sqm |  | 120.00 | 59160.00 | 95.00 | 46835.00 | 100.00 | 49300.00 | 46835.00 | ESS KAY CONSTRUCTIONS
9.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :a) Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 457.00 | Sqm |  | 180.00 | 82260.00 | 150.00 | 68550.00 | 157.00 | 71749.00 | 68550.00 | ESS KAY CONSTRUCTIONS
10.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. a) Double charge vitrified tile polished finish of size Size of Tile 600 x 600 mm | 225.00 | Sqm |  | 1290.00 | 290250.00 | 980.00 | 220500.00 | 1727.00 | 388575.00 | 220500.00 | ESS KAY CONSTRUCTIONS
11.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. a) Size of Tile 600x600 mm | 6.00 | Sqm |  | 1290.00 | 7740.00 | 1180.00 | 7080.00 | 1806.00 | 10836.00 | 7080.00 | ESS KAY CONSTRUCTIONS
12.00 | Providing and fixing in position wall panelling at all heights with integral densified calcium silicate panels/tiles of size 595 x 595mm, having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity <0.043 W/m K as per ASTM 518:1991, comprising of a frame made from especially fabricated galvanised mild steel sheet 0.50 mm thick pressed section (galvanizing @120 grams per sqm including both sides) i.e.vertical studs of size 48 x 34 x 36 mm are placed at 600mm center to center in a floor and ceiling channel section of size 50 x 32m fixed to the floor and soffit at 600mm centers using 12mm dia,50mm long wedge type expanded zinc alloy dash fastner with 10mm bolt. This same channel is then to be fixed in horiziontal direction at 600mm center to center so as to form a grid of 600mm x 600mm. Glasswool of 50mm thickness is then to be inserted in the slots and finally calcium silicate non combustible panels/tiles are to be screw fixed with self tapping pan head nickel coated mild steel screws of size 13 x 3.2mm on to this grid leaving an even groove of 1 mm between the panels. The joints between the panels are to be duly jointed and finished using recommended jointing calcium silicate based compound and fiber joint tape roll 50mm wide (90 metre )roll and two coats of primer suitable for panelling as per manufacturer's specification as per direction of Engineer-in-Charge all complete.a ) With 15 mm thick fully perforated square/butt edge light weight calcium silicate panels/ tiles | 285.00 | Sqm |  | 1990.00 | 567150.00 | 2550.00 | 726750.00 | 2800.00 | 798000.00 | 567150.00 | CREATORS ENGINEERS AND INTERIORS
13.00 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 1544.00 | Kg |  | 145.00 | 223880.00 | 130.00 | 200720.00 | 150.00 | 231600.00 | 200720.00 | ESS KAY CONSTRUCTIONS
14.00 | Providing and fixing internal wall panels on Light gauge steel frame work with 12.5mm thick gypsum plaster board conforming IS 2095:2011 fixed on cement board as per standard sizes fixed with self-drilling / taping screws / fasteners @ 60cm c/c of approved make, Screws shall be of counter sunk rib head of 1.60mm to 4 mm thick or 8 to 10 gauge of length varying from 25 to 45 mm. Proper taping and jointing to be done using fiber mesh tape and epoxy and acrylic based jointing compound for seamless finish.(cost of frame work to be paid for separately a) Cement Fiber Board 8 mm thick of Type B, Category III as per IS 14862:2000 (High pressure Steam Cured) | 159.00 | Sqm |  | 1400.00 | 222600.00 | 1820.00 | 289380.00 | 1527.00 | 242793.00 | 222600.00 | CREATORS ENGINEERS AND INTERIORS
15.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. a) 12.5 mm thick fully Perforated Gypsum Board tile made from plasterboard having glass fibre conforming to IS: 2095 part I, of size 595x595 mm, having perforation of 9.7x9.7 mm at 19.4 mm c/c with center borders of 48 mm and the side borders of 30 mm, backed with non woven tissue on the back side, having an NRC (Noise Reduction Coefficient) of 0.79, with 50 mm resin bonded glass wool backing. | 195.00 | Sqm |  | 1900.00 | 370500.00 | 1500.00 | 292500.00 | 1700.00 | 331500.00 | 292500.00 | ESS KAY CONSTRUCTIONS
16.00 | Providing & fixing in position Phenol bonded Bamboowood flooring with planks of sizes 14mm thick, minimum 1800mm length and minimum 100 mm wide, in approved colour, texture and finish, having Performance Appraisal Certificate (PAC) issued by Building Materials & Technology Promotion Council (BMTPC). The flooring shall be fixed with tongue and groove interlocking system, with underlayment of 4mm thick expanded polyethylene foam sheets having density 40kg/cum, over prepared surface with necessary quarter round planks of size 1900mm x 18mm and door reducer of size 1900mm x 44mm, wherever required. The bamboowood planks shall have minimum density of 1000 Kg/cum & minimum Hardness 1000 Kgf. with Eco friendly UV coating, all complete as per direction of the Engineer in-charge. | 195.00 | Sqm |  | 3950.00 | 770250.00 | 5040.00 | 982800.00 | 4500.00 | 877500.00 | 770250.00 | CREATORS ENGINEERS AND INTERIORS
17.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for :(i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds Casement window double panels with French (False) Mullion with S.S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles. a) Using R3 series with frame (55mm & above) x (45mm & above) & sash (55mm & above) x (65mm & above) & French (False) mullion (55mm & above) x (60mm & above). (Height upto 1.8 metre). | 22.00 | Sqm |  | 6000.00 | 132000.00 | 9200.00 | 202400.00 | 6000.00 | 132000.00 | 132000.00 | CREATORS ENGINEERS AND INTERIORS, MDP Infra India Pvt Ltd
18.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for :(i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds Casement door single panel with zinc alloy (zamak) 3D hinges, multi-point locking system with cylinder, zinc alloy (zamak) powder coated handles on both sides. a) Using R3 series with frame (55 mm & above) x (50mm & above) & sash (55 mm & above) x (85mm & above) (Height upto 2.5 metre). | 26.00 | Sqm |  | 8000.00 | 208000.00 | 9998.00 | 259948.00 | 6000.00 | 156000.00 | 156000.00 | MDP Infra India Pvt Ltd
19.00 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side, having 12 mm air gap, including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings and direction of Engineer-in-charge complete. | 58.00 | Sqm |  | 3800.00 | 220400.00 | 4100.00 | 237800.00 | 3188.00 | 184904.00 | 184904.00 | MDP Infra India Pvt Ltd
20.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.a) Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 24.00 | Sqm |  | 3200.00 | 76800.00 | 4100.00 | 98400.00 | 4250.00 | 102000.00 | 76800.00 | CREATORS ENGINEERS AND INTERIORS
21.00 | Providing & fixing in position Phenol bonded Bamboo wood in wall skirting with planks of sizes 14mm thick, 1900mm length (minimum) and 85mm wide(minimum), in approved colour, texture and finish, having Performance Appraisal Certificate (PAC) issued by Building Materials & Technology Promotion Council (BMTPC). The skirting shall be fixed with SS screws & rawl plugs, over underlayment of 4mm thick, expanded polyethylene foam sheets having 40kg/cum density over prepared surface. The bamboowood planks shall have minimum density of 1000Kg/cum & minimum Hardness 1000 Kgf. with Eco friendly UV coating, all complete as per direction of the Engineer in-charge. | 21.00 | Sqm |  | 4200.00 | 88200.00 | 4950.00 | 103950.00 | 4500.00 | 94500.00 | 88200.00 | CREATORS ENGINEERS AND INTERIORS
22.00 | Deduct for taking away of Wooden/ plywood frames and/ or shutters for Doors/windows/ clerestory windows , trusses, battens, particle board, glazed, wired, panelled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-Charge or his authorised representative all complete. (Rates mentioned shall be fixed above/below % age are quoted by the contractor shall not be applicable on this item) | 936.00 | sqm |  | 10.00 | -9360.00 | 1.00 | -936.00 | 35.00 | -32760.00 | -32760.00 | MDP Infra India Pvt Ltd
23.00 | DSR(Civil) - 2023 Item for Rs 3,00,000/- (Rupees Three Lakh Only) [NOTE: The rate should be qouted in Indian Ruppees only] The payment of DSR items shall be released on the basis of percentage calculation between qouted amount and fixed amount of Rs.3,00,000/- NOTE: Guideline for calculating quoted percentage rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 300000/-of DSR 2023 (Civil) and same shall be converted into percentage above/below on the DSR 2023 (considering the rates of DSR 2023 as base rates). 2. For Example if bidder quotes Rs. 3,30,000/- in rates column then same shall be converted into percentage of DSR 2023 as under ((330000 - 300000) / 300000) i.e. 10% above on DSR 2023 and accordingly payment shall be made by applying the percentage i.e. 10% above on DSR 2023 rates for items covered in DSR 2023 are derived as per methodology mention below. Say rate of executed DSR 2023 item= X rs Rate to be considered for payment=(X/1.2127) x(100 ± Derived percentage as per above )/100 | 1.00 | Job |  | 201000.00 | 201000.00 | 300000.00 | 300000.00 | 345000.00 | 345000.00 | 201000.00 | CREATORS ENGINEERS AND INTERIORS
24.00 | Electrical works DSR(Electrical) - 2022 Item for Rs 6,00,000/- (Rupees Six Lakh Only) [NOTE: The rate should be qouted in Indian Ruppees only] The payment of DSR items shall be released on the basis of percentage calculation between qouted amount and fixed amount of Rs.6,00,000/- NOTE: Guideline for quoting percentage rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 600000/-of DSR 2022 (electrical) and same shall be converted into percentage above/below on the DSR 2022 (considering the rates of DSR 2022 as base rates). 2. For Example if bidder quotes Rs. 6,60,000/- in rates column then same shall be converted into percentage of DSR 2022 as under ((660000 - 600000) / 600000) i.e. 10% above on DSR 2022 and accordingly payment shall be made by applying the percentage i.e. 10% above on DSR 2022 rates for items covered in DSR 2022. Note- The basisc rate shal be derived as below- Rate of item as per DSR= X Basic Rate to be considered for payment = (X/1.1405)*(100±Quoted percentage rate)/100 | 1.00 | each |  | 475000.00 | 475000.00 | 600000.00 | 600000.00 | 690000.00 | 690000.00 | 475000.00 | CREATORS ENGINEERS AND INTERIORS
25.00 | Supply and fixing of following trunking system:
25.01 | Supply and Fixing of 105mm x 50mm size of U-PVC plastic trunking system with out cover on surface, including bends, angles, junctions, base joints, any other accessories as required. Make :Legrand, Cat No. 0104 22 or equivallent as per E-I-C. | 100.00 | Metre |  | 840.00 | 84000.00 | 800.00 | 80000.00 | 1338.00 | 133800.00 | 80000.00 | ESS KAY CONSTRUCTIONS
25.02 | Supply and fixing of End Cap Left or right end cap suitable for plastic trunking (105mm x 50mm, Make : Legrand, Cat No. 0107 02 or equivallent as per E-I-C. | 20.00 | Each |  | 400.00 | 8000.00 | 200.00 | 4000.00 | 191.00 | 3820.00 | 3820.00 | MDP Infra India Pvt Ltd
25.03 | Supply and fixing of flexible cover width 85mm suitable for plastic trunking, including bends, angles, junction, joint, any other accessories for covers (105mm x 50mm), Make: Legrand, Cat No. 0105 22 or equivallent as per E-I-C. | 100.00 | Metre |  | 600.00 | 60000.00 | 370.00 | 37000.00 | 1293.00 | 129300.00 | 37000.00 | ESS KAY CONSTRUCTIONS
25.04 | Supply and fixing of Separation partition suitable for plastic trunking (105mm x 50mm) Make : Legarnd, Cat No. 0105 82 or equivallent as per E-I-C. | 100.00 | Metre |  | 100.00 | 10000.00 | 225.00 | 22500.00 | 692.00 | 69200.00 | 10000.00 | CREATORS ENGINEERS AND INTERIORS
25.05 | Supply and fixing of 6A, 1 way Switch (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 5734 00 or equivallent as per E-I-C. | 100.00 | Each |  | 300.00 | 30000.00 | 180.00 | 18000.00 | 94.00 | 9400.00 | 9400.00 | MDP Infra India Pvt Ltd
25.06 | Supply and fixing of 6A Socket (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 5734 24 or equivallent as per E-I-C. | 20.00 | Each |  | 300.00 | 6000.00 | 225.00 | 4500.00 | 126.00 | 2520.00 | 2520.00 | MDP Infra India Pvt Ltd
25.07 | Supply and fixing of 20A, 1 way Switch (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 5734 10 or equivallent as per E-I-C. | 20.00 | Each |  | 300.00 | 6000.00 | 360.00 | 7200.00 | 265.00 | 5300.00 | 5300.00 | MDP Infra India Pvt Ltd
25.08 | Supply and fixing of 6/16A Socket with shutter (For mounting on trunking system of size105mm x 50mm)Make: Legrand, Cat No. 5734 71 or equivallent as per E-I-C. | 20.00 | Each |  | 300.00 | 6000.00 | 460.00 | 9200.00 | 186.00 | 3720.00 | 3720.00 | MDP Infra India Pvt Ltd
25.09 | Supply and fixing of RJ-11 Telephone socket (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 5734 26 or equivallent as per E-I-C. | 10.00 | Each |  | 300.00 | 3000.00 | 225.00 | 2250.00 | 186.00 | 1860.00 | 1860.00 | MDP Infra India Pvt Ltd
25.10 | Supply and fixing of Double RJ-11 Telephone socket (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 5734 27 or equivallent as per E-I-C. | 5.00 | Each |  | 450.00 | 2250.00 | 360.00 | 1800.00 | 298.00 | 1490.00 | 1490.00 | MDP Infra India Pvt Ltd
25.11 | Supply and fixing of Information outlet (LAN Socket) (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 5734 28 or equivallent as per E-I-C. | 10.00 | Each |  | 1000.00 | 10000.00 | 730.00 | 7300.00 | 444.00 | 4440.00 | 4440.00 | MDP Infra India Pvt Ltd
25.12 | Supply and fixing of 6 Module plate including support frame, any other accessories as req. (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 0109 96 or equivallent as per E-I-C. | 20.00 | Each |  | 550.00 | 11000.00 | 370.00 | 7400.00 | 92.00 | 1840.00 | 1840.00 | MDP Infra India Pvt Ltd
25.13 | Supply and fixing of 4 Module plate including support frame, any other accessories as req. (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 0109 94 or equivallent as per E-I-C. | 20.00 | Each |  | 500.00 | 10000.00 | 270.00 | 5400.00 | 73.00 | 1460.00 | 1460.00 | MDP Infra India Pvt Ltd
25.14 | Supply and fixing of 3 Module plate including support frame, any other accessories as req. (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 0109 93 or equivallent as per E-I-C. | 20.00 | Each |  | 400.00 | 8000.00 | 225.00 | 4500.00 | 66.00 | 1320.00 | 1320.00 | MDP Infra India Pvt Ltd
25.15 | Supply and fixing of 2 Module plate including support frame, any other accessories as req. (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 0109 92 or equivallent as per E-I-C. | 20.00 | Each |  | 300.00 | 6000.00 | 180.00 | 3600.00 | 60.00 | 1200.00 | 1200.00 | MDP Infra India Pvt Ltd
25.16 | Supply and fixing of Blank plate (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 5734 49 or equivallent as per E-I-C. | 20.00 | Each |  | 100.00 | 2000.00 | 70.00 | 1400.00 | 48.00 | 960.00 | 960.00 | MDP Infra India Pvt Ltd
25.17 | Supply and fixing of USB charger - 3000mA/15W - Type A+C - 1 Module (For mounting on trunking system of size105mm x 50mm) Make: Legrand, Cat No. 5716 88 or equivallent as per E-I-C. | 20.00 | Each |  | 2800.00 | 56000.00 | 2300.00 | 46000.00 | 1124.00 | 22480.00 | 22480.00 | MDP Infra India Pvt Ltd
26.00 | Supply of 4C X 10 sq. mm., 1.1 kv grade multicore aluminium conductor, XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part-I) with upto date amendments. | 50.00 | Mtr. |  | 300.00 | 15000.00 | 270.00 | 13500.00 | 283.00 | 14150.00 | 13500.00 | ESS KAY CONSTRUCTIONS
27.00 | Supplying, installation, Testing & Commissioning of 36W Panel light 2x2 ft., powder coated die cast/ extruded aluminium body (thickness ≥1.20mm) as per IS : 10322 with driver as per the requirement with Driver efficiency >85%, Operating voltage AC 140-270 Volt, freq 50/60 hz, Operating temp range -15 deg to 40 deg centigrade, internal surge protection of 2.5 KV with Short & Open circuit protection, THD < 10% , P. F.≥0.95, IP20, CRI >80, UGR (Unified Glare Rating) < 19, life time (LED,Driver & electrical circuitry), of minimum 50000 Burning Hours, CCT 6500°K (As per ANSI Bin), SDCM(Standard Deviation Color Matching) <5, Maximum power consumption should not more than the specified rating and Fixture shall be of relevant BIS standard and trade mark certificate ( T.C.). Manufactures Word Mark/ Name Engraved/ Embossing/ Screen printing on housing. complete in all respect i/c connections with 1.5 sq mm FRLS, PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty. System lumen efficacy of minimum 110 lm/Watt output . LM79 & LM80 Test report from NABL lab for all testing required for LED fixtures as per BIS shall be submitted. | 25.00 | Each |  | 2600.00 | 65000.00 | 2800.00 | 70000.00 | 2412.00 | 60300.00 | 60300.00 | MDP Infra India Pvt Ltd
28.00 | Supply, Installation, Testing and Commissioning of 1200 mm ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. metal ( Aluminum alloy) blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, steel/Al body Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.0, air delivery minimum 210 CM/Min 350 RPM (tolerance as per IS : 374-2019), THD (Total Harmonic Distortion) less than 10%, suitable for operation with regulator for speed control and all remaining accessories including safety pin, nut bolts, washers, suitable for 230 V, 50 Hz, single phase AC Ceiling Fan compliant to IS 374:2019 fan Supply, earthing etc. complete as req | 12.00 | Each |  | 2950.00 | 35400.00 | 8200.00 | 98400.00 | 5000.00 | 60000.00 | 35400.00 | CREATORS ENGINEERS AND INTERIORS
29.00 | Supply & Fixing of 400 mm sweep wall mounting fan, suitable for 220-240V, 50Hz, single phase supply, Air delivery min 70 cmm, max power input 70 W, speed and oscillation control (Make: Havells, Model: Swing or equivalent) | 10.00 | each |  | 2500.00 | 25000.00 | 2750.00 | 27500.00 | 3500.00 | 35000.00 | 25000.00 | CREATORS ENGINEERS AND INTERIORS
30.00 | Fire Extinguisher Supply of Clean Agent (Stored Pressure) Type Capacity 4 Kg Fire Extinguisher ISI marked IS: 15683 filled with FK-5-1-12 Clean Agent Gas. Complete with squeeze grip release valve, locking arrangement, pressure gauge, operation manual and bracket. Complete in all respect. | 12.00 | each |  | 8000.00 | 96000.00 | 46000.00 | 552000.00 | 5060.00 | 60720.00 | 60720.00 | MDP Infra India Pvt Ltd
31.00 | Fire Alarm System Supply, Installation, testing & Commissioning of Intelligent Addressable 1 loop Main panel Expandable up to 2 loop with 144 character capacity LCD display 15 LEDs in displaying important information, Maximum capacity of panel 477 intelligent devices, 32 logical configurable zones with each zone own alarm & fault/disable LEDs and a label, Integrated Wide range PSU (100-240V) with Battery Charger, Excluding Batteries, Multiple language options, PAS and Acknowledge Function, Dirty Detector Reporting, Wide range power supply, RS-485 through Net-workable, RS-232 through Programmable from PC, Built-in RS485 Passive repeater output, Advanced user friendly programming software including ‘Fuzzy Logic’, Panel shall have compatibility of BMS and third party integration availability, Panel shall have metal body with all fire norms compatibility across, All loops having Min. leanth of 1200 Mtr as per norms if required loop expander shoud have compitable with main FAS panel. (Approved by LPCB & EN54). | 1.00 | Nos. |  | 55000.00 | 55000.00 | 137000.00 | 137000.00 | 70000.00 | 70000.00 | 55000.00 | CREATORS ENGINEERS AND INTERIORS
32.00 | Supply, Installation, testing & Commissioning of Active Repeater with Full Function Control, 144 character capacity LCD display 15 LEDs in displaying important information, repeater panel networking via RS-485, Password protect access levels, Flush-mount or Surface-mount structure. (Approved by LPCB & EN54) ) | 1.00 | Nos. |  | 36000.00 | 36000.00 | 63000.00 | 63000.00 | 50000.00 | 50000.00 | 36000.00 | CREATORS ENGINEERS AND INTERIORS
33.00 | Supply, Installation, testing & Commissioning Intelligent Photoelectric Smoke + Heat Multi Detector, With Remote Indicator Output, Magnetic Test Function, Built-in microprocessor stores 14 history data, 2-level sensitivities, LED for 360° vision and Removable innovative sensing chamber. (Approved by LPCB & EN54) | 10.00 | Nos. |  | 1400.00 | 14000.00 | 2800.00 | 28000.00 | 3503.00 | 35030.00 | 14000.00 | CREATORS ENGINEERS AND INTERIORS
34.00 | Supply, Installation, testing & Commissioning Intelligent Photoelectric Smoke Detector, With Remote Indicator Output, Magnetic Test Function, Built-in microprocessor stores 14 history data, 2-level sensitivities, LED for 360° vision and Removable innovative sensing chamber.(Approved by LPCB & EN54) | 20.00 | Nos. |  | 1550.00 | 31000.00 | 2750.00 | 55000.00 | 3542.00 | 70840.00 | 31000.00 | CREATORS ENGINEERS AND INTERIORS
35.00 | Supply, Installation, testing and commissioning of Intelligent Photoelectric Heat Detector, With Remote Indicator Output, Rate of Rise and Fixed Temperature, Magnetic Test Function, Built-in microprocessor stores 14 history data, 3 classes programmable, LED for 360° vision . (Approved by LPCB & EN54) | 1.00 | Nos. |  | 1800.00 | 1800.00 | 2800.00 | 2800.00 | 2980.00 | 2980.00 | 1800.00 | CREATORS ENGINEERS AND INTERIORS
36.00 | Supply, Installation, testing & Commissioning of Flush mount Resettable Manual Call point (Non-Breaking Glass), Supplied with surface mount back box and Special Reset Key (Approved by LPCB & EN54) | 2.00 | Nos. |  | 500.00 | 1000.00 | 4600.00 | 9200.00 | 5500.00 | 11000.00 | 1000.00 | CREATORS ENGINEERS AND INTERIORS
37.00 | Supply, Installation, testing & Commissioning of Addressable Sounder with Visible Indicator, 16 tones, high/low consumption modes, can be loop powered or 24VDC powered, 83-89dB (Approved by LPCB/EN54) | 2.00 | Nos. |  | 4500.00 | 9000.00 | 5500.00 | 11000.00 | 4400.00 | 8800.00 | 8800.00 | MDP Infra India Pvt Ltd
38.00 | Supply, Installation, testing & Commissioning of Single Input Module, provides dry contact (Loop powered) or active output (24VDC required, cable monitored) (Approved by LPCB & EN54) | 1.00 | Nos. |  | 3500.00 | 3500.00 | 4600.00 | 4600.00 | 4500.00 | 4500.00 | 3500.00 | CREATORS ENGINEERS AND INTERIORS
39.00 | Supply, Installation, testing & Commissioning of Single Output Module, provides dry contact (Loop powered) or active output (24VDC required, cable monitored) (Approved by LPCB & EN54) | 1.00 | Nos. |  | 3500.00 | 3500.00 | 4600.00 | 4600.00 | 4500.00 | 4500.00 | 3500.00 | CREATORS ENGINEERS AND INTERIORS
40.00 | Supply, Installation, testing & Commissioning of Zonal Short Circuit Loop Isolator (upgrade circuit, Max. 128 per loop) (Approved by LPCB & EN54) | 4.00 | Nos. |  | 2000.00 | 8000.00 | 2800.00 | 11200.00 | 4666.00 | 18664.00 | 8000.00 | CREATORS ENGINEERS AND INTERIORS
41.00 | Supply and laying of 2core x 1.5 sq. mm. Fire Survival Armoured cable | 500.00 | Mtr |  | 130.00 | 65000.00 | 185.00 | 92500.00 | 315.00 | 157500.00 | 65000.00 | CREATORS ENGINEERS AND INTERIORS
| Total in Figures |  |  |  |  | 4971740.00 |  | 6337207.00 |  | 6075175.00
Lowest Amount Quoted BY: CREATORS ENGINEERS AND INTERIORS(4971740.00)

## BOQ Summary
BOQ Summary Details Tender Title: Establishment of RTR lab at DGCA office R K Puram New Delhi Tender ID: 2025_AAI_245844_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CREATORS ENGINEERS AND INTERIORS (BID ID -893064) | 4971740.00 | L1
| 2 | MDP Infra India Pvt Ltd (BID ID -893941) | 6075175.00 | L2
| 3 | ESS KAY CONSTRUCTIONS (BID ID -893812) | 6337207.00 | L3