## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 14-Oct-2025 12:55 PM Tender Title: Miscellaneous works. SH SITC of Cassette Vertical Split ACs i c allied works at new service block CCR hall, Madurai Airport. Tender ID: 2025_AAI_245986_1
Tender Inviting Authority: Airports Authority of India, Madurai Airport, Madurai -625 022.
Name of Work: Miscellaneous works. SH: SITC of Cassette / Vertical / Split AC's i/c allied works at new service block CCR hall, Madurai Airport.
Contract No: 2025_AAI_245986_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CAC ENGINEERS PVT LTD (GSTN-33AAECC2301D2ZK) BID ID -900537 |  | Akshaya Associates (GSTN-33AAMFA0496N1Z4) BID ID -901135 |  | Udaya Technologies Private Limited (GSTN-NA) BID ID -900997
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 4.0 TR cassette Air conditioner (high efficiency star rated) unit capable of catering 1000 CFM(Mini.) comprising of Rotary/scroll compressors with evaporators, fan section and condensing unit etc. suitable for operation on 415V, 50Hz, three phase supply including initial gas charging, providing MS stand/platform for outdoor units, inbuilt protection against phase failure, low/high voltage cut off etc including connections with existing copper suction & return lines complete etc. as required. | 4.00 | Each | 0.00 | 151000.00 | 604000.00 | 165500.00 | 662000.00 | 127151.00 | 508604.00 | 508604.00 | Udaya Technologies Private Limited
2.00 | Flushing of existing copper suction and return piping of cassette units with nitrogen gas, nitrogen pressure testing, vacuumizing, copper bracing (if required) etc. complete as required. | 5.00 | Job | 0.00 | 1500.00 | 7500.00 | 5500.00 | 27500.00 | 3696.00 | 18480.00 | 7500.00 | CAC ENGINEERS PVT LTD
3.00 | SITC of 3.0 TR (high efficiency star rated) vertical split type Air conditioner consisting of floor mounted vertical indoor unit with remote control and outdoor condensing unit comprising of sealed compressor suitable for operation on 415V. 50Hz, three phase AC supply, copper piping upto 5 meters, initial charging of refrigerant, providing MS stand for outdoor units etc complete as required. | 1.00 | Each | 0.00 | 125000.00 | 125000.00 | 127000.00 | 127000.00 | 111238.00 | 111238.00 | 111238.00 | Udaya Technologies Private Limited
4.00 | SITC of 2.0 TR Air conditioner (high efficiency star rated) consisting of non-ductable indoor unit with remote control and outdoor condensing unit comprising of sealed compressor suitable for operation on 230V, 50Hz, AC supply with copper coil with aluminum fins, copper pipings upto 5 meters, suitable size interconnecting cabling, drain piping, first charge of refrigerant, providing raised platform/MS stand for outdoor units etc complete as required. | 2.00 | Each | 0.00 | 55000.00 | 110000.00 | 55000.00 | 110000.00 | 107548.00 | 215096.00 | 110000.00 | CAC ENGINEERS PVT LTD, Akshaya Associates
5.00 | Supply and fixing of wall mounting type automatic electronic voltage stabilizer suitable for 2TR Split Air conditioners having capacity 5KVA single phase, an input voltage range of 180-270V with high/low voltage cut off, ON delay etc complete as required. | 2.00 | Each | 0.00 | 2500.00 | 5000.00 | 4250.00 | 8500.00 | 2214.00 | 4428.00 | 4428.00 | Udaya Technologies Private Limited
6.00 | SITC of 1.5 TR Air conditioner (high efficiency star rated) consisting of non-ductable indoor unit with remote control and outdoor condensing unit comprising of sealed compressor suitable for operation on 230V, 50Hz, AC supply with copper coil with aluminum fins, copper pipings upto 5 meters, suitable size interconnecting cabling, drain piping, first charge of refrigerant, providing raised platform/MS stand for outdoor units etc complete as required. | 2.00 | Each | 0.00 | 44500.00 | 89000.00 | 47500.00 | 95000.00 | 45087.00 | 90174.00 | 89000.00 | CAC ENGINEERS PVT LTD
7.00 | Supply and fixing of wall mounting type automatic electronic voltage stabilizer suitable for 1.5TR Split Air conditioners having capacity 4KVA single phase, an input voltage range of 180-270V , with high/low voltage cut off, ON delay etc complete as required. | 2.00 | Each | 0.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 2955.00 | 5910.00 | 4000.00 | CAC ENGINEERS PVT LTD
8.00 | Supply and fixing 20Amps, 240 volts, SPN, industrial type socket outlet, with 2pole and earth metal enclosed plug top alongwith 16amps, C-series, DP MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet, and complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 0.00 | 1200.00 | 4800.00 | 1550.00 | 6200.00 | 1910.00 | 7640.00 | 4800.00 | CAC ENGINEERS PVT LTD
9.00 | Supply and fixing 32Amps, 415 volts, TPN, industrial type socket outlet, with 3pole and earth metal enclosed plug top alongwith 25amps, C-series, TP MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket cutlet, and complete with connections, testing and commissioning etc. as required. | 1.00 | Each | 0.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 3833.00 | 3833.00 | 2500.00 | CAC ENGINEERS PVT LTD
10.00 | Supply and fixing of following size copper refrigerant piping for interconnecting indoor unit and condensing unit / extending of existing copper piping with necessary fitting, supports, insulation with closed cell elastometric nitrile rubber insulation etc complete as required. 3 / 4” dia | 100.00 | Mtr | 0.00 | 750.00 | 75000.00 | 950.00 | 95000.00 | 1495.00 | 149500.00 | 75000.00 | CAC ENGINEERS PVT LTD
11.00 | Supply and fixing of following size copper refrigerant piping for interconnecting indoor unit and condensing unit / extending of existing copper piping with necessary fitting, supports, insulation with closed cell elastometric nitrile rubber insulation etc complete as required. 3 / 8” dia | 100.00 | Mtr | 0.00 | 800.00 | 80000.00 | 875.00 | 87500.00 | 630.00 | 63000.00 | 63000.00 | Udaya Technologies Private Limited
12.00 | Supply and fixing of following size copper refrigerant piping for interconnecting indoor unit and condensing unit / extending of existing copper piping with necessary fitting, supports, insulation with closed cell elastometric nitrile rubber insulation etc complete as required. 1 / 2 ” dia | 100.00 | Mtr | 0.00 | 750.00 | 75000.00 | 800.00 | 80000.00 | 787.00 | 78700.00 | 75000.00 | CAC ENGINEERS PVT LTD
13.00 | Supply and fixing of following size copper refrigerant piping for interconnecting indoor unit and condensing unit / extending of existing copper piping with necessary fitting, supports, insulation with closed cell elastometric nitrile rubber insulation etc complete as required. 1 / 4” dia | 100.00 | Mtr | 0.00 | 300.00 | 30000.00 | 775.00 | 77500.00 | 354.00 | 35400.00 | 30000.00 | CAC ENGINEERS PVT LTD
14.00 | Supply and fixing of following size copper refrigerant piping for interconnecting indoor unit and condensing unit / extending of existing copper piping with necessary fitting, supports, insulation with closed cell elastometric nitrile rubber insulation etc complete as required. 5 / 8” dia | 100.00 | Mtr | 0.00 | 900.00 | 90000.00 | 1200.00 | 120000.00 | 1102.00 | 110200.00 | 90000.00 | CAC ENGINEERS PVT LTD
15.00 | Wiring for light point/fan point/exhaust fan point/call bell point with 1.5sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size M.S. box and earthing the point with 1.5sq.mm. FRLSH PVC insulated copper conductor single core cable etc. as required. Group C | 12.00 | Point | 0.00 | 1500.00 | 18000.00 | 1900.00 | 22800.00 | 3099.00 | 37188.00 | 18000.00 | CAC ENGINEERS PVT LTD
16.00 | Wiring for light/power plug with 2 x 4 sq.mm FR PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 1 No. 4 sq.mm FR PVC insulated copper conductor single core cable for loop earthing as required. | 250.00 | Mtr | 0.00 | 210.00 | 52500.00 | 365.00 | 91250.00 | 789.00 | 197250.00 | 52500.00 | CAC ENGINEERS PVT LTD
17.00 | Wiring for light/power plug with 4 x 4 sq.mm FR PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 2 No. 4 sq.mm FR PVC insulated copper conductor single core cable for loop earthing as required. | 200.00 | Mtr | 0.00 | 450.00 | 90000.00 | 622.00 | 124400.00 | 1140.00 | 228000.00 | 90000.00 | CAC ENGINEERS PVT LTD
18.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FR PVC insulated copper conductor, single core cable in surface/recess steel conduit as required. a) 2x1.5sq.mm+ 1x1.5 sq.mm earth wire | 200.00 | Mtr | 0.00 | 330.00 | 66000.00 | 310.00 | 62000.00 | 626.00 | 125200.00 | 62000.00 | Akshaya Associates
19.00 | Supply of following size of ceilling fan without regulator complete with double ball bearing, motor, blades, down rod upto a maximum length of 600mm, of 15mm dia 'B' class GI pipe canopy capacitor etc. complete as required (five star rated) Size 1200mm | 10.00 | Each | 0.00 | 2500.00 | 25000.00 | 2250.00 | 22500.00 | 2054.00 | 20540.00 | 20540.00 | Udaya Technologies Private Limited
20.00 | Installation, testing and commissioning of ceilling fan without regulator complete with double ball bearing, motor, blades, down rod, canopy capacitor etc. as required. | 10.00 | Each | 0.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 369.00 | 3690.00 | 2000.00 | Akshaya Associates
21.00 | Supply and fixing of piano type electronic step regulator, 6 position (Hum free) on existing box including connection, complete as required. | 10.00 | Each | 0.00 | 250.00 | 2500.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 2500.00 | CAC ENGINEERS PVT LTD
22.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer) as required. (Note: Vertical type MCB TPDB is normally used where 3 phase outlets are required.)8 way (4 + 24), Double door | 2.00 | Each | 0.00 | 22500.00 | 45000.00 | 17500.00 | 35000.00 | 6736.00 | 13472.00 | 13472.00 | Udaya Technologies Private Limited
23.00 | Supplying and fixing 6Amps. To 32 amps .rating, 240volts,C series, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc.as required. Single pole | 24.00 | Each | 0.00 | 250.00 | 6000.00 | 260.00 | 6240.00 | 118.00 | 2832.00 | 2832.00 | Udaya Technologies Private Limited
24.00 | Supplying and fixing 6Amps. To 32 amps. rating, 240volts,C series, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc.as required. Three pole | 8.00 | Each | 0.00 | 1300.00 | 10400.00 | 1450.00 | 11600.00 | 2140.00 | 17120.00 | 10400.00 | CAC ENGINEERS PVT LTD
25.00 | Supplying and fixing 63Amps, rating, 415volts, four pole C series, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc.as required. | 2.00 | Each | 0.00 | 3500.00 | 7000.00 | 1750.00 | 3500.00 | 127.00 | 254.00 | 254.00 | Udaya Technologies Private Limited
26.00 | Providing & fixing of 5mm thick chequered plate with necessary gas cutting works, welding works as directed by E-I-C and required width as per site condition with necessary lifting hook including fabrications and fixing complete at site as required. This job also includes supply and fixing of 50X50X6mm MS iron angle on the chequered plate for providing necessary support etc. The works also includes of painting the complete using 2 coats of grey paint finish after 1 coat of red oxide primer paint etc. complete as required. | 70.00 | Sq.Mtr | 0.00 | 4000.00 | 280000.00 | 10750.00 | 752500.00 | 6765.00 | 473550.00 | 280000.00 | CAC ENGINEERS PVT LTD
27.00 | Supply and fixing of nominal 2.5mm +/- 10% thick electric insulated synthetic Mat conforming to IS: 15652:2006 & CPRI tested suitable for class - C upto 33KV, 415V AC supply etc. complete as required. This scope also includes dismantling the existing insulation mats at areas wherever required. | 25.00 | Sq.Mtr | 0.00 | 1950.00 | 48750.00 | 1350.00 | 33750.00 | 922.00 | 23050.00 | 23050.00 | Udaya Technologies Private Limited
28.00 | Supply of XLPE insulated PVC sheathed, Armoured Aluminium conductor power cable of 1.1 KV grade of following size etc as per IS 7098 part I 1988 with uptodate amendments etc complete as required. 3.5 C X 50 Sq.mm | 50.00 | Mtr | 0.00 | 1100.00 | 55000.00 | 625.00 | 31250.00 | 438.00 | 21900.00 | 21900.00 | Udaya Technologies Private Limited
29.00 | Laying of One number PVC insulated and PVC sheathed XLPE power cable of 1.1 KV grade of following size in the existing masonry open trench as required. Above 35 sq.mm and upto 95sq.mm | 30.00 | Mtr | 0.00 | 50.00 | 1500.00 | 75.00 | 2250.00 | 135.00 | 4050.00 | 1500.00 | CAC ENGINEERS PVT LTD
30.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size on wall surface as required. Above 35 sq.mm and upto 95sq.mm (clamped with 1mm thick saddle) | 15.00 | Mtr | 0.00 | 55.00 | 825.00 | 100.00 | 1500.00 | 135.00 | 2025.00 | 825.00 | CAC ENGINEERS PVT LTD
31.00 | Supplying and making end termination with brass compression gland aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1kV grade as required. 3.5C X 50Sq.mm | 2.00 | Job | 0.00 | 575.00 | 1150.00 | 750.00 | 1500.00 | 188.00 | 376.00 | 376.00 | Udaya Technologies Private Limited
32.00 | Supply and fixing of floor mounted hot, cold & normal water dispensers’ including water container for 20 Ltrs capacity suitable for operation on 230V, 50HZ single phase AC Supply etc. complete as required. | 3.00 | Each | 0.00 | 8000.00 | 24000.00 | 11500.00 | 34500.00 | 9828.00 | 29484.00 | 24000.00 | CAC ENGINEERS PVT LTD
| Total in Figures |  |  |  |  | 2037925.00 |  | 2750740.00 |  | 2607184.00
Lowest Amount Quoted BY: CAC ENGINEERS PVT LTD(2037925.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous works. SH SITC of Cassette Vertical Split ACs i c allied works at new service block CCR hall, Madurai Airport. Tender ID: 2025_AAI_245986_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CAC ENGINEERS PVT LTD (BID ID -900537) | 2037925.00 | L1
| 2 | Udaya Technologies Private Limited (BID ID -900997) | 2607184.00 | L2
| 3 | Akshaya Associates (BID ID -901135) | 2750740.00 | L3