## BoQ1
Government eProcurement System Created By: Banteilang Dkhar Created Date/Time: 08-Oct-2025 03:22 PM Tender Title: Renovation of Toilets in Terminal Building at Shillong Airport Civil and Electrical Tender ID: 2025_AAI_246094_2
Tender Inviting Authority: Sr.Manager(Engg-Civil),AAI Shillong Airport.
Name of Work: Renovation of Toilets in Terminal Building at Shillong Airport (Civil & Electrical)
Contract No: 2023_AAI_246094_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s M.D. Syiem (GSTN-NA) BID ID -903988 |  | M/S B.L.NONGBRI (GSTN-NA) BID ID -897779
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials including malba all complete as per directions of Engineer-in-Charge. | 23.00 | Each |  | 150.00 | 3450.00 | 180.00 | 4140.00 | 3450.00 | M/s M.D. Syiem
2.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 3.00 | Cum |  | 1500.00 | 4500.00 | 1416.00 | 4248.00 | 4248.00 | M/S B.L.NONGBRI
3.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 4.00 | Cum |  | 3000.00 | 12000.00 | 3500.00 | 14000.00 | 12000.00 | M/s M.D. Syiem
4.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 55.00 | Cum |  | 1500.00 | 82500.00 | 1800.00 | 99000.00 | 82500.00 | M/s M.D. Syiem
5.00 | Dismantling dressed stone work ashlar face stone work, marble work or precast concrete work manually/ by mechanical means including stacking of serviceable and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | 4.00 | Cum |  | 2200.00 | 8800.00 | 2800.00 | 11200.00 | 8800.00 | M/s M.D. Syiem
6.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 459.00 | Sqm |  | 80.00 | 36720.00 | 120.00 | 55080.00 | 36720.00 | M/s M.D. Syiem
7.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 23.00 | Each |  | 120.00 | 2760.00 | 120.00 | 2760.00 | 2760.00 | M/S B.L.NONGBRI, M/s M.D. Syiem
8.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazingand false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineerin-charge | 228.00 | Sqm |  | 60.00 | 13680.00 | 50.00 | 11400.00 | 11400.00 | M/S B.L.NONGBRI
9.00 | Dismantling Health Fucet/Bibcock/Tissue holders/soap dispenser/Angle cock/Mirror etc. of all sizes including disposal of dismantled materials at store all complete as per directions of Engineer-in-Charge. | 168.00 | Each |  | 55.00 | 9240.00 | 50.00 | 8400.00 | 8400.00 | M/S B.L.NONGBRI
10.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil : Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 20.00 | Cum |  | 350.00 | 7000.00 | 350.00 | 7000.00 | 7000.00 | M/S B.L.NONGBRI, M/s M.D. Syiem
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 4.00 | Cum |  | 9000.00 | 36000.00 | 7514.00 | 30056.00 | 30056.00 | M/S B.L.NONGBRI
12.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 3.00 | Cum |  | 10500.00 | 31500.00 | 11000.00 | 33000.00 | 31500.00 | M/s M.D. Syiem
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for Shelves (Cast in situ) | 20.00 | Sqm |  | 550.00 | 11000.00 | 900.00 | 18000.00 | 11000.00 | M/s M.D. Syiem
14.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 305.00 | Kg |  | 110.00 | 33550.00 | 100.00 | 30500.00 | 30500.00 | M/S B.L.NONGBRI
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 5.00 | Cum |  | 12000.00 | 60000.00 | 10500.00 | 52500.00 | 52500.00 | M/S B.L.NONGBRI
16.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 184.00 | Sqm |  | 1200.00 | 220800.00 | 1131.00 | 208104.00 | 208104.00 | M/S B.L.NONGBRI
17.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 184.00 | Sqm |  | 120.00 | 22080.00 | 160.00 | 29440.00 | 22080.00 | M/s M.D. Syiem
18.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 373.00 | Sqm |  | 350.00 | 130550.00 | 310.00 | 115630.00 | 115630.00 | M/S B.L.NONGBRI
19.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 407.00 | Sqm |  | 150.00 | 61050.00 | 188.00 | 76516.00 | 61050.00 | M/s M.D. Syiem
20.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. | 178.00 | Sqm |  | 2200.00 | 391600.00 | 2500.00 | 445000.00 | 391600.00 | M/s M.D. Syiem
21.00 | Providing and laying double charged vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600 x 1200 mm | 178.00 | Sqm |  | 1900.00 | 338200.00 | 1773.00 | 315594.00 | 315594.00 | M/S B.L.NONGBRI
22.00 | Providing and fixing Ist quality vitrified wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 448.00 | Sqm |  | 1800.00 | 806400.00 | 2250.00 | 1008000.00 | 806400.00 | M/s M.D. Syiem
23.00 | Stone tile work for wall lining upto 10 m height with special adhesive over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand), including pointing in white cement with an admixture of pigment to match the stone shade. 18 mm thick (mirror polished and machine cut edge) Traventine stone of any colour and shade as per the instruction of EIC. | 82.00 | Sqm |  | 3500.00 | 287000.00 | 9800.00 | 803600.00 | 287000.00 | M/s M.D. Syiem
24.00 | Stone tile work for wall lining upto 10 m height with special adhesive over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand), including pointing in white cement with an admixture of pigment to match the stone shade. 18 mm thick (mirror polished and machine cut edge) Grey granite stone of any colour and shade as per the instruction of EIC. | 44.00 | Sqm |  | 3500.00 | 154000.00 | 9000.00 | 396000.00 | 154000.00 | M/s M.D. Syiem
25.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab all colour and texture except black, Cherry/Ruby red, Area of slab over 0.50 sqm | 20.00 | Sqm |  | 4100.00 | 82000.00 | 5777.00 | 115540.00 | 82000.00 | M/s M.D. Syiem
26.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 27.00 | Each |  | 1000.00 | 27000.00 | 900.00 | 24300.00 | 24300.00 | M/S B.L.NONGBRI
27.00 | Providing and fixing slider door for Divyangjan toilet of opening size width 1.1m and height of 2.1m. The installation will include partition door soft close sliding of 80kg weight capacity Door both side softclose sliding including alluminium track of 2400 mm with guide endstop wodden bracket, heavy duty barn door lock hardware with reflective strip mark, barn sliding door latch lock suitable for bathroom and including hardwood flush door, PVC mica etc all complete as per the direction of Engineering in charge. | 3.00 | Each |  | 40000.00 | 120000.00 | 48000.00 | 144000.00 | 120000.00 | M/s M.D. Syiem
28.00 | Providing and fixing factory made WPC door of size width 0.9 m and height of 2.1m. The installation will include 100 mm x 63.5 mm WPC door frame, 30mm thick WPC door, SS hinges, SS T Bold 200mm, L drop 12mm, handle, door stooper all accesories etc. all complete as per the direction of Engineering in charge. | 3.00 | Each |  | 28000.00 | 84000.00 | 10500.00 | 31500.00 | 31500.00 | M/S B.L.NONGBRI
29.00 | Providing and fixing of Fluted wood panel (C P Teak wood) for height 2.8m complete as per the direction of Engineering Incharge. | 17.00 | Sqm |  | 720.00 | 12240.00 | 6000.00 | 102000.00 | 12240.00 | M/s M.D. Syiem
30.00 | Providing and fixing of Long full length wall mirror of size 750 mm x 2200 mm of required shape with all the necessary screws and fittings etc complete as per the direction of Engineering Incharge. | 6.00 | Each |  | 3000.00 | 18000.00 | 2500.00 | 15000.00 | 15000.00 | M/S B.L.NONGBRI
31.00 | Providing and fixing mirror for wash basin counter of size 800 mm x 1600 mm of required shape with all the necessary screws and fittings etc complete as per the direction of Engineering Incharge. | 24.00 | Each |  | 1300.00 | 31200.00 | 2500.00 | 60000.00 | 31200.00 | M/s M.D. Syiem
32.00 | Providing and fixing of Stained Glass Portrait for signage of required shape and size with all the necessary fittings etc complete as per the direction of Engineering Incharge. | 16.80 | Sqm |  | 5000.00 | 84000.00 | 16500.00 | 277200.00 | 84000.00 | M/s M.D. Syiem
33.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 32.00 | m. |  | 320.00 | 10240.00 | 350.00 | 11200.00 | 10240.00 | M/s M.D. Syiem
34.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 122.00 | m. |  | 380.00 | 46360.00 | 400.00 | 48800.00 | 46360.00 | M/s M.D. Syiem
35.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal dia Pipes | 86.00 | m. |  | 420.00 | 36120.00 | 500.00 | 43000.00 | 36120.00 | M/s M.D. Syiem
36.00 | Providing and laying PVC pipe in sewer line, vent pipe conforming to IS. Joining as per standards as directed by EIC with required adhesive special etc. complete as per the direction of Engineer-in-charge. 110mmdia( working pressure 6kg/sqcm) | 146.00 | m. |  | 300.00 | 43800.00 | 557.00 | 81322.00 | 43800.00 | M/s M.D. Syiem
37.00 | Providing and laying PVC in sewer line, vent pipe conforming to IS. Joining as per standards as directed by EIC with required adhesive special etc. complete as per the direction of Engineer-in-charge. 75 mm dia( working pressure 6kg/sqcm) | 25.00 | m. |  | 240.00 | 6000.00 | 433.00 | 10825.00 | 6000.00 | M/s M.D. Syiem
38.00 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : (a) Euronics HS Code 69101000 model C009-WB (size - 415x570x200)mm Under counter basin of oval shape or equivalent. | 27.00 | Each |  | 2800.00 | 75600.00 | 3000.00 | 81000.00 | 75600.00 | M/s M.D. Syiem
39.00 | Providing & fixing Automatic Tap cum Automatic Soap Dispenser (2 in 1), Basin mount, Electrical or Battery operated of Euronics make HS Code 84818020 model - KSDT10 or equivalent as per satisfaction of EIC . | 27.00 | Each |  | 18000.00 | 486000.00 | 15000.00 | 405000.00 | 405000.00 | M/S B.L.NONGBRI
40.00 | Providing and fixing CP Brass 32 mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 27.00 | Each |  | 1500.00 | 40500.00 | 1200.00 | 32400.00 | 32400.00 | M/S B.L.NONGBRI
41.00 | Providing and fixing Waste Coupling for wash basin, of make Jaquar model: ALD- 705L130 or equivalent. Waste coupling 32 mm dia and 130mm height complete as per satisfaction of EIC. | 27.00 | Each |  | 1100.00 | 29700.00 | 800.00 | 21600.00 | 21600.00 | M/S B.L.NONGBRI
42.00 | Providing and fixing C.P. brass angular stop cock with wall flange for basin mixer and geyser points of make Jaquar and model OPP-CHR-15053PM or equivalent as conforming to IS:8931 and as per the satisfaction of EIC. 15 mm nominal bore | 27.00 | Each |  | 1600.00 | 43200.00 | 1250.00 | 33750.00 | 33750.00 | M/S B.L.NONGBRI
43.00 | Providing and fixing connection pipe of make Jaquar model: ALD-CHR-805B or equivalent with brass unions : 45 cm length 15 mm nominal bore | 27.00 | Each |  | 800.00 | 21600.00 | 450.00 | 12150.00 | 12150.00 | M/S B.L.NONGBRI
44.00 | Providing and fixing liquid soap dispenser of make Jaquar model: SDR-BLC-DJ0160ASN or equivalent of capacity 0.8 L of automatic type as per the satisfaction of EIC. | 9.00 | Each |  | 5300.00 | 47700.00 | 3500.00 | 31500.00 | 31500.00 | M/S B.L.NONGBRI
45.00 | Providing and fixing wall hung EWC Jaquar model VGS-WHT-81953UF or equivalent fixed with necessary CP brass screws etc. complete including cutting and making good the walls and floors where required etc. complete as per direction and satisfaction of Engineer-in-charge. | 17.00 | Each |  | 28000.00 | 476000.00 | 21500.00 | 365500.00 | 365500.00 | M/S B.L.NONGBRI
46.00 | Providing and fixing wall hung EWC Jaquar model DIS-WHT-93951UF or equivalent fixed with necessary CP brass screws etc. complete including cutting and making good the walls and floors where required etc. complete as per direction and satisfaction of Engineer-in-charge. | 3.00 | Each |  | 40000.00 | 120000.00 | 30500.00 | 91500.00 | 91500.00 | M/S B.L.NONGBRI
47.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, flushing cistern of make Jaquar model: ESH-WHT-184NL (with fittings, accessories and flush pipe), including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting andmaking good the walls and floors wherever required: White Vitreous china orrisa type W.C. pan size 575 mm Jaquar model: ECS-WHT-451LE or equivalent | 6.00 | Each |  | 6000.00 | 36000.00 | 6500.00 | 39000.00 | 36000.00 | M/s M.D. Syiem
48.00 | Providing and fixing white vitreous china Urinal of 710 x 380 x 340 mm with automatic sensor ( Jaquar model no. SNR-STL-51087 (Battery operated)) concealed type flushing valve for urinal complete set with installation box with control cock as per company of Jaquar catalogue no.URS-WHT-13265 or equivalent having water inlet from back side, including fixing to wall with suitable brackets i/c with waste fitting with outlet grating and other coupling in C.P. brass including cutting and making good the walls and floors wherever required as per direction and satisfaction of Engineer-in-charge. | 12.00 | Each |  | 36000.00 | 432000.00 | 22000.00 | 264000.00 | 264000.00 | M/S B.L.NONGBRI
49.00 | Providing and fixing C.P. brass toilet paper holder of make Jaquar model no.- ACN-1153S or equivalent fixed with necessary CP brass screws etc. complete as per direction of Engineer-in-charge. | 26.00 | Each |  | 1800.00 | 46800.00 | 1450.00 | 37700.00 | 37700.00 | M/S B.L.NONGBRI
50.00 | Providing and fixing Tissue paper dispenser and waste receptable (2in1) of make Euronics HS Code 73242900 model KPDRN or equivalent fixed with necessary fixtures etc. complete as per direction of Engineer-in-charge. | 9.00 | Each |  | 35000.00 | 315000.00 | 43798.00 | 394182.00 | 315000.00 | M/s M.D. Syiem
51.00 | Providing and fixing C.P. brass hand shower (Healthfaucet) with 1 meter long flexible tube with wall hook, S. Steel 304, of make Euronics model no. EHF10 HS Code 73242990 or equivalent etc.complete with all fittings as per direction of Engineer-in-charge. | 26.00 | Each |  | 1500.00 | 39000.00 | 1500.00 | 39000.00 | 39000.00 | M/S B.L.NONGBRI, M/s M.D. Syiem
52.00 | Providing and fixing of concealed flushing cistern of make Jaquar model: JCS-WHT-2400WP (with frame, fittings, accessories, flush pipe etc.) or equivalent complete with all fittings as per direction of Engineer-in-charge. | 20.00 | Each |  | 10000.00 | 200000.00 | 10500.00 | 210000.00 | 200000.00 | M/s M.D. Syiem
53.00 | Providing and fixing of flush plate of make Jaquar model: JCP-CHR-812415 or equivalent (with accessories etc.) complete with all fittings as per direction of Engineer-in-charge. | 20.00 | Each |  | 2200.00 | 44000.00 | 1575.00 | 31500.00 | 31500.00 | M/S B.L.NONGBRI
54.00 | Providing and fixing of Grab bar (Vertical) of make Jaquar model: WAC-SAP-BR0600CSN or equivalent (with accessories etc.) complete with all fittings as per direction of Engineer-in-charge. | 6.00 | Each |  | 3800.00 | 22800.00 | 3150.00 | 18900.00 | 18900.00 | M/S B.L.NONGBRI
55.00 | Providing and fixing of Grab bar (swing type) of make Jaquar model: WAC-SAP-BG0800CSN or equivalent (with accessories etc.) complete with all fittings as per direction of Engineer-in-charge. | 3.00 | Each |  | 9500.00 | 28500.00 | 7950.00 | 23850.00 | 23850.00 | M/S B.L.NONGBRI
56.00 | Providing and fixing of Two way C.P. brass bib cock of make Jaquar model: OPP-15041PM or equivalent of approved quality conforming to IS:8931 : 15 mm nominal bore | 26.00 | Each |  | 3000.00 | 78000.00 | 2455.00 | 63830.00 | 63830.00 | M/S B.L.NONGBRI
57.00 | Providing and fixing SS grating of make Euronics HS Code 73261100 model EFG03-66 or equivalent of approved quality and colour. Floor drain woth cockroach trap (150x150)mm | 26.00 | Each |  | 850.00 | 22100.00 | 700.00 | 18200.00 | 18200.00 | M/S B.L.NONGBRI
58.00 | Providing & fixing modular toilet cubicles (model, type ZMS series of Marino/Green Sturdo Classique-Evergreen Series Model of Greenlam or equivalent), consisting of high pressure 12mm thick compact laminate board as per IS 2046 and as per fire retardent BS-476/96 standard with phenolic core panels for partitions of intermediate divider, doors and pilasters (The cubicle shall have dimensions of 1100mm x 1500mm,2100mm (including bottom gap 150 mm, but the panel area required for one cabin shall be one longer and the one shorter side of the cabin including one door) with a door size of 600-650 mm width, the assembly shall be supported by black satin finish stainless steel head rail on top of panels and panels shall fixed on the floor with a clearance of maximum 150mm using stainless steel alloy satin finish adjustable legs screwed to the floor included accessories with standard - Besco make aluminium, nylon polyamide accessories, gravity hinges,SS top rail,Privacy thumb turn c/w occupancy indicator,coat hook, door knob,Adjustable pedestal,SS "U" channel,SS door stopper channel,rubber door stopper lining,screws & wall plug etc complete as per manufacturers specification and as directed by Engineer in charge. The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. (L shaped panels matching the two dimensions of a cabin is only required to make one cubicle) | 23.00 | Each |  | 43000.00 | 989000.00 | 34500.00 | 793500.00 | 793500.00 | M/S B.L.NONGBRI
59.00 | Providing and fixing 12 mm thick Compact Laminate urinal partition of approved make and colour edges rounded and polished, of size 900mm x 400mm and 1.2 cm thick all complete as per direction of Engineer-in-charge. | 13.00 | Each |  | 2850.00 | 37050.00 | 4500.00 | 58500.00 | 37050.00 | M/s M.D. Syiem
60.00 | Providing and fixing Sanitary Napkin Hygiene Panel (4 in 1) wall mount (SS Grade 304) containing Sanitary napkin dispenser (capacity- 20-25 pcs), Toilet paper holder, Disposable bag dispenser (capacity- 50 bags) and waste receptable (capacity- 4.6 Litre), of make Euronics HS Code 73261100 model ESN04B or equivalent of approved quality as per the direction of EIC. | 3.00 | Each |  | 14000.00 | 42000.00 | 18000.00 | 54000.00 | 42000.00 | M/s M.D. Syiem
61.00 | Providing and fixing Fragrance dispenser Lcd- with digital programming, S. steel of make Euronics HS Code 39249010 model EA66S or equivalent of approved quality as per the direction of EIC. | 15.00 | Each |  | 3900.00 | 58500.00 | 4900.00 | 73500.00 | 58500.00 | M/s M.D. Syiem
62.00 | Deduct for taking away of C.P. brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, centre hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 5.25 | Each |  | 90.00 | -472.50 | 150.00 | -787.50 | -787.50 | M/S B.L.NONGBRI
63.00 | Deduct for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars or any iron or steel items etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 10.50 | Kg |  | 20.00 | -210.00 | 18.00 | -189.00 | -210.00 | M/s M.D. Syiem
64.00 | Deduct for taking away of PVC connections, PVC flushing cistern with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 21.00 | Kg |  | 40.00 | -840.00 | 15.00 | -315.00 | -840.00 | M/s M.D. Syiem
65.00 | Deduct for taking away of aluminium butt hinges, sliding door bolts, tower bolts, pull boly lock, handle, door stopper, casement stay, tee chanals, plates, frames, shutters, partition, tubular sections etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 105.00 | Kg |  | 50.00 | -5250.00 | 50.00 | -5250.00 | -5250.00 | M/S B.L.NONGBRI, M/s M.D. Syiem
66.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 10.50 | Kg |  | 20.00 | -210.00 | 25.00 | -262.50 | -262.50 | M/S B.L.NONGBRI
67.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 53.00 | Point |  | 1300.00 | 68900.00 | 1800.00 | 95400.00 | 68900.00 | M/s M.D. Syiem
68.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 88.00 | Point |  | 800.00 | 70400.00 | 1050.00 | 92400.00 | 70400.00 | M/s M.D. Syiem
69.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
69.01 | a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 300.00 | Mtrs. |  | 350.00 | 105000.00 | 390.00 | 117000.00 | 105000.00 | M/s M.D. Syiem
69.02 | b) 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 220.00 | Mtrs. |  | 400.00 | 88000.00 | 435.00 | 95700.00 | 88000.00 | M/s M.D. Syiem
69.03 | c) 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 120.00 | Mtrs. |  | 450.00 | 54000.00 | 580.00 | 69600.00 | 54000.00 | M/s M.D. Syiem
70.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 48.00 | Each |  | 500.00 | 24000.00 | 450.00 | 21600.00 | 21600.00 | M/S B.L.NONGBRI
71.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 23.00 | Each |  | 550.00 | 12650.00 | 580.00 | 13340.00 | 12650.00 | M/s M.D. Syiem
72.00 | Supplying and Fixing following size / modules, GI Box alongwith modular base & cover plate for modular switches in recess etc. as required
72.01 | a) 6 module (200mm X 75 mm) | 11.00 | Each |  | 350.00 | 3850.00 | 395.00 | 4345.00 | 3850.00 | M/s M.D. Syiem
72.02 | b) 8 module (125 mm X 125 mm) | 6.00 | Each |  | 450.00 | 2700.00 | 445.00 | 2670.00 | 2670.00 | M/S B.L.NONGBRI
73.00 | Supplying and Fixing following modular switch / socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
73.01 | a) 5/6 A Switch | 17.00 | Each |  | 100.00 | 1700.00 | 80.00 | 1360.00 | 1360.00 | M/S B.L.NONGBRI
73.02 | b) 3 pin 5/6 A socket outlet | 17.00 | Each |  | 130.00 | 2210.00 | 135.00 | 2295.00 | 2210.00 | M/s M.D. Syiem
74.00 | Supplying and Fixing following way, single pole and neutral, sheet steel. MCB Distribution Board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB / RCCB / Isolator)
74.01 | a) 12 way Double door | 3.00 | Each |  | 2400.00 | 7200.00 | 2250.00 | 6750.00 | 6750.00 | M/S B.L.NONGBRI
75.00 | Supplying and Fixing of 5 to 32 A rating, 240/415V, 10kA, C curve MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required
75.01 | a) 6A SP MCB | 9.00 | Each |  | 280.00 | 2520.00 | 250.00 | 2250.00 | 2250.00 | M/S B.L.NONGBRI
75.02 | b) 10A SP MCB | 6.00 | Each |  | 330.00 | 1980.00 | 250.00 | 1500.00 | 1500.00 | M/S B.L.NONGBRI
75.03 | c) 16A SP MCB | 9.00 | Each |  | 350.00 | 3150.00 | 250.00 | 2250.00 | 2250.00 | M/S B.L.NONGBRI
75.04 | d)20A SP MCB | 6.00 | Each |  | 420.00 | 2520.00 | 250.00 | 1500.00 | 1500.00 | M/S B.L.NONGBRI
76.00 | Supplying and Fixing of Double pole, 240V, Isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required
76.01 | a) 40A | 6.00 | Each |  | 450.00 | 2700.00 | 450.00 | 2700.00 | 2700.00 | M/S B.L.NONGBRI, M/s M.D. Syiem
77.00 | Supply of recess mount 36 W 2x2 ft LED panel light indoor type having lumen efficiency of minimum 120 Lumens/watt, suitable for operation on 230 volt., 50 HZ, 1 phase, AC supply complete as required. (Make: As per AAI approved make list) | 84.00 | Each |  | 5500.00 | 462000.00 | 2350.00 | 197400.00 | 197400.00 | M/S B.L.NONGBRI
78.00 | Supply of Recess mount 18 W LED downlighter suitable for operation on 230 volt., 50 HZ, 1 phase, AC supply complete as required. (Make: As per AAI approved make list) | 30.00 | Each |  | 1900.00 | 57000.00 | 1800.00 | 54000.00 | 54000.00 | M/S B.L.NONGBRI
79.00 | Supply of surface mount 17/20 Watt LED Mirror light Fitting suitable for operation on 230 volt., 50 HZ, 1 phase, AC supply complete as required. (Make: As per AAI approved make list) | 27.00 | Each |  | 2400.00 | 64800.00 | 380.00 | 10260.00 | 10260.00 | M/S B.L.NONGBRI
80.00 | Installation, testing and commissioning of Pre-wired, fluorescent fitting/compcatfluorescent fitting of all types / LED fittings , complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 141.00 | Each |  | 280.00 | 39480.00 | 250.00 | 35250.00 | 35250.00 | M/S B.L.NONGBRI
81.00 | SITC of wall mounted polycarbnate ABS Hand dryer with touch free infrared activation suitable for high traffic and shall be operated in 230 volt., 50 HZ, 1 phase, AC supply complete as required. | 6.00 | Each |  | 8800.00 | 52800.00 | 32000.00 | 192000.00 | 52800.00 | M/s M.D. Syiem
82.00 | Supply of Decorative 6500 K IP65 Strip Light suitable to operate in 230 volt., 50 HZ, 1 phase, AC supply complete as required. | 60.00 | Mtrs. |  | 720.00 | 43200.00 | 100.00 | 6000.00 | 6000.00 | M/S B.L.NONGBRI
83.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of 0.63 mm sheet thickness complete as required | 200.00 | Sqm |  | 1100.00 | 220000.00 | 2500.00 | 500000.00 | 220000.00 | M/s M.D. Syiem
84.00 | SITC of Inline Fan 3000 CFM Single phase for exhaust purpose. | 3.00 | Each |  | 7800.00 | 23400.00 | 64000.00 | 192000.00 | 23400.00 | M/s M.D. Syiem
85.00 | SITC of Inline Fan 1500 CFM Single phase for exhaust purpose. | 3.00 | Each |  | 4800.00 | 14400.00 | 30000.00 | 90000.00 | 14400.00 | M/s M.D. Syiem
86.00 | Supply and Fixing of 150mm x 150mm powder coated Aluminium Grill for Exhaust suction and fresh air throws etc. works | 78.00 | Each |  | 2500.00 | 195000.00 | 1250.00 | 97500.00 | 97500.00 | M/S B.L.NONGBRI
87.00 | Supply and Fixing of 150mm x 150mm GI volume control damper for Exhaust and fresh air control etc. works | 78.00 | Each |  | 2800.00 | 218400.00 | 1350.00 | 105300.00 | 105300.00 | M/S B.L.NONGBRI
88.00 | Supply and Fixing of Canvas Flexible Connection. | 9.00 | Each |  | 230.00 | 2070.00 | 1500.00 | 13500.00 | 2070.00 | M/s M.D. Syiem
| Total in Figures |  |  |  |  | 8935437.50 |  | 9956983.00
Lowest Amount Quoted BY: M/s M.D. Syiem(8935437.50)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilets in Terminal Building at Shillong Airport Civil and Electrical Tender ID: 2025_AAI_246094_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s M.D. Syiem (BID ID -903988) | 8935437.50 | L1
| 2 | M/S B.L.NONGBRI (BID ID -897779) | 9956983.00 | L2