## BoQ1
Government eProcurement System Created By: Vijay Meena Created Date/Time: 09-Jan-2026 05:26 PM Tender Title: Renovation/ Modification Works at MT Workshop, RHQ-NR, Rangpuri, New Delhi (Recall) Tender ID: 2025_AAI_246749_1
Tender Inviting Authority: AGM (E-C), DATS Complex, RHQ-NR
Name of Work: Renovation/Modification Works at MT Workshop, RHQ-NR, Rangpuri, New Delhi (Recall)
Contract No: 2025_AAI_ 246749 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S VERMA ENTERPRISES (GSTN-NA) BID ID -931551 |  | Avyukta Corporate Solutions (GSTN-NA) BID ID -929640
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH I: CIVIL WORKS Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 200x10 mm | 20.00 | Each |  | 300.00 | 6000.00 | 200.00 | 4000.00 | 4000.00 | Avyukta Corporate Solutions
2.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 20.00 | Each |  | 60.00 | 1200.00 | 50.00 | 1000.00 | 1000.00 | Avyukta Corporate Solutions
3.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approvedmake, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 750.00 | Sqm |  | 780.00 | 585000.00 | 650.00 | 487500.00 | 487500.00 | Avyukta Corporate Solutions
4.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600 x 600 mm | 650.00 | Sqm |  | 925.00 | 601250.00 | 750.00 | 487500.00 | 487500.00 | Avyukta Corporate Solutions
5.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily: Glazed Vitrified tiles Matt/Antiskid finish of Size of Tile 600 x 600 mm | 30.00 | Sqm |  | 975.00 | 29250.00 | 700.00 | 21000.00 | 21000.00 | Avyukta Corporate Solutions
6.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/mK. | 680.00 | Sqm |  | 1600.00 | 1088000.00 | 1200.00 | 816000.00 | 816000.00 | Avyukta Corporate Solutions
7.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 2150.00 | Sqm |  | 240.00 | 516000.00 | 200.00 | 430000.00 | 430000.00 | Avyukta Corporate Solutions
8.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand) | 1130.00 | Sqm |  | 310.00 | 350300.00 | 220.00 | 248600.00 | 248600.00 | Avyukta Corporate Solutions
9.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 1130.00 | Sqm |  | 110.00 | 124300.00 | 100.00 | 113000.00 | 113000.00 | Avyukta Corporate Solutions
10.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 3280.00 | Sqm |  | 90.00 | 295200.00 | 100.00 | 328000.00 | 295200.00 | M/S VERMA ENTERPRISES
11.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 2150.00 | Sqm |  | 90.00 | 193500.00 | 100.00 | 215000.00 | 193500.00 | M/S VERMA ENTERPRISES
12.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 2150.00 | Sqm |  | 50.00 | 107500.00 | 60.00 | 129000.00 | 107500.00 | M/S VERMA ENTERPRISES
13.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 1950.00 | Sqm |  | 25.00 | 48750.00 | 40.00 | 78000.00 | 48750.00 | M/S VERMA ENTERPRISES
14.00 | Applying priming coat : With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/steel works | 4200.00 | Sqm |  | 50.00 | 210000.00 | 50.00 | 210000.00 | 210000.00 | Avyukta Corporate Solutions, M/S VERMA ENTERPRISES
15.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 4200.00 | Sqm |  | 70.00 | 294000.00 | 110.00 | 462000.00 | 294000.00 | M/S VERMA ENTERPRISES
16.00 | Removing dry or oil bound distemper, water proofing cement paint, enamel, primer and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 4200.00 | Sqm |  | 15.00 | 63000.00 | 20.00 | 84000.00 | 63000.00 | M/S VERMA ENTERPRISES
17.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 6.00 | Each |  | 280.00 | 1680.00 | 200.00 | 1200.00 | 1200.00 | Avyukta Corporate Solutions
18.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead Of area beyond 3 sq. metres | 4.00 | Each |  | 390.00 | 1560.00 | 300.00 | 1200.00 | 1200.00 | Avyukta Corporate Solutions
19.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 1420.00 | Sqm |  | 55.00 | 78100.00 | 50.00 | 71000.00 | 71000.00 | Avyukta Corporate Solutions
20.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 1.00 | Each |  | 110.00 | 110.00 | 100.00 | 100.00 | 100.00 | Avyukta Corporate Solutions
21.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 1520.00 | Sqm |  | 40.00 | 60800.00 | 40.00 | 60800.00 | 60800.00 | Avyukta Corporate Solutions, M/S VERMA ENTERPRISES
22.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking etc. of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/ laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per manufacturer's specifications & direction of Engineer in-Charge. a) 60mm thick Cement concrete paver block of M-35 grade with approved colour, design & pattern. | 880.00 | Sqm |  | 850.00 | 748000.00 | 600.00 | 528000.00 | 528000.00 | Avyukta Corporate Solutions
23.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 880.00 | Sqm |  | 90.00 | 79200.00 | 70.00 | 61600.00 | 61600.00 | Avyukta Corporate Solutions
24.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 2.00 | Each |  | 2600.00 | 5200.00 | 1000.00 | 2000.00 | 2000.00 | Avyukta Corporate Solutions
25.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 5.00 | Each |  | 110.00 | 550.00 | 70.00 | 350.00 | 350.00 | Avyukta Corporate Solutions
26.00 | Providing and fixing floor mounted, white vitreous china single piece,double traps syphonic water closet of approved brand/make, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litre with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | 1.00 | Each |  | 18000.00 | 18000.00 | 10000.00 | 10000.00 | 10000.00 | Avyukta Corporate Solutions
27.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length: 15 mm nominal bore | 10.00 | Each |  | 90.00 | 900.00 | 50.00 | 500.00 | 500.00 | Avyukta Corporate Solutions
28.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diameter | 1.00 | Each |  | 180.00 | 180.00 | 100.00 | 100.00 | 100.00 | Avyukta Corporate Solutions
29.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore each | 5.00 | Each |  | 500.00 | 2500.00 | 200.00 | 1000.00 | 1000.00 | Avyukta Corporate Solutions
30.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15 mm nominal bore each | 15.00 | Each |  | 550.00 | 8250.00 | 250.00 | 3750.00 | 3750.00 | Avyukta Corporate Solutions
31.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 293.00 | Kg |  | 450.00 | 131850.00 | 400.00 | 117200.00 | 117200.00 | Avyukta Corporate Solutions
32.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 264.00 | Kg |  | 535.00 | 141240.00 | 450.00 | 118800.00 | 118800.00 | Avyukta Corporate Solutions
33.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge.Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side. | 100.00 | Sqm |  | 900.00 | 90000.00 | 500.00 | 50000.00 | 50000.00 | Avyukta Corporate Solutions
34.00 | Providing and fixing health faucet in ABS body for WC of JAQUAR (ALE-ESS-583) make with 1.20m long PVC tube and wall hook, or Equivalent of the same make, including making connection etc. all complete. | 2.00 | Each |  | 1000.00 | 2000.00 | 600.00 | 1200.00 | 1200.00 | Avyukta Corporate Solutions
35.00 | Providing and fixing of Stainless Steel jali of approved quality for bathroom, toilet drain complete as per direction of Engineer-in-charge : 100 mm Dia | 7.00 | Each |  | 200.00 | 1400.00 | 50.00 | 350.00 | 350.00 | Avyukta Corporate Solutions
36.00 | Providing and fixing C.P. brass Two way bib cock with wall flange of JAQUAR (APR-CHR-101041) make, or equivalent of approved quality all complete as per direction of Engineer-in-charge : 15 mm nominal bore each | 2.00 | Each |  | 2300.00 | 4600.00 | 500.00 | 1000.00 | 1000.00 | Avyukta Corporate Solutions
37.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 5.00 | Each |  | 1034.00 | 5170.00 | 500.00 | 2500.00 | 2500.00 | Avyukta Corporate Solutions
38.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /seIf tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 2595.00 | Sqm |  | 500.00 | 1297500.00 | 450.00 | 1167750.00 | 1167750.00 | Avyukta Corporate Solutions
39.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm | 2.00 | Each |  | 1350.00 | 2700.00 | 700.00 | 1400.00 | 1400.00 | Avyukta Corporate Solutions
40.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 100.00 | Cum |  | 5700.00 | 570000.00 | 5000.00 | 500000.00 | 500000.00 | Avyukta Corporate Solutions
41.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Kiln seasoned and chemically treated hollock wood. | 1.37 | cum |  | 70650.00 | 96790.50 | 50000.00 | 68500.00 | 68500.00 | Avyukta Corporate Solutions
42.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 40.32 | Sqm |  | 1700.00 | 68544.00 | 1000.00 | 40320.00 | 40320.00 | Avyukta Corporate Solutions
43.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 4.00 | Cum |  | 5570.00 | 22280.00 | 4000.00 | 16000.00 | 16000.00 | Avyukta Corporate Solutions
44.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 70.00 | Cum |  | 6900.00 | 483000.00 | 5000.00 | 350000.00 | 350000.00 | Avyukta Corporate Solutions
45.00 | Half brick Masonry with common brunt clay FPS(non modular) bricks of class designation 7.5 in superstructure above plinth level upto floor V level. Cement Mortar 1:3 (1 Cement: 3 coarse sand) | 620.00 | Sqm |  | 825.00 | 511500.00 | 500.00 | 310000.00 | 310000.00 | Avyukta Corporate Solutions
46.00 | Extra for providing and placing in position 2 nos 6mm dia. MS bars at every third course at half brick masonry. | 620.00 | Sqm |  | 80.00 | 49600.00 | 50.00 | 31000.00 | 31000.00 | Avyukta Corporate Solutions
47.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red: Area of slab over 0.50 sqm | 10.00 | Sqm |  | 3850.00 | 38500.00 | 3200.00 | 32000.00 | 32000.00 | Avyukta Corporate Solutions
48.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 3.00 | each |  | 1000.00 | 3000.00 | 600.00 | 1800.00 | 1800.00 | Avyukta Corporate Solutions
49.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 200.00 | metre |  | 190.00 | 38000.00 | 100.00 | 20000.00 | 20000.00 | Avyukta Corporate Solutions
50.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 30.00 | metre |  | 290.00 | 8700.00 | 120.00 | 3600.00 | 3600.00 | Avyukta Corporate Solutions
51.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 110 mm | 10.00 | Each |  | 101.00 | 1010.00 | 90.00 | 900.00 | 900.00 | Avyukta Corporate Solutions
52.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 110x110x110 mm | 10.00 | Each |  | 180.00 | 1800.00 | 140.00 | 1400.00 | 1400.00 | Avyukta Corporate Solutions
53.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. :Concealed work, including cutting chases and making good the walls etc. 15 mm nominal outer dia .Pipes. | 40.00 | Metre |  | 380.00 | 15200.00 | 230.00 | 9200.00 | 9200.00 | Avyukta Corporate Solutions
54.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 79.00 | Sqm |  | 950.00 | 75050.00 | 1000.00 | 79000.00 | 75050.00 | M/S VERMA ENTERPRISES
55.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: Roofing Corrugated Sheet (GI/Plastic) | 2595.00 | Sqm |  | 82.00 | 212790.00 | 100.00 | 259500.00 | 212790.00 | M/S VERMA ENTERPRISES
56.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricksof class designation 7.5 in foundations and plinth in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 180.00 | Sqm |  | 700.00 | 126000.00 | 600.00 | 108000.00 | 108000.00 | Avyukta Corporate Solutions
57.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer) with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make in all colours & shade in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 70.00 | Sqm |  | 1200.00 | 84000.00 | 800.00 | 56000.00 | 56000.00 | Avyukta Corporate Solutions
58.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 16.00 | Each |  | 850.00 | 13600.00 | 500.00 | 8000.00 | 8000.00 | Avyukta Corporate Solutions
59.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: Size: 100 mm | 72.00 | Each |  | 200.00 | 14400.00 | 100.00 | 7200.00 | 7200.00 | Avyukta Corporate Solutions
60.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessaryaccessories and screws etc. complete. | 16.00 | Each |  | 950.00 | 15200.00 | 500.00 | 8000.00 | 8000.00 | Avyukta Corporate Solutions
61.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board 610x510 mm bowl depth 200 mm. | 1.00 | Each |  | 4900.00 | 4900.00 | 2400.00 | 2400.00 | 2400.00 | Avyukta Corporate Solutions
62.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. a) 80x1.25 mm M.S. laths with 1.25 mm thick top cover. | 57.00 | Sqm |  | 2850.00 | 162450.00 | 2600.00 | 148200.00 | 148200.00 | Avyukta Corporate Solutions
63.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters.Exceeding 16.80 sqm in area. | 57.00 | Sqm |  | 921.00 | 52497.00 | 800.00 | 45600.00 | 45600.00 | Avyukta Corporate Solutions
64.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 3.00 | Each |  | 6000.00 | 18000.00 | 800.00 | 2400.00 | 2400.00 | Avyukta Corporate Solutions
65.00 | Extra for providing grilled rolling shutters manufactured out of 8 mm dia M.S. bar instead of laths as per design approved by Engineer-in- charge, (area of grill to be measured). | 57.00 | Sqm |  | 750.00 | 42750.00 | 650.00 | 37050.00 | 37050.00 | Avyukta Corporate Solutions
66.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete : 150x10 mm | 40.00 | Each |  | 80.00 | 3200.00 | 50.00 | 2000.00 | 2000.00 | Avyukta Corporate Solutions
67.00 | Deduct for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 20.00 | Kg |  | 50.00 | 1000.00 | 300.00 | 6000.00 | 1000.00 | M/S VERMA ENTERPRISES
68.00 | Deduct for taking away of PVC connections, PVC flushing cisten with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 500.00 | Kg |  | 30.00 | 15000.00 | 12.00 | 6000.00 | 6000.00 | Avyukta Corporate Solutions
69.00 | Deduct for taking away of aluminium butt hinges, sliding door bolts, tower bolts, pull boly lock, handle, door stopper, casement stay, tee chanals, plates etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 1200.00 | Kg |  | 80.00 | 96000.00 | 133.00 | 159600.00 | 96000.00 | M/S VERMA ENTERPRISES
70.00 | Deduct for taking away of Wooden/ plywood frames and/ or shutters for Doors/windows/ clerestory windows , trusses, battens, particle board, glazed, wired, panelled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-Charge or his authorised representative all complete. | 872.92 | Sqm |  | 30.00 | 26187.60 | 80.00 | 69833.60 | 26187.60 | M/S VERMA ENTERPRISES
71.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-Charge or his authorised representative all complete. | 1000.00 | Kg |  | 40.00 | 40000.00 | 19.00 | 19000.00 | 19000.00 | Avyukta Corporate Solutions
72.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 50.00 | Cum |  | 300.00 | 15000.00 | 1000.00 | 50000.00 | 15000.00 | M/S VERMA ENTERPRISES
73.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. a) Fixed to openings /wooden frames with rawl plugs screws etc. | 380.00 | Kg |  | 75.00 | 28500.00 | 200.00 | 76000.00 | 28500.00 | M/S VERMA ENTERPRISES
74.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : a) Ridges plain (500 - 600mm) | 70.00 | Metre |  | 530.00 | 37100.00 | 380.00 | 26600.00 | 26600.00 | Avyukta Corporate Solutions
75.00 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section. | 280.00 | Metre |  | 190.00 | 53200.00 | 110.00 | 30800.00 | 30800.00 | Avyukta Corporate Solutions
76.00 | SH II: ELECTRICAL WORKS Supplying and fixing 30 / 32 A, 415 V, TPN Industrial type socket outlet,with 4 pole and earth, metal enclosed plug top alongwith 30 / 32 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 8.00 | Job |  | 5000.00 | 40000.00 | 1500.00 | 12000.00 | 12000.00 | Avyukta Corporate Solutions
77.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 17.00 | Job |  | 800.00 | 13600.00 | 800.00 | 13600.00 | 13600.00 | Avyukta Corporate Solutions, M/S VERMA ENTERPRISES
78.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
78.01 | 8 way (4 + 24), Double door | 6.00 | Each |  | 8000.00 | 48000.00 | 4200.00 | 25200.00 | 25200.00 | Avyukta Corporate Solutions
78.02 | 4 way (4 + 12), Double door | 1.00 | Each |  | 3000.00 | 3000.00 | 2300.00 | 2300.00 | 2300.00 | Avyukta Corporate Solutions
79.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
79.01 | 5/6 A switch | 125.00 | Each |  | 200.00 | 25000.00 | 40.00 | 5000.00 | 5000.00 | Avyukta Corporate Solutions
79.02 | 15/16 A switch | 66.00 | Each |  | 200.00 | 13200.00 | 66.00 | 4356.00 | 4356.00 | Avyukta Corporate Solutions
79.03 | 3 pin 5/6 A socket outlet | 36.00 | Each |  | 100.00 | 3600.00 | 80.00 | 2880.00 | 2880.00 | Avyukta Corporate Solutions
79.04 | 6 pin 15/16 A socket outlet | 66.00 | Each |  | 150.00 | 9900.00 | 120.00 | 7920.00 | 7920.00 | Avyukta Corporate Solutions
80.00 | Supplying & fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 100.00 | Each |  | 200.00 | 20000.00 | 20.00 | 2000.00 | 2000.00 | Avyukta Corporate Solutions
81.00 | Supplying & fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excl. modular plate etc. as required. | 52.00 | Each |  | 400.00 | 20800.00 | 400.00 | 20800.00 | 20800.00 | Avyukta Corporate Solutions, M/S VERMA ENTERPRISES
82.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required.
82.01 | 3 Module (100mmX75mm) | 66.00 | Each |  | 100.00 | 6600.00 | 80.00 | 5280.00 | 5280.00 | Avyukta Corporate Solutions
82.02 | 6 Module (200mmX75mm) | 2.00 | Each |  | 150.00 | 300.00 | 150.00 | 300.00 | 300.00 | Avyukta Corporate Solutions, M/S VERMA ENTERPRISES
82.03 | 8 Module (125mmX125mm) | 21.00 | Each |  | 200.00 | 4200.00 | 200.00 | 4200.00 | 4200.00 | Avyukta Corporate Solutions, M/S VERMA ENTERPRISES
82.04 | 12 Module (200mmX150mm) | 8.00 | Each |  | 300.00 | 2400.00 | 300.00 | 2400.00 | 2400.00 | Avyukta Corporate Solutions, M/S VERMA ENTERPRISES
83.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
83.01 | Single pole | 121.00 | Each |  | 250.00 | 30250.00 | 190.00 | 22990.00 | 22990.00 | Avyukta Corporate Solutions
83.02 | Triple pole and neutral | 2.00 | Each |  | 1300.00 | 2600.00 | 800.00 | 1600.00 | 1600.00 | Avyukta Corporate Solutions
84.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 30.00 | Each |  | 250.00 | 7500.00 | 10.00 | 300.00 | 300.00 | Avyukta Corporate Solutions
85.00 | Supplying and fixing 63 A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 3000.00 | 12000.00 | 2000.00 | 8000.00 | 8000.00 | Avyukta Corporate Solutions
86.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
86.01 | 20 mm | 200.00 | Mtr |  | 20.00 | 4000.00 | 65.00 | 13000.00 | 4000.00 | M/S VERMA ENTERPRISES
86.02 | 25 mm | 200.00 | Mtr |  | 30.00 | 6000.00 | 70.00 | 14000.00 | 6000.00 | M/S VERMA ENTERPRISES
87.00 | Supply of following sizes FRLSH PVC insulated Single Core Copper Conductor (unsheathed) industrial flexible Cables 1100 Volt Conforming to IS 694 as and when required and as directed by E-I-C :-
87.01 | 1.5 sqmm | 500.00 | Mtr |  | 30.00 | 15000.00 | 15.00 | 7500.00 | 7500.00 | Avyukta Corporate Solutions
87.02 | 2.5 sqmm | 500.00 | Mtr |  | 50.00 | 25000.00 | 25.00 | 12500.00 | 12500.00 | Avyukta Corporate Solutions
87.03 | 4 sqmm | 500.00 | Mtr |  | 65.00 | 32500.00 | 45.00 | 22500.00 | 22500.00 | Avyukta Corporate Solutions
88.00 | Supply & laying of following sizes FR PVC insulated & PVC round sheathed Multi Core Annealed bare Copper Conductor (flexible) industrial Cables for 1100 Volt grade Conforming to IS 694:2010 as & when required as directed by E-I-C :-
88.01 | 3 C x 2.5 sqmm | 400.00 | Mtr |  | 20.00 | 8000.00 | 90.00 | 36000.00 | 8000.00 | M/S VERMA ENTERPRISES
88.02 | 3 C x 4.0 sqmm | 400.00 | Mtr |  | 30.00 | 12000.00 | 100.00 | 40000.00 | 12000.00 | M/S VERMA ENTERPRISES
89.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
89.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 500.00 | Mtr |  | 110.00 | 55000.00 | 80.00 | 40000.00 | 40000.00 | Avyukta Corporate Solutions
89.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 500.00 | Mtr |  | 180.00 | 90000.00 | 100.00 | 50000.00 | 50000.00 | Avyukta Corporate Solutions
89.03 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 500.00 | Mtr |  | 230.00 | 115000.00 | 130.00 | 65000.00 | 65000.00 | Avyukta Corporate Solutions
90.00 | Supply, Installation, Testing and Commissioning of 1200mm, service value ≥ 6.0 CM/Min/Watt, air delivery 210 CM/Min (Minimum) ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. metal (Aluminum alloy) blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, steel/Al body Power Factor not less than 0.9, Service Value (CM/M/W) minimum as below, 350 RPM (tolerance as per IS : 374-2019), THD (Total Harmonic Distortion) less than 10%, remote (preferably mobile app based) for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Ceiling Fan compliant to IS 374:2019 i/c Supply, earthing etc. complete as required. | 52.00 | Each |  | 2800.00 | 145600.00 | 2200.00 | 114400.00 | 114400.00 | Avyukta Corporate Solutions
91.00 | Execution of items of work as per requirement of site from the CPWD Schedule of Rates (Electrical DSR-2022) as per CPWD Specification complete as required (total amount of Rs.1,50,000/- (excl. GST) is kept for DSR Items 2022). Percentage above/ below CPWD Schedule of Rates E&M 2022. | 1.00 | Job |  | 120000.00 | 120000.00 | 130000.00 | 130000.00 | 120000.00 | M/S VERMA ENTERPRISES
| Total in Figures |  |  |  |  | 11130539.10 |  | 9594329.60
Lowest Amount Quoted BY: Avyukta Corporate Solutions(9594329.60)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation/ Modification Works at MT Workshop, RHQ-NR, Rangpuri, New Delhi (Recall) Tender ID: 2025_AAI_246749_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Avyukta Corporate Solutions (BID ID -929640) | 9594329.60 | L1
| 2 | M/S VERMA ENTERPRISES (BID ID -931551) | 11130539.10 | L2