## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 30-Sep-2025 11:38 AM Tender Title: Replacement of power cable and LT panel of perimeter light including provision of power supply to watch tower at Dimapur Airport. Tender ID: 2025_AAI_246756_1
Tender Inviting Authority: AGM(E-E) AAI, Dimapur Airport.
Name of Work: “Replacement of power cable and LT panel of perimeter light including provision of power supply to watch tower at Dimapur Airport.
Contract No: 2025_AAI_246756_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | North Eastern Engineers (GSTN-18AABFN4790M3ZP) BID ID -899417 |  | Genesis (GSTN-09AGAPJ4118N1ZA) BID ID -903267 |  | MS BHARAT ELECTRICALS (GSTN-NA) BID ID -904112 |  | Virtus Techno (GSTN-NA) BID ID -903961 |  | Shiva Enterprises (GSTN-NA) BID ID -904201
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 30 Watts fully weather proof with IP 66 protected, Integral type, LED Street Light Luminaire comprising of Pressure Die Cast Aluminum housing with suitable toughned glass and individual LED with secondary optics for operation on variable AC inputs employing highly efficient constant current electronic driver etc complete as required with prior approval of EIC | 480.00 | each |  | 800.00 | 384000.00 | 1050.00 | 504000.00 | 1050.00 | 504000.00 | 2146.00 | 1030080.00 | 1430.00 | 686400.00 | 384000.00 | North Eastern Engineers
2.00 | Supply of 90 Watts fully weather proof with IP 66 protected, Integral type, LED Street Light Luminaire comprising of Pressure Die Cast Aluminum housing with suitable toughned glass and individual LED with secondary optics for operation on variable AC inputs employing highly efficient constant current electronic driver etc complete as required with prior approval of EIC | 60.00 | each |  | 2400.00 | 144000.00 | 4000.00 | 240000.00 | 3600.00 | 216000.00 | 3190.00 | 191400.00 | 3100.00 | 186000.00 | 144000.00 | North Eastern Engineers
3.00 | Supply of XLPE insulated and PVC sheathed , stranded Al. conductor, armoured cable of 1.1 KV grade, conforming to IS : 7098 (part-I) with upto date ammendment etc. as and when required
3.10 | 3½ x 185 sqmm | 1650.00 | Mtr |  | 810.00 | 1336500.00 | 1000.00 | 1650000.00 | 950.00 | 1567500.00 | 842.16 | 1389564.00 | 870.00 | 1435500.00 | 1336500.00 | North Eastern Engineers
3.20 | 4x25 sqmm | 9000.00 | Mtr |  | 166.00 | 1494000.00 | 189.90 | 1709100.00 | 190.00 | 1710000.00 | 172.26 | 1550340.00 | 180.00 | 1620000.00 | 1494000.00 | North Eastern Engineers
4.00 | Supply and fixing of dust & water proof, corrosion free junction box having suitable size made of Thermoplastic/ Polycarbonete having glands and studd type terminals block to accommodate incoming cable of size 25sqmm and suitable outgoing cables and fixing on existing street light pole/ surface with suitable clamps, providing 1 no. “C” series 6A SPN MCB in the box suitable for termination of 2 nos of 4 x 25 sq. mm armoured cable etc. complete as required. (Looping box of make Trinity Touch, Cat No.HE-PC 2819 17G or equivalent) | 240.00 | each |  | 4000.00 | 960000.00 | 2400.00 | 576000.00 | 2200.00 | 528000.00 | 3680.00 | 883200.00 | 2300.00 | 552000.00 | 528000.00 | MS BHARAT ELECTRICALS
5.00 | Fabrication, installation of bracket suitable for installing two nos of street light fitting in opposite ditection made out of 32 mm dia GI pipe(M) bracket of 2 mtr lenght with suitable MS base plate in square shape having holes for mounting of wall including painting, anchor fastner or saddles etc. complete as required.(The bracket design shall be finalized by EIC at the time of execution) | 240.00 | each |  | 1800.00 | 432000.00 | 1000.00 | 240000.00 | 550.00 | 132000.00 | 862.50 | 207000.00 | 1150.00 | 276000.00 | 132000.00 | MS BHARAT ELECTRICALS
6.00 | Installation, testing and commissioning of LED street light luminaire on existing bracket including connection by supply and drawing of 3C x 2.5 sqmm PVC insulated and FR PVC Round Sheathed, Copper Conductor (flexible) industrial cable conforming to IS: 694, with upto date amendements from loop-in-loop-out box (junction box) upto the individual street light fittings, connection etc. complete as required & as specified. | 480.00 | each |  | 1000.00 | 480000.00 | 770.55 | 369864.00 | 500.00 | 240000.00 | 517.50 | 248400.00 | 350.00 | 168000.00 | 168000.00 | Shiva Enterprises
7.00 | Supplying and laying of 50 mm dia (OD-50 mm & ID-45 mm nominal) size DWC HDPE pipe along with all accessories like socket, bend, couplers, seal rings etc. conforming to IS 16205 Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 6000.00 | Mtr |  | 140.00 | 840000.00 | 92.00 | 552000.00 | 140.00 | 840000.00 | 126.50 | 759000.00 | 135.00 | 810000.00 | 552000.00 | Genesis
8.00 | Supplying and laying of 120 mm dia (OD-120 mm & ID-103 mm nominal) size DWC HDPE pipe along with all accessories like socket, bend, couplers, seal rings etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 1450.00 | mtr |  | 260.00 | 377000.00 | 230.00 | 333500.00 | 250.00 | 362500.00 | 207.00 | 300150.00 | 240.00 | 348000.00 | 300150.00 | Virtus Techno
9.00 | Laying of one number XLPE armoured power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required:
9.10 | Upto 35 Sq.mm | 5800.00 | mtr |  | 50.00 | 290000.00 | 30.00 | 174000.00 | 18.00 | 104400.00 | 40.25 | 233450.00 | 45.00 | 261000.00 | 104400.00 | MS BHARAT ELECTRICALS
9.20 | Above 95 sq. mm and upto 185 sq. mm | 1450.00 | mtr |  | 160.00 | 232000.00 | 50.00 | 72500.00 | 50.00 | 72500.00 | 92.00 | 133400.00 | 95.00 | 137750.00 | 72500.00 | Genesis, MS BHARAT ELECTRICALS
10.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing masonary open duct.
10.10 | Upto 35 Sq.mm | 25.00 | mtr |  | 40.00 | 1000.00 | 20.00 | 500.00 | 20.00 | 500.00 | 40.25 | 1006.25 | 35.00 | 875.00 | 500.00 | Genesis, MS BHARAT ELECTRICALS
10.20 | Above 95 sq. mm and upto 185 sq. mm | 100.00 | mtr |  | 130.00 | 13000.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 92.00 | 9200.00 | 90.00 | 9000.00 | 5000.00 | Genesis, MS BHARAT ELECTRICALS
11.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of folowing size on wall surface as required.
11.10 | Upto 35 Sq.mm (Clamped with 1mm thick saddle) | 2000.00 | mtr |  | 40.00 | 80000.00 | 24.00 | 48000.00 | 20.00 | 40000.00 | 51.75 | 103500.00 | 55.00 | 110000.00 | 40000.00 | MS BHARAT ELECTRICALS
11.20 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 50.00 | mtr |  | 134.00 | 6700.00 | 75.00 | 3750.00 | 50.00 | 2500.00 | 138.00 | 6900.00 | 120.00 | 6000.00 | 2500.00 | MS BHARAT ELECTRICALS
12.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 grade as required.
12.10 | 31/2 x 185 Sq. mm.(57mm) | 6.00 | set |  | 3300.00 | 19800.00 | 676.00 | 4056.00 | 500.00 | 3000.00 | 747.50 | 4485.00 | 900.00 | 5400.00 | 3000.00 | MS BHARAT ELECTRICALS
12.20 | 4 x 25 Sq. mm.(28mm) | 550.00 | set |  | 1300.00 | 715000.00 | 215.00 | 118250.00 | 200.00 | 110000.00 | 287.50 | 158125.00 | 225.00 | 123750.00 | 110000.00 | MS BHARAT ELECTRICALS
13.00 | Supplying and making straight through joint with cast resin compound ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 grade as required.
13.10 | 31/2 x 185 Sq. mm. | 3.00 | each |  | 7500.00 | 22500.00 | 4100.00 | 12300.00 | 4500.00 | 13500.00 | 1495.00 | 4485.00 | 3400.00 | 10200.00 | 4485.00 | Virtus Techno
13.20 | 4x25 Sq.mm | 10.00 | each |  | 4500.00 | 45000.00 | 1020.00 | 10200.00 | 1000.00 | 10000.00 | 747.50 | 7475.00 | 2500.00 | 25000.00 | 7475.00 | Virtus Techno
14.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required
14.10 | 50mm dia. | 150.00 | mtr |  | 600.00 | 90000.00 | 468.00 | 70200.00 | 420.00 | 63000.00 | 411.70 | 61755.00 | 250.00 | 37500.00 | 37500.00 | Shiva Enterprises
14.20 | 100mm dia | 150.00 | mtr |  | 1100.00 | 165000.00 | 1000.00 | 150000.00 | 650.00 | 97500.00 | 936.10 | 140415.00 | 550.00 | 82500.00 | 82500.00 | Shiva Enterprises
15.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 meter in width, and lift upto 1.5 meter, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 meter. | 120.00 | Cu.mtr |  | 500.00 | 60000.00 | 900.00 | 108000.00 | 250.00 | 30000.00 | 1437.50 | 172500.00 | 400.00 | 48000.00 | 30000.00 | MS BHARAT ELECTRICALS
16.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required | 8.00 | set |  | 16000.00 | 128000.00 | 4800.00 | 38400.00 | 4500.00 | 36000.00 | 9775.00 | 78200.00 | 8500.00 | 68000.00 | 36000.00 | MS BHARAT ELECTRICALS
17.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 60.00 | mtr |  | 300.00 | 18000.00 | 62.00 | 3720.00 | 50.00 | 3000.00 | 27.60 | 1656.00 | 290.00 | 17400.00 | 1656.00 | Virtus Techno
18.00 | Providing and fixing 6 SWG dia. GI wire on surface/in ground or in recess for loop eathing along with cable as required. | 9000.00 | mtr |  | 12.00 | 108000.00 | 38.00 | 342000.00 | 40.00 | 360000.00 | 27.60 | 248400.00 | 20.00 | 180000.00 | 108000.00 | North Eastern Engineers
19.00 | Supply and mechanised laying of 160 mm dia high density polyethylene (HDPE) pipe PE 80 complete with accessories like couplers, bends etc through horizontal direct drilling(HDD) Upto depth of 3.0 mtr including coupling / jointing of pipe. Complete as required. | 400.00 | mtr |  | 2000.00 | 800000.00 | 1300.00 | 520000.00 | 1600.00 | 640000.00 | 741.75 | 296700.00 | 1650.00 | 660000.00 | 296700.00 | Virtus Techno
20.00 | SITC of outdoor cubicle type double door totally enclosed compartmentalized floor mounting type dust weather and vermin proof LT feeder piller panel suitable for 415V, 4 wire, 50Hz supply, fabricated from CRCA sheet of 2mm thick complete with bus bar, ammeter, voltmeter, Indication lamp(LED type) , interconnecting with suitable size of copper leads/ solid aluminium strip/ rod and having following incoming and outgoing MCCB/Switch gears with rotary mechanism as per latest IS Specifications, supported on suitable size of angle iron frame, making PCC foudation work etc complete as required. (a) Incomer of 125 Amp. 35 kA Breaking Capacity(ics=icu) 4P MCCB (with provision of termination spreader) :-1 no. (b) Outgoing of 40 Amp MCCB 4P 35 KA Breaking Capacity 4nos. (c) 3 Pole Contactor 40A with photo sensor type Timer = 1No (d) Digital Volt Meter & Ammeter with in built selector Swiches, Indicating Lamp (LED Type) with MCB backup one set. (e) 415 Volt 3 Phase Neutral 100Amp. Aluminium Insulated Busbar One set. | 3.00 | set |  | 200000.00 | 600000.00 | 120000.00 | 360000.00 | 97506.00 | 292518.00 | 167475.00 | 502425.00 | 135000.00 | 405000.00 | 292518.00 | MS BHARAT ELECTRICALS
| Total in Figures |  |  |  |  | 9841500.00 |  | 8215340.00 |  | 7983418.00 |  | 8723211.25 |  | 8269275.00
Lowest Amount Quoted BY: MS BHARAT ELECTRICALS(7983418.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of power cable and LT panel of perimeter light including provision of power supply to watch tower at Dimapur Airport. Tender ID: 2025_AAI_246756_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MS BHARAT ELECTRICALS (BID ID -904112) | 7983418.00 | L1
| 2 | Genesis (BID ID -903267) | 8215340.00 | L2
| 3 | Shiva Enterprises (BID ID -904201) | 8269275.00 | L3
| 4 | Virtus Techno (BID ID -903961) | 8723211.25 | L4
| 5 | North Eastern Engineers (BID ID -899417) | 9841500.00 | L5