## BoQ1
Government eProcurement System Created By: KESHAV AUTADE Created Date/Time: 06-Oct-2025 03:45 PM Tender Title: Job contract for operation and maintenance of E and M installations of Operational area GLF system including Old Power House OTB and other ancillary Buildings at Kolhapur Airport Kolhapur for 02 Years 2025-27 Tender ID: 2025_AAI_246907_1
Tender Inviting Authority: MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR.
Name of Work: Job contract for operation & maintenance of E & M installations of Operational area, GLF system including Old Power House, OTB & other ancillary Buildings at Kolhapur Airport, Kolhapur for 02 Years (2025-27)
Contract No: 2025_AAI_246907_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -904337 |  | M/s BHARAT ELECTRIC, NAGPUR (GSTN-27ALSPP1335N1ZG) BID ID -904998 |  | NATIONAL SAFETY ENGINEERS (GSTN-07ADCPT3599E3Z6) BID ID -905006 |  | Eagle Associates (GSTN-NA) BID ID -904483 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -905017
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation & maintenance of all GLF system comprising runway edge, taxiways, isolation bay edge lighting, apron edge lighting, approach lighting, PAPI system , CCR panels and apron high mast lighting, electrical installation of ILS, DVOR, ATC building, fire station, MT section, other buildings of operational area, perimeter lighting and other area lighting of operational area which involves repair, maintenance and attending to complaint/fault/breakdowns and taking rectification action ensuring serviceability/satisfactory working condition of the system, carrying out preventive maintenance, maintenance of records and documentation etc. round the clock on all days i/c sundays, holidays etc. as required. | 24.00 | Months |  | 382000.00 | 9168000.00 | 400000.00 | 9600000.00 | 375000.00 | 9000000.00 | 361899.00 | 8685576.00 | 403820.00 | 9691680.00 | 8685576.00 | Eagle Associates
2.00 | Carrying out in field test for measurement of intensity, beam spread and orientation (4C's i.e- Configuration, Colour, Candelas and Coverage) GLF system consisting of elevated, inset type runway edge lights, threshold, runway end lights, SAPL, Taxiway Lights and other AGL including PAPI lights by using testing equipment as per ICAO/CAR requirements including submission of test reports in soft and hard copy, required angle setting to compliance to the DGCA / ICAO requirements etc. complete as required. Testing to be done once in a year. | 2.00 | Job |  | 225000.00 | 450000.00 | 200000.00 | 400000.00 | 450000.00 | 900000.00 | 400000.00 | 800000.00 | 385000.00 | 770000.00 | 400000.00 | M/s BHARAT ELECTRIC, NAGPUR
3.00 | Painting of Runway/Taxiway/SAPL/THD/END Light Fittings etc., with one or more coats of spray painting with synthetic enamel paint of approved colour, brand and manufacture to give an even shade, including cleaning of surface with detergent, applying metal primer on rusted surface, numbering to the original etc., complete as required. | 344.00 | Each |  | 90.00 | 30960.00 | 100.00 | 34400.00 | 500.00 | 172000.00 | 250.00 | 86000.00 | 90.00 | 30960.00 | 30960.00 | Techno Electricals, ABHISHEK INTEGRATIONS LIMITED
4.00 | Calibration of Clinometer (Make: AMA Pvt.Ltd.,) through NABL accredited laboratory and submission of reports including to & fro transportation to the laboratory etc. complete as required. (1 job per year) | 2.00 | Job |  | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 40000.00 | 80000.00 | 3500.00 | 7000.00 | 22000.00 | 44000.00 | 7000.00 | Eagle Associates
5.00 | Comprehensive maintenance contract for following Air Conditioners which involves comprehensive maintenance of Air Conditioners of different makes at different locations including supply of spares and consumables as per the contract terms & conditions and instructions of Engineer-in-charge as required. Note: Rate quoted should be for 24 Months, payment shall be made on pro-rata basis for each successful completed month) 1.5 TR /2.0 TR Split AC units. | 30.00 | Each |  | 12000.00 | 360000.00 | 5000.00 | 150000.00 | 9000.00 | 270000.00 | 6000.00 | 180000.00 | 4800.00 | 144000.00 | 144000.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Comprehensive maintenance contract for following Air Conditioners which involves comprehensive maintenance of Air Conditioners of different makes at different locations including supply of spares and consumables as per the contract terms & conditions and instructions of Engineer-in-charge as required. Note: Rate quoted should be for 24 Months, payment shall be made on pro-rata basis for each successful completed month) 1.5 TR /2.0 TR Split AC units (w.e.f. 08.04.2026) | 6.00 | Each |  | 10000.00 | 60000.00 | 5000.00 | 30000.00 | 7000.00 | 42000.00 | 6000.00 | 36000.00 | 3000.00 | 18000.00 | 18000.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Comprehensive maintenance contract for R.O. Water Purifier and cooler which involves comprehensive maintenance of R.O. Water Purifier at different locations including supply of spares and consumables and providing output water test report from government approved lab or equivalent quaterly as per the contract terms & conditions and instructions of Engineer-in-charge as required. Note: Rate quoted should be for 24 Months, payment shall be made on pro-rata basis for each successful completed month) | 4.00 | Each |  | 22000.00 | 88000.00 | 5000.00 | 20000.00 | 11000.00 | 44000.00 | 10000.00 | 40000.00 | 5400.00 | 21600.00 | 20000.00 | M/s BHARAT ELECTRIC, NAGPUR
8.00 | Dismanttling and Re-Installation of 1.5 / 2 TR Split AC Units (indoor and outdoor units) including recharging of R32 refrigerant gas, replacement if 1/2' cooper pipe, 1/4' cooper pipe with ODU bracket, flexible drain pipe, 5/8' superlon etc. complete as required. | 5.00 | Job |  | 3500.00 | 17500.00 | 5000.00 | 25000.00 | 4000.00 | 20000.00 | 2000.00 | 10000.00 | 2500.00 | 12500.00 | 10000.00 | Eagle Associates
9.00 | DSR 2022 item for Rs. 5,00,000/- (excluding GST) [Note : The rate may be quoted in the following manner - (i) If quoted rate is Rs. 4,50,000/- then the percentage will considered as 10% below DSR 2022. (Rs. 5,00,000 - 10%) (ii) If quoted rate is Rs. 5,50,000/- then the percentage will considered as 10% above DSR 2022. (Rs. 5,00,000 + 10%) Note: DSR 2022 is inclusive of GST, however the contractor has to quote the rates above or below excluding GST. | 1.00 | Job |  | 470000.00 | 470000.00 | 500000.00 | 500000.00 | 480000.00 | 480000.00 | 290000.00 | 290000.00 | 500000.00 | 500000.00 | 290000.00 | Eagle Associates
10.00 | Servicing of following 11 KV / 0.433 KV circuit Breakers alongwith carrying out the maintenance/service as per the manufacturers recommendations and submission of service reports etc., twice during the contract period complete as required. 11kV, 630 A, Vaccume Circuit Breakers (Schneider Make) - 3 Nos. (01 I/C + 02 O/G) | 2.00 | Job |  | 7000.00 | 14000.00 | 20000.00 | 40000.00 | 35000.00 | 70000.00 | 22500.00 | 45000.00 | 19800.00 | 39600.00 | 14000.00 | Techno Electricals
11.00 | Dehydration/Filtration of 1000 KVA, 11kV/0.433 kV transformer (Make: Sudhir) oil to attain acceptable di-electric strength by hot streamline process for the oil cooled transformers, OLTC etc. including testing of BDV before & after filtration, Acidity, DGA test, submission of test reports, transportation of equipment etc. complete as required (Tentative Oil Qty. - 1645 i/c OLTC) | 2.00 | Job |  | 8000.00 | 16000.00 | 20000.00 | 40000.00 | 40000.00 | 80000.00 | 12000.00 | 24000.00 | 18095.00 | 36190.00 | 16000.00 | Techno Electricals
12.00 | Supply & top up of transformer oil for transformer, OLTC etc. complete as required. | 120.00 | litre |  | 165.00 | 19800.00 | 125.00 | 15000.00 | 250.00 | 30000.00 | 140.00 | 16800.00 | 143.00 | 17160.00 | 15000.00 | M/s BHARAT ELECTRIC, NAGPUR
13.00 | Testing & Calibration of following protective relays fitted in the 11 kV cubicle panels by using secondary and primary injection kit including adjustment, submission of test report etc., complete as required. O/C & E/F Relays (Total - 06 Nos. Make: Schneider, Type: P3U30-5ABA1BHAA - 02 Nos, P3U20-5ABA1ACAA - 04) | 2.00 | Job |  | 12000.00 | 24000.00 | 5000.00 | 10000.00 | 19000.00 | 38000.00 | 22500.00 | 45000.00 | 18000.00 | 36000.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR
14.00 | Testing & Calibration of following protective relays fitted in the 11 kV cubicle panels by using secondary and primary injection kit including adjustment, submission of test report etc., complete as required. Auxiliary Relays (Total-12 Nos, Make: GE, Model: Type VAA33) | 2.00 | Job |  | 24000.00 | 48000.00 | 5000.00 | 10000.00 | 12000.00 | 24000.00 | 7500.00 | 15000.00 | 24000.00 | 48000.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR
15.00 | Testing & Calibration of following protective relays fitted in the 11 kV cubicle panels by using secondary and primary injection kit including adjustment, submission of test report etc., complete as required. Master trip relay (Total- 03 Nos., Make: GE, Model: VAJH13) | 2.00 | Job |  | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 7500.00 | 15000.00 | 7500.00 | 15000.00 | 18000.00 | 36000.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR
16.00 | Testing & Calibration of following protective relays fitted in the 415 V cubicle panels by using secondary and primary injection kit including submission of test report etc., complete as required. Master trip relay (Total- 02 Nos., Make: ABB, Type: PQ8nCH2J) | 2.00 | Job |  | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 7500.00 | 15000.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR
17.00 | Lifting and lowering of upto 10 HP submersible pump along with column pipe detaching one length of column pipe from rest of column pipe by opening nut and bolts in this manner taking out entire pump system and lowering of entire pump system in the reverse order of the above process including chain block and supporting pipes transportation, testing and commissioning etc as required (up to 3 inch G.I. Pipe). | 5.00 | Job |  | 3000.00 | 15000.00 | 7020.00 | 35100.00 | 12000.00 | 60000.00 | 7504.00 | 37520.00 | 2500.00 | 12500.00 | 12500.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Spray painting of Electrical panels, feeder pillars, DBs, metal structures, members, installations/equipment etc., with two coats of synthetic enamel paint of approved colour (all shades except black or chocolate shade) by using spray gun to give an even shade including cleaning the rusted area, scrapping of surface, applying metal primer on rusted surface, covering of meters, switches, glass etc. marking/naming to the original etc. complete as required. | 25.00 | Sqm |  | 300.00 | 7500.00 | 100.00 | 2500.00 | 120.00 | 3000.00 | 250.00 | 6250.00 | 300.00 | 7500.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
19.00 | Laying of following size DWC HDPE pipe complete with fitting and cutting,jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. Upto 63 mm dia | 600.00 | Meter |  | 100.00 | 60000.00 | 150.00 | 90000.00 | 200.00 | 120000.00 | 53.00 | 31800.00 | 150.00 | 90000.00 | 31800.00 | Eagle Associates
| Total in Figures |  |  |  |  | 10892760.00 |  | 11052000.00 |  | 11463000.00 |  | 10385946.00 |  | 11567690.00
Lowest Amount Quoted BY: Eagle Associates(10385946.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job contract for operation and maintenance of E and M installations of Operational area GLF system including Old Power House OTB and other ancillary Buildings at Kolhapur Airport Kolhapur for 02 Years 2025-27 Tender ID: 2025_AAI_246907_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Eagle Associates (BID ID -904483) | 10385946.00 | L1
| 2 | Techno Electricals (BID ID -904337) | 10892760.00 | L2
| 3 | M/s BHARAT ELECTRIC, NAGPUR (BID ID -904998) | 11052000.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS (BID ID -905006) | 11463000.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED (BID ID -905017) | 11567690.00 | L5