## BoQ1
Government eProcurement System Created By: SANJAY BHARDWS Created Date/Time: 06-Nov-2025 04:16 PM Tender Title: Design, Supply, Installation, Testing and commissioning of Roof Top Solar Plant at Amritsar Airport. Tender ID: 2025_AAI_246982_1
Tender Inviting Authority: <AGM Engg (Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <Design, Supply, Installation, Testing and commissioning of Roof Top Solar Plant at Amritsar Airport.>
Tender ID: <2025_AAI_246982_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Success Impex Pvt Ltd (GSTN-07AABCS0867M1Z1) BID ID -904107 |  | MATESHWARI ENTERPRISES (GSTN-08AQUPJ7022P1Z2) BID ID -904136 |  | Variant Infratech Private Limited (GSTN-NA) BID ID -904880 |  | Shakti Power Solutions Pvt. Ltd. (GSTN-NA) BID ID -903028 |  | Multi Overseas India Pvt Ltd (GSTN-NA) BID ID -897474 |  | Cosmo Infrasolutions (GSTN-NA) BID ID -904263 |  | OM SOLAR SOLUTIONS (GSTN-NA) BID ID -904761 |  | Oakridge Energy Private Limited (GSTN-NA) BID ID -904001 |  | SOLIDUS TECHNO POWER PRIVATE LIMITED (GSTN-NA) BID ID -899425 |  | Vishal Technopower Private Limited (GSTN-NA) BID ID -904285 |  | BHAGWATI KRUPA SOLAR POWER PRIVATE LIMITED (GSTN-NA) BID ID -902987 |  | MADHAV SOLAR ENERGY LIMITED (GSTN-NA) BID ID -904929 |  | NEWSOL PV POWER PRIVATE LIMITED (GSTN-NA) BID ID -904514 |  | AYCAL POWER INFRA PRIVATE LIMITED (GSTN-NA) BID ID -902244
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
0.00 | SH-A - SITC Work:
1.10 | Design, Supply, Installation, Testing and Commissioning of on grid Solar Photovoltaic Power Plant( for Amritsar Airport) conforming to MNRE specifications as amended, consisting of Mono Crystalline silicon solar cells, net metering facility, necessary protections, earthing, mounted on Aluminium/GI structure of suitable strength with following components complete as required:- a) Solar Photovoltaic Module of capacity 540 Wp or above, manufactured in India, conforming to IS 14286/IEC 61215, IS/IEC 61730-Part-1, IS/IEC 61730-Part-2. Solar Photovoltaic Module conversion efficiency shall not be less than 16.5%. PV modules used in solar power plants/ systems must be warranted for their output peak watt capacity, which should not be less than 90% at the end of 10 years and 80% at the end of 25 years. b) Power Conditioning Unit (PCU) of 350-800 V DC Input voltage range and 400 V AC, three phase, 4 wire, 50Hz +/- 2.5 Hz, output voltage suitable to generate AC Power with efficiency not less than 97%, total harmonic distortion less than 3% and suitable for ambient temperature from 0 to 50-degree C. The PCU shall adjust the voltage and frequency level to suit the Grid Voltage Frequency. c) Fixing of Array junction box & Main junction box with IP 65 protection and termination arrangement for incoming and outgoing cable along with glands, lugs and other accessories etc. as required. d) Lightning and surge voltage protection. e) Connections & Interconnections by supplying & fixing required size XLPE insulated copper conductor 1.1 kV grade armoured power and DC cables between solar modules, main power cable to grid supply to PCU unit along with supplying & fixing of necessary channel/conduit lugs and other accessories etc. as required. f) DLP 01 years. g) Carrying out Glint/Glare Analysis for safe flight operations, shadow analysis, clearance/approval from DISCOM, CEA and other statutory agencies, transportations & insurance of materials etc. and all other items/accessories/services which are required for successful commissioning of Solar Power plant complete as required as per technical specifications & terms & conditions of the contract. | 83.00 | KWp |  | 45987.00 | 3816921.00 | 39500.00 | 3278500.00 | 37000.00 | 3071000.00 | 34542.00 | 2866986.00 | 37000.00 | 3071000.00 | 40500.00 | 3361500.00 | 49000.00 | 4067000.00 | 41999.00 | 3485917.00 | 50700.00 | 4208100.00 | 34510.00 | 2864330.00 | 43200.00 | 3585600.00 | 77033.00 | 6393739.00 | 38000.00 | 3154000.00 | 50514.00 | 4192662.00 | 2864330.00 | Vishal Technopower Private Limited
2.00 | Providing and laying of 25 mm CPVC pipe, having thermal stability for hot and cold water supply on roof for cleaning of solar PV panel etc. Job includes provision of CPVC ball valve at each outlet etc. as per site requirement. | 80.00 | Mtr |  | 498.00 | 39840.00 | 140.00 | 11200.00 | 1000.00 | 80000.00 | 245.00 | 19600.00 | 400.00 | 32000.00 | 110.00 | 8800.00 | 150.00 | 12000.00 | 100.00 | 8000.00 | 200.00 | 16000.00 | 250.00 | 20000.00 | 300.00 | 24000.00 | 350.00 | 28000.00 | 625.00 | 50000.00 | 46.00 | 3680.00 | 3680.00 | AYCAL POWER INFRA PRIVATE LIMITED
3.00 | SITC of one HP monoblock pump motor for supplying water etc as per site requirement and direction of EIC. Job includes connection of CPVC Pipe in and out of the pump motor. | 1.00 | Job |  | 21482.00 | 21482.00 | 15000.00 | 15000.00 | 30000.00 | 30000.00 | 39000.00 | 39000.00 | 10000.00 | 10000.00 | 49500.00 | 49500.00 | 10000.00 | 10000.00 | 15000.00 | 15000.00 | 12000.00 | 12000.00 | 8400.00 | 8400.00 | 20000.00 | 20000.00 | 35000.00 | 35000.00 | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 5000.00 | AYCAL POWER INFRA PRIVATE LIMITED
3.01 | SH-B - AICMC Work
4.00 | All inclusive Comprehensive Maintenance Contract (AICMC) All inclusive Comprehensive Maintenance of Roof top Solar Plant after DLP (01 Year) as above including minimum quartely visit for preventive maintenance, trouble shooting and breakdown maintenance by service engineer as required as per recommendation of original manufacturer, good engineering practice & instructions of Engineer- in charge in line with tender scope and carry out of PR test & CUF at the end of each year of AICMC as per terms and conditions specified in tender document .
4.01 | 1st year after DLP of 1 years (2.1 % of SITC cost) | 1.00 | Year |  | 81443.00 | 68550.57 | 69399.00 | 58413.14 | 66801.00 | 56226.40 | 61437.00 | 51711.52 | 65373.00 | 55024.45 | 71816.00 | 60447.53 | 85869.00 | 72275.94 | 73687.00 | 62022.35 | 88958.00 | 74875.95 | 60747.00 | 51130.75 | 76222.00 | 64156.06 | 135592.00 | 114127.79 | 67599.00 | 56898.08 | 88228.00 | 74261.51 | 51130.75 | Vishal Technopower Private Limited
4.02 | 2nd year after DLP of 1 years (2.31 % of SITC cost) | 1.00 | Year |  | 89587.00 | 69179.08 | 76339.00 | 58948.98 | 73481.00 | 56742.03 | 67581.00 | 52186.05 | 71910.00 | 55528.90 | 78997.00 | 61001.48 | 94456.00 | 72938.92 | 81056.00 | 62591.44 | 97854.00 | 75562.86 | 66822.00 | 51599.95 | 83844.00 | 64744.34 | 149151.00 | 115174.40 | 74359.00 | 57420.02 | 97051.00 | 74942.78 | 51599.95 | Vishal Technopower Private Limited
4.03 | 3rd year after DLP of 1 years (2.54 % of SITC cost) | 1.00 | Year |  | 98507.00 | 69782.36 | 83939.00 | 59462.39 | 80797.00 | 57236.59 | 74310.00 | 52641.20 | 79070.00 | 56013.19 | 86863.00 | 61533.75 | 103861.00 | 73575.13 | 89126.00 | 63136.86 | 107597.00 | 76221.71 | 73475.00 | 52049.69 | 92192.00 | 65308.81 | 164001.00 | 116178.31 | 81763.00 | 57920.91 | 106714.00 | 75596.20 | 52049.69 | Vishal Technopower Private Limited
4.04 | 4th year after DLP of 1 years (2.80 % of SITC cost) | 1.00 | Year |  | 108591.00 | 70573.29 | 92532.00 | 60136.55 | 89068.00 | 57885.29 | 81916.00 | 53237.21 | 87164.00 | 56647.88 | 95754.00 | 62230.52 | 114492.00 | 74408.35 | 98250.00 | 63852.68 | 118611.00 | 77085.29 | 80996.00 | 52639.30 | 101629.00 | 66048.69 | 180789.00 | 117494.77 | 90132.00 | 58576.79 | 117638.00 | 76452.94 | 52639.30 | Vishal Technopower Private Limited
4.05 | 5th year after DLP of 1 years (3.07 % of SITC cost) | 1.00 | Year |  | 119062.00 | 70996.67 | 101454.00 | 60497.02 | 97657.00 | 58232.87 | 89815.00 | 53556.68 | 95569.00 | 56987.79 | 104988.00 | 62604.34 | 125532.00 | 74854.73 | 107724.00 | 64235.82 | 130048.00 | 77547.62 | 88807.00 | 52955.61 | 111429.00 | 66445.11 | 198222.00 | 118199.78 | 98823.00 | 58928.15 | 128981.00 | 76911.37 | 52955.61 | Vishal Technopower Private Limited
| Total in Figures |  |  |  |  | 4227324.97 |  | 3602158.07 |  | 3467323.19 |  | 3188918.67 |  | 3393202.22 |  | 3727617.63 |  | 4457053.08 |  | 3824756.15 |  | 4617393.43 |  | 3153105.30 |  | 3956303.01 |  | 7037914.05 |  | 3508743.95 |  | 4579506.79
Lowest Amount Quoted BY: Vishal Technopower Private Limited(3153105.30)

## BOQ Summary
BOQ Summary Details Tender Title: Design, Supply, Installation, Testing and commissioning of Roof Top Solar Plant at Amritsar Airport. Tender ID: 2025_AAI_246982_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vishal Technopower Private Limited (BID ID -904285) | 3153105.30 | L1
| 2 | Shakti Power Solutions Pvt. Ltd. (BID ID -903028) | 3188918.67 | L2
| 3 | Multi Overseas India Pvt Ltd (BID ID -897474) | 3393202.22 | L3
| 4 | Variant Infratech Private Limited (BID ID -904880) | 3467323.19 | L4
| 5 | NEWSOL PV POWER PRIVATE LIMITED (BID ID -904514) | 3508743.95 | L5
| 6 | MATESHWARI ENTERPRISES (BID ID -904136) | 3602158.07 | L6
| 7 | Cosmo Infrasolutions (BID ID -904263) | 3727617.63 | L7
| 8 | Oakridge Energy Private Limited (BID ID -904001) | 3824756.15 | L8
| 9 | BHAGWATI KRUPA SOLAR POWER PRIVATE LIMITED (BID ID -902987) | 3956303.01 | L9
| 10 | M/s Success Impex Pvt Ltd (BID ID -904107) | 4227324.97 | L10
| 11 | OM SOLAR SOLUTIONS (BID ID -904761) | 4457053.08 | L11
| 12 | AYCAL POWER INFRA PRIVATE LIMITED (BID ID -902244) | 4579506.79 | L12
| 13 | SOLIDUS TECHNO POWER PRIVATE LIMITED (BID ID -899425) | 4617393.43 | L13
| 14 | MADHAV SOLAR ENERGY LIMITED (BID ID -904929) | 7037914.05 | L14