## BoQ1
Government eProcurement System Created By: SARALA A Created Date/Time: 27-Oct-2025 11:59 AM Tender Title: Development of NDB Building and Antenna Site at Salem Airport.SH Civil Works (Recall - 2 Tender ID: 2025_AAI_247085_1
Tender Inviting Authority: Sr. Manager (E-C)
Name of the work: Development of NDB Building and Antenna Site at Salem Airport. Sub Head : Civil Works.(recall-2)
Contract No:AAI/SR/Salem//Engg(C)/ NDB Building /2025-26/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | P Thangavel (GSTN-NA) BID ID -902450 |  | VS CONSTRUCTION (GSTN-NA) BID ID -908572
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply and fixing frame work for partitions/ wall lining etc. made of Aluminium Square pipe 80x26x0.5 mm and other section of approved make conforming to IS : 733 and IS : 1283 and shall be smooth, rust free, straight, mitred and jointed mechanically wherever required placed along the walls, ceiling and floor in a grid pattern with spacing @ 100cm centre to centre vertically and @ 40 cm centre to centre horizontally or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, cable conduits, switch boards etc., all as per direction of Engineer-in-charge | 270.00 | kg | 100.00 | 450.00 | 121500.00 | 115.00 | 31050.00 | 31050.00 | VS CONSTRUCTION
2.00 | Providing and fixing 12 mm thick panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. Fire retardant plywood conforming to IS; 5509 | 90.00 | sqm | 100.00 | 2000.00 | 180000.00 | 2600.00 | 234000.00 | 180000.00 | P Thangavel
3.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. - 1.5 mm thick | 90.00 | sqm | 100.00 | 800.00 | 72000.00 | 1045.00 | 94050.00 | 72000.00 | P Thangavel
4.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on inter-locking metal powder coated T-Grid of hot dipped galvanised iron section of 0.40 mm thick on Silhouette profile,rotary stiched double webbed white with 6 mm reveal profile (white/ black),comprising of main-T runners of size 15x42 mm of length 3000 mm, cross - T of size 15x42 mm of length 1200 mm and secondary intermediate cross-T of size 15x42 mm of length 600 mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 22x19x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick integral densified micro edge light weight calcium silicate false ceiling tiles | 30.00 | sqm | 100.00 | 2100.00 | 63000.00 | 2600.00 | 78000.00 | 63000.00 | P Thangavel
5.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.Double charge vitrified tile polished finish of size Size of Tile 600 x 600 mm | 75.00 | sqm | 100.00 | 1100.00 | 82500.00 | 1400.00 | 105000.00 | 82500.00 | P Thangavel
6.00 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 75.00 | Sqm | 100.00 | 650.00 | 48750.00 | 800.00 | 60000.00 | 48750.00 | P Thangavel
7.00 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. | 75.00 | Sqm | 100.00 | 510.00 | 38250.00 | 750.00 | 56250.00 | 38250.00 | P Thangavel
8.00 | Providing and fixing anti static mat Class A ,2 mm thick as per direction of Engineer in Charge | 20.00 | Sqm | 100.00 | 1000.00 | 20000.00 | 1100.00 | 22000.00 | 20000.00 | P Thangavel
9.00 | White washing with lime to give an even shade :Old work (two or more coats) | 75.00 | Sqm | 100.00 | 15.00 | 1125.00 | 25.00 | 1875.00 | 1125.00 | P Thangavel
10.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour One coat | 120.00 | Sqm | 100.00 | 60.00 | 7200.00 | 90.00 | 10800.00 | 7200.00 | P Thangavel
11.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (One or more coat applied @ 0.90 ltr/10 sqm). | 170.00 | Sqm | 100.00 | 55.00 | 9350.00 | 90.00 | 15300.00 | 9350.00 | P Thangavel
12.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 40.00 | cum | 100.00 | 180.00 | 7200.00 | 230.00 | 9200.00 | 7200.00 | P Thangavel
13.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead up to 50 m and for all lift, as directed by Engineer-in-charge. All kinds of soil | 55.00 | cum | 100.00 | 120.00 | 6600.00 | 150.00 | 8250.00 | 6600.00 | P Thangavel
14.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-lll) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 15.00 | cum | 100.00 | 5050.00 | 75750.00 | 6500.00 | 97500.00 | 75750.00 | P Thangavel
15.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, huttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | cum | 100.00 | 6500.00 | 65000.00 | 8200.00 | 82000.00 | 65000.00 | P Thangavel
16.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 45.00 | cum | 100.00 | 140.00 | 6300.00 | 185.00 | 8325.00 | 6300.00 | P Thangavel
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 1300.00 | kg | 100.00 | 75.00 | 97500.00 | 95.00 | 123500.00 | 97500.00 | P Thangavel
18.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 30.00 | kg | 100.00 | 70.00 | 2100.00 | 120.00 | 3600.00 | 2100.00 | P Thangavel
19.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 60.00 | kg | 100.00 | 70.00 | 4200.00 | 97.00 | 5820.00 | 4200.00 | P Thangavel
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 130.00 | sqm | 100.00 | 300.00 | 39000.00 | 350.00 | 45500.00 | 39000.00 | P Thangavel
21.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 10.00 | sqm | 100.00 | 600.00 | 6000.00 | 730.00 | 7300.00 | 6000.00 | P Thangavel
22.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | 10.00 | cum | 100.00 | 5600.00 | 56000.00 | 7800.00 | 78000.00 | 56000.00 | P Thangavel
23.00 | Brick work with bricks of class designation 5.0 in foundation and plinth in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | cum | 100.00 | 6500.00 | 65000.00 | 7000.00 | 70000.00 | 65000.00 | P Thangavel
24.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in foundations and plinth in : cement mortar 1:4 (1 cement : 4 coarse sand) | 5.00 | sqm | 100.00 | 800.00 | 4000.00 | 1000.00 | 5000.00 | 4000.00 | P Thangavel
25.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 55.00 | sqm | 100.00 | 250.00 | 13750.00 | 300.00 | 16500.00 | 13750.00 | P Thangavel
26.00 | 15 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 40.00 | sqm | 100.00 | 260.00 | 10400.00 | 350.00 | 14000.00 | 10400.00 | P Thangavel
27.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 780.00 | kg | 100.00 | 90.00 | 70200.00 | 120.00 | 93600.00 | 70200.00 | P Thangavel
28.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 40.00 | sqm | 100.00 | 160.00 | 6400.00 | 220.00 | 8800.00 | 6400.00 | P Thangavel
29.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge.80 mm thick C.C. paver block of M-35 grade with approved color design and pattern. | 80.00 | sqm | 100.00 | 850.00 | 68000.00 | 1000.00 | 80000.00 | 68000.00 | P Thangavel
30.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work-50 mm dia nominal bore | 535.00 | meter | 100.00 | 600.00 | 321000.00 | 750.00 | 401250.00 | 321000.00 | P Thangavel
31.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work-100 mm dia nominal bore | 150.00 | meter | 100.00 | 1320.00 | 198000.00 | 1950.00 | 292500.00 | 198000.00 | P Thangavel
32.00 | Providing and fixing white vitreous china pedestal type water closet ( European type W.C. pan) with seat and lid, 10 itre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever ), onforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each | 100.00 | 5710.00 | 5710.00 | 7000.00 | 7000.00 | 5710.00 | P Thangavel
33.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mmwith a single 15 mm C.P. brass pillar tap | 1.00 | Each | 100.00 | 1600.00 | 1600.00 | 2500.00 | 2500.00 | 1600.00 | P Thangavel
34.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 2.00 | Each | 100.00 | 1350.00 | 2700.00 | 1800.00 | 3600.00 | 2700.00 | P Thangavel
35.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 5.00 | Each | 100.00 | 500.00 | 2500.00 | 600.00 | 3000.00 | 2500.00 | P Thangavel
36.00 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour. 15 mm nominal bore with 45 cm length | 2.00 | Each | 100.00 | 100.00 | 200.00 | 120.00 | 240.00 | 200.00 | P Thangavel
37.00 | Providing and laying Ceramic Mat floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 6.00 | sqm | 100.00 | 850.00 | 5100.00 | 1200.00 | 7200.00 | 5100.00 | P Thangavel
38.00 | Providing and fixing 1st quality ceramic glazed tiles conforming to IS : 15622 (thickness to be specified by the anufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 35.00 | sqm | 100.00 | 860.00 | 30100.00 | 1100.00 | 38500.00 | 30100.00 | P Thangavel
39.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part 1) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 10.00 | Sqm | 100.00 | 1800.00 | 18000.00 | 2400.00 | 24000.00 | 18000.00 | P Thangavel
40.00 | Providing and fixing of Fire retardant water proof Frangible Hut for ATU shelter. The wall and roof shall be made of 40mm thick PUF panels having density 40±2 Kg/M³, outer skin and inner skin shall be made of 2mm thick FRP Sheets. The jointing system should be tounge and groove configuration. The size of hut shall be 3.15Mtr x 1.6Mtr x 2.4Mtr having 1 nos doors including fixtures. . Necessary provision should be made availble for fixing of Electrical Panels, AC units, light fittings,. The flooring shall be smooth- antiskit-non-slippery granite finish vitrified tiles. The rate is inclusive of design, detailed drawing, transportation and installation all complete as per the direction of Engineer-In-Charge. | 1.00 | Each | 100.00 | 370227.00 | 370227.00 | 250000.00 | 250000.00 | 250000.00 | VS CONSTRUCTION
41.00 | Providing and fixing Two Way Bib Cock with Wall Flange Jaquar ARI-39041 of approved quality & make and as per the direction of Engineer-in-charge | 1.00 | Each | 100.00 | 1500.00 | 1500.00 | 2500.00 | 2500.00 | 1500.00 | P Thangavel
42.00 | Providing and fixing Jaguar health faucet ALD-563 with all accessories etc complete as per the direction of Engineer-in-charge. | 1.00 | Each | 100.00 | 875.00 | 875.00 | 1500.00 | 1500.00 | 875.00 | P Thangavel
43.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with aluminium moulded frame of approved make and shade with 6 mm thick hard board backing: Rectangular shape 1500x450 mm | 1.00 | Each | 100.00 | 1569.00 | 1569.00 | 2300.00 | 2300.00 | 1569.00 | P Thangavel
44.00 | Providing and laying PVC pipes of working pressure 6 Kg Sq.cm of approved make for drainage of water including cutting the pipe as per the direction of EIC - 75 mm outer dia | 30.00 | Metre | 100.00 | 290.00 | 8700.00 | 250.00 | 7500.00 | 7500.00 | VS CONSTRUCTION
45.00 | Providing and fixing 110mm Pvc multi floor Trap of approved make as per direction of Engineer In charge. | 2.00 | Each | 100.00 | 100.00 | 200.00 | 200.00 | 400.00 | 200.00 | P Thangavel
46.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 90.00 | Kg | 100.00 | 380.00 | 34200.00 | 530.00 | 47700.00 | 34200.00 | P Thangavel
47.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron) | 60.00 | Kg | 100.00 | 450.00 | 27000.00 | 630.00 | 37800.00 | 27000.00 | P Thangavel
48.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. Pre-laminated particle board with decorative lamination on both sides | 20.00 | Sqm | 100.00 | 860.00 | 17200.00 | 1100.00 | 22000.00 | 17200.00 | P Thangavel
49.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 10.00 | Sqm | 100.00 | 1100.00 | 11000.00 | 1500.00 | 15000.00 | 11000.00 | P Thangavel
50.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 9.00 | each | 100.00 | 360.00 | 3240.00 | 500.00 | 4500.00 | 3240.00 | P Thangavel
51.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 3.00 | each | 100.00 | 70.00 | 210.00 | 98.00 | 294.00 | 210.00 | P Thangavel
52.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 3.00 | each | 100.00 | 850.00 | 2550.00 | 1100.00 | 3300.00 | 2550.00 | P Thangavel
53.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 6.00 | each | 100.00 | 50.00 | 300.00 | 60.00 | 360.00 | 300.00 | P Thangavel
54.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 3.00 | each | 100.00 | 50.00 | 150.00 | 72.00 | 216.00 | 150.00 | P Thangavel
55.00 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge. | 5.00 | cum | 100.00 | 300.00 | 1500.00 | 400.00 | 2000.00 | 1500.00 | P Thangavel
56.00 | Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying: (a) after surface preparation, first layer of slurry of cement @ 0.488 kg/ sqm mixed with water proofing cement compound @ 0.253 kg/sqm. (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. (d) fourth and final layer of brick tiling with cement mortar (which will be paid for separately. For the purpose of measurement the entire treated surface will be measured. | 120.00 | sqm | 100.00 | 550.00 | 66000.00 | 700.00 | 84000.00 | 66000.00 | P Thangavel
57.00 | Providing and laying brick tiles over mumty roofs, grouted with cement mortar 1:3 (1 cement : 3 fine sand) mixed with 2% of integral water proofing compound by weight of cement, over 12 mm layer of cement mortar 1:3 (1 cement : 3 fine sand) and finished neat: With common burnt clay F.P.S. (non modular) brick tiles of class designation 10 | 120.00 | sqm | 100.00 | 450.00 | 54000.00 | 607.00 | 72840.00 | 54000.00 | P Thangavel
58.00 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer- In-charge complete in all respect. Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 30.00 | sqm | 100.00 | 200.00 | 6000.00 | 285.00 | 8550.00 | 6000.00 | P Thangavel
59.00 | Providing and injecting approved grout in proportion recommended by the manufacturer into cracks/honey-comb area of concrete/masonry by suitable gun/pump at required pressure including cutting of nipples after curing etc. complete as per directions of Engineer-in-Charge. (The payment shall be made on the basis of actual weight of approved grout injected.) Epoxy injection grout in concrete/RCC work of approved make | 15.00 | Kg | 100.00 | 400.00 | 6000.00 | 580.00 | 8700.00 | 6000.00 | P Thangavel
60.00 | Providing, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete work in string courses, bands, copings, bed plates, anchor blocks, plain window sills and the like, including the cost of required centering, shuttering but excluding cost of reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-lll) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 15.00 | Cum | 100.00 | 7800.00 | 117000.00 | 10585.40 | 158781.00 | 117000.00 | P Thangavel
61.00 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm) | 410.00 | sqm | 100.00 | 80.00 | 32800.00 | 120.00 | 49200.00 | 32800.00 | P Thangavel
62.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS: 3564, embossed on the body, door weight up to 36 kg to 80 kg and door width from 701mmto 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 4.00 | each | 10.00 | 730.00 | 2920.00 | 1100.00 | 4400.00 | 2920.00 | P Thangavel
| Total in Figures |  |  |  |  | 2597126.00 |  | 3028851.00
Lowest Amount Quoted BY: P Thangavel(2597126.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of NDB Building and Antenna Site at Salem Airport.SH Civil Works (Recall - 2 Tender ID: 2025_AAI_247085_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P Thangavel (BID ID -902450) | 2597126.00 | L1
| 2 | VS CONSTRUCTION (BID ID -908572) | 3028851.00 | L2