## BoQ1
Government eProcurement System Created By: Sateesh Kr Kanaujiya Created Date/Time: 13-Oct-2025 03:26 PM Tender Title: Replacement of existing HPSV MH fitting with LED light fitting in Terminal Building and auxiliary building at Aurangabad Airport Tender ID: 2025_AAI_248014_1
Tender Inviting Authority: Senior Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad- 431007.
Name of Work: Replacement of existing HPSV/MH fitting with LED light fitting in Terminal Building and auxiliary building at Aurangabad Airport.
Contract No: 2025_AAI_ 248014 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ECS ENGINEERING PVT LTD (GSTN-09AABCE5944P1Z1) BID ID -909783 |  | Instapower Ltd (GSTN-05AAACI9712L1ZG) BID ID -910089 |  | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -911014 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -911644 |  | Cosmo Infrasolutions (GSTN-NA) BID ID -911605 |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd (GSTN-NA) BID ID -909223 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -911622 |  | C AND D ELECTRICAL SOLUTIONS PVT LTD (GSTN-NA) BID ID -909549
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Recessed mounted 2' x 2' LED panel Luminaire, 36W, IP 20, CRCA deep-drawn housing suitable for 600 mm X 600 mm modular ceiling complete as per technical specifications. | 177.00 | Each |  | 1375.00 | 243375.00 | 1845.00 | 326565.00 | 1077.00 | 190629.00 | 1150.00 | 203550.00 | 1400.00 | 247800.00 | 1200.00 | 212400.00 | 1228.00 | 217356.00 | 1221.00 | 216117.00 | 190629.00 | SARASWAT ENGINEERING SERVICES
2.00 | Supply of Recessed mounted 2' x 2' LED panel Luminaire, 36W, IP 20, IK 07 Warm White (3000 K) CRCA deep-drawn housing suitable for 600 mm X 600 mm modular ceiling complete as per technical specifications. | 50.00 | Each |  | 1375.00 | 68750.00 | 1845.00 | 92250.00 | 1077.00 | 53850.00 | 1400.00 | 70000.00 | 1400.00 | 70000.00 | 1200.00 | 60000.00 | 1228.00 | 61400.00 | 1411.00 | 70550.00 | 53850.00 | SARASWAT ENGINEERING SERVICES
3.00 | Installation, testing and commissioning of pre-wired, LED light fitting complete with all accessories including providing MS chain link up to 3.0 meter to support/hang the light to existing false ceiling grid including wiring with 3C X 1.5 sq. mm FRLS PVC insulated, copper conductor cable up to 3.0 m length metalic flexible conduit from existing Terminal Box and connectors for the connections as per the site rquirements. | 227.00 | Each |  | 1000.00 | 227000.00 | 195.00 | 44265.00 | 453.00 | 102831.00 | 200.00 | 45400.00 | 604.80 | 137289.60 | 300.00 | 68100.00 | 515.00 | 116905.00 | 811.00 | 184097.00 | 44265.00 | Instapower Ltd
4.00 | Supply of 70/80 W, IP 65 Industrial LED Highbay luminaire completely prewired with accessories up to terminal block complete as per technical specifications. | 21.00 | Each |  | 3200.00 | 67200.00 | 2214.00 | 46494.00 | 3061.00 | 64281.00 | 2900.00 | 60900.00 | 2520.00 | 52920.00 | 3300.00 | 69300.00 | 4174.00 | 87654.00 | 2651.00 | 55671.00 | 46494.00 | Instapower Ltd
5.00 | Supply of 150 W, IP 65 Industrial LED Highbay luminaire completely prewired with accessories up to terminal block complete as per technical specifications. | 55.00 | Each |  | 4750.00 | 261250.00 | 4059.00 | 223245.00 | 3514.00 | 193270.00 | 4500.00 | 247500.00 | 5116.16 | 281388.80 | 4500.00 | 247500.00 | 6582.00 | 362010.00 | 2651.00 | 145805.00 | 145805.00 | C AND D ELECTRICAL SOLUTIONS PVT LTD
6.00 | Supply of 200 W, IP665 LED flood Light, Die cast aluminium frame with heat resistant toughned clear glass fixed with SS screws complete as per technical specifications. | 84.00 | Each |  | 5750.00 | 483000.00 | 4730.00 | 397320.00 | 4648.00 | 390432.00 | 5400.00 | 453600.00 | 6417.60 | 539078.40 | 7100.00 | 596400.00 | 7745.00 | 650580.00 | 5100.00 | 428400.00 | 390432.00 | SARASWAT ENGINEERING SERVICES
7.00 | Supply of 45 W, IP 65 Industrial LED Street Light, Die cast aluminium frame with heat resistant toughned clear glass fixed with SS screws complete as per technical specifications. | 106.00 | Each |  | 1190.00 | 126140.00 | 1217.00 | 129002.00 | 1049.00 | 111194.00 | 1200.00 | 127200.00 | 1624.00 | 172144.00 | 1500.00 | 159000.00 | 1920.00 | 203520.00 | 1351.00 | 143206.00 | 111194.00 | SARASWAT ENGINEERING SERVICES
8.00 | Supply and erection of tubular street light pole of 4.00 meter length made out of 65 mm dia B class MS Pipe including supply of bracket for mounting arranegements for lumainair (BOQ Item No. 7) including base plate of 300mm x 300mm x 5 mm thickness welded at the bottom of the pole The entire pole to be fixed above the base plate and foundation and the base plate should be capable of holding the poles in all weather. The base plate and pole should have wire entry for the supply of the luminair inclduing painting with two coats of redoxide primer and two coats of Aluminium (black) paint as required. | 90.00 | Each |  | 5800.00 | 522000.00 | 8395.00 | 755550.00 | 11457.00 | 1031130.00 | 9000.00 | 810000.00 | 9934.40 | 894096.00 | 6100.00 | 549000.00 | 7320.00 | 658800.00 | 6100.00 | 549000.00 | 522000.00 | ECS ENGINEERING PVT LTD
9.00 | Supply of 30/45 W, IP65, LED Post Top Light, warm white (3000K) with die cast aluminium with powder coatingwith heat resistant toughned clear glass fixed with SS screws with clear acrylic cover, feasible for the pole top mounted (exisitng pole outer dia 60 mm) complete as per technical specifications. | 237.00 | Each |  | 3750.00 | 888750.00 | 3321.00 | 787077.00 | 3231.00 | 765747.00 | 3600.00 | 853200.00 | 3640.00 | 862680.00 | 5000.00 | 1185000.00 | 1505.00 | 356685.00 | 3351.00 | 794187.00 | 356685.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Supply and erection of tubular post top light pole of 1.75- 1.8 meter length made out of 60 mm dia B class MS Pipe including complete mounting arranegements for pole top LED lights (BOQ Item No. 9) including base plate of min 20 mm dia to be fixed at the bottom of the pole and top of the foundation. The entire pole to be fixed inside the base plate with proper nut bolts and base plate should be capable of holding the poles in all weather. The base plate and pole should have wire entry for the supply of the luminair inclduing painting with two coats of redoxide primer and two coats of Aluminium (black) paint as required. | 127.00 | Each |  | 4300.00 | 546100.00 | 9045.00 | 1148715.00 | 8172.00 | 1037844.00 | 7000.00 | 889000.00 | 10035.20 | 1274470.40 | 1400.00 | 177800.00 | 4313.00 | 547751.00 | 3451.00 | 438277.00 | 177800.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
11.00 | Supply of 9/12 W, IP65, LED Mushroom Bollard light, warm white (3000K) with die cast aluminium with powder coatingwith heat resistant toughned clear glass fixed with SS screws, surface/foundation mounted complete as per technical specifications. | 18.00 | Each |  | 2500.00 | 45000.00 | 7995.00 | 143910.00 | 2324.00 | 41832.00 | 2900.00 | 52200.00 | 2755.20 | 49593.60 | 2175.00 | 39150.00 | 1953.00 | 35154.00 | 3051.00 | 54918.00 | 35154.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Supply of 9/12 W, IP65, IK 10, LED In Ground/Ground Burial light, warm white (3000K) with Aluminium body and SS trim finishing with heat resistant toughned clear glass fixed with SS screws complete as per technical specifications. The fitting should be fixed to the exisitng grove as per technical specifications. | 198.00 | Each |  | 3500.00 | 693000.00 | 3936.00 | 779328.00 | 3968.00 | 785664.00 | 3350.00 | 663300.00 | 3180.80 | 629798.40 | 3650.00 | 722700.00 | 4841.00 | 958518.00 | 3921.00 | 776358.00 | 629798.40 | Cosmo Infrasolutions
13.00 | Preparation of the foundation of size 300 x 300 x 1000 mm (w x l x h) in cement concrete 1:3:6 ( 1 Cement : 3 Coarse : 6 graded stone aggregate 40 mm normal size) including fixing of terminal box (IP 66) as per technical specifications. The foundation should be well finished and should be capable of holding base plates and poles for the street lights and post top fittings inclduing painting of foundation as per the direction of EIC. | 70.00 | Each |  | 4500.00 | 315000.00 | 3444.00 | 241080.00 | 5752.00 | 402640.00 | 2500.00 | 175000.00 | 5040.00 | 352800.00 | 2200.00 | 154000.00 | 3000.00 | 210000.00 | 3451.00 | 241570.00 | 154000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
14.00 | ITC of all LED luminaire at the desired location i/c. wiring with 3C X 1.5 sq. mm FRLS PVC insulated, copper conductor cable up to 5.0 m length from existing Terminal Box , with suitable size angle iron stand in case of high bay lights (if rquired) or reducer in case of post top fittings (if required) etc. complete as per site requirement and techncial specifications. | 719.00 | Each |  | 650.00 | 467350.00 | 520.00 | 373880.00 | 227.00 | 163213.00 | 400.00 | 287600.00 | 1388.80 | 998547.20 | 150.00 | 107850.00 | 515.00 | 370285.00 | 651.00 | 468069.00 | 107850.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
15.00 | Supply, Installation, Testing and Commisssioning of 3.5 Meter Double Arm Post Top Pole with Part 1: GI Bottom Pole : Diameter 140 mm, Length 1000 mm, Thickness 4 mm ; Part 2: GI Center Pole : Diameter 89 mm, Length 1500 mm, Thickness 3.6 mm ; Part 3: GI Top Arm Center Pole: Diameter 76mm, Length 1000 mm, Thickness 3.6 mm ; Part 4: GI Arm Bend Pipe: Diameter 42mm, Thickness 2.8mm Length 2200 x 2 = 4400 mm with Base Plate of MS: 350x350x12mm, all-aluminium embellishment design The pole section shall be welded by certified welders using highend MIG welding process. The maintenance door shall be provised at the bottom part of the pole to accommodate a built-in connection box. The control gear tray is with MCB, terminal connectors for loop in loop out arrangement. The Pole coated with epoxy zinc phosphate primer and finished using environmentally stable polyurethane base paint MRF, Silicone rubber gaskets are provided for water protection complete with connection wire, foundation Bolt and Othe Accessories as required. Including 30/45 W Drop down light Aluminium Spun/Casting Heatsing Housing housing PC Diffuser Transparemt. IP 65 or above. The LED light design should be decorative warm fitting and it should be approved by EIC Including suitable foundation for the errection of pole and cable entry with propoer asthetic look and all conditions are as per technical specifications. | 18.00 | Each |  | 36000.00 | 648000.00 | 23615.00 | 425070.00 | 14016.00 | 252288.00 | 26000.00 | 468000.00 | 33600.00 | 604800.00 | 23500.00 | 423000.00 | 30015.00 | 540270.00 | 40000.00 | 720000.00 | 252288.00 | SARASWAT ENGINEERING SERVICES
16.00 | Supply of LED batten light 18W Lighting system comprising of LED of approved make etc as per specifications and complete as required. | 300.00 | Each |  | 250.00 | 75000.00 | 332.00 | 99600.00 | 238.00 | 71400.00 | 300.00 | 90000.00 | 308.00 | 92400.00 | 274.00 | 82200.00 | 360.00 | 108000.00 | 121.00 | 36300.00 | 36300.00 | C AND D ELECTRICAL SOLUTIONS PVT LTD
17.00 | Supply of 3C X 10 sq.mm size of XLPE insulated & PVC sheathed, armoured, copper conductor under ground cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments complete as required. (Make: As per AAI list of approved makes) | 1000.00 | Meter |  | 415.00 | 415000.00 | 461.86 | 461860.00 | 364.00 | 364000.00 | 390.00 | 390000.00 | 368.48 | 368480.00 | 620.00 | 620000.00 | 488.00 | 488000.00 | 451.00 | 451000.00 | 364000.00 | SARASWAT ENGINEERING SERVICES
18.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. A) 63 mm dia (OD-63 mm & ID-51 mm nominal) | 560.00 | Meter |  | 275.00 | 154000.00 | 179.04 | 100262.40 | 250.00 | 140000.00 | 300.00 | 168000.00 | 229.60 | 128576.00 | 315.00 | 176400.00 | 213.00 | 119280.00 | 185.00 | 103600.00 | 100262.40 | Instapower Ltd
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC-HDPE pipe as required. A) Upto 35 sq. mm | 1000.00 | Meter |  | 38.00 | 38000.00 | 65.00 | 65000.00 | 37.00 | 37000.00 | 30.00 | 30000.00 | 89.60 | 89600.00 | 15.00 | 15000.00 | 20.00 | 20000.00 | 210.00 | 210000.00 | 15000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
20.00 | Supply & Laying of 50 mm dia size B class G.I pipe confirming to IS : 1239 part-1 (2004) for road crossing at a depth of 300mm i/c cutting bituminous surface, re-filling with cement concrete of 1:2:4 and making good the same as required. | 120.00 | Meter |  | 1300.00 | 156000.00 | 872.35 | 104682.00 | 1592.00 | 191040.00 | 900.00 | 108000.00 | 1120.00 | 134400.00 | 1150.00 | 138000.00 | 1392.00 | 167040.00 | 1350.00 | 162000.00 | 104682.00 | Instapower Ltd
21.00 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. a) 3 X 10 sq. mm (22 mm) | 12.00 | Each |  | 400.00 | 4800.00 | 388.03 | 4656.36 | 315.00 | 3780.00 | 250.00 | 3000.00 | 560.00 | 6720.00 | 350.00 | 4200.00 | 225.00 | 2700.00 | 1800.00 | 21600.00 | 2700.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Dismantle of existing installed MH/CFL fittings at Terminal Building and all areas (City Side and Air Side garden area) including arrangements of ladders and tools for the dismantaling of fittings upto the height of 60 ft. | 1.00 | Job |  | 350000.00 | 350000.00 | 150000.00 | 150000.00 | 45344.00 | 45344.00 | 50000.00 | 50000.00 | 112000.00 | 112000.00 | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 51000.00 | 51000.00 | 15000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
23.00 | Supply of Pole Box of dimensions ( 300 x 200 x 150) ( h x w x d) mm having IP 65 protection, made form 1.6 mm CRCA sheet and the pole box should be feasible for the cable entry and exit for the cable size of 3.5 x 35 Sqmm. The pole box should have MCB mounting assembly, it should have 4 nos 63 A stud type terminals including loop in loop out arrangements inclsuing the rain protection canopy as per technical specifications. | 300.00 | Each |  | 1200.00 | 360000.00 | 2286.00 | 685800.00 | 1587.00 | 476100.00 | 1150.00 | 345000.00 | 1344.00 | 403200.00 | 3000.00 | 900000.00 | 546.00 | 163800.00 | 1521.00 | 456300.00 | 163800.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 7154715.00 |  | 7585611.76 |  | 6915509.00 |  | 6590450.00 |  | 8502782.40 |  | 6722000.00 |  | 6495708.00 |  | 6778025.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(6495708.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing HPSV MH fitting with LED light fitting in Terminal Building and auxiliary building at Aurangabad Airport Tender ID: 2025_AAI_248014_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED (BID ID -911622) | 6495708.00 | L1
| 2 | Awasthi Electric Works (BID ID -911644) | 6590450.00 | L2
| 3 | Krishsons International Engineers And Consultants (I) Pvt. Ltd (BID ID -909223) | 6722000.00 | L3
| 4 | C AND D ELECTRICAL SOLUTIONS PVT LTD (BID ID -909549) | 6778025.00 | L4
| 5 | SARASWAT ENGINEERING SERVICES (BID ID -911014) | 6915509.00 | L5
| 6 | ECS ENGINEERING PVT LTD (BID ID -909783) | 7154715.00 | L6
| 7 | Instapower Ltd (BID ID -910089) | 7585611.76 | L7
| 8 | Cosmo Infrasolutions (BID ID -911605) | 8502782.40 | L8