## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 19-Dec-2025 03:18 PM Tender Title: Replacement of LT ACB in main LT panel at NIATAM Gondia. Tender ID: 2025_AAI_248311_1
Tender Inviting Authority: Assistant General Manager(Engg.-E), AAI, Gondia
Name of Work: Replacement of LT ACB in main LT Panel at NIATAM, Gondia.
Contract No: 2025_AAI_248311_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MASTER ENGINEERING SERVICES (GSTN-07AIDPB9113C2ZV) BID ID -910135 |  | ECS ENGINEERING PVT LTD (GSTN-09AABCE5944P1Z1) BID ID -910391 |  | M/s BHARAT ELECTRIC, NAGPUR (GSTN-27ALSPP1335N1ZG) BID ID -910771 |  | Roy Enterprises (GSTN-NA) BID ID -906588 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -910823 |  | Virtus Techno (GSTN-NA) BID ID -910807
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC & retrofitting of Air Circuit Breaker ( Old ACB make- GE , Spectronic S1600 category B to New ACB) having capacity 1600 amp - 4 pole - 50 KA (4 Pole Draw-out ACBs EDO) with display unit, under voltage relay shunt release & common fault indication micro switch etc. including making modifications for retrofitting in existing main LT Panel and other accessories for incoming and outgoing Aluminium Bus links, Front door, ACB mounting tray, etc. with control wiring and interlocking arrangement so that newly installed ACBs will function successfully in existing panel. Note: Agency has to submit relevant test certificates, complete drawings and design of assembly, wiring diagrams, etc. | 5.00 | Job |  | 348245.00 | 1741225.00 | 360000.00 | 1800000.00 | 375000.00 | 1875000.00 | 313599.00 | 1567995.00 | 494612.00 | 2473060.00 | 418746.60 | 2093733.00 | 1567995.00 | Roy Enterprises
2.00 | Supply of 800A, Electrical Drawout (EDO) 4 Pole, 50 KA Air Circuit Breaker for LT Panel. | 1.00 | Job |  | 224636.00 | 224636.00 | 293000.00 | 293000.00 | 225000.00 | 225000.00 | 195000.00 | 195000.00 | 267975.00 | 267975.00 | 248878.00 | 248878.00 | 195000.00 | Roy Enterprises
| Total in Figures |  |  |  |  | 1965861.00 |  | 2093000.00 |  | 2100000.00 |  | 1762995.00 |  | 2741035.00 |  | 2342611.00
Lowest Amount Quoted BY: Roy Enterprises(1762995.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of LT ACB in main LT panel at NIATAM Gondia. Tender ID: 2025_AAI_248311_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Roy Enterprises (BID ID -906588) | 1762995.00 | L1
| 2 | MASTER ENGINEERING SERVICES (BID ID -910135) | 1965861.00 | L2
| 3 | ECS ENGINEERING PVT LTD (BID ID -910391) | 2093000.00 | L3
| 4 | M/s BHARAT ELECTRIC, NAGPUR (BID ID -910771) | 2100000.00 | L4
| 5 | Virtus Techno (BID ID -910807) | 2342611.00 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED (BID ID -910823) | 2741035.00 | L6