## BoQ1
Government eProcurement System Created By: UJAWAL KATHALE Created Date/Time: 28-Nov-2025 12:34 PM Tender Title: Renovation work of Maharashtra hanger at Juhu Airport Tender ID: 2025_AAI_248314_1
Tender Inviting Authority: Asstt. General Manager (E-C) , Airports Authority of India Juhu Airport
Name of Work: Renovation work of Maharashtra Hanger at Juhu Airport.
Contract No: AAI/AGM(E-C)/E-NIT/JJ/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Jaina Enterprise (GSTN-27AQNPS3862K1Z2) BID ID -910527 |  | Om Sai Associates (GSTN-27AABFO9751D1Z7) BID ID -917278 |  | M I CONSTRUCTIONS (GSTN-27AAQFM9668LIZ5) BID ID -917931 |  | S K SINGHAL (GSTN-09AAYFS0724P1ZA) BID ID -918133 |  | Classicon Projects India Pvt. Ltd. (GSTN-NA) BID ID -917756 |  | M K CONSTRUCTION (GSTN-NA) BID ID -917363
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift , as directed by Engineer-incharge. All kinds of soil | 516.00 | Cum |  | 146.37 | 75526.92 | 300.00 | 154800.00 | 100.00 | 51600.00 | 250.00 | 129000.00 | 170.00 | 87720.00 | 95.00 | 49020.00 | 49020.00 | M K CONSTRUCTION
2.00 | Providing & laying stone soling for level / base course with stone of size 100mm to 250mm with screenings & filler materials(combination of aggregates & stone dust etc.) including packing, ramming and dressing, etc. complete and as per direction of Engineer incharge.(Payment shall be made for compacted thickness only) | 58.00 | Cum |  | 1731.61 | 100433.38 | 2500.00 | 145000.00 | 2000.00 | 116000.00 | 2800.00 | 162400.00 | 1400.00 | 81200.00 | 1500.00 | 87000.00 | 81200.00 | Classicon Projects India Pvt. Ltd.
3.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M30 grade with minimum cement content of 350 kg/cum | 113.00 | Cum |  | 7000.00 | 791000.00 | 9000.00 | 1017000.00 | 8500.00 | 960500.00 | 7900.00 | 892700.00 | 5000.00 | 565000.00 | 8900.00 | 1005700.00 | 565000.00 | Classicon Projects India Pvt. Ltd.
4.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M30 grade with minimum cement content of 350 kg/cum | 100.00 | Cum |  | 7300.00 | 730000.00 | 9500.00 | 950000.00 | 8500.00 | 850000.00 | 8300.00 | 830000.00 | 5200.00 | 520000.00 | 9100.00 | 910000.00 | 520000.00 | Classicon Projects India Pvt. Ltd.
5.00 | Providing and laying plum concrete in foundation and plinth with 50% cement concrete 1:5:10(1cement:5coarse sand:10stone aggregate 40 mm nominal size) and 50% stone boulders of size 100mm to 450mm including the cost of centering and shuttering wherever required etc. complete as per direction of Engineer In-charge. | 119.00 | Cum |  | 3500.00 | 416500.00 | 6000.00 | 714000.00 | 5000.00 | 595000.00 | 4800.00 | 571200.00 | 2600.00 | 309400.00 | 3500.00 | 416500.00 | 309400.00 | Classicon Projects India Pvt. Ltd.
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 26.00 | Cum |  | 6000.00 | 156000.00 | 8000.00 | 208000.00 | 7500.00 | 195000.00 | 7000.00 | 182000.00 | 4600.00 | 119600.00 | 5900.00 | 153400.00 | 119600.00 | Classicon Projects India Pvt. Ltd.
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 15.00 | Cum |  | 5200.00 | 78000.00 | 6500.00 | 97500.00 | 5500.00 | 82500.00 | 6000.00 | 90000.00 | 4000.00 | 60000.00 | 4500.00 | 67500.00 | 60000.00 | Classicon Projects India Pvt. Ltd.
8.00 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: Cement Mortar 1:6 (1 cement : 6 coarse sand). | 19.00 | Cum |  | 5191.02 | 98629.38 | 7300.00 | 138700.00 | 7500.00 | 142500.00 | 7200.00 | 136800.00 | 6000.00 | 114000.00 | 6200.00 | 117800.00 | 98629.38 | M/s Jaina Enterprise
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 184.00 | Cum |  | 7508.82 | 1381622.88 | 7800.00 | 1435200.00 | 7600.00 | 1398400.00 | 7400.00 | 1361600.00 | 6280.00 | 1155520.00 | 5800.00 | 1067200.00 | 1067200.00 | M K CONSTRUCTION
10.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 203.00 | Sqm |  | 44.94 | 9122.82 | 30.00 | 6090.00 | 50.00 | 10150.00 | 150.00 | 30450.00 | 40.00 | 8120.00 | 30.00 | 6090.00 | 6090.00 | Om Sai Associates, M K CONSTRUCTION
11.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge:In cement mortar | 36.00 | Cum |  | 1698.85 | 61158.60 | 300.00 | 10800.00 | 150.00 | 5400.00 | 2000.00 | 72000.00 | 500.00 | 18000.00 | 800.00 | 28800.00 | 5400.00 | M I CONSTRUCTIONS
12.00 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | 491.00 | Sqm |  | 427.60 | 209951.60 | 250.00 | 122750.00 | 450.00 | 220950.00 | 400.00 | 196400.00 | 450.00 | 220950.00 | 210.00 | 103110.00 | 103110.00 | M K CONSTRUCTION
13.00 | 12 mm cement plaster of mix : 1:6(1 cement: 6 coarse sand) | 853.00 | Sqm |  | 305.00 | 260165.00 | 225.00 | 191925.00 | 400.00 | 341200.00 | 300.00 | 255900.00 | 280.00 | 238840.00 | 195.00 | 166335.00 | 166335.00 | M K CONSTRUCTION
14.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 853.00 | Sqm |  | 216.62 | 184776.86 | 58.00 | 49474.00 | 100.00 | 85300.00 | 150.00 | 127950.00 | 100.00 | 85300.00 | 85.00 | 72505.00 | 49474.00 | Om Sai Associates
15.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @0.90kg/10 sqm) | 508.00 | Sqm |  | 115.00 | 58420.00 | 105.00 | 53340.00 | 120.00 | 60960.00 | 120.00 | 60960.00 | 130.00 | 66040.00 | 75.00 | 38100.00 | 38100.00 | M K CONSTRUCTION
16.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 976.00 | Sqm |  | 135.00 | 131760.00 | 74.00 | 72224.00 | 80.00 | 78080.00 | 100.00 | 97600.00 | 80.00 | 78080.00 | 45.00 | 43920.00 | 43920.00 | M K CONSTRUCTION
17.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
17.10 | Of area beyond 3 sq. metres | 15.00 | Each |  | 302.80 | 4542.00 | 500.00 | 7500.00 | 50.00 | 750.00 | 500.00 | 7500.00 | 200.00 | 3000.00 | 350.00 | 5250.00 | 750.00 | M I CONSTRUCTIONS
18.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels:Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble: Area of slab upto 0.50 sqm. | 66.00 | Sqm |  | 2615.00 | 172590.00 | 2500.00 | 165000.00 | 2000.00 | 132000.00 | 4350.00 | 287100.00 | 2300.00 | 151800.00 | 1600.00 | 105600.00 | 105600.00 | M K CONSTRUCTION
19.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
19.10 | For fixed portion:Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 1076.00 | Kg |  | 408.22 | 439244.72 | 450.00 | 484200.00 | 475.00 | 511100.00 | 560.00 | 602560.00 | 475.00 | 511100.00 | 405.00 | 435780.00 | 435780.00 | M K CONSTRUCTION
19.20 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately):Anodised Aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 352.00 | Kg |  | 470.00 | 165440.00 | 475.00 | 167200.00 | 500.00 | 176000.00 | 560.00 | 197120.00 | 495.00 | 174240.00 | 450.00 | 158400.00 | 158400.00 | M K CONSTRUCTION
20.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 216.00 | Sqm |  | 950.00 | 205200.00 | 750.00 | 162000.00 | 900.00 | 194400.00 | 1450.00 | 313200.00 | 900.00 | 194400.00 | 950.00 | 205200.00 | 162000.00 | Om Sai Associates
21.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 30.00 | Cum |  | 6000.00 | 180000.00 | 9000.00 | 270000.00 | 6000.00 | 180000.00 | 7200.00 | 216000.00 | 4800.00 | 144000.00 | 6400.00 | 192000.00 | 144000.00 | Classicon Projects India Pvt. Ltd.
22.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 11440.00 | Kg |  | 81.00 | 926640.00 | 80.00 | 915200.00 | 80.00 | 915200.00 | 79.00 | 903760.00 | 82.00 | 938080.00 | 79.00 | 903760.00 | 903760.00 | M K CONSTRUCTION, S K SINGHAL
23.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level:Thermo-Mechanically Treated bars of grade Fe-500D or more. | 8000.00 | Kg |  | 81.00 | 648000.00 | 80.00 | 640000.00 | 80.00 | 640000.00 | 81.00 | 648000.00 | 84.00 | 672000.00 | 82.00 | 656000.00 | 640000.00 | Om Sai Associates, M I CONSTRUCTIONS
24.00 | Centering and shuttering including strutting, propping etc. and removal of form for
24.10 | Foundations, footings, bases of columns, etc. for mass concrete | 224.00 | Sqm |  | 323.37 | 72434.88 | 300.00 | 67200.00 | 200.00 | 44800.00 | 350.00 | 78400.00 | 300.00 | 67200.00 | 280.00 | 62720.00 | 44800.00 | M I CONSTRUCTIONS
24.20 | Suspended floors, roofs, landings, balconies and access platform | 112.00 | Sqm |  | 764.62 | 85637.44 | 300.00 | 33600.00 | 200.00 | 22400.00 | 540.00 | 60480.00 | 650.00 | 72800.00 | 850.00 | 95200.00 | 22400.00 | M I CONSTRUCTIONS
24.30 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 127.00 | Sqm |  | 607.24 | 77119.48 | 300.00 | 38100.00 | 200.00 | 25400.00 | 540.00 | 68580.00 | 650.00 | 82550.00 | 700.00 | 88900.00 | 25400.00 | M I CONSTRUCTIONS
24.40 | Columns, Pillars, Piers, Abutments, Posts and Struts | 200.00 | Sqm |  | 792.69 | 158538.00 | 300.00 | 60000.00 | 200.00 | 40000.00 | 540.00 | 108000.00 | 650.00 | 130000.00 | 650.00 | 130000.00 | 40000.00 | M I CONSTRUCTIONS
24.50 | Stairs, (excluding landings) except spiral-staircases | 29.00 | Sqm |  | 630.78 | 18292.62 | 300.00 | 8700.00 | 250.00 | 7250.00 | 540.00 | 15660.00 | 650.00 | 18850.00 | 750.00 | 21750.00 | 7250.00 | M I CONSTRUCTIONS
25.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 26.00 | Cum |  | 2928.38 | 76137.88 | 500.00 | 13000.00 | 200.00 | 5200.00 | 2700.00 | 70200.00 | 1500.00 | 39000.00 | 1200.00 | 31200.00 | 5200.00 | M I CONSTRUCTIONS
26.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete: Hot finished welded type tubes | 45675.00 | Kg |  | 120.00 | 5481000.00 | 125.00 | 5709375.00 | 110.00 | 5024250.00 | 120.00 | 5481000.00 | 120.00 | 5481000.00 | 108.00 | 4932900.00 | 4932900.00 | M K CONSTRUCTION
27.00 | Providing and fixing of colour coated Jindal / Tata bluescope or equivalent make profile sheet of nom.1072 mm or as specified by the Manufacturer effective cover width and nominal 28.5 mm deep ribs with subtle square fluting in the five pan at nominal 202 mm centre-to-centre. The end rib shall be designed for anti-capillary action, to avoid any seepage of water through the lateral overlap. The feed material is manufactured out of nominal 0.45 mm Base Metal Thickness (BMT)& TCT 0.50 mm, Hi-strength steel with min. 550 MPa yield strength, metallic hot dip coated with Aluminium-Zinc alloy(55% Aluminium, 43.5% Zinc & 1.6% Silicon) Galvalume AZ150 (Min. 150 gms/sq.mt total on both sides) with Regular modified quality paint coat . The paint shall have a total coating thickness of nominal 25 μm, comprising of nominal 18-20 μm exterior coat on top surface and nominal 5-6 μm reverse coat on back surface over nominal 5 μm primer coat on both surfaces of approved colour shade by concern authority. The steel manufacturer's test certificate for the chemical and mechanical properties of steel must be submitted for approval by the concerned authority prior to installation. The sheet shall have brand marking of the manufacturer giving product details on the back of the sheet at every 1 meter c/c for confirming genuinity of the material. Note:All the accessories like flashing / capping shall be made from the same material (or manufacturer’s recommendation) which is used for main roofing & cladding applications all complete as per direction of Engineer in charge. | 1265.00 | Sqm |  | 1250.00 | 1581250.00 | 800.00 | 1012000.00 | 650.00 | 822250.00 | 1060.00 | 1340900.00 | 550.00 | 695750.00 | 730.00 | 923450.00 | 695750.00 | Classicon Projects India Pvt. Ltd.
28.00 | Providing and fixing trims to cover the junctions shall be made from the specified material (or manufacturer’s recommendation). The feed material is manufactured out of nominal 0.45 mm Base Metal Thickness (BMT)& TCT 0.50 mm, Hi-strength steel with min. 550 MPa yield strength, metallic hot dip coated with Aluminium-Zinc alloy(55% Aluminium, 43.5% Zinc & 1.6% Silicon) Galvalume AZ150 (Min. 150 gms/sq.mt total on both sides) with Regular modified quality paint coat,which is used for main roofing & cladding applications all complete as per direction of Engineer in charge :Ridges plain (500 - 600mm) | 58.00 | Mtr. |  | 600.00 | 34800.00 | 675.00 | 39150.00 | 2000.00 | 116000.00 | 450.00 | 26100.00 | 450.00 | 26100.00 | 450.00 | 26100.00 | 26100.00 | M K CONSTRUCTION, Classicon Projects India Pvt. Ltd., S K SINGHAL
29.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :
29.10 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each |  | 10530.22 | 21060.44 | 20000.00 | 40000.00 | 13000.00 | 26000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 15500.00 | 31000.00 | 20000.00 | Classicon Projects India Pvt. Ltd.
30.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:100x100 mm size P type: With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each |  | 2232.21 | 4464.42 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 5500.00 | 11000.00 | 2000.00 | 4000.00 | 1200.00 | 2400.00 | 2400.00 | M K CONSTRUCTION
31.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes :110 mm diameter | 42.00 | Mtr. |  | 311.21 | 13070.82 | 500.00 | 21000.00 | 300.00 | 12600.00 | 550.00 | 23100.00 | 350.00 | 14700.00 | 350.00 | 14700.00 | 12600.00 | M I CONSTRUCTIONS
32.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.
32.10 | Bend 87.5° : 110 mm bend | 12.00 | Each |  | 123.98 | 1487.76 | 500.00 | 6000.00 | 300.00 | 3600.00 | 350.00 | 4200.00 | 150.00 | 1800.00 | 180.00 | 2160.00 | 1487.76 | M/s Jaina Enterprise
32.20 | Shoe (Plain) : 110 mm Shoe | 12.00 | Each |  | 108.02 | 1296.24 | 500.00 | 6000.00 | 250.00 | 3000.00 | 350.00 | 4200.00 | 180.00 | 2160.00 | 175.00 | 2100.00 | 1296.24 | M/s Jaina Enterprise
33.00 | Providing and fixing to the inlet mouth of rain water pipe PTMT (an Engineering Thermoplastic) grating square (Slit) 150 mm square with a height of 8 mm and weighing not less than 100 gms. | 12.00 | Each |  | 69.72 | 836.64 | 500.00 | 6000.00 | 350.00 | 4200.00 | 350.00 | 4200.00 | 150.00 | 1800.00 | 84.00 | 1008.00 | 836.64 | M/s Jaina Enterprise
34.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 100.00 | Cum |  | 217.65 | 21765.00 | 600.00 | 60000.00 | 300.00 | 30000.00 | 430.00 | 43000.00 | 600.00 | 60000.00 | 120.00 | 12000.00 | 12000.00 | M K CONSTRUCTION
35.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 500.00 | Sqm |  | 128.56 | 64280.00 | 90.00 | 45000.00 | 90.00 | 45000.00 | 125.00 | 62500.00 | 160.00 | 80000.00 | 55.00 | 27500.00 | 27500.00 | M K CONSTRUCTION
36.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2328.00 | Kg |  | 110.25 | 256662.00 | 100.00 | 232800.00 | 90.00 | 209520.00 | 155.00 | 360840.00 | 120.00 | 279360.00 | 86.00 | 200208.00 | 200208.00 | M K CONSTRUCTION
37.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete | 238.00 | Kg |  | 80.15 | 19075.70 | 110.00 | 26180.00 | 100.00 | 23800.00 | 140.00 | 33320.00 | 120.00 | 28560.00 | 120.00 | 28560.00 | 19075.70 | M/s Jaina Enterprise
38.00 | Providing and fixing plain G.S. sheet gutter with iron brackets 40x3mm size, bolts, nuts and washers etc., including making necessary connections with rain water pipes complete. (a) 2.5 mm thick GS Sheet with overall girth minimum 1200 mm | 30.00 | Rmt |  | 1071.99 | 32159.70 | 750.00 | 22500.00 | 1300.00 | 39000.00 | 2500.00 | 75000.00 | 1500.00 | 45000.00 | 2250.00 | 67500.00 | 22500.00 | Om Sai Associates
39.00 | Providing and fixing bearing gate wheels made up of steel EN8 of nominal size 180 mm dia & 70 mm wide or as per site requirement / structural design with double ball bearing ( of make SKF or equivalent ) at the bottom of the gate including lathe work , CNC etc. as per requirement ,transportation etc. i.e all complete as per direction , satisfaction of EIC. | 12.00 | No. |  | 247.38 | 2968.56 | 750.00 | 9000.00 | 1500.00 | 18000.00 | 12000.00 | 144000.00 | 600.00 | 7200.00 | 1200.00 | 14400.00 | 2968.56 | M/s Jaina Enterprise
40.00 | Providing and fixing roller made up of steel EN8 of nominal size 100mm dia & 100 mm height or as per site requirement / structural design with double ball bearing ( of make SKF or equivalent ) at the top of the hangar gate including lathe work , CNC etc. as per requirement ,transportation etc. i.e all complete as per direction , satisfaction of EIC. | 12.00 | No. |  | 329.84 | 3958.08 | 1500.00 | 18000.00 | 4000.00 | 48000.00 | 6000.00 | 72000.00 | 1000.00 | 12000.00 | 900.00 | 10800.00 | 3958.08 | M/s Jaina Enterprise
41.00 | Providing and laying GP2 Fosroc in position excluding the cost of centering , shuttering etc. as per direction of the enginner-in-charge. All works upto plinth level | 1.00 | Cum |  | 3298.43 | 3298.43 | 10000.00 | 10000.00 | 25999.00 | 25999.00 | 75000.00 | 75000.00 | 40000.00 | 40000.00 | 64000.00 | 64000.00 | 3298.43 | M/s Jaina Enterprise
42.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 580.00 | Sqm |  | 1100.00 | 638000.00 | 1200.00 | 696000.00 | 1200.00 | 696000.00 | 1310.00 | 759800.00 | 900.00 | 522000.00 | 1350.00 | 783000.00 | 522000.00 | Classicon Projects India Pvt. Ltd.
43.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. 75mm overall thickness partition with 12.5 mm thick double skin tapered edged plain Gypsum plaster board conforming to IS: 2095: (part I): 2011 (Board with BIS certification marks) | 580.00 | Sqm |  | 1300.00 | 754000.00 | 1800.00 | 1044000.00 | 1200.00 | 696000.00 | 1450.00 | 841000.00 | 1500.00 | 870000.00 | 1650.00 | 957000.00 | 696000.00 | M I CONSTRUCTIONS
44.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting thejoints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 580.00 | Sqm |  | 1250.00 | 725000.00 | 1175.00 | 681500.00 | 900.00 | 522000.00 | 1390.00 | 806200.00 | 1400.00 | 812000.00 | 1150.00 | 667000.00 | 522000.00 | M I CONSTRUCTIONS
45.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Nos |  | 5372.31 | 10744.62 | 8000.00 | 16000.00 | 12400.00 | 24800.00 | 7000.00 | 14000.00 | 6000.00 | 12000.00 | 12000.00 | 24000.00 | 10744.62 | M/s Jaina Enterprise
46.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 50.00 | Sqm |  | 917.54 | 45877.00 | 850.00 | 42500.00 | 800.00 | 40000.00 | 1250.00 | 62500.00 | 1200.00 | 60000.00 | 1100.00 | 55000.00 | 40000.00 | M I CONSTRUCTIONS
47.00 | Preparation and submission of detailed structural design of all the structures involved in this work along with all design calculations and issue of "Good for construction drawings" in 04 sets with vetting from IIT/ NIT as per relevant and latest BIS for RCC members, structural steel memebers involved in this work, all complete as per the directions of EIC. | 1.00 | Job |  | 250000.00 | 250000.00 | 1000000.00 | 1000000.00 | 50000.00 | 50000.00 | 150000.00 | 150000.00 | 500000.00 | 500000.00 | 107000.00 | 107000.00 | 50000.00 | M I CONSTRUCTIONS
| Total in Figures |  |  |  |  | 17939939.87 |  | 19145508.00 |  | 16573059.00 |  | 19197380.00 |  | 16502220.00 |  | 16378526.00
Lowest Amount Quoted BY: M K CONSTRUCTION(16378526.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation work of Maharashtra hanger at Juhu Airport Tender ID: 2025_AAI_248314_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K CONSTRUCTION (BID ID -917363) | 16378526.00 | L1
| 2 | Classicon Projects India Pvt. Ltd. (BID ID -917756) | 16502220.00 | L2
| 3 | M I CONSTRUCTIONS (BID ID -917931) | 16573059.00 | L3
| 4 | M/s Jaina Enterprise (BID ID -910527) | 17939939.87 | L4
| 5 | Om Sai Associates (BID ID -917278) | 19145508.00 | L5
| 6 | S K SINGHAL (BID ID -918133) | 19197380.00 | L6