## BoQ1
Government eProcurement System Created By: Raj Yadav Created Date/Time: 30-Oct-2025 04:53 PM Tender Title: Provision of inset type taxiway light fittings at Srinagar Intl Airport, Srinagar. (SH Replacement of existing elevated type light fittings with inset type light fittings) Tender ID: 2025_AAI_248535_1
Tender Inviting Authority: Airports Authority of India, Srinagar int'l Airport.
Name of Work: Provision of inset type taxiway light fittings at Srinagar Int'l Airport, Srinagar. (SH: Replacement of existing elevated type taxi light fittings with inset type taxiway light fittings).
Contract No: 2025_AAI_248535_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -913790 |  | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (GSTN-NA) BID ID -913794 |  | Vardhman Airport Solutions Limited (GSTN-NA) BID ID -913563
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH (I): Supply of Insert fittings, cables, C.I. Box, LED Guidance Sign Board, CCRs, ALCMS, plug and receptacle, etc.
1.01 | Supply of Omini directional LED Inset fitting including of isolating transformer for taxiway and apron edge application surface for use in 6.6 Amp airfield lighting circuit normally supplied from 15W isolating transformer and LED lights complete with gasket, shallow base bottom entry and other accessories as required. | 100.00 | Nos | 54685.00 | 56400.00 | 5640000.00 | 34500.00 | 3450000.00 | 40000.00 | 4000000.00 | 3450000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
1.02 | Supply of following size, 5KV grade plug and receptacle of type-1, Class B connector and suitable field attachment with 5 KV grade PVC insulated, PVC sheathed single core copper conductor cable confirming to the relevant IS specification etc. complete as required. a) 1 core X 6 sq.mm. | 100.00 | Nos | 703.00 | 800.00 | 80000.00 | 600.00 | 60000.00 | 500.00 | 50000.00 | 50000.00 | Vardhman Airport Solutions Limited
1.03 | Supply of 2x2.5sq. mm Two pin AFL secondary lead with accessories complete as required. | 250.00 | Mtr | 268.00 | 300.00 | 75000.00 | 140.00 | 35000.00 | 160.00 | 40000.00 | 35000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
1.04 | Supply & making of male and female secondary connector with accessories complete as required. | 100.00 | Nos | 967.00 | 900.00 | 90000.00 | 900.00 | 90000.00 | 550.00 | 55000.00 | 55000.00 | Vardhman Airport Solutions Limited
1.05 | Supply of CI isolating transformer housing box, water light, round type, metal container of outside size 330 mm, height 450 mm made of 10 mm thick cast iron moulding all around, except the top surface, which is 15mm cast iron suitable to a receive a light fitting base plate on top and underground housing associated with transformer, power cable and having a clear hole center at the required side center 3" above bottom surface to receive 1 no. of 50 mm die "B" class GI pipe and check nuts. The box should have two SS earth bolts of 10x30 mm tapped inside near the cable entry hole, 4" away form the hole center and having a drain hole at the bottom suitably tapped to receive 15 mm dia "B" class GI pipe and having clear opening of 220 mm at the top surface and 6 nos M 10 tapped hole at top having the hole at top having the hole center 260 mm receive fitting base plate as required. (Double hole). | 25.00 | Nos | 4896.00 | 7000.00 | 175000.00 | 6500.00 | 162500.00 | 5500.00 | 137500.00 | 137500.00 | Vardhman Airport Solutions Limited
1.06 | Supply of following size airfield cable 5KV grade PVC insulated & PVC sheathed standard copper conductor single core Airport lighting cable confirming IS 1554 (Part-2) with up to date amendment as reqd. Confirming to particular specification etc. as reqd. a) 1core x 6sqmm. | 2000.00 | Mtr | 139.00 | 235.00 | 470000.00 | 120.00 | 240000.00 | 130.00 | 260000.00 | 240000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
1.07 | Supply, Installation, Testing & Commissioning of LED Guidance Sign Board of various sizes made out of anodized 3 mm corrosive resistant aluminum extrusion frame (thickness of signboard should be less than 45 mm) and Fascia should not be more than 50 mm at all sides of the display. The extrusions frame should be interlocked/bolted with each other creating a sealed unit and 2 mm thick aluminum back cover, 4 mm thick polycarbonate sheet with glare free front face, the letter & symbol should be made by of vinyl and pasted on 4mm thick polycarbonate sheet at the inner side of the sign face with required coloring, 4mm acrylic LGP sheet, suitable arrangement shall be made for water tightness & locking arrangement, including of supporting frangible legs & frame, supply of isolating transformer of suitable size & wattage, required size of esna connector and supply of secondary cable upto transformer housing box and necessary connections with primary cable and required cement concrete foundation (minimum 12 no’s sign boards) etc. and signboard shall be uniformly internally illuminated with LED strip mounted on the top of LGP sheet to achieve illumination level and can operate on series circuit without flickering, complete as required and as specified in ICAO Annex. 14 Vol. I (legends as approved by E-I-C). | 20.00 | Sq. Mtr | 55996.00 | 55200.00 | 1104000.00 | 55000.00 | 1100000.00 | 55000.00 | 1100000.00 | 1100000.00 | Vardhman Airport Solutions Limited, YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
1.08 | Supply, Installation, Testing & Commissioning of Indoor Type Air Cooled Constant Current Regulator (CCR) of Micro Processor Controlled, Thyristor Type suitable for operation on single phase 230V/2-phase 400V AC + PE ± 10%, 50 Hz input AC supply with 5 steps variation of current output (2.8, 3.4, 4.0, 5.2 and 6.6 Amp) and able to communicate with PC or PLC controlled system with digital output ammeter (0-10 Amps), over current, over voltage, open circuit and earth fault protection and earth leakage meter. two stage earth leakage detector, positive back indication equipment’s, hours run counter, LCD display complete as required for the following rating and confirm to specifications enclosed and suitable for operation on the existing Airfield Lighting Control and Monitoring System (ALCMS) with communication, local and remote control and monitoring even and data recording and history keeping etc. complete as required. a) 7.5 KW | 2.00 | Each | 326146.00 | 320000.00 | 640000.00 | 289583.00 | 579166.00 | 330000.00 | 660000.00 | 579166.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
1.09 | b) 4.0 KW | 4.00 | Each | 216686.00 | 256300.00 | 1025200.00 | 224583.00 | 898332.00 | 300000.00 | 1200000.00 | 898332.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
1.10 | Supply, Installation, Testing & Commissioning of Inset Type Uni-Directional STOP BAR Light Fixture up to 14 Watts & meeting ICAO requirements LED lamp of series circuit 2.8 - 6.6 amps current with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminum complete with pre-focused reflector LED lamps with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, lense, two-pole secondary plug, hardware, including supply of isolating transformer of suitable size & wattage, required size of esna connector and supply of secondary cable upto transformer housing box and connections to primary cable etc. and all standard accessories and ready for site installation as required and as per the enclosed particular specifications. And suitable for operation control and monitoring on existing ALCMS (Airfield Lighting Control and Monitoring System). | 18.00 | Each | 67016.00 | 70000.00 | 1260000.00 | 46000.00 | 828000.00 | 42000.00 | 756000.00 | 756000.00 | Vardhman Airport Solutions Limited
1.11 | Supply, Installation, Testing & Commissioning of all the equipment required to provide Airfield Lighting Control and Monitoring System (ALCMS), type 'L 890 BB' to the requirements of FAA Advisory Circular No. AC 50/ 5345-56B (current edition) and additional circuits/ mechanisms/ interfaces for power supply equipment, and apron high mast lights etc. to make them compatible with ALCMS, data & power cabling, earthing etc., including all hardware and software, licenses & other items as required for successful operation of the system in line with the scope of work, details of equipment’s, specification, performance criteria etc. Two Vault processor will be provided both running in parallel for redundancy in operation along with existing CCR - Minimum provision of 08 Nos to be made for CCR’s controlled through ALCMS. | 1.00 | Job | 2390246.00 | 1575000.00 | 1575000.00 | 1000000.00 | 1000000.00 | 2000000.00 | 2000000.00 | 1000000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
1.12 | Supply of single mode, 6 Core armored OFC cable lead with accessories complete as required. | 3000.00 | Mtr | 38.00 | 80.00 | 240000.00 | 55.00 | 165000.00 | 50.00 | 150000.00 | 150000.00 | Vardhman Airport Solutions Limited
1.13 | Supply of Control Cable of 1.1 KV grade of 8C x 1.5 sq.mm sizes copper conductor, Armored, XLPE insulated PVC sheathed armored cable confirming to IS7098 Part-1-1988 with up to date amendment as required. | 100.00 | Mtr | 409.00 | 500.00 | 50000.00 | 220.00 | 22000.00 | 250.00 | 25000.00 | 22000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.00 | SH (II): Laying/ ITC of edge light fitting, transformer housing boxes, Pipe, cables etc.
2.01 | Installation, Testing & commissioning of Inset type taxiway/ apron edge light fitting, isolating transformer including cutting the bitumins/ concrete/ taxiway by cutting with machine tools for required size or core fixing the inset fitting base with suitable compound etc. as required. | 100.00 | Job | 6000.00 | 5000.00 | 500000.00 | 5500.00 | 550000.00 | 4000.00 | 400000.00 | 400000.00 | Vardhman Airport Solutions Limited
2.02 | Making the field connection by crimping the following plug & receptacle with existing copper conductor PVC insulated PVC sheathed cable including fixing the gap with water sealant material applying HT tape over PVC tape etc. as required. a) 6 sq.mm | 100.00 | Job | 410.00 | 70.00 | 7000.00 | 200.00 | 20000.00 | 80.00 | 8000.00 | 7000.00 | Manish Electricals
2.03 | Installation of transformer housing box with a base concrete of 1:3:6 of size 630 x 630 x 100 mm thick all round concrete of 1:2:4 150 mm thick. The top stopped with 1:2:4 cement concrete including providing and fixing 10" long 1/2" dia "B" class GI pipe complete as required after dismantling of existing damaged CI isolation transformer housing box. | 25.00 | Job | 4468.00 | 2600.00 | 65000.00 | 2400.00 | 60000.00 | 2500.00 | 62500.00 | 60000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.04 | Supplying and laying of HDPE pipe 40 mm dia (OD-40mm & ID-32 mm nominal) ISI marked along with all accessories like socket, bend, couplers, tee etc. confirming to IS14930, part II complete with fitting and cutting, jointing etc. direct in hard surface upto depth of 100 mm and providing 15mm thick cement plaster of mix 1:4 (1 cement: 4 fine sand) at all levels. | 300.00 | Mtr | 486.00 | 750.00 | 225000.00 | 500.00 | 150000.00 | 350.00 | 105000.00 | 105000.00 | Vardhman Airport Solutions Limited
2.05 | Supply and laying of 40 mm dia HDPE pipe (OD-40mm & ID-32 mm nominal), ISI marked along with all accessories like socket, bend, couplers, tee etc. confirming to IS14930, part II complete with fitting and cutting, jointing etc. direct in ground (75cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required. | 150.00 | Mtr | 464.00 | 500.00 | 75000.00 | 200.00 | 30000.00 | 200.00 | 30000.00 | 30000.00 | Vardhman Airport Solutions Limited, YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.06 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 11 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required a) Upto 120 sq. mm | 1200.00 | Mtr | 51.00 | 20.00 | 24000.00 | 50.00 | 60000.00 | 40.00 | 48000.00 | 24000.00 | Manish Electricals
2.07 | Dismantling of existing Taxiway/ apron edge light fittings i/c handing over of the same to AAI Engineering stores etc. complete etc. as required. | 100.00 | Job | 281.00 | 90.00 | 9000.00 | 200.00 | 20000.00 | 100.00 | 10000.00 | 9000.00 | Manish Electricals
2.08 | Supply & installation of 8 mm thick duly painted in aviation yellow color MS cover plate with gasket & 6 nos. M10 SS bolt on the existing CI box including threading, welding with additional ring plate required for fitting of MS cover plate etc. complete as required. | 100.00 | Nos | 1374.00 | 1200.00 | 120000.00 | 1000.00 | 100000.00 | 1000.00 | 100000.00 | 100000.00 | Vardhman Airport Solutions Limited, YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.09 | Laying of 1 no. secondary cable in the existing GI pipe as required. | 200.00 | Mtr | 37.00 | 20.00 | 4000.00 | 20.00 | 4000.00 | 15.00 | 3000.00 | 3000.00 | Vardhman Airport Solutions Limited
2.10 | Supply and fixing of Two Pin Secondary Plug Assemble for connection of inset light fitting as specified. | 100.00 | Each | 986.00 | 1300.00 | 130000.00 | 400.00 | 40000.00 | 500.00 | 50000.00 | 40000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.11 | Supplying, Laying and fixing of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers, tee etc. conforming to IS 14390, Part-II complete with fitting and cutting, jointing etc. direct in ground including excavation and refilling the trench etc. as required, but excluding sand cushioning and protective covering. a) 40 mm dia (OD-40mm & ID-32 mm nominal) | 100.00 | Mtr | 231.00 | 500.00 | 50000.00 | 200.00 | 20000.00 | 200.00 | 20000.00 | 20000.00 | Vardhman Airport Solutions Limited, YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.12 | Supplying, Laying and fixing of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers, tee etc. conforming to IS 14390, Part II complete with fitting and cutting, jointing etc. on wall surface as required. (clamped with 25x3mm MS flat clamp). a) 40 mm dia (OD-40mm & ID-32 mm nominal) | 100.00 | Mtr | 129.00 | 400.00 | 40000.00 | 100.00 | 10000.00 | 200.00 | 20000.00 | 10000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.13 | Laying of one number OFC cable in the existing RCC/ HUME/ STONEWARE/ METAL pipe/ HDPE pipe as required. | 3000.00 | Mtr | 36.00 | 32.00 | 96000.00 | 12.00 | 36000.00 | 15.00 | 45000.00 | 36000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.14 | Laying of one number OFC cable in the existing masonry open duct as required. | 100.00 | Mtr | 19.00 | 35.00 | 3500.00 | 20.00 | 2000.00 | 15.00 | 1500.00 | 1500.00 | Vardhman Airport Solutions Limited
3.00 | SH (III): Earth works
3.01 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 15.00 | Each | 6397.00 | 8500.00 | 127500.00 | 8000.00 | 120000.00 | 8000.00 | 120000.00 | 120000.00 | Vardhman Airport Solutions Limited, YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
3.02 | Supplying and laying 6 SWG G.I. wire at 0.50 meter below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 2000.00 | Mtr | 117.00 | 90.00 | 180000.00 | 20.00 | 40000.00 | 25.00 | 50000.00 | 40000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
3.03 | Providing and laying earth connection from earth electrode with 4.00 mm dia copper wire in 15 mm dia G.I. pipe from earth electrode including connection with copper thimble excavation and re-filling and termination with CI box etc as required. | 50.00 | Mtr | 585.00 | 500.00 | 25000.00 | 220.00 | 11000.00 | 650.00 | 32500.00 | 11000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
4.00 | SH (VI): Miscellaneous
4.01 | Cutting and refilling the bitumins/ concrete/ taxiway by cutting with machine tools with PU sealant or polysulphide for required size for laying secondary cable for inset fittings. | 10.00 | Cum | 9782.00 | 7500.00 | 75000.00 | 1000.00 | 10000.00 | 7000.00 | 70000.00 | 10000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
4.02 | Cutting the existing housing box and remove the primary cables and suitable fixing PVC pipe with elbow and cement concrete in existing housing box etc. as required. | 100.00 | Job | 1040.00 | 2130.00 | 213000.00 | 500.00 | 50000.00 | 1500.00 | 150000.00 | 50000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
4.03 | Kurf cutting of bituminous/ concrete surface upto required depth as per site, suitable for laying 1 x 2.5 sq.mm multiple secondary cables, with accessories, like backer rod of suitable sizes etc as required i/c refilling and making good the damages by proper sealant materials etc. as required. | 50.00 | Mtr | 2836.00 | 500.00 | 25000.00 | 450.00 | 22500.00 | 400.00 | 20000.00 | 20000.00 | Vardhman Airport Solutions Limited
4.04 | Horizontal Directional Drilling including supply & laying of 40 mm dia (OD-40mm & ID-32 mm nominal) through boring by "No Dig" method using trench-less technology and other associated works along road and under operational area in all type of soil (including soft rock & hard rock) at suitable depth including all civil works and supply of all tested lifting tools and tackling of other required equipment’s and consumables, labour etc. and making all such necessary arrangements are under agency scope. | 3000.00 | Mtr | 797.00 | 1050.00 | 3150000.00 | 370.00 | 1110000.00 | 450.00 | 1350000.00 | 1110000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
4.05 | SITC of chambers (the minimum size of the chamber is 1 Mtr x 1 Mtr) including cement concrete, brick work and sand for chambers with cover plate & RCC slab thickness shall be 100mm etc. as complete as required. | 14.00 | Job | 14833.00 | 15000.00 | 210000.00 | 20000.00 | 280000.00 | 15000.00 | 210000.00 | 210000.00 | Vardhman Airport Solutions Limited, Manish Electricals
| Total in Figures |  |  |  |  | 17778200.00 |  | 11375498.00 |  | 13339000.00
Lowest Amount Quoted BY: YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED(11375498.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of inset type taxiway light fittings at Srinagar Intl Airport, Srinagar. (SH Replacement of existing elevated type light fittings with inset type light fittings) Tender ID: 2025_AAI_248535_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (BID ID -913794) | 11375498.00 | L1
| 2 | Vardhman Airport Solutions Limited (BID ID -913563) | 13339000.00 | L2
| 3 | Manish Electricals (BID ID -913790) | 17778200.00 | L3