## BoQ1
Government eProcurement System Created By: SUNIL KUMAR GOUD Created Date/Time: 27-Oct-2025 11:28 AM Tender Title: Replacement of Conventional Halogen Runway Edge Light Fittings to LED fittings and associated works at Lilabari Airport Tender ID: 2025_AAI_249000_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Replacement of Conventional Halogen Runway Edge Light Fittings to LED fittings and associated works at Lilabari Airport.
Contract No: 2025_AAI_249000_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -913320 |  | AMA Private Limited (GSTN-27AAACA1016F1ZE) BID ID -913544 |  | REWINDER TECHNO ELECTRICALS (GSTN-18AAFFR7457K1ZL) BID ID -913744 |  | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -913764 |  | Airfield Solutions India pvt Ltd (GSTN-NA) BID ID -903199
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of FAA/ICAO/DGCA-CAR Complied bi-directional elevated high intensity LED type runway edge light fitting complete with prefocussed LED modules and LED driver suitable for series circuit 2.8 A to 6.6 Amps,clear outer prismatic/glass dome, inner prismatic lens/glass (one clear and one clear), holding mechanisam, ball joint for easy levelling, breakable coupling, central column mounting assembly, gaskets, two pin secondary lead plug suitable for connection with isolating transformer, base plate with 6 nos. M-10 stainless steel bolts, spring & plain washers & other accessories etc. and confirming to particular specifications and to meet latest FAA/ICAO/DGCA-CAR specifications as required. | 80.00 | Each | 0.00 | 34500.00 | 2760000.00 | 35000.00 | 2800000.00 | 27000.00 | 2160000.00 | 50000.00 | 4000000.00 | 12000.00 | 960000.00 | 960000.00 | Airfield Solutions India pvt Ltd
2.00 | Supply of FAA/ICAO/DGCA-CAR Complied bi-directional elevated high intensity LED type runway edge light fitting complete with prefocussed LED modules and LED driver suitable for series circuit 2.8 A to 6.6 Amps, clear outer prismatic/glass dome, inner prismatic lens/glass (one clear and one yellow), holding mechanisam, ball joint for easy levelling, breakable coupling, central column mounting assembly, gaskets, two pin secondary lead plug suitable for connection with isolating transformer, base plate with 6 nos. M-10 stainless steel bolts, spring & plain washers & other accessories etc. and confirming to particular specifications and to meet latest FAA/ICAO/DGCA-CAR specifications as required. | 75.00 | Each | 0.00 | 34500.00 | 2587500.00 | 35000.00 | 2625000.00 | 27000.00 | 2025000.00 | 50000.00 | 3750000.00 | 12000.00 | 900000.00 | 900000.00 | Airfield Solutions India pvt Ltd
3.00 | Supply of FAA/ICAO/DGCA-CAR Complied bi-directional elevated high intensity LED type runway edge light fitting complete with prefocussed LED modules and LED driver suitable for series circuit 2.8 A to 6.6 Amps,clear outer prismatic/glass dome, inner prismatic lens/glass (one red and one yellow), holding mechanisam, ball joint for easy levelling, breakable coupling, central column mounting assembly, gaskets, two pin secondary lead plug suitable for connection with isolating transformer, base plate with 6 nos. M-10 stainless steel bolts, spring & plain washers & other accessories etc. and confirming to particular specifications and to meet latest FAA/ICAO/DGCA-CAR specifications as required. | 7.00 | Each | 0.00 | 34500.00 | 241500.00 | 35000.00 | 245000.00 | 27000.00 | 189000.00 | 50000.00 | 350000.00 | 12000.00 | 84000.00 | 84000.00 | Airfield Solutions India pvt Ltd
4.00 | Supply of FAA/ICAO/DGCA-CAR Complied Elevated type LED Uni directional high intensity End light fitting (Red) for aviation visual aids requirements complete with base plate, breakable coupling, mounting assembly, gasket complete with LED lamp with integral driver and electronics suitable for 6.6 amps current and all standard accessories and ready for site installation conforming to latest FAA/ICAO/DGCA-CAR requirement as per sepcifications complete as required. | 30.00 | Each | 0.00 | 34500.00 | 1035000.00 | 38000.00 | 1140000.00 | 27000.00 | 810000.00 | 50000.00 | 1500000.00 | 12000.00 | 360000.00 | 360000.00 | Airfield Solutions India pvt Ltd
5.00 | Supply of FAA/ICAO/DGCA-CAR Complied Elevated type LED Uni directional high intensity Threshold light fitting (Green) for aviation visual aids requirements complete with base plate, breakable coupling, mounting assembly, gasket complete with LED lamp with integral driver and electronics suitable for 6.6 amps current and all standard accessories and ready for site installation conforming to latest FAA/ICAO/DGCA-CAR requirement as per sepcifications complete as required. | 35.00 | Each | 0.00 | 34500.00 | 1207500.00 | 38000.00 | 1330000.00 | 27000.00 | 945000.00 | 50000.00 | 1750000.00 | 12000.00 | 420000.00 | 420000.00 | Airfield Solutions India pvt Ltd
6.00 | Supply of FAA/ICAO/DGCA-CAR Complied Elevated type LED Uni directional high intensity APPROACH light fitting (Clear) for aviation visual aids requirements complete with base plate, breakable coupling, mounting assembly, gasket complete with LED lamp with integral driver and electronics suitable for 6.6 amps current and all standard accessories and ready for site installation conforming to latest FAA/ICAO/DGCA-CAR requirement as per sepcifications complete as required. | 17.00 | Each | 0.00 | 34500.00 | 586500.00 | 38000.00 | 646000.00 | 27000.00 | 459000.00 | 50000.00 | 850000.00 | 12000.00 | 204000.00 | 204000.00 | Airfield Solutions India pvt Ltd
7.00 | Supply of FAA/ICAO/DGCA-CAR Complied Inset type high intensity LED type Runway Edge Light Bi-directional fittings ( one clear and one yellow) complete with LED modules and LED driver suitable for series circuit 2.8 A to 6.6 Amps, lens, support mechanism, lens clamping mechanism, gaskets, two pin secondary leads, suitable base for bottom hole entry and required accessories etc. and conforming to FAA/ICAO/DGCA-CAR requirements as required. | 12.00 | Each | 0.00 | 60000.00 | 720000.00 | 96550.00 | 1158600.00 | 27000.00 | 324000.00 | 70000.00 | 840000.00 | 87249.00 | 1046988.00 | 324000.00 | REWINDER TECHNO ELECTRICALS
8.00 | Supply of FAA/ICAO/DGCA-CAR Complied Inset type high intensity LED type Runway Edge Light Bi-directional fittings ( one red and one yellow) complete with LED modules and LED driver suitable for series circuit 2.8 A to 6.6 Amps, lens, support mechanism, lens clamping mechanism, gaskets, two pin secondary leads, suitable base for bottom hole entry and required accessories etc. and conforming to FAA/ICAO/DGCA-CAR requirements as required. | 7.00 | Each | 0.00 | 60000.00 | 420000.00 | 96550.00 | 675850.00 | 27000.00 | 189000.00 | 70000.00 | 490000.00 | 87249.00 | 610743.00 | 189000.00 | REWINDER TECHNO ELECTRICALS
9.00 | Supply of FAA/ICAO/DGCA-CAR Complied Inset type high intensity Unidirectional LED Runway Threshold fittings (Green ) complete with LED modules and LED driver suitable for series circuit 2.8 A to 6.6 Amps, lens, support mechanism, lens clamping mechanism, gaskets, two pin secondary leads, suitable base for bottom hole entry and required accessories etc. and conforming to FAA/ICAO/DGCA-CAR requirements as required. | 6.00 | Each | 0.00 | 60000.00 | 360000.00 | 50221.00 | 301326.00 | 27000.00 | 162000.00 | 70000.00 | 420000.00 | 55912.00 | 335472.00 | 162000.00 | REWINDER TECHNO ELECTRICALS
10.00 | Supply of FAA/ICAO/DGCA-CAR Complied Inset type high intensity Unidirectional LED Runway Approach light fittings (Clear) complete with LED modules and LED driver suitable for series circuit 2.8 A to 6.6 Amps, lens, support mechanism, lens clamping mechanism, gaskets, two pin secondary leads, suitable base for bottom hole entry and required accessories etc. and conforming to FAA/ICAO/DGCA-CAR requirements as required. | 5.00 | Each | 0.00 | 60000.00 | 300000.00 | 132607.00 | 663035.00 | 27000.00 | 135000.00 | 70000.00 | 350000.00 | 117607.00 | 588035.00 | 135000.00 | REWINDER TECHNO ELECTRICALS
11.00 | Supply of following rating completely enclosed isolating transformer encapsulated in polyster resin finaily moulded in neoprene rubber for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5KV and all rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a base confirming to specification as required. Isolating Transformer 65W 20/6.6A | 250.00 | Each | 0.00 | 4050.00 | 1012500.00 | 3900.00 | 975000.00 | 1000.00 | 250000.00 | 3920.00 | 980000.00 | 3360.00 | 840000.00 | 250000.00 | REWINDER TECHNO ELECTRICALS
12.00 | Supply of following rating completely enclosed isolating transformer encapsulated in polyster resin finaily moulded in neoprene rubber for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5KV and all rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a base confirming to specification as required. Isolating Transformer 65W 6.6/6.6A | 25.00 | Each | 0.00 | 4050.00 | 101250.00 | 3900.00 | 97500.00 | 1000.00 | 25000.00 | 3920.00 | 98000.00 | 3360.00 | 84000.00 | 25000.00 | REWINDER TECHNO ELECTRICALS
13.00 | Supply of following rating completely enclosed isolating transformer encapsulated in polyster resin finaily moulded in neoprene rubber for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5KV and all rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a base confirming to specification as required. Isolating Transformer 15W 20/6.6A | 25.00 | Each | 0.00 | 3000.00 | 75000.00 | 2850.00 | 71250.00 | 1000.00 | 25000.00 | 2930.00 | 73250.00 | 2299.00 | 57475.00 | 25000.00 | REWINDER TECHNO ELECTRICALS
14.00 | Supply of LED driver suitable for LED type Elevated Runway Fitting ( Bidirectional ) Input rating 2.8 to 6.6A complete as required. | 50.00 | Each | 0.00 | 5000.00 | 250000.00 | 10000.00 | 500000.00 | 1000.00 | 50000.00 | 17700.00 | 885000.00 | 3675.00 | 183750.00 | 50000.00 | REWINDER TECHNO ELECTRICALS
15.00 | Supply of LED driver suitable for LED type Inset Runway Fitting LED ( Bidirectional ) Input rating 2.8 to 6.6A completed.as required. | 50.00 | Each | 0.00 | 5000.00 | 250000.00 | 25000.00 | 1250000.00 | 1000.00 | 50000.00 | 17700.00 | 885000.00 | 52341.00 | 2617050.00 | 50000.00 | REWINDER TECHNO ELECTRICALS
16.00 | Supply of LED driver suitable for LED type Elevated Runway Fitting ( Uni directional ) Input rating 2.8 to 6.6A complete as required. | 50.00 | Each | 0.00 | 5000.00 | 250000.00 | 10000.00 | 500000.00 | 1000.00 | 50000.00 | 17900.00 | 895000.00 | 3675.00 | 183750.00 | 50000.00 | REWINDER TECHNO ELECTRICALS
17.00 | Supply of LED driver suitable for LED type Inset Runway Fitting LED ( Uni directional ) Input rating 2.8 to 6.6A completed.as required. | 50.00 | Each | 0.00 | 10000.00 | 500000.00 | 25000.00 | 1250000.00 | 1000.00 | 50000.00 | 19200.00 | 960000.00 | 32747.00 | 1637350.00 | 50000.00 | REWINDER TECHNO ELECTRICALS
18.00 | Supply of LED Modules and Base suitable for LED type Elevated Runway Fitting completed as required. a. Red 10Nos. b. Yellow 20Nos. c White 20 Nos. d. Green 10 Nos | 60.00 | Each | 0.00 | 2000.00 | 120000.00 | 10000.00 | 600000.00 | 100.00 | 6000.00 | 9230.00 | 553800.00 | 3675.00 | 220500.00 | 6000.00 | REWINDER TECHNO ELECTRICALS
19.00 | Installation, testing & commissioning of Elevated and Inset type Runway edge / threshold / Wing Bar / end light / approach light fitting on existing transformer housing boxes / shallow base i/c supply of all materials except isolating transformer, connection of cables, Essna connectors, Isolating transformers etc. complete as required. | 229.00 | Each | 0.00 | 30.00 | 6870.00 | 1600.00 | 366400.00 | 5.00 | 1145.00 | 249.00 | 57021.00 | 157.50 | 36067.50 | 1145.00 | REWINDER TECHNO ELECTRICALS
20.00 | Dismantling, Removing and Shifting of existing Runway edge / threshold / Wing Bar / end light / approach halogen type light fitting i/c Isolating Transformer etc to Electrical Store as directed by EIC complete as required. | 229.00 | Each | 0.00 | 40.00 | 9160.00 | 750.00 | 171750.00 | 5.00 | 1145.00 | 50.00 | 11450.00 | 105.00 | 24045.00 | 1145.00 | REWINDER TECHNO ELECTRICALS
21.00 | Supply of 1 x 6 Sq.mm size 5 KV grade Airfield Lighting Cable copper conductor XLPE insulated, PVC sheathed, unshielded, anti-termite and rodent treated, UG airfield lighting cable generally confirming to IS:7098 (Part-II) with up to date amendments and particular specifications of the following sizes as required: | 1000.00 | Mtr | 0.00 | 105.00 | 105000.00 | 115.00 | 115000.00 | 5.00 | 5000.00 | 150.00 | 150000.00 | 88.20 | 88200.00 | 5000.00 | REWINDER TECHNO ELECTRICALS
22.00 | Laying of following dia high density polyethylene (HDPE ) pipe, complete with accessories. in the soil for GLF work up to 750 mm deep connecting both/one end to existing chamber/CC collar, including excavation and back filling & making good the same as per site requirement . OD 63 mm | 350.00 | Mtr | 0.00 | 100.00 | 35000.00 | 170.00 | 59500.00 | 5.00 | 1750.00 | 150.00 | 52500.00 | 157.50 | 55125.00 | 1750.00 | REWINDER TECHNO ELECTRICALS
23.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 5 KV/1.1KV grade of up to 35 sq.mm in the existing RCC/HUME/STONE WARE/METAL/DWC/HDPE pipe as required. | 660.00 | Mtr | 0.00 | 20.00 | 13200.00 | 30.00 | 19800.00 | 5.00 | 3300.00 | 15.00 | 9900.00 | 105.00 | 69300.00 | 3300.00 | REWINDER TECHNO ELECTRICALS
24.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV/5 KVgrade of up to 35 sqmm size in the existing masonry open duct as required | 40.00 | Mtr | 0.00 | 25.00 | 1000.00 | 30.00 | 1200.00 | 5.00 | 200.00 | 15.00 | 600.00 | 105.00 | 4200.00 | 200.00 | REWINDER TECHNO ELECTRICALS
25.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) as per direction of E-I-C. | 5.00 | Cum | 0.00 | 5000.00 | 25000.00 | 8000.00 | 40000.00 | 10.00 | 50.00 | 6500.00 | 32500.00 | 3150.00 | 15750.00 | 50.00 | REWINDER TECHNO ELECTRICALS
26.00 | Supply of Converter for LED type Operational area signage of all sizes (Up to 3000mm length and can illuminate up to 0.5W, 220Nos. LED by a single driver) operated through series circuit by using single isolating transformer of suitable size with current range from 2.8 to 6.6 Amps with inbuilt dual circuit and auto changeover facility to work on main and standby circuit. Make of Driver : POSHDECOR or equivallent make | 5.00 | Each | 0.00 | 2000.00 | 10000.00 | 4500.00 | 22500.00 | 500.00 | 2500.00 | 5000.00 | 25000.00 | 2310.00 | 11550.00 | 2500.00 | REWINDER TECHNO ELECTRICALS
| Total in Figures |  |  |  |  | 12981980.00 |  | 17624711.00 |  | 7919090.00 |  | 19969021.00 |  | 11637350.50
Lowest Amount Quoted BY: REWINDER TECHNO ELECTRICALS(7919090.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Conventional Halogen Runway Edge Light Fittings to LED fittings and associated works at Lilabari Airport Tender ID: 2025_AAI_249000_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | REWINDER TECHNO ELECTRICALS (BID ID -913744) | 7919090.00 | L1
| 2 | Airfield Solutions India pvt Ltd (BID ID -903199) | 11637350.50 | L2
| 3 | Techno Electricals (BID ID -913320) | 12981980.00 | L3
| 4 | AMA Private Limited (BID ID -913544) | 17624711.00 | L4
| 5 | Balaji Engineering (BID ID -913764) | 19969021.00 | L5