## BoQ1
Government eProcurement System Created By: Ramroop Meena Created Date/Time: 13-Oct-2025 04:37 PM Tender Title: Internal Modification of old Terminal Building into CISF barracks, Construction of KOTE and other associated work at Khajuraho Airport. SH. Electrical Works. Tender ID: 2025_AAI_249095_1
Tender Inviting Authority: Airports Authority of India, Khajuraho Airport
Name of Work: Internal Modification of old Terminal Building into CISF barracks, Construction of KOTE and other associated work at Khajuraho Airport. SH:Electrical Works.
Contract No: 2025_AAI_249095_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -912367 |  | ZENITH ASSOCIATES (GSTN-NA) BID ID -910313
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, 3 nos. blades, 30 cm long down rod, copper winding, Power Factor not less than 0.9, 350 RPM,suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 70.00 | Each | 100.00 | 2500.00 | 175000.00 | 2500.00 | 175000.00 | 175000.00 | ZENITH ASSOCIATES, Manish Electricals
2.00 | Installation, Testing and Commissioning of ceiling fan with Brush Less Direct Current (BLDC) Motor complete as required. | 70.00 | Job | 100.00 | 170.00 | 11900.00 | 70.00 | 4900.00 | 4900.00 | ZENITH ASSOCIATES
3.00 | Supply of 20 W LED light batten fitting having Polycarbonate body, IP20, inbuilt convertor, accessories etc and suitable for use on 230 volts, 50 Hz, single phase, A.C. supply as required | 116.00 | Each | 10.00 | 350.00 | 40600.00 | 300.00 | 34800.00 | 34800.00 | ZENITH ASSOCIATES
4.00 | Installation, Testing & Commissioning of 20 W LED light fitting complete as required. | 116.00 | Job | 10.00 | 100.00 | 11600.00 | 70.00 | 8120.00 | 8120.00 | ZENITH ASSOCIATES
5.00 | Supply of single phase, 300mm dia. 900 RPM sweep Heavy Exhaust fan with Louver and shutter/safety Guard from foreign objects, etc. complete as required suitable for use on 230 volts, 50 Hz, single phase, A.C. supply. | 36.00 | Each | 10.00 | 2200.00 | 79200.00 | 1650.00 | 59400.00 | 59400.00 | ZENITH ASSOCIATES
6.00 | Installation, Testing & Commissioning of single phase, 300mm dia. 900 RPM sweep Heavy Exhaust fan complete as required. | 36.00 | Job | 10.00 | 100.00 | 3600.00 | 70.00 | 2520.00 | 2520.00 | ZENITH ASSOCIATES
7.00 | Supply of 9 W LED bulb, suitable for 230 V, 50 Hz Single phase supply complete as required. | 80.00 | Each | 10.00 | 105.00 | 8400.00 | 200.00 | 16000.00 | 8400.00 | Manish Electricals
8.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 12 Module (200mmX150mm) | 23.00 | Each | 10.00 | 600.00 | 13800.00 | 650.00 | 14950.00 | 13800.00 | Manish Electricals
9.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 8 Module (125mmX125mm) | 13.00 | Each | 10.00 | 550.00 | 7150.00 | 500.00 | 6500.00 | 6500.00 | ZENITH ASSOCIATES
10.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 42.00 | Each | 100.00 | 500.00 | 21000.00 | 400.00 | 16800.00 | 16800.00 | ZENITH ASSOCIATES
11.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 4 Module (125mmX75mm) | 46.00 | Each | 100.00 | 400.00 | 18400.00 | 250.00 | 11500.00 | 11500.00 | ZENITH ASSOCIATES
12.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 62.00 | Each | 10.00 | 220.00 | 13640.00 | 300.00 | 18600.00 | 13640.00 | Manish Electricals
13.00 | Supplying and fixing suitable size GI Modular box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 47.00 | Each | 10.00 | 360.00 | 16920.00 | 650.00 | 30550.00 | 16920.00 | Manish Electricals
14.00 | Supply of 9 W LED Inverter/ rechargeable bulb With Auto-Charge Technology having Emergency time backup of not less than 4 Hours at min. of 50% illumination, suitable for 230 V, 50 Hz Single phase supply complete as required. | 61.00 | Each | 10.00 | 350.00 | 21350.00 | 500.00 | 30500.00 | 21350.00 | Manish Electricals
15.00 | Installation, Testing & Commissioning of 9 W LED Bulb and 9 W LED Inverter/ rechargeable bulb complete as required. | 141.00 | Job | 10.00 | 50.00 | 7050.00 | 50.00 | 7050.00 | 7050.00 | ZENITH ASSOCIATES, Manish Electricals
16.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.Group B | 336.00 | Point | 10.00 | 980.00 | 329280.00 | 700.00 | 235200.00 | 235200.00 | ZENITH ASSOCIATES
17.00 | Supply of minimum 35W LED type Street Light Luminaire with control gear, made of pressure die cast aluminium housing with heat resistant toughened flat glass/polycarbonate cover and minimum IP 65 protection, suitable for operation in 140-270 V, 50 HZ AC etc. complete as required. | 25.00 | Each | 10.00 | 1000.00 | 25000.00 | 2500.00 | 62500.00 | 25000.00 | Manish Electricals
18.00 | Installation, Testing & Commissioning of minimum 35W LED type Street Light Luminaire complete as required. | 25.00 | Job | 10.00 | 100.00 | 2500.00 | 500.00 | 12500.00 | 2500.00 | Manish Electricals
19.00 | Wiring for light/ power plug with 2X4sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class MS conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 180.00 | Mtrs. | 10.00 | 325.00 | 58500.00 | 350.00 | 63000.00 | 58500.00 | Manish Electricals
20.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 1063.00 | Mtrs. | 10.00 | 200.00 | 212600.00 | 270.00 | 287010.00 | 212600.00 | Manish Electricals
21.00 | Supplying and fixing of nominal 2.00mm +/- 10% thick, 1000mm wide anti-skid Antistatic Electric Insulation mats confirming to IS 15652:2006 with up to date amendments and CPRI/ERDA tested suitable for 3.3 kV installation along adhesive sealing material and similar type of taping on sealing at joints and corners as per recommendations etc. as required. | 10.00 | sqm | 10.00 | 580.00 | 5800.00 | 600.00 | 6000.00 | 5800.00 | Manish Electricals
22.00 | Supply of following sizes of XLPE insulated and PVC sheathed XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 3.5 x 35 Sq.mm | 200.00 | Mtrs. | 10.00 | 250.00 | 50000.00 | 350.00 | 70000.00 | 50000.00 | Manish Electricals
23.00 | Laying of one number additional PVC insulated and PVC sheathed/XLPE power Cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. Laying of cable upto 35 Sqmm. | 200.00 | Mtrs. | 10.00 | 225.00 | 45000.00 | 200.00 | 40000.00 | 40000.00 | ZENITH ASSOCIATES
24.00 | Supplying and fixing following ways surfac/recess mounting, vertical type, 415 volts, TPN MCB distrubution board of sheet steel, dust protected, duly power painted, inclusive of 200 As tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer) as required. (Note: Vertical type MCB TPDB is normally used where 3 Phase outlets are required.). 12 Way DB box | 4.00 | Each | 10.00 | 4000.00 | 16000.00 | 5000.00 | 20000.00 | 16000.00 | Manish Electricals
25.00 | Supplying and fixing following way, horizontal type three phase and neutal, sheet steel, MCB distributing board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required (But without MCB/RCCB/Isolator). 6 Way DB box | 1.00 | Each | 10.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 2500.00 | ZENITH ASSOCIATES
26.00 | Supplying and fixing 5A to 32 Amps rating,240/415 volts, 10kA,SP "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. As required | 80.00 | Each | 10.00 | 160.00 | 12800.00 | 300.00 | 24000.00 | 12800.00 | Manish Electricals
27.00 | Supplying and fixing 63 Amp Four Pole (FP) rating,240/415 volts, 10kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. As required | 5.00 | Each | 10.00 | 2100.00 | 10500.00 | 2200.00 | 11000.00 | 10500.00 | Manish Electricals
28.00 | Supply and fixing of 63 Amp, FP RCCB, 30mA RCCB (In accordance with IS 12640-1 & IEC 61008-1) 240/415, 50Hz with 6kA short circuit withstand capacity. | 5.00 | Each | 10.00 | 7500.00 | 37500.00 | 4000.00 | 20000.00 | 20000.00 | ZENITH ASSOCIATES
29.00 | Supply of stepped type Fan Regulator Suitable to operate on 120/280 V, 50 Hz single phase AC supply | 70.00 | Each | 10.00 | 300.00 | 21000.00 | 350.00 | 24500.00 | 21000.00 | Manish Electricals
30.00 | Supply of Wall mounted Fan of 400 mm sweep, swing type suitable for working on 240 V AC etc as required. | 20.00 | Each | 10.00 | 3000.00 | 60000.00 | 3000.00 | 60000.00 | 60000.00 | ZENITH ASSOCIATES, Manish Electricals
31.00 | Installation, testing and commissioning of Wall mounted Fan etc. complete as required. | 20.00 | Job | 10.00 | 200.00 | 4000.00 | 70.00 | 1400.00 | 1400.00 | ZENITH ASSOCIATES
32.00 | Supply of Pedastral Fan of 400 mm sweep, swing type suitable for working on 240 V AC etc as required. | 20.00 | Each | 10.00 | 3200.00 | 64000.00 | 4000.00 | 80000.00 | 64000.00 | Manish Electricals
33.00 | Earthing with GI earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Each | 10.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 14000.00 | Manish Electricals
34.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (with charcoal/ coke and salt ) as required. | 6.00 | Each | 10.00 | 7000.00 | 42000.00 | 4500.00 | 27000.00 | 27000.00 | ZENITH ASSOCIATES
35.00 | Supplying and laying 25 mm X 5 mm GI strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 21.00 | Mtrs. | 10.00 | 150.00 | 3150.00 | 400.00 | 8400.00 | 3150.00 | Manish Electricals
36.00 | Providing and fixing 25 mm X 5 mm GI strip on surface or in recess for connections etc. as required. | 300.00 | Mtrs. | 10.00 | 150.00 | 45000.00 | 300.00 | 90000.00 | 45000.00 | Manish Electricals
37.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc. complete as required. | 6.00 | Each | 10.00 | 600.00 | 3600.00 | 4000.00 | 24000.00 | 3600.00 | Manish Electricals
38.00 | Supplying, installation, testing & commissioning of Microprocessor based 8 Zone conventional fire alarm panel. | 1.00 | Each | 10.00 | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 15000.00 | Manish Electricals
39.00 | Supplying, installation, testing & commissioning of photo electric type smoke detector complete with all connections etc. as required. | 10.00 | Each | 10.00 | 2550.00 | 25500.00 | 2000.00 | 20000.00 | 20000.00 | ZENITH ASSOCIATES
40.00 | Supplying, installation, testing & commissioning of flasher type sounder/Hooter unit complete with all connections etc. as required. | 1.00 | Each | 10.00 | 3000.00 | 3000.00 | 5500.00 | 5500.00 | 3000.00 | Manish Electricals
41.00 | Supplying, installation, testing & commissioning of manual call point as required. | 1.00 | Each | 10.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 3000.00 | Manish Electricals
42.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation,Steel wire armouring & FRLS outer sheath complete as required. | 150.00 | Mtrs. | 10.00 | 185.00 | 27750.00 | 150.00 | 22500.00 | 22500.00 | ZENITH ASSOCIATES
43.00 | Supplying, installation, testing & commissioning of Auto dialer unit complete with all connections etc. as required. | 1.00 | Each | 100.00 | 11000.00 | 11000.00 | 9000.00 | 9000.00 | 9000.00 | ZENITH ASSOCIATES
44.00 | SITC of 4.5 kg carbon dioxide (CO2) type fire extinguishers confirming to IS 2878 : 1976 (with up to date amendments ) and cylinders fully charged including providing suitable M.S. Stand complete as required. | 22.00 | Each | 100.00 | 5500.00 | 121000.00 | 8500.00 | 187000.00 | 121000.00 | Manish Electricals
45.00 | Supply of monoblock 5HP pump 3 phase 415 Volt , single stage head range 6 to 15 mtr, 32.8 to 12.5 liter per second impellers, body delivery made of cast iron complete as required. | 2.00 | Each | 100.00 | 24000.00 | 48000.00 | 45000.00 | 90000.00 | 48000.00 | Manish Electricals
46.00 | Installation, testing & commissioning of monoblock 5HP pump including Providing and laying in position cement concrete 1:3:6 (1 cement : 2 coarse sand : 6 graded stone aggregate 20 mm nominal size) in foundation of pump,bolts as per OEM reccomendation complete as required. | 2.00 | Job | 10.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 6000.00 | Manish Electricals
47.00 | Supply of 3 phase 5 HP DOL motor starter having current range 9-14 Amp,415 V,50 Hz suitable for 5 HP monoblock pump complete with all accessories as required. | 2.00 | Each | 10.00 | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 7000.00 | Manish Electricals
48.00 | Supply of 3 phase 5 HP Submersible pump complete with all accessories as required. | 2.00 | Each | 10.00 | 30000.00 | 60000.00 | 45000.00 | 90000.00 | 60000.00 | Manish Electricals
49.00 | Installation, testing & commissioning of 3 phase up to 5 HP Submersible pump in existing borewell including lowering, installation of wire rope of suitable size,installation and lowering of 50 mm Continuous Coil HDPE Pipe suitable for Submersible Pump outlet and installation and lowering of 3CX4 Sqmm PVC flat Copper cable for Submersible pump complete with suitable clampes, nut bolts with all accessories complete as required. | 2.00 | Job | 10.00 | 4900.00 | 9800.00 | 5000.00 | 10000.00 | 9800.00 | Manish Electricals
50.00 | Supply of 3 phase 5 HP DOL starter having current range 9-14 Amp, 415 V,50 Hz suitable for 5 HP Submersible pump complete with all accessories as required. | 2.00 | Each | 10.00 | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 8000.00 | Manish Electricals
51.00 | Supply of 3 phase 3 HP openwell submersible ( Dewatering) pump complete with all accessories as required. | 1.00 | Each | 10.00 | 22500.00 | 22500.00 | 35000.00 | 35000.00 | 22500.00 | Manish Electricals
52.00 | Supply of starter for 3 HP DOL starter having current range 4-6.5 Amps,415 V,50 Hz suitable for 3 HP Dwatering pump complete with all accessories as required. | 1.00 | Each | 10.00 | 3450.00 | 3450.00 | 4800.00 | 4800.00 | 3450.00 | Manish Electricals
53.00 | Installation, testing & commissioning of 3 phase 3HP-5 HP DOL starter having current range suitable for 5 HP Submersible pump complete with all accessories as required. | 5.00 | Job | 10.00 | 2000.00 | 10000.00 | 1000.00 | 5000.00 | 5000.00 | ZENITH ASSOCIATES
54.00 | Supply of 6 mm Dia Wire rope duly covered/insulated with PVC for lowering of submersible pump etc. complete as required. | 250.00 | Mtrs. | 10.00 | 80.00 | 20000.00 | 200.00 | 50000.00 | 20000.00 | Manish Electricals
55.00 | Supply of 50mm Continuous Coil HDPE Pipe for water delivery side of Submersible pump installed in borewell etc. complete as required. | 250.00 | Mtrs. | 10.00 | 70.00 | 17500.00 | 200.00 | 50000.00 | 17500.00 | Manish Electricals
56.00 | Supply of 3CX4 Sqmm PVC flat Copper cable for Submersible pump installed in borewell etc. complete as required. | 250.00 | Mtrs. | 100.00 | 150.00 | 37500.00 | 250.00 | 62500.00 | 37500.00 | Manish Electricals
57.00 | Supply of LED search Dragon Light of minimum 15 W of chargeable type from 240 V AC etc as required. | 25.00 | Each | 100.00 | 3000.00 | 75000.00 | 3500.00 | 87500.00 | 75000.00 | Manish Electricals
58.00 | Supplying, Installation, testing and commissioning of 100 Ltr. solar water heating system with heat exchanger type including electrical heater backup, make up water tank but without piping. | 10.00 | Job | 10.00 | 65000.00 | 650000.00 | 45000.00 | 450000.00 | 450000.00 | ZENITH ASSOCIATES
| Total in Figures |  |  |  |  | 2695840.00 |  | 2890000.00
Lowest Amount Quoted BY: Manish Electricals(2695840.00)

## BOQ Summary
BOQ Summary Details Tender Title: Internal Modification of old Terminal Building into CISF barracks, Construction of KOTE and other associated work at Khajuraho Airport. SH. Electrical Works. Tender ID: 2025_AAI_249095_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals (BID ID -912367) | 2695840.00 | L1
| 2 | ZENITH ASSOCIATES (BID ID -910313) | 2890000.00 | L2