## BoQ1
Government eProcurement System Created By: Anitha K R Created Date/Time: 29-Oct-2025 12:24 PM Tender Title: Miscellaneous Civil Work at Operational area and Fire station at Calicut International Airport. SH- Segregation work to Baggage make up area, Miscellaneous works at Fire station and construction of two numbers watch tower at operational area Tender ID: 2025_AAI_249207_1
Tender Inviting Authority: <Senior Manager [Engg-C], Engineering Wing, AAI, Calicut International Airport-673647>
Name of Work:<Miscellaneous Civil Work at Operational area and Fire station at Calicut International Airport. SH: Segregation work to Baggage make up area, Miscellaneous works at Fire station and construction of two numbers watch tower at operational area>
Contract No: <2025_AAI_249207>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | IGNOTEC ENGINEERS LLP (GSTN-NA) BID ID -915281 |  | Abdul Shukoor.V (GSTN-NA) BID ID -915053
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carriage of materials By Mechanical Transport including loading,unloading and stacking Lime, moorum, building to a lead of 1 km | 4.00 | Cum |  | 312.00 | 1248.00 | 936.00 | 3744.00 | 1248.00 | IGNOTEC ENGINEERS LLP
2.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge:All kinds of soil | 30.00 | Sqm |  | 156.00 | 4680.00 | 109.63 | 3288.90 | 3288.90 | Abdul Shukoor.V
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 50.00 | Cum |  | 156.00 | 7800.00 | 214.70 | 10735.00 | 7800.00 | IGNOTEC ENGINEERS LLP
4.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 30.00 | Mtr |  | 519.00 | 15570.00 | 404.11 | 12123.30 | 12123.30 | Abdul Shukoor.V
5.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 35.00 | Cum |  | 156.00 | 5460.00 | 187.34 | 6556.90 | 5460.00 | IGNOTEC ENGINEERS LLP
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1.5:3 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 2.00 | Cum |  | 9346.00 | 18692.00 | 8000.00 | 16000.00 | 16000.00 | Abdul Shukoor.V
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 10.00 | Cum |  | 8307.00 | 83070.00 | 6423.52 | 64235.20 | 64235.20 | Abdul Shukoor.V
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Foundations, footings, bases of columns, etc. for mass concrete | 50.00 | Sqm |  | 519.00 | 25950.00 | 325.17 | 16258.50 | 16258.50 | Abdul Shukoor.V
9.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 15.00 | Cum |  | 9346.00 | 140190.00 | 8563.40 | 128451.00 | 128451.00 | Abdul Shukoor.V
10.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | Cum |  | 10384.00 | 51920.00 | 10324.30 | 51621.50 | 51621.50 | Abdul Shukoor.V
11.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels,bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 6.00 | Cum |  | 10384.00 | 62304.00 | 10832.87 | 64997.22 | 62304.00 | IGNOTEC ENGINEERS LLP
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth levelThermo-Mechanically Treated bars of grade Fe-500D or more | 1550.00 | Kg |  | 83.00 | 128650.00 | 84.00 | 130200.00 | 128650.00 | IGNOTEC ENGINEERS LLP
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 1050.00 | Kg |  | 93.00 | 97650.00 | 84.00 | 88200.00 | 88200.00 | Abdul Shukoor.V
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform | 40.00 | Sqm |  | 831.00 | 33240.00 | 768.90 | 30756.00 | 30756.00 | Abdul Shukoor.V
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Lintels, beams, plinth beams, girders, bressumers and cantilevers | 15.00 | Sqm |  | 831.00 | 12465.00 | 612.60 | 9189.00 | 9189.00 | Abdul Shukoor.V
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform | 20.00 | Sqm |  | 831.00 | 16620.00 | 768.93 | 15378.60 | 15378.60 | Abdul Shukoor.V
17.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 5.00 | Each |  | 831.00 | 4155.00 | 140.50 | 702.50 | 702.50 | Abdul Shukoor.V
18.00 | Providing and fixing 12 mm thick panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick.Marine plywood conforming to IS: 710 | 10.00 | Sqm |  | 2492.00 | 24920.00 | 1723.52 | 17235.20 | 17235.20 | Abdul Shukoor.V
19.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 510.00 | Kg |  | 187.00 | 95370.00 | 159.11 | 81146.10 | 81146.10 | Abdul Shukoor.V
20.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 7640.00 | Kg |  | 187.00 | 1428680.00 | 102.16 | 780502.40 | 780502.40 | Abdul Shukoor.V
21.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 640.00 | Kg |  | 187.00 | 119680.00 | 161.60 | 103424.00 | 103424.00 | Abdul Shukoor.V
22.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 30.00 | Sqm |  | 519.00 | 15570.00 | 552.94 | 16588.20 | 15570.00 | IGNOTEC ENGINEERS LLP
23.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete | 10.00 | Sqm |  | 1038.00 | 10380.00 | 1028.36 | 10283.60 | 10283.60 | Abdul Shukoor.V
24.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 30.00 | Sqm |  | 1246.00 | 37380.00 | 1029.40 | 30882.00 | 30882.00 | Abdul Shukoor.V
25.00 | Grouting the tile flooring joints having 3 mm width , using epoxy grout mix of 0.70 kg of organic coated filler of desired shade ( 0.10 kg of hardner and 0.20 kg of resin per Kg ),including cleaning the joints, filling, grouting and finishing etc complete all as per the direction of Engineer in charge. Size of tile 600 x600 mm | 450.00 | Sqm |  | 312.00 | 140400.00 | 267.90 | 120555.00 | 120555.00 | Abdul Shukoor.V
26.00 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section. | 30.00 | Mtr |  | 208.00 | 6240.00 | 395.05 | 11851.50 | 6240.00 | IGNOTEC ENGINEERS LLP
27.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 160.00 | Sqm |  | 312.00 | 49920.00 | 301.12 | 48179.20 | 48179.20 | Abdul Shukoor.V
28.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand | 90.00 | Sqm |  | 363.00 | 32670.00 | 269.26 | 24233.40 | 24233.40 | Abdul Shukoor.V
29.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 170.00 | Sqm |  | 125.00 | 21250.00 | 182.75 | 31067.50 | 21250.00 | IGNOTEC ENGINEERS LLP
30.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and anufacture, including applying additional coats wherever required to achieve even shade and colour. Two coat | 70.00 | Sqm |  | 125.00 | 8750.00 | 118.54 | 8297.80 | 8297.80 | Abdul Shukoor.V
31.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 70.00 | Sqm |  | 73.00 | 5110.00 | 66.60 | 4662.00 | 4662.00 | Abdul Shukoor.V
32.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work | 500.00 | Sqm |  | 166.00 | 83000.00 | 196.52 | 98260.00 | 83000.00 | IGNOTEC ENGINEERS LLP
33.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | 4.00 | Cum |  | 2077.00 | 8308.00 | 2058.00 | 8232.00 | 8232.00 | Abdul Shukoor.V
34.00 | Welded steel wire fabric of required width having rectangular mesh painted with two or more coats of enamel paint of approved shade over a coat of primer (Priming & Painting to be paid for separately). | 700.00 | Kg |  | 104.00 | 72800.00 | 112.40 | 78680.00 | 72800.00 | IGNOTEC ENGINEERS LLP
35.00 | Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 10.00 | Sqm |  | 935.00 | 9350.00 | 730.63 | 7306.30 | 7306.30 | Abdul Shukoor.V
36.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in?charge. Made of G.I. wire of dia. 4 mm, PVC coated to achieve outer dia not less than 5 mm in required colour and shade | 150.00 | Sqm |  | 779.00 | 116850.00 | 900.00 | 135000.00 | 116850.00 | IGNOTEC ENGINEERS LLP
37.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Each |  | 6230.00 | 12460.00 | 6231.50 | 12463.00 | 12460.00 | IGNOTEC ENGINEERS LLP
38.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 2.00 | Each |  | 2596.00 | 5192.00 | 3425.80 | 6851.60 | 5192.00 | IGNOTEC ENGINEERS LLP
39.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm | 4.00 | Each |  | 1038.00 | 4152.00 | 1242.81 | 4971.24 | 4152.00 | IGNOTEC ENGINEERS LLP
40.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work exposed wall 32 mm nominal dia Pipes | 30.00 | Mtr |  | 415.00 | 12450.00 | 533.13 | 15993.90 | 12450.00 | IGNOTEC ENGINEERS LLP
41.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 32 mm nominal dia Pipes | 50.00 | Mtr |  | 415.00 | 20750.00 | 753.38 | 37669.00 | 20750.00 | IGNOTEC ENGINEERS LLP
42.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal outer dia Pipes | 20.00 | Mtr |  | 623.00 | 12460.00 | 623.42 | 12468.40 | 12460.00 | IGNOTEC ENGINEERS LLP
43.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 32 mm nominal bore. | 2.00 | Each |  | 1038.00 | 2076.00 | 644.82 | 1289.64 | 1289.64 | Abdul Shukoor.V
44.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 25 mm nominal bore | 2.00 | Each |  | 779.00 | 1558.00 | 437.15 | 874.30 | 874.30 | Abdul Shukoor.V
45.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | 1000.00 | Ltr |  | 8.00 | 8000.00 | 12.17 | 12170.00 | 8000.00 | IGNOTEC ENGINEERS LLP
46.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 2.00 | Each |  | 1246.00 | 2492.00 | 612.81 | 1225.62 | 1225.62 | Abdul Shukoor.V
47.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 40 mm nominal bore. | 2.00 | Each |  | 2077.00 | 4154.00 | 752.69 | 1505.38 | 1505.38 | Abdul Shukoor.V
48.00 | Constructing soak pit 1.20x1.20x1.20 m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | 2.00 | Each |  | 5192.00 | 10384.00 | 2893.27 | 5786.54 | 5786.54 | Abdul Shukoor.V
49.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 190.00 | Kg |  | 675.00 | 128250.00 | 506.22 | 96181.80 | 96181.80 | Abdul Shukoor.V
50.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 210.00 | kg |  | 810.00 | 170100.00 | 506.22 | 106306.20 | 106306.20 | Abdul Shukoor.V
51.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 10.00 | Sqm |  | 1661.00 | 16610.00 | 1438.36 | 14383.60 | 14383.60 | Abdul Shukoor.V
52.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. Complete | 5.00 | Each |  | 415.00 | 2075.00 | 508.80 | 2544.00 | 2075.00 | IGNOTEC ENGINEERS LLP
53.00 | Cement concrete block masonry with cement concrete blocks with cement mortar 1 : 6 (1 cement : 6 coarse sand) including dressing of sides etc. complete as per the direction of Engineer in charge. Up to plinth level | 10.00 | Cum |  | 7269.00 | 72690.00 | 5722.95 | 57229.50 | 57229.50 | Abdul Shukoor.V
54.00 | Cement concrete block masonry with cement concrete blocks with cement mortar 1: 6 (1 cement: 6 coarse sand) including dressing of sides etc. complete as per the direction of Engineer in charge. Above plinth level up to floor V level | 11.00 | Cum |  | 8307.00 | 91377.00 | 12177.10 | 133948.10 | 91377.00 | IGNOTEC ENGINEERS LLP
55.00 | Providing and fixing pre-coated galvalume steel sheet ( Steel sheet coated with an aluminum -zinc alloy and then painted with a durable coating for enhancingd aesthetics & protection and guard film for protection during tansporting & storage ) (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.40 mm (+0.030) total coated thickness with High Grade Aluminium Zinc coating, scratch hardness of 1.5 – 2/1 – 1.5 kg, Super Durable Polyester (SDP) paint type on top and Regular Modified Polyester (RMP) at bottom. Sheet should have a protective guard film to avoid scratches during transportation and should be supplied in single length up to 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling / self tapping screws with EPDM seal, complete up to any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. JSW or equivalent. | 70.00 | Sqm |  | 1038.00 | 72660.00 | 556.96 | 38987.20 | 38987.20 | Abdul Shukoor.V
56.00 | Providing and fixing pre-coated galvalume steel sheet roofing accessories 0.40 mm (+0.05 %) using self drilling/ self tapping screws complete. Ridges plain 400 mm | 8.00 | Mtr |  | 519.00 | 4152.00 | 369.50 | 2956.00 | 2956.00 | Abdul Shukoor.V
57.00 | Providing and laying vitrified floor tiles in sizes 600X600 mm X 16 mm thick of heavy duty full body vitrified tile of approved make, in all colours and shades, laid on with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 9 mm thickness, with 3 mm spacer etc., complete all as per the direction of Engineer in charge. (Joint filling with epoxy grout will be paid seperately under item no 25) | 450.00 | Sqm |  | 2123.00 | 955350.00 | 3329.66 | 1498347.00 | 955350.00 | IGNOTEC ENGINEERS LLP
58.00 | Providing and fixing PVC pipes (6kg/cm2) confirming to IS complete with all fttings in sewer line vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 110 mm | 40.00 | Mtr |  | 675.00 | 27000.00 | 3083.89 | 123355.60 | 27000.00 | IGNOTEC ENGINEERS LLP
59.00 | Providing and fixing PVC pipes (6kg/cm2) confirming to IS complete with all fttings in sewer line vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 90 mm | 40.00 | Mtr |  | 467.00 | 18680.00 | 303.54 | 12141.60 | 12141.60 | Abdul Shukoor.V
60.00 | Providing and fixing PVC pipes (6kg/cm2) confirming to IS complete with all fttings in sewer line vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 50 mm | 10.00 | Mtr |  | 415.00 | 4150.00 | 157.65 | 1576.50 | 1576.50 | Abdul Shukoor.V
61.00 | Providing and fixing/placing in position single moulded, non degradable polyethylene septic tank of diameter 600mm and length 2000mm, with 3 chambers and 2 manholes of 300mm diameter, of approved quality & make with capacity of 5 to 10 flushes per day as per the direction of Engineer-in-charge. The wall thickness should not be less than 16mm and the inlet and outlet pipes shall be of diameter 110mm with an air vent of 50mm diameter | 2.00 | Each |  | 20768.00 | 41536.00 | 20607.40 | 41214.80 | 41214.80 | Abdul Shukoor.V
| Total in Figures |  |  |  |  | 4697050.00 |  | 4511264.34
Lowest Amount Quoted BY: Abdul Shukoor.V(4511264.34)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil Work at Operational area and Fire station at Calicut International Airport. SH- Segregation work to Baggage make up area, Miscellaneous works at Fire station and construction of two numbers watch tower at operational area Tender ID: 2025_AAI_249207_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Abdul Shukoor.V (BID ID -915053) | 4511264.34 | L1
| 2 | IGNOTEC ENGINEERS LLP (BID ID -915281) | 4697050.00 | L2