## BoQ1
Government eProcurement System Created By: Sateesh Kr Kanaujiya Created Date/Time: 17-Oct-2025 01:01 PM Tender Title: Replacement of existing Fire Hydrant and Sprinklers Pipe Lines including modification of Fire Alarm System at Aurangabad Airport Tender ID: 2025_AAI_249230_1
Tender Inviting Authority: Senior Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad- 431007.
Name of Work: Replacement of existing Fire Hydrant & Sprinklers Pipe Lines including modification of Fire Alarm System at Aurangabad Airport.
Contract No: 2025_AAI_ 249230 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | cross Fire System (GSTN-29AVEPB7395N1ZW) BID ID -912061 |  | Universal Fire And Safety Services (GSTN-27AACCU2212P1Z7) BID ID -912152 |  | M/S JAYSHWAL ENTERPRISES (GSTN-24AEFPC8401C1Z9) BID ID -912192 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -912578 |  | OLO HOUSING INFRA LLP (GSTN-NA) BID ID -910309 |  | Luminosity Infra Projects Pvt Ltd (GSTN-NA) BID ID -911238 |  | SHIVAM FIRE SERVICES (GSTN-NA) BID ID -911916 |  | VOID FIRE CONSULTANTS (GSTN-NA) BID ID -912376 |  | J.K.DEFENCE FIRE ENGG. SERVICES (GSTN-NA) BID ID -911915 |  | Eagle Associates (GSTN-NA) BID ID -912480 |  | AAGNI FIRE AGENCIES PRIVATE LIMITED (GSTN-NA) BID ID -912218
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Supplying, laying, testing and commissioning of pipes of following sizes of MS ‘C’ class heavy duty along with necessary clamps, vibration isolators and fittings such as elbows, tees, flanges, tapers, nut bolts, gaskets etc..but excluding valves, strainers, gauges etc. adequately supported on cement concrete supports, anti corrosive treatment with coaltar / Asphalt tape as per IS : 10221 duly painted and buried in ground, excavation and refilling the trench etc. as per specifications and as required complete in all respect. Note:-The Pipes size 100 mm & 150 mm shall be M.S. ‘C’ class heavy duty conforming to IS : 1239 or latest ammendment. 150 mm | 300.00 | Meter |  | 3300.00 | 990000.00 | 3675.00 | 1102500.00 | 2880.00 | 864000.00 | 3200.00 | 960000.00 | 3428.40 | 1028520.00 | 3090.00 | 927000.00 | 3786.00 | 1135800.00 | 3150.00 | 945000.00 | 2400.00 | 720000.00 | 2600.00 | 780000.00 | 3232.00 | 969600.00 | 720000.00 | J.K.DEFENCE FIRE ENGG. SERVICES
1.02 | 100 mm | 90.00 | Meter |  | 2780.00 | 250200.00 | 2450.00 | 220500.00 | 2120.00 | 190800.00 | 2400.00 | 216000.00 | 2658.75 | 239287.50 | 1950.00 | 175500.00 | 2762.00 | 248580.00 | 2150.00 | 193500.00 | 1600.00 | 144000.00 | 2100.00 | 189000.00 | 2388.00 | 214920.00 | 144000.00 | J.K.DEFENCE FIRE ENGG. SERVICES
2.01 | Supplying, laying, testing and commissioning of pipes of following sizes of MS ‘C’ class heavy duty along with necessary clamps, vibration isolators and fittings such as elbows, tees, flanges, tapers, nut bolts, gaskets etc..but excluding valves, strainers, gauges etc. adequately supported on cement concrete supports, anti corrosive treatment with coaltar / Asphalt tape as per IS : 10221 duly painted and buried in bituminous road/ paver blocks/tiles/heavy concrete surface, excavation and refilling the trench , making good the same etc. as per specifications and as required complete in all respect. Note:-The Pipes size 100 mm & 150 mm shall be M.S. ‘C’ class heavy duty conforming to IS : 1239 or latest ammendment. 150 mm | 500.00 | Meter |  | 3500.00 | 1750000.00 | 4785.00 | 2392500.00 | 3200.00 | 1600000.00 | 3600.00 | 1800000.00 | 3598.00 | 1799000.00 | 3550.00 | 1775000.00 | 3786.00 | 1893000.00 | 3240.00 | 1620000.00 | 2700.00 | 1350000.00 | 2800.00 | 1400000.00 | 4242.00 | 2121000.00 | 1350000.00 | J.K.DEFENCE FIRE ENGG. SERVICES
2.02 | 100 mm | 110.00 | Meter |  | 2950.00 | 324500.00 | 3185.00 | 350350.00 | 2350.00 | 258500.00 | 2800.00 | 308000.00 | 2748.75 | 302362.50 | 2350.00 | 258500.00 | 2762.00 | 303820.00 | 2150.00 | 236500.00 | 1800.00 | 198000.00 | 2200.00 | 242000.00 | 3398.00 | 373780.00 | 198000.00 | J.K.DEFENCE FIRE ENGG. SERVICES
3.01 | Providing, laying, testing and commissioning of following sizes of 'C' class heavy duty Mild Steel pipes conforming to IS-1239 including cutting, welding, nut-bolts, gasket, fitting viz. bends, tees, reducers, crosses, flanges etc. and fixing the pipes on wall / ceiling / beam / floor with suitable structural supports and treatment on outer surface by one coat of primer & two coats of synthetic enamel red painting complete as required and as per enclosed specifications. Note:-The Pipes size 100 mm & 150 mm shall be M.S. ‘C’ class heavy duty conforming to IS : 1239 or latest ammendment. 150 mm | 500.00 | Meter |  | 2900.00 | 1450000.00 | 2550.00 | 1275000.00 | 2250.00 | 1125000.00 | 2800.00 | 1400000.00 | 3513.40 | 1756700.00 | 2850.00 | 1425000.00 | 3652.00 | 1826000.00 | 1980.00 | 990000.00 | 2200.00 | 1100000.00 | 2400.00 | 1200000.00 | 2626.00 | 1313000.00 | 990000.00 | VOID FIRE CONSULTANTS
3.02 | 100 mm | 125.00 | Meter |  | 2550.00 | 318750.00 | 1815.00 | 226875.00 | 1650.00 | 206250.00 | 2000.00 | 250000.00 | 2610.00 | 326250.00 | 1950.00 | 243750.00 | 2614.00 | 326750.00 | 1410.00 | 176250.00 | 1900.00 | 237500.00 | 2100.00 | 262500.00 | 1780.00 | 222500.00 | 176250.00 | VOID FIRE CONSULTANTS
4.00 | Dismantling of existing Single headed hydrant valve from existing delivery header & re installing, testing and commissioning in the newly laid Under Ground delivery header pipeline including nut bolts , rubber packing etc. 100 mm | 22.00 | Job |  | 350.00 | 7700.00 | 1050.00 | 23100.00 | 2500.00 | 55000.00 | 400.00 | 8800.00 | 1780.00 | 39160.00 | 6500.00 | 143000.00 | 849.00 | 18678.00 | 1800.00 | 39600.00 | 5000.00 | 110000.00 | 2000.00 | 44000.00 | 3030.00 | 66660.00 | 7700.00 | cross Fire System
5.00 | Supply, installation, testing and commissioning of 4 way collecting head fire brigade connection in the newly laid Under Ground delivery Header pipeline including nutbolts , Rubber Packing etc. The work includes dismatling of exisitng 4 way collecting head fire brigade. 150 mm | 3.00 | Job |  | 19500.00 | 58500.00 | 2748.00 | 8244.00 | 10500.00 | 31500.00 | 12000.00 | 36000.00 | 11557.50 | 34672.50 | 12500.00 | 37500.00 | 12596.00 | 37788.00 | 8500.00 | 25500.00 | 15000.00 | 45000.00 | 18000.00 | 54000.00 | 4040.00 | 12120.00 | 8244.00 | Universal Fire And Safety Services
6.01 | Providing & fixing of following sizes of butterfly valve of rating PN 1.6, wafer type, in cast iron body with Ductile Iron disc, EPDM seal, SS single piece shaft, conforming to IS-13095 of the following sizes complete with cast iron hand lever companion flanges, bolts, nuts, washers & inserted rubber gaskets, as required and as per enclosed specifications. The work includes the dismantaling of exisitng valve (if installed) 150 mm dia | 18.00 | Job |  | 9950.00 | 179100.00 | 6458.00 | 116244.00 | 6500.00 | 117000.00 | 4800.00 | 86400.00 | 8912.50 | 160425.00 | 13500.00 | 243000.00 | 8200.00 | 147600.00 | 4850.00 | 87300.00 | 11500.00 | 207000.00 | 9000.00 | 162000.00 | 7070.00 | 127260.00 | 86400.00 | CENTRE TAP ENGINEERING
6.02 | 100 mm dia | 5.00 | Job |  | 6541.00 | 32705.00 | 4745.00 | 23725.00 | 4500.00 | 22500.00 | 4000.00 | 20000.00 | 5807.50 | 29037.50 | 6500.00 | 32500.00 | 6180.00 | 30900.00 | 3100.00 | 15500.00 | 8500.00 | 42500.00 | 6000.00 | 30000.00 | 5050.00 | 25250.00 | 15500.00 | VOID FIRE CONSULTANTS
7.00 | Constructing masonry Chamber 900 mm x 900 mm x 1000 mm inside, with 50 class designation brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice / butterfly valve, RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate) 20 mm nominal size i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate) 40 mm nominal size and inside plastering with cement mortar 1:4 (1 cement : 4 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design :With common burnt clay F.P.S.(non modular) bricks of class designation 7.5. | 8.00 | Job |  | 25800.00 | 206400.00 | 61854.00 | 494832.00 | 35000.00 | 280000.00 | 4000.00 | 32000.00 | 32000.00 | 256000.00 | 45000.00 | 360000.00 | 8030.00 | 64240.00 | 9500.00 | 76000.00 | 25000.00 | 200000.00 | 13000.00 | 104000.00 | 40400.00 | 323200.00 | 32000.00 | CENTRE TAP ENGINEERING
8.00 | Providing & fixing 63 mm dia Instantaneous Pattern short branch pipe with 20mm (nominal internal diameter) stainless steel nozzle conforming to IS:903 suitable for instantaneous connection complete to inter-connect hose pipe, coupling etc. as required and as per enclosed specifications. | 12.00 | Job |  | 2200.00 | 26400.00 | 1350.00 | 16200.00 | 1800.00 | 21600.00 | 2400.00 | 28800.00 | 2012.50 | 24150.00 | 2400.00 | 28800.00 | 1412.00 | 16944.00 | 1690.00 | 20280.00 | 4500.00 | 54000.00 | 3300.00 | 39600.00 | 2020.00 | 24240.00 | 16200.00 | Universal Fire And Safety Services
9.00 | Supply of Pressure Guage 150 mm dial & 0 to 15 KG/Sq.CM with necessary fittings as required. | 9.00 | Each |  | 2850.00 | 25650.00 | 2120.00 | 19080.00 | 1250.00 | 11250.00 | 2400.00 | 21600.00 | 2507.00 | 22563.00 | 2200.00 | 19800.00 | 645.00 | 5805.00 | 1820.00 | 16380.00 | 3500.00 | 31500.00 | 5500.00 | 49500.00 | 1414.00 | 12726.00 | 5805.00 | SHIVAM FIRE SERVICES
10.00 | Supply, Installation, testing and commissioning of pressure switch for heavy duty operation differential type, adjustable range from 0-10 kg / sq.cm and a regulation range of 0.1 - 1.5 kg / sq.cm direct mounted SNAP acting type made from die cast aluminium with epoxy powder coated finish and SS316 diaphragm as per specifications. | 5.00 | Job |  | 2650.00 | 13250.00 | 3485.00 | 17425.00 | 3500.00 | 17500.00 | 2400.00 | 12000.00 | 7072.50 | 35362.50 | 1850.00 | 9250.00 | 1419.00 | 7095.00 | 1755.00 | 8775.00 | 5000.00 | 25000.00 | 6500.00 | 32500.00 | 1818.00 | 9090.00 | 7095.00 | SHIVAM FIRE SERVICES
11.00 | Supply, Installation, testing and commissioning of following sizes of CI non return valve conforming to API-594 with C.I. body, SS Disc, SS stem, EPDM seal, complete with companion flanges, bolts, nuts, washers & inserted rubber gasket etc. complete as required in the existing fire hydrant pipeline after dismantling of existing NRV. 150 mm | 3.00 | Job |  | 9400.00 | 28200.00 | 8875.00 | 26625.00 | 7500.00 | 22500.00 | 8000.00 | 24000.00 | 22487.10 | 67461.30 | 16500.00 | 49500.00 | 16048.00 | 48144.00 | 8074.00 | 24222.00 | 18500.00 | 55500.00 | 22000.00 | 66000.00 | 9090.00 | 27270.00 | 22500.00 | M/S JAYSHWAL ENTERPRISES
12.00 | Supply, Installation, Testing & Commissioning of UL/EN listed (latest version) Modular Microprocessor based expandable expandable intellegent Addressable type Fire Alarm Control panel of 05 (Five) loops, with minimum 320 character graphics/ LCD display with tuch screen or other keypad and minimum 4000 events history long in the non volatile memory (EPROM), The panel should be equiped with loop capacity to take minimum 240 intellegent addressable detectors/ devices (In any combination with minimum 120 detector per loop) in one loop. Four access levels, capable of taking Protocol Devices, Graphical Display, sufficient numbers of programmable relay controls for controlling ventilation fan, fire pump room, monitoring of fire sprinkler and fire hydrant pump, 230 volts, 50 Hz AC power supply, inbuilt automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hourse normal working and then be capable of operating the system for 30 minutes during and emergency/ fault conditions along with battery stand as required. The panel shall have facility for seamless integration with PA system in case of fire) The panel shall be compatible for Building Management System with open protocol BACNET/MODBUS etc. as per specifiction, complete as required. The panel should be compatible with the existing fire alarm system inclung re-addressing, re-programming, re-commissioning of existing fire devices in fire alarm control panel etc. as required. ( smoke detectors, multi criteria detectors , MCPs, Hooters, beam detectors). EST3 fire panel shall be suitable for existing fire system. a) 5 Loop. Note: 1). Prior site inspection by OEM of the fire panel is mandatory before the delivery of panel. 2). All the re programmig of installed fire devices are in the scope of the work. | 1.00 | Job |  | 577111.00 | 577111.00 | 587845.00 | 587845.00 | 575000.00 | 575000.00 | 400000.00 | 400000.00 | 79801.00 | 79801.00 | 470000.00 | 470000.00 | 266000.00 | 266000.00 | 525000.00 | 525000.00 | 1350000.00 | 1350000.00 | 647400.00 | 647400.00 | 606000.00 | 606000.00 | 79801.00 | OLO HOUSING INFRA LLP
13.00 | Supply & fixing of 63 mm dia Stainless Steel (Grade 304) female coupling suitable for connection with existing fire hydrant to the 63 mm dia hose pipe conforming to IS 903 suitable for instantaneous connection to interconnect hose pipe coupling etc. as required. | 5.00 | Job |  | 2100.00 | 10500.00 | 750.00 | 3750.00 | 5500.00 | 27500.00 | 1200.00 | 6000.00 | 6210.00 | 31050.00 | 1500.00 | 7500.00 | 1400.00 | 7000.00 | 11005.00 | 55025.00 | 4500.00 | 22500.00 | 2500.00 | 12500.00 | 7070.00 | 35350.00 | 3750.00 | Universal Fire And Safety Services
14.00 | Supplying and Fixing of M.S. Hose cabinet Wall mounted type fabricated out of S.S. sheet with glass fronted door and size of the cabinet shall be 600mm x 750 mm x 250 mm cabinet. | 12.00 | Job |  | 9540.00 | 114480.00 | 4500.00 | 54000.00 | 5500.00 | 66000.00 | 4800.00 | 57600.00 | 27312.00 | 327744.00 | 8500.00 | 102000.00 | 4536.00 | 54432.00 | 3950.00 | 47400.00 | 17500.00 | 210000.00 | 6500.00 | 78000.00 | 8080.00 | 96960.00 | 47400.00 | VOID FIRE CONSULTANTS
15.00 | Supplying and Fixing of First Aid Hose Reel, wall mounting swinging type complete with drum & bracket of MS construction, spray painted in Post office Red, confirming to IS 884/1995 with upto date amendments, complete with the following as required. Suitable for 30 Meter long 20 mm dia water hose Thermoplastic (Textile reinforced) Type - 2 as per IS : 12585, 25 mm dia ball valve & nozzle. Drum and rackets for fixing the equipments on wall. Connection from riser with stop valve (gun metal) & M.S. Pipe | 12.00 | Job |  | 12500.00 | 150000.00 | 6850.00 | 82200.00 | 10500.00 | 126000.00 | 8000.00 | 96000.00 | 8510.00 | 102120.00 | 8500.00 | 102000.00 | 8023.00 | 96276.00 | 7900.00 | 94800.00 | 12500.00 | 150000.00 | 12000.00 | 144000.00 | 7070.00 | 84840.00 | 82200.00 | Universal Fire And Safety Services
16.00 | Supply of 63 mm dia, 15 mtr long RRL hose pipe (ISI marked) with necessary male and female stainless steel (Grade 304) couplings duly binded with GI wire, rivets etc. conforming to IS - 636 (Type -A) complete as required. | 24.00 | Each |  | 6500.00 | 156000.00 | 4987.00 | 119688.00 | 5500.00 | 132000.00 | 6400.00 | 153600.00 | 4715.00 | 113160.00 | 4600.00 | 110400.00 | 3966.00 | 95184.00 | 3835.00 | 92040.00 | 6500.00 | 156000.00 | 5000.00 | 120000.00 | 7070.00 | 169680.00 | 92040.00 | VOID FIRE CONSULTANTS
17.00 | Supply and fixing of hydrant head assembly complete with spindle , spindle rod , spindle cap , female coupler suitable to cnnect with 63 mm dia hose pipe with push lug and proper locking arrangement and the mecahnism should be mounted on heavy MS plate to connect with the existing Hydrant including gasket etc as complete as per the requirement. | 5.00 | Job |  | 6500.00 | 32500.00 | 7710.00 | 38550.00 | 4500.00 | 22500.00 | 6400.00 | 32000.00 | 4500.00 | 22500.00 | 2500.00 | 12500.00 | 5636.00 | 28180.00 | 5460.00 | 27300.00 | 5500.00 | 27500.00 | 8000.00 | 40000.00 | 7070.00 | 35350.00 | 12500.00 | Luminosity Infra Projects Pvt Ltd
18.00 | Supplying, installation, testing and commissioning of Electric driven Main Fire Pump suitable for automatic operation and consisting of following, complete in all respects, as required : (a) Horizontal type, multistage, centrifugal, split casing pump of cast iron body & bronze impeller with stainless steel shaft, mechanical seal conforming to IS 1520. (b) Suitable HP Squirrel cage induction motor, TEFC, synchronous speed 1500 RPM, suitable for operation on 415 volts, 3 phase 50 Hz, AC supply with IP 55 protection for enclosure, horizontal foot mounted type with Class-'F' insulation, conforming to IS-325. (c) M.S. fabricated Common base plate, coupling, coupling guard, foundation bolts etc. as required. (d) Suitable cement concrete foundation duly plastered with anti vibration pads. Note: *The head of the pump is selected in a manner so as to give a minimum 3.5 kgf /sq.cm pressure at the highest / farthest point 2850 lpm at 70 m Head | 1.00 | Set |  | 479600.00 | 479600.00 | 584850.00 | 584850.00 | 545000.00 | 545000.00 | 400000.00 | 400000.00 | 305900.00 | 305900.00 | 540000.00 | 540000.00 | 356000.00 | 356000.00 | 440000.00 | 440000.00 | 650000.00 | 650000.00 | 700000.00 | 700000.00 | 606000.00 | 606000.00 | 305900.00 | OLO HOUSING INFRA LLP
19.00 | Supplying, installation, testing and commissioning of electric driven pressurisation pump suitable for automatic operation and consisting of following, complete in all respects, as required : (Jockey Pump) Horizontal type, multistage, centrifugal pump of cast iron body and bronze impeller with stainless steel shaft, mechanical seal conforming to IS : 1520. Suitable HP squirell cage induction motor TEFC type suitable for operation on 415 volts, 3 phase 50 Hz AC supply with IP 55 class of protection for enclosure, horizontal foot mounted type with Class-'F' insulation, conforming to IS : 325. M.S.fabricated Common base plate, coupling, coupling guard, foundation bolts etc. as required. Suitable cement concrete foundation duly plastered and with anti vibration pads. 180 lpm at 88 m Head | 1.00 | Set |  | 225400.00 | 225400.00 | 191486.00 | 191486.00 | 165000.00 | 165000.00 | 120000.00 | 120000.00 | 179170.00 | 179170.00 | 250000.00 | 250000.00 | 111118.00 | 111118.00 | 148500.00 | 148500.00 | 225000.00 | 225000.00 | 300000.00 | 300000.00 | 141400.00 | 141400.00 | 111118.00 | SHIVAM FIRE SERVICES
20.01 | Supplying, fixing, testing & commissioning of double flanged sluice valve of rating PN 1.6 with non rising spindle, bronze/gun metal seat, ISI marked complete with nuts, bolts, washers, gaskets and conforming to IS 780 of following sizes as required. 100 mm dia | 2.00 | Set |  | 29500.00 | 59000.00 | 35485.00 | 70970.00 | 14500.00 | 29000.00 | 12000.00 | 24000.00 | 18648.40 | 37296.80 | 22000.00 | 44000.00 | 13159.00 | 26318.00 | 16580.00 | 33160.00 | 25000.00 | 50000.00 | 16000.00 | 32000.00 | 14140.00 | 28280.00 | 24000.00 | CENTRE TAP ENGINEERING
20.02 | 150mm dia | 3.00 | Set |  | 45800.00 | 137400.00 | 54548.00 | 163644.00 | 22500.00 | 67500.00 | 20000.00 | 60000.00 | 23640.50 | 70921.50 | 32000.00 | 96000.00 | 20370.00 | 61110.00 | 21050.00 | 63150.00 | 42500.00 | 127500.00 | 19000.00 | 57000.00 | 20200.00 | 60600.00 | 57000.00 | Eagle Associates
20.03 | 200mm dia | 3.00 | Set |  | 59800.00 | 179400.00 | 81584.00 | 244752.00 | 34500.00 | 103500.00 | 28000.00 | 84000.00 | 34701.25 | 104103.75 | 42000.00 | 126000.00 | 35174.00 | 105522.00 | 29500.00 | 88500.00 | 55000.00 | 165000.00 | 38000.00 | 114000.00 | 30300.00 | 90900.00 | 84000.00 | CENTRE TAP ENGINEERING
21.00 | Providing, fixing, testing & commissioning of installation control valve of cast iron body, brass / bronze working parts comprising of water motor alarm, bronze seat clapper, clapper arm and hydraulically driven mechanical gong bell to sound continuous alarm when the wet riser / sprinkler system activates, pressure gauges, emergency releases, strainer, pressure switch, cock valve complete with drain valve and bypass, test control box, ball valves, MS pipe of required size, flanges, orifice plate, gasket etc of follwing sizes as required : 150mm dia | 4.00 | Set |  | 48600.00 | 194400.00 | 74851.00 | 299404.00 | 72500.00 | 290000.00 | 80000.00 | 320000.00 | 47178.50 | 188714.00 | 52000.00 | 208000.00 | 43179.00 | 172716.00 | 46480.00 | 185920.00 | 85000.00 | 340000.00 | 75000.00 | 300000.00 | 141400.00 | 565600.00 | 172716.00 | SHIVAM FIRE SERVICES
| Total in Figures |  |  |  |  | 7977146.00 |  | 8754339.00 |  | 6972400.00 |  | 6956800.00 |  | 7683432.85 |  | 7796500.00 |  | 7491000.00 |  | 6275602.00 |  | 7993500.00 |  | 7200000.00 |  | 8363576.00
Lowest Amount Quoted BY: VOID FIRE CONSULTANTS(6275602.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing Fire Hydrant and Sprinklers Pipe Lines including modification of Fire Alarm System at Aurangabad Airport Tender ID: 2025_AAI_249230_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOID FIRE CONSULTANTS (BID ID -912376) | 6275602.00 | L1
| 2 | CENTRE TAP ENGINEERING (BID ID -912578) | 6956800.00 | L2
| 3 | M/S JAYSHWAL ENTERPRISES (BID ID -912192) | 6972400.00 | L3
| 4 | Eagle Associates (BID ID -912480) | 7200000.00 | L4
| 5 | SHIVAM FIRE SERVICES (BID ID -911916) | 7491000.00 | L5
| 6 | OLO HOUSING INFRA LLP (BID ID -910309) | 7683432.85 | L6
| 7 | Luminosity Infra Projects Pvt Ltd (BID ID -911238) | 7796500.00 | L7
| 8 | cross Fire System (BID ID -912061) | 7977146.00 | L8
| 9 | J.K.DEFENCE FIRE ENGG. SERVICES (BID ID -911915) | 7993500.00 | L9
| 10 | AAGNI FIRE AGENCIES PRIVATE LIMITED (BID ID -912218) | 8363576.00 | L10
| 11 | Universal Fire And Safety Services (BID ID -912152) | 8754339.00 | L11