## BoQ1
Government eProcurement System Created By: Ajay Kumar Verma Created Date/Time: 21-Nov-2025 03:31 PM Tender Title: Construction of Dog kennel (6 dogs), KOTE and other miscellaneous works at MVI Airport, Ayodhya Tender ID: 2025_AAI_249742_1
Tender Inviting Authority: Sr. Manager Civil
Name of Work: Construction of Dog kennel (6 dogs), KOTE and other miscellaneous works at MVI Airport , Ayodhya
Contract No: 2025_AAI_249742 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS (GSTN-09AITPM1036H1Z1) BID ID -920039 |  | Khairati Lal (GSTN-07ABBPL9082B1ZT) BID ID -920182 |  | BIMAL TECHNOCRATS (GSTN-NA) BID ID -921162 |  | M/S SHARAD CHANDRA MALL (GSTN-NA) BID ID -922626
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 340.00 | Cum | 0.00 | 105.00 | 35700.00 | 160.00 | 54400.00 | 120.00 | 40800.00 | 200.00 | 68000.00 | 35700.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 227.00 | Cum | 0.00 | 115.00 | 26105.00 | 100.00 | 22700.00 | 140.00 | 31780.00 | 175.00 | 39725.00 | 22700.00 | Khairati Lal
3.00 | Excavating, Supplying and filling of local earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in layers not exceeding 20 cm in trenches, plinth, sides of foundation etc. complete | 200.00 | Cum | 0.00 | 430.00 | 86000.00 | 900.00 | 180000.00 | 276.49 | 55298.00 | 240.00 | 48000.00 | 48000.00 | M/S SHARAD CHANDRA MALL
4.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials: All kinds of soil | 30.00 | Cum | 0.00 | 110.00 | 3300.00 | 100.00 | 3000.00 | 78.38 | 2351.40 | 70.00 | 2100.00 | 2100.00 | M/S SHARAD CHANDRA MALL
5.00 | Supplying and filling in plinth with local fine sand under floors, including watering, ramming, consolidating and dressing complete. | 165.00 | Cum | 0.00 | 900.00 | 148500.00 | 1200.00 | 198000.00 | 1500.00 | 247500.00 | 1200.00 | 198000.00 | 148500.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
6.00 | Clearing grass and removal of the rubbish up to a distance of 50 m outside the periphery of the area cleared. | 2750.00 | Sqm | 0.00 | 7.00 | 19250.00 | 5.00 | 13750.00 | 5.55 | 15262.50 | 4.50 | 12375.00 | 12375.00 | M/S SHARAD CHANDRA MALL
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : (a) 1:2:4 (1 cement : 2 coarse sand(zone-III) : 4 graded stone aggregate 40 mm nominal size) | 5.00 | Cum | 0.00 | 6100.00 | 30500.00 | 6300.00 | 31500.00 | 5998.37 | 29991.85 | 4500.00 | 22500.00 | 22500.00 | M/S SHARAD CHANDRA MALL
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : (c) 1:4:8 (1 Cement : 4 coarse sand((zone-III) : 8 graded stone agg. 40 mm nominal size) | 222.00 | Cum | 0.00 | 4910.00 | 1090020.00 | 4900.00 | 1087800.00 | 5250.62 | 1165637.64 | 4200.00 | 932400.00 | 932400.00 | M/S SHARAD CHANDRA MALL
9.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.00 | Cum | 0.00 | 6200.00 | 6200.00 | 8000.00 | 8000.00 | 5671.72 | 5671.72 | 5800.00 | 5800.00 | 5671.72 | BIMAL TECHNOCRATS
10.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level (a) Concrete of M25 grade with minimum cement content of 330 kg /cum | 83.00 | Cum | 0.00 | 6200.00 | 514600.00 | 7900.00 | 655700.00 | 7207.55 | 598226.65 | 6000.00 | 498000.00 | 498000.00 | M/S SHARAD CHANDRA MALL
11.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level | 88.00 | Cum | 0.00 | 6800.00 | 598400.00 | 7900.00 | 695200.00 | 8254.15 | 726365.20 | 6800.00 | 598400.00 | 598400.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS, M/S SHARAD CHANDRA MALL
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (a) Foundations, footings, bases of columns, etc. for mass concrete. | 114.00 | Sqm | 0.00 | 230.00 | 26220.00 | 250.00 | 28500.00 | 221.72 | 25276.08 | 220.00 | 25080.00 | 25080.00 | M/S SHARAD CHANDRA MALL
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for (b) Suspended floors, roofs, landings, balconies and access platform. | 85.00 | Sqm | 0.00 | 260.00 | 22100.00 | 380.00 | 32300.00 | 551.92 | 46913.20 | 350.00 | 29750.00 | 22100.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for (c) Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 181.00 | Sqm | 0.00 | 280.00 | 50680.00 | 380.00 | 68780.00 | 438.01 | 79279.81 | 350.00 | 63350.00 | 50680.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for (d) Columns, Pillars, Piers, Abutments, Posts and Struts. | 454.00 | Sqm | 0.00 | 240.00 | 108960.00 | 380.00 | 172520.00 | 529.06 | 240193.24 | 350.00 | 158900.00 | 108960.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for (e)Stairs, (excluding landings) except spiral-staircases | 50.00 | Sqm | 0.00 | 280.00 | 14000.00 | 400.00 | 20000.00 | 473.58 | 23679.00 | 350.00 | 17500.00 | 14000.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. (a) Thermo-Mechanically Treated bars. | 9667.00 | Kg | 0.00 | 70.00 | 676690.00 | 72.00 | 696024.00 | 71.72 | 693317.24 | 71.00 | 686357.00 | 676690.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
18.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. (a) Thermo-Mechanically Treated bars. | 9330.00 | Kg | 0.00 | 70.00 | 653100.00 | 72.00 | 671760.00 | 71.72 | 669147.60 | 71.00 | 662430.00 | 653100.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
19.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in : (a) Cement mortar 1:6 (1 cement : 6 coarse sand). | 49.00 | Cum | 0.00 | 4900.00 | 240100.00 | 5500.00 | 269500.00 | 5500.00 | 269500.00 | 5000.00 | 245000.00 | 240100.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in (a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 161.00 | Cum | 0.00 | 5100.00 | 821100.00 | 6000.00 | 966000.00 | 6150.00 | 990150.00 | 5400.00 | 869400.00 | 821100.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
21.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. (a) Cement mortar 1:4 (1 cement :4 coarse sand) | 90.00 | Sqm | 0.00 | 615.00 | 55350.00 | 780.00 | 70200.00 | 810.00 | 72900.00 | 675.00 | 60750.00 | 55350.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
22.00 | Providing and fixing expansion hold fasteners on C.C. /R.C.C./Brick masonry surface backing including drilling necessary holes and the cost of bolt etc complete:Wedge expansion type Fastener with threaded dia 10 mm | 20.00 | Each | 0.00 | 52.00 | 1040.00 | 100.00 | 2000.00 | 25.35 | 507.00 | 150.00 | 3000.00 | 507.00 | BIMAL TECHNOCRATS
23.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.Granite stone slab of colour black, Cherry/Ruby red: Area of slab upto 0.50 sqm | 8.00 | Sqm | 0.00 | 3010.00 | 24080.00 | 3000.00 | 24000.00 | 3509.51 | 28076.08 | 2500.00 | 20000.00 | 20000.00 | M/S SHARAD CHANDRA MALL
24.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.Granite stone slab of colour black, Cherry/Ruby red: Area of slab over 0.50 sqm | 70.00 | Sqm | 0.00 | 3020.00 | 211400.00 | 3000.00 | 210000.00 | 3230.51 | 226135.70 | 2450.00 | 171500.00 | 171500.00 | M/S SHARAD CHANDRA MALL
25.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately): Kiln seasoned and chemically treated hollock wood | .49 | Cum | 0.00 | 5050.00 | 2474.50 | 100000.00 | 49000.00 | 55649.83 | 27268.42 | 80000.00 | 39200.00 | 2474.50 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
26.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick :Float glass panes: 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). | 20.00 | Sqm | 0.00 | 1030.00 | 20600.00 | 1200.00 | 24000.00 | 1673.40 | 33468.00 | 1500.00 | 30000.00 | 20600.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
27.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: (a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 60.00 | Sqm | 0.00 | 2010.00 | 120600.00 | 1800.00 | 108000.00 | 2252.85 | 135171.00 | 1500.00 | 90000.00 | 90000.00 | M/S SHARAD CHANDRA MALL
28.00 | Providing and fixing curtain rods of 1.25 mm thick chromium plated brass plate, with two chromium plated brass brackets fixed with C.P. brass screws and wooden plugs, etc., wherever necessary complete : (a) 20 mm dia. | 25.00 | Mtr. | 0.00 | 460.00 | 11500.00 | 200.00 | 5000.00 | 273.93 | 6848.25 | 260.00 | 6500.00 | 5000.00 | Khairati Lal
29.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. (a) Fixed to openings /wooden frames with rawl plugs screws etc. | 245.00 | Kg | 0.00 | 95.00 | 23275.00 | 150.00 | 36750.00 | 138.39 | 33905.55 | 100.00 | 24500.00 | 23275.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
30.00 | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete : (a) 300 x 16 mm | 30.00 | Each | 0.00 | 430.00 | 12900.00 | 300.00 | 9000.00 | 195.23 | 5856.90 | 80.00 | 2400.00 | 2400.00 | M/S SHARAD CHANDRA MALL
31.00 | Providing and fixing bright finished brass handles with screws etc. complete: 125 mm | 25.00 | Each | 0.00 | 410.00 | 10250.00 | 160.00 | 4000.00 | 153.83 | 3845.75 | 60.00 | 1500.00 | 1500.00 | M/S SHARAD CHANDRA MALL
32.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete : (a) 200 x 10 mm | 62.00 | Each | 0.00 | 52.00 | 3224.00 | 200.00 | 12400.00 | 68.10 | 4222.20 | 60.00 | 3720.00 | 3224.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
33.00 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete : (a) 125 mm | 64.00 | Each | 0.00 | 360.00 | 23040.00 | 60.00 | 3840.00 | 45.04 | 2882.56 | 50.00 | 3200.00 | 2882.56 | BIMAL TECHNOCRATS
34.00 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. (a) Twin rubber stopper | 30.00 | Each | 0.00 | 195.00 | 5850.00 | 80.00 | 2400.00 | 46.69 | 1400.70 | 50.00 | 1500.00 | 1400.70 | BIMAL TECHNOCRATS
35.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. a) 1 mm thick | 75.00 | Sqm | 0.00 | 2260.00 | 169500.00 | 950.00 | 71250.00 | 573.00 | 42975.00 | 620.00 | 46500.00 | 42975.00 | BIMAL TECHNOCRATS
36.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 4000.00 | Kg | 0.00 | 98.00 | 392000.00 | 100.00 | 400000.00 | 83.96 | 335840.00 | 100.00 | 400000.00 | 335840.00 | BIMAL TECHNOCRATS
37.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 20.00 | Sqm | 0.00 | 630.00 | 12600.00 | 8200.00 | 164000.00 | 7048.01 | 140960.20 | 6200.00 | 124000.00 | 12600.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
38.00 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. Using M.S. angels 40x40x6 mm for diagonal braces | 113.00 | Sqm | 0.00 | 2040.00 | 230520.00 | 3325.00 | 375725.00 | 3585.86 | 405202.18 | 3500.00 | 395500.00 | 230520.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
39.00 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar bent to shape with hooked ends in R.C.C. slabs, beams during laying including painting the exposed portion of loop, all as per standard design complete. | 14.00 | Each | 0.00 | 92.00 | 1288.00 | 250.00 | 3500.00 | 139.46 | 1952.44 | 150.00 | 2100.00 | 1288.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
40.00 | Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. (a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 1148.00 | Kg | 0.00 | 95.00 | 109060.00 | 110.00 | 126280.00 | 106.73 | 122526.04 | 110.00 | 126280.00 | 109060.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
41.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying a priming coat of approved steel primer. (a) M.S. tube. | 80.00 | Kg | 0.00 | 92.00 | 7360.00 | 120.00 | 9600.00 | 117.86 | 9428.80 | 120.00 | 9600.00 | 7360.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
42.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts/aluminium section wirh ss screws all complete a)Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides | 25.00 | Sqm | 0.00 | 650.00 | 16250.00 | 1200.00 | 30000.00 | 278.66 | 6966.50 | 680.00 | 17000.00 | 6966.50 | BIMAL TECHNOCRATS
43.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement :3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand including finishing the top smooth | 81.00 | Sqm | 0.00 | 3600.00 | 291600.00 | 500.00 | 40500.00 | 511.24 | 41410.44 | 440.00 | 35640.00 | 35640.00 | M/S SHARAD CHANDRA MALL
44.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 150.00 | Sqm | 0.00 | 980.00 | 147000.00 | 800.00 | 120000.00 | 1062.49 | 159373.50 | 850.00 | 127500.00 | 120000.00 | Khairati Lal
45.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : (a) 25 mm thick. | 220.00 | Sqm | 0.00 | 990.00 | 217800.00 | 1260.00 | 277200.00 | 1279.95 | 281589.00 | 1100.00 | 242000.00 | 217800.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
46.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 75.00 | Sqm | 0.00 | 1180.00 | 88500.00 | 1300.00 | 97500.00 | 1528.91 | 114668.25 | 1300.00 | 97500.00 | 88500.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
47.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 50.00 | Sqm | 0.00 | 680.00 | 34000.00 | 650.00 | 32500.00 | 797.59 | 39879.50 | 600.00 | 30000.00 | 30000.00 | M/S SHARAD CHANDRA MALL
48.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 30.00 | Sqm | 0.00 | 760.00 | 22800.00 | 680.00 | 20400.00 | 701.70 | 21051.00 | 550.00 | 16500.00 | 16500.00 | M/S SHARAD CHANDRA MALL
49.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes. (a) 110 mm diameter | 60.00 | Mtr. | 0.00 | 120.00 | 7200.00 | 200.00 | 12000.00 | 239.81 | 14388.60 | 220.00 | 13200.00 | 7200.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
50.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion (i) Bend 87.5o (a) 110 mm bend | 6.00 | Each | 0.00 | 110.00 | 660.00 | 100.00 | 600.00 | 99.00 | 594.00 | 100.00 | 600.00 | 594.00 | BIMAL TECHNOCRATS
51.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 385.00 | Sqm | 0.00 | 540.00 | 207900.00 | 600.00 | 231000.00 | 503.66 | 193909.10 | 495.00 | 190575.00 | 190575.00 | M/S SHARAD CHANDRA MALL
52.00 | 12 mm cement plaster of mix : (a) 1:6 (1 cement : 6 fine sand) | 720.00 | Sqm | 0.00 | 208.00 | 149760.00 | 250.00 | 180000.00 | 206.25 | 148500.00 | 195.00 | 140400.00 | 140400.00 | M/S SHARAD CHANDRA MALL
53.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : (a) 1:6 (1 cement : 6 fine sand) | 495.00 | Sqm | 0.00 | 210.00 | 103950.00 | 300.00 | 148500.00 | 225.00 | 111375.00 | 220.00 | 108900.00 | 103950.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
54.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix : (a) 1:3 (1 cement: 3 fine sand) | 72.00 | Sqm | 0.00 | 215.00 | 15480.00 | 300.00 | 21600.00 | 281.25 | 20250.00 | 250.00 | 18000.00 | 15480.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
55.00 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : (a) 1:4 (1 cement : 4 fine sand) | 16.00 | Sqm | 0.00 | 240.00 | 3840.00 | 350.00 | 5600.00 | 318.75 | 5100.00 | 280.00 | 4480.00 | 3840.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
56.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 546.00 | Sqm | 0.00 | 95.00 | 51870.00 | 60.00 | 32760.00 | 138.75 | 75757.50 | 55.00 | 30030.00 | 30030.00 | M/S SHARAD CHANDRA MALL
57.00 | Finishing walls with water proofing cement paint of required shade : (a) New work (Two or more coats applied @ 3.84 kg/10 sqm). | 501.00 | Sqm | 0.00 | 72.00 | 36072.00 | 90.00 | 45090.00 | 93.75 | 46968.75 | 60.00 | 30060.00 | 30060.00 | M/S SHARAD CHANDRA MALL
58.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 400.00 | Sqm | 0.00 | 101.00 | 40400.00 | 90.00 | 36000.00 | 112.50 | 45000.00 | 70.00 | 28000.00 | 28000.00 | M/S SHARAD CHANDRA MALL
59.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 420.00 | Sqm | 0.00 | 89.00 | 37380.00 | 80.00 | 33600.00 | 131.25 | 55125.00 | 80.00 | 33600.00 | 33600.00 | Khairati Lal, M/S SHARAD CHANDRA MALL
60.00 | Applying priming coat : (a)With ready mixed aluminium primer of approved brand and manufacture on resinous wood and plywood | 212.00 | Sqm | 0.00 | 69.00 | 14628.00 | 20.00 | 4240.00 | 131.25 | 27825.00 | 40.00 | 8480.00 | 4240.00 | Khairati Lal
61.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : (a) Two or more coats on new work. | 212.00 | Sqm | 0.00 | 92.00 | 19504.00 | 100.00 | 21200.00 | 157.50 | 33390.00 | 45.00 | 9540.00 | 9540.00 | M/S SHARAD CHANDRA MALL
62.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 50.00 | Cum | 0.00 | 89.00 | 4450.00 | 200.00 | 10000.00 | 3150.00 | 157500.00 | 300.00 | 15000.00 | 4450.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
63.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. (a) Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | 50.00 | Cum | 0.00 | 960.00 | 48000.00 | 1000.00 | 50000.00 | 4060.00 | 203000.00 | 1500.00 | 75000.00 | 48000.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
64.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. (b) Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | 50.00 | Cum | 0.00 | 810.00 | 40500.00 | 800.00 | 40000.00 | 3850.00 | 192500.00 | 1400.00 | 70000.00 | 40000.00 | Khairati Lal
65.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 24.00 | Cum | 0.00 | 4900.00 | 117600.00 | 6300.00 | 151200.00 | 4599.00 | 110376.00 | 5800.00 | 139200.00 | 110376.00 | BIMAL TECHNOCRATS
66.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge:Made of G.I. wire of dia 4 mm | 580.00 | Sqm. | 0.00 | 510.00 | 295800.00 | 800.00 | 464000.00 | 601.65 | 348957.00 | 670.00 | 388600.00 | 295800.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
67.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : (a) White Vitreous china Orissa pattern W.C. pan of size 580 x 440 mm with integral type foot rests. | 5.00 | Each | 0.00 | 4200.00 | 21000.00 | 5000.00 | 25000.00 | 4220.39 | 21101.95 | 1500.00 | 7500.00 | 7500.00 | M/S SHARAD CHANDRA MALL
68.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid | 3.00 | Each | 0.00 | 5200.00 | 15600.00 | 8000.00 | 24000.00 | 4044.20 | 12132.60 | 1700.00 | 5100.00 | 5100.00 | M/S SHARAD CHANDRA MALL
69.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps,32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : (a) White Vitreous China Wash basin size 550x400 mm with a pair of 15 mm C.P. brass pillar taps. | 8.00 | Each | 0.00 | 1910.00 | 15280.00 | 2200.00 | 17600.00 | 1489.93 | 11919.44 | 1400.00 | 11200.00 | 11200.00 | M/S SHARAD CHANDRA MALL
70.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS 13983 with C.I. brackets and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required : (i) Kitchen sink without drain board. (a) 610 x 510 mm bowl depth 200 mm | 1.00 | Each | 0.00 | 1905.00 | 1905.00 | 6000.00 | 6000.00 | 3120.02 | 3120.02 | 3000.00 | 3000.00 | 1905.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
71.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350mm or 340x410x265mm sizes respectively. | 9.00 | Each | 0.00 | 4100.00 | 36900.00 | 1400.00 | 12600.00 | 1009.08 | 9081.72 | 1200.00 | 10800.00 | 9081.72 | BIMAL TECHNOCRATS
72.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. (i) Flexible pipe (a) 32 mm dia | 5.00 | Each | 0.00 | 65.00 | 325.00 | 100.00 | 500.00 | 43.80 | 219.00 | 60.00 | 300.00 | 219.00 | BIMAL TECHNOCRATS
73.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 3.00 | Each | 0.00 | 42.00 | 126.00 | 1000.00 | 3000.00 | 37.23 | 111.69 | 35.00 | 105.00 | 105.00 | M/S SHARAD CHANDRA MALL
74.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 9.00 | Each | 0.00 | 910.00 | 8190.00 | 1000.00 | 9000.00 | 1032.95 | 9296.55 | 1100.00 | 9900.00 | 8190.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
75.00 | Providing and fixing 600x120x5mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete. | 2.00 | Each | 0.00 | 610.00 | 1220.00 | 500.00 | 1000.00 | 687.66 | 1375.32 | 650.00 | 1300.00 | 1000.00 | Khairati Lal
76.00 | Providing and fixing soil, waste and vent pipes : (i) 100 mm dia. (a) Sand cast iron S&S pipe as per IS: 1729 | 30.00 | Mtr. | 0.00 | 650.00 | 19500.00 | 850.00 | 25500.00 | 743.14 | 22294.20 | 700.00 | 21000.00 | 19500.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
77.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) including cost of cutting holes and making good the walls etc. : (a) For 100 mm dia. pipe | 8.00 | Each | 0.00 | 210.00 | 1680.00 | 200.00 | 1600.00 | 225.17 | 1801.36 | 200.00 | 1600.00 | 1600.00 | Khairati Lal, M/S SHARAD CHANDRA MALL
78.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete (i) 100 mm. (a) Sand cast iron S&S as per IS- 1729 (a) Sand cast iron S&S as per IS- 1729 | 6.00 | Each | 0.00 | 190.00 | 1140.00 | 350.00 | 2100.00 | 398.03 | 2388.18 | 290.00 | 1740.00 | 1140.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
79.00 | Providing and fixing plain bend of required degree. (i) 100 mm | 6.00 | Each | 0.00 | 195.00 | 1170.00 | 300.00 | 1800.00 | 309.71 | 1858.26 | 300.00 | 1800.00 | 1170.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
80.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter: (a) 100 mm | 8.00 | Each | 0.00 | 380.00 | 3040.00 | 500.00 | 4000.00 | 412.24 | 3297.92 | 350.00 | 2800.00 | 2800.00 | M/S SHARAD CHANDRA MALL
81.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. (i) Internal work-Exposed on wall (a) 20 mm dia. nominal bore | 70.00 | Mtr. | 0.00 | 260.00 | 18200.00 | 300.00 | 21000.00 | 228.00 | 15960.00 | 280.00 | 19600.00 | 15960.00 | BIMAL TECHNOCRATS
82.00 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps i/c making good the walls etc. concealed pipe including painting with anti corrosive bitumastic paint, cutting chases and making good the wall. (a) 15 mm dia. nominal bore | 70.00 | Mtr. | 0.00 | 360.00 | 25200.00 | 280.00 | 19600.00 | 363.75 | 25462.50 | 260.00 | 18200.00 | 18200.00 | M/S SHARAD CHANDRA MALL
83.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc (a)25 mm dia nominal bore. | 180.00 | Mtr. | 0.00 | 240.00 | 43200.00 | 328.00 | 59040.00 | 313.50 | 56430.00 | 350.00 | 63000.00 | 43200.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
84.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : (a) 25 to 40 mm nominal bore | 4.00 | Each | 0.00 | 425.00 | 1700.00 | 800.00 | 3200.00 | 567.75 | 2271.00 | 490.00 | 1960.00 | 1700.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
85.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 6.00 | Each | 0.00 | 490.00 | 2940.00 | 2500.00 | 15000.00 | 658.50 | 3951.00 | 615.00 | 3690.00 | 2940.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
86.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge: External work: 20 mm nominal dia Pipes | 50.00 | Metre | 0.00 | 310.00 | 15500.00 | 220.00 | 11000.00 | 206.25 | 10312.50 | 238.00 | 11900.00 | 10312.50 | BIMAL TECHNOCRATS
87.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall: 20 mm nominal dia Pipes | 50.00 | Metre | 0.00 | 170.00 | 8500.00 | 220.00 | 11000.00 | 243.75 | 12187.50 | 228.00 | 11400.00 | 8500.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
88.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 20.00 | Each | 0.00 | 340.00 | 6800.00 | 300.00 | 6000.00 | 375.26 | 7505.20 | 400.00 | 8000.00 | 6000.00 | Khairati Lal
89.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 30 cm length: 20 mm nominal bore | 13.00 | Each | 0.00 | 55.00 | 715.00 | 100.00 | 1300.00 | 243.75 | 3168.75 | 60.00 | 780.00 | 715.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
90.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet :150 mm diameter | 2.00 | Each | 0.00 | 175.00 | 350.00 | 1000.00 | 2000.00 | 337.50 | 675.00 | 140.00 | 280.00 | 280.00 | M/S SHARAD CHANDRA MALL
91.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : (a) 15 mm nominal bore | 4.00 | Each | 0.00 | 321.00 | 1284.00 | 500.00 | 2000.00 | 262.50 | 1050.00 | 250.00 | 1000.00 | 1000.00 | M/S SHARAD CHANDRA MALL
92.00 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 5.00 | Each | 0.00 | 4050.00 | 20250.00 | 7000.00 | 35000.00 | 7576.50 | 37882.50 | 15000.00 | 75000.00 | 20250.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
93.00 | Constructing masonry Chamber 90x90x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size ), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 5.00 | Each | 0.00 | 9300.00 | 46500.00 | 12850.00 | 64250.00 | 13183.50 | 65917.50 | 10000.00 | 50000.00 | 46500.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
94.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : (a)25 mm nominal bore | 3.00 | Each | 0.00 | 305.00 | 915.00 | 328.00 | 984.00 | 276.75 | 830.25 | 210.00 | 630.00 | 630.00 | M/S SHARAD CHANDRA MALL
95.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | 4000.00 | Per litre | 0.00 | 6.50 | 26000.00 | 10.00 | 40000.00 | 7.28 | 29120.00 | 6.80 | 27200.00 | 26000.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
96.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 (a) 15 mm nominal bore.. | 8.00 | Each | 0.00 | 230.00 | 1840.00 | 200.00 | 1600.00 | 325.50 | 2604.00 | 300.00 | 2400.00 | 1600.00 | Khairati Lal
97.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.15 mm nominal bore | 6.00 | Each | 0.00 | 85.00 | 510.00 | 360.00 | 2160.00 | 531.00 | 3186.00 | 500.00 | 3000.00 | 510.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
98.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. (a) 15 mm nominal bore. | 21.00 | Each | 0.00 | 390.00 | 8190.00 | 300.00 | 6300.00 | 445.50 | 9355.50 | 400.00 | 8400.00 | 6300.00 | Khairati Lal
99.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : (a) 150 mm diameter | 10.00 | Mtr. | 0.00 | 380.00 | 3800.00 | 600.00 | 6000.00 | 443.25 | 4432.50 | 410.00 | 4100.00 | 3800.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
100.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design: (a) 150 mm diameter S.W. pipe | 10.00 | Mtr. | 0.00 | 805.00 | 8050.00 | 300.00 | 3000.00 | 821.25 | 8212.50 | 480.00 | 4800.00 | 3000.00 | Khairati Lal
101.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality (i) M D - 10 (a) Square shape 450mm internal dimension | 1.00 | Each | 0.00 | 960.00 | 960.00 | 2000.00 | 2000.00 | 1387.50 | 1387.50 | 750.00 | 750.00 | 750.00 | M/S SHARAD CHANDRA MALL
102.00 | Constructing soak pit 1.20x1.20x1.20m filled with brickbats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | 3.00 | Each | 0.00 | 1960.00 | 5880.00 | 28000.00 | 84000.00 | 2205.00 | 6615.00 | 2000.00 | 6000.00 | 5880.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
103.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion: Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 220.00 | Kg | 0.00 | 345.00 | 75900.00 | 480.00 | 105600.00 | 325.50 | 71610.00 | 400.00 | 88000.00 | 71610.00 | BIMAL TECHNOCRATS
104.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 220.00 | Kg | 0.00 | 390.00 | 85800.00 | 480.00 | 105600.00 | 1387.50 | 305250.00 | 450.00 | 99000.00 | 85800.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
105.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 40.00 | sqm | 0.00 | 360.00 | 14400.00 | 600.00 | 24000.00 | 2205.00 | 88200.00 | 400.00 | 16000.00 | 14400.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
106.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick | 50.00 | Sqm | 0.00 | 385.00 | 19250.00 | 600.00 | 30000.00 | 325.50 | 16275.00 | 370.00 | 18500.00 | 16275.00 | BIMAL TECHNOCRATS
107.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 40.00 | sqm | 0.00 | 720.00 | 28800.00 | 1200.00 | 48000.00 | 854.48 | 34179.20 | 675.00 | 27000.00 | 27000.00 | M/S SHARAD CHANDRA MALL
108.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50 mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge: 80 mm thick C.C. paver block of M-35 grade with approved colour design and pattern. | 200.00 | sqm | 0.00 | 720.00 | 144000.00 | 1000.00 | 200000.00 | 818.63 | 163726.00 | 650.00 | 130000.00 | 130000.00 | M/S SHARAD CHANDRA MALL
109.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level.All types of soil: 300 mm dia | 90.00 | sqm | 0.00 | 460.00 | 41400.00 | 700.00 | 63000.00 | 444.00 | 39960.00 | 420.00 | 37800.00 | 37800.00 | M/S SHARAD CHANDRA MALL
110.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer -in-charge, beyond 90 metre & upto 150 metre depth below ground level. 300 mm dia | 30.00 | Metre | 0.00 | 480.00 | 14400.00 | 800.00 | 24000.00 | 483.70 | 14511.00 | 450.00 | 13500.00 | 13500.00 | M/S SHARAD CHANDRA MALL
111.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. 100 mm nominal size dia | 120.00 | Metre | 0.00 | 432.00 | 51840.00 | 600.00 | 72000.00 | 470.61 | 56473.20 | 450.00 | 54000.00 | 51840.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
112.00 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in-charge. 100 mm nominal size dia | 120.00 | Metre | 0.00 | 425.00 | 51000.00 | 600.00 | 72000.00 | 480.59 | 57670.80 | 500.00 | 60000.00 | 51000.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
113.00 | Supplying, filling, spreading & leveling gravels of size range 5 mm to 10 mm, in the recharge pit, over the existing layer of boulders, in required thickness, for all leads & lifts, all complete as per direction of Engineerin- charge. | 20.00 | Cum | 0.00 | 960.00 | 19200.00 | 2500.00 | 50000.00 | 1076.78 | 21535.60 | 900.00 | 18000.00 | 18000.00 | M/S SHARAD CHANDRA MALL
114.00 | Supplying, filling, spreading & leveling coarse sand of size range 1.5 mm to 2 mm in recharge pit, in required thickness over gravel layer, for all leads & lifts, all complete as per direction of Engineer -in-charge. | 20.00 | Cum | 0.00 | 985.00 | 19700.00 | 1500.00 | 30000.00 | 1076.78 | 21535.60 | 860.00 | 17200.00 | 17200.00 | M/S SHARAD CHANDRA MALL
115.00 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineer-in-charge. | 2.00 | Each | 0.00 | 990.00 | 1980.00 | 1800.00 | 3600.00 | 979.97 | 1959.94 | 850.00 | 1700.00 | 1700.00 | M/S SHARAD CHANDRA MALL
116.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, ERW (Electric Resistance Welded) FE 410 mild steel screwed and socketed/plain ended casing pipes of required dia, conforming to IS: 4270, of reputed & approved make, including painted with outside surface with two coats of anticorrosive paint of approved brand and manufacture, including required hire & labour charges, fittings & accessories, all complete, for all depths, as per direction of Engineer-in-charge: 100 mm nominal size dia having minimum wall thickness 5.00 mm | 120.00 | meter | 0.00 | 860.00 | 103200.00 | 2000.00 | 240000.00 | 820.40 | 98448.00 | 820.00 | 98400.00 | 98400.00 | M/S SHARAD CHANDRA MALL
117.00 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of: 100 mm dia | 2.00 | Each | 0.00 | 142.00 | 284.00 | 500.00 | 1000.00 | 156.87 | 313.74 | 140.00 | 280.00 | 280.00 | M/S SHARAD CHANDRA MALL
118.00 | Providing and fixing Bail plug/ Bottom plug of required dia to the bottom of pipe assembly of tubewell as per IS:2800 (part I). 100 mm dia | 2.00 | Each | 0.00 | 160.00 | 320.00 | 500.00 | 1000.00 | 198.83 | 397.66 | 170.00 | 340.00 | 320.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
119.00 | Supplying and installation of moisture resistant/fire resistant cement board as per standard sizes fixed with self-drilling / taping screws. Screws shall be of counter sunk rib head of 1.60mm to 4 mm thick or 8 to 10 gauge of length varying from 25 to 45 mm.Cement Fiber Board 6 mm thick as per IS 14862:2000 of type B (High pressure Steam Cured) | 21.00 | Sqm. | 0.00 | 960.00 | 20160.00 | 1000.00 | 21000.00 | 691.46 | 14520.66 | 900.00 | 18900.00 | 14520.66 | BIMAL TECHNOCRATS
120.00 | Providing making & Placing in position Counter Table,Shutters,office Cabinet with Commercial ply/Commercial board (Make:Tiger,Adventure or equivalent) etc cut to required size and making provisions as required all complete as per drawing and satiafaction of EIC.Item includes labour charges ,screws,nails and other necessary material required to execute the work but excluding the cost of material and labour charges for Laminate,hinges,locks,telescopic channels,Magnets,handles,bidding and painting work to all unexposed area and will be paid separately.Measurement will be actual area/size of the material used. a)25 mm Block Board | 25.00 | Sqm | 0.00 | 12060.00 | 301500.00 | 3000.00 | 75000.00 | 2578.77 | 64469.25 | 1600.00 | 40000.00 | 40000.00 | M/S SHARAD CHANDRA MALL
121.00 | Providing making & Placing in position Counter Table,Shutters,office Cabinet with Commercial ply/Commercial board (Make:Tiger,Adventure or equivalent) etc cut to required size and making provisions as required all complete as per drawing and satiafaction of EIC.Item includes labour charges ,screws,nails and other necessary material required to execute the work but excluding the cost of material and labour charges for Laminate,hinges,locks,telescopic channels,Magnets,handles,bidding and painting work to all unexposed area and will be paid separately.Measurement will be actual area/size of the material used. a)18 mm Ply Board | 75.00 | Sqm | 0.00 | 5800.00 | 435000.00 | 2800.00 | 210000.00 | 437.50 | 32812.50 | 1400.00 | 105000.00 | 32812.50 | BIMAL TECHNOCRATS
122.00 | Providing making & Placing in position Counter Table,Shutters,office Cabinet with Commercial ply/Commercial board (Make:Tiger,Adventure or equivalent) etc cut to required size and making provisions as required all complete as per drawing and satiafaction of EIC.Item includes labour charges ,screws,nails and other necessary material required to execute the work but excluding the cost of material and labour charges for Laminate,hinges,locks,telescopic channels,Magnets,handles,bidding and painting work to all unexposed area and will be paid separately.Measurement will be actual area/size of the material used. a)12 mm Ply Board | 30.00 | Sqm | 0.00 | 6200.00 | 186000.00 | 2500.00 | 75000.00 | 455.00 | 13650.00 | 2000.00 | 60000.00 | 13650.00 | BIMAL TECHNOCRATS
123.00 | Providing making & Placing in position Counter Table,Shutters,office Cabinet with Commercial ply/Commercial board (Make:Tiger,Adventure or equivalent) etc cut to required size and making provisions as required all complete as per drawing and satiafaction of EIC.Item includes labour charges ,screws,nails and other necessary material required to execute the work but excluding the cost of material and labour charges for Laminate,hinges,locks,telescopic channels,Magnets,handles,bidding and painting work to all unexposed area and will be paid separately.Measurement will be actual area/size of the material used. a)6 mm Ply Board | 50.00 | Sqm | 0.00 | 6500.00 | 325000.00 | 1600.00 | 80000.00 | 1526.00 | 76300.00 | 1200.00 | 60000.00 | 60000.00 | M/S SHARAD CHANDRA MALL
124.00 | Providing and fixing SS butt hinges with necessary SS screws etc. complete.a) 75x40x2.5 mm | 20.00 | Nos | 0.00 | 425.00 | 8500.00 | 80.00 | 1600.00 | 73.33 | 1466.60 | 150.00 | 3000.00 | 1466.60 | BIMAL TECHNOCRATS
125.00 | Providing and fixing 2nd class teak wood beading of size 25X6mm fixed with wooden adhesive of approved quality and screws/nails on the edges of the Pre-laminated particle board as per direction of Engineer-in-charge. | 50.00 | Mtr | 0.00 | 260.00 | 13000.00 | 200.00 | 10000.00 | 90.00 | 4500.00 | 160.00 | 8000.00 | 4500.00 | BIMAL TECHNOCRATS
126.00 | Providing and fixing 2nd class teak wood beading of size 18X6mm fixed with wooden adhesive of approved quality and screws/nails on the edges of the Pre-laminated particle board as per direction of Engineer-in-charge. | 50.00 | Mtr | 0.00 | 640.00 | 32000.00 | 180.00 | 9000.00 | 79.20 | 3960.00 | 150.00 | 7500.00 | 3960.00 | BIMAL TECHNOCRATS
127.00 | Providing and fixing special quality chromium plated brass cupboard locks with multi levers of approved quality including necessary screws etc. complete. | 20.00 | Nos | 0.00 | 1060.00 | 21200.00 | 250.00 | 5000.00 | 234.00 | 4680.00 | 250.00 | 5000.00 | 4680.00 | BIMAL TECHNOCRATS
128.00 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete.a)Double strip vertical type | 20.00 | Nos | 0.00 | 140.00 | 2800.00 | 60.00 | 1200.00 | 216.00 | 4320.00 | 40.00 | 800.00 | 800.00 | M/S SHARAD CHANDRA MALL
129.00 | Providing and fixing powder coated telescopic drawer channels 380 mm long with necessary screws etc. complete as per directions of Engineer- in-charge. | 20.00 | Nos | 0.00 | 460.00 | 9200.00 | 500.00 | 10000.00 | 223.20 | 4464.00 | 355.00 | 7100.00 | 4464.00 | BIMAL TECHNOCRATS
130.00 | Providing & Fixing decorative high pressure laminated sheet(Make: Sunflower,Ogan or equivalent) of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. a) 0.8 mm thick | 25.00 | Nos | 0.00 | 390.00 | 9750.00 | 1500.00 | 37500.00 | 612.00 | 15300.00 | 765.00 | 19125.00 | 9750.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
131.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 20.00 | Nos | 0.00 | 560.00 | 11200.00 | 1200.00 | 24000.00 | 1593.36 | 31867.20 | 950.00 | 19000.00 | 11200.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
132.00 | Providing Engineering Consultancy services for (a.) Dog Kennel(for accommodation of Six Dogs) with modification/Integration to existing building-1 all complete. (b.) modification of existing Building-2 for conversion to Kote & QRT as per details provided by AAI all complete. (c.) Design drawing of Frisking Room as per details provided by AAI all complete. Note:-Consultant to provide all details wrt material specification, structural design/drawing, architectural drawing i/c services (plumbing, drainage etc.) external development and Bar bending Schedule etc. wherever necessary. All design calculations/drawings are to be vetted by IIT/NIT and soft copies i/c autocad drawings & staad pro input and output data.During execution any other drawings related to above specified works essential for successful execution of works etc all complete as per satisfaction of EIC. Nothing Extra will be paid on account of visit of Consultant and his supervision work as and when required. | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 180000.00 | 180000.00 | 93750.00 | 93750.00 | 175000.00 | 175000.00 | 93750.00 | BIMAL TECHNOCRATS
133.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. GROUP - C | 106.00 | Point | 0.00 | 1060.00 | 112360.00 | 1189.00 | 126034.00 | 1389.09 | 147243.54 | 600.00 | 63600.00 | 63600.00 | M/S SHARAD CHANDRA MALL
134.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface /recessed steel conduit, 2 way piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | 2.00 | Point | 0.00 | 1210.00 | 2420.00 | 1450.00 | 2900.00 | 1491.48 | 2982.96 | 700.00 | 1400.00 | 1400.00 | M/S SHARAD CHANDRA MALL
135.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 220.00 | Meter | 0.00 | 190.00 | 41800.00 | 298.00 | 65560.00 | 282.54 | 62158.80 | 260.00 | 57200.00 | 41800.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
136.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 180.00 | Meter | 0.00 | 430.00 | 77400.00 | 492.00 | 88560.00 | 431.96 | 77752.80 | 330.00 | 59400.00 | 59400.00 | M/S SHARAD CHANDRA MALL
137.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 x 1.5 sq.mm. + 1 x 1.5 sq.mm. earth wire | 600.00 | Meter | 0.00 | 152.00 | 91200.00 | 327.00 | 196200.00 | 213.37 | 128022.00 | 120.00 | 72000.00 | 72000.00 | M/S SHARAD CHANDRA MALL
138.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 200.00 | Meter | 0.00 | 185.00 | 37000.00 | 300.00 | 60000.00 | 240.77 | 48154.00 | 160.00 | 32000.00 | 32000.00 | M/S SHARAD CHANDRA MALL
139.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 150.00 | Meter | 0.00 | 360.00 | 54000.00 | 660.00 | 99000.00 | 384.33 | 57649.50 | 320.00 | 48000.00 | 48000.00 | M/S SHARAD CHANDRA MALL
140.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 4 X 16 sq. mm + 2 X 6 sq. mm earth wire | 150.00 | Meter | 0.00 | 930.00 | 139500.00 | 1200.00 | 180000.00 | 1073.38 | 161007.00 | 920.00 | 138000.00 | 138000.00 | M/S SHARAD CHANDRA MALL
141.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required 1 or 2 Module (75mmX75mm) | 10.00 | Each | 0.00 | 40.00 | 400.00 | 140.00 | 1400.00 | 224.37 | 2243.70 | 200.00 | 2000.00 | 400.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
142.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required 3 Module (100mmX75mm) | 45.00 | Each | 0.00 | 95.00 | 4275.00 | 160.00 | 7200.00 | 246.20 | 11079.00 | 350.00 | 15750.00 | 4275.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
143.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required 6 Module (200mmX75mm) | 30.00 | Each | 0.00 | 103.00 | 3090.00 | 268.00 | 8040.00 | 302.66 | 9079.80 | 450.00 | 13500.00 | 3090.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
144.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required 8 Module (125mmX125mm) | 4.00 | Each | 0.00 | 52.00 | 208.00 | 165.00 | 660.00 | 341.81 | 1367.24 | 580.00 | 2320.00 | 208.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
145.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required 12 Module (200mmX150mm) | 2.00 | Each | 0.00 | 120.00 | 240.00 | 270.00 | 540.00 | 411.83 | 823.66 | 120.00 | 240.00 | 240.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS, M/S SHARAD CHANDRA MALL
146.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 5/6 A switch | 45.00 | Each | 0.00 | 55.00 | 2475.00 | 75.00 | 3375.00 | 77.55 | 3489.75 | 160.00 | 7200.00 | 2475.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
147.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 3 pin 5/6 A socket outlet | 45.00 | Each | 0.00 | 105.00 | 4725.00 | 85.00 | 3825.00 | 91.85 | 4133.25 | 140.00 | 6300.00 | 3825.00 | Khairati Lal
148.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 15/16 A switch | 30.00 | Each | 0.00 | 102.00 | 3060.00 | 125.00 | 3750.00 | 117.45 | 3523.50 | 140.00 | 4200.00 | 3060.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
149.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 6 pin 15/16 A socket outlet | 30.00 | Each | 0.00 | 98.00 | 2940.00 | 150.00 | 4500.00 | 148.32 | 4449.60 | 220.00 | 6600.00 | 2940.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
150.00 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 40.00 | Each | 0.00 | 65.00 | 2600.00 | 50.00 | 2000.00 | 65.51 | 2620.40 | 80.00 | 3200.00 | 2000.00 | Khairati Lal
151.00 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | 25.00 | Each | 0.00 | 42.00 | 1050.00 | 33.00 | 825.00 | 98.63 | 2465.75 | 90.00 | 2250.00 | 825.00 | Khairati Lal
152.00 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 25.00 | Each | 0.00 | 340.00 | 8500.00 | 20.00 | 500.00 | 89.60 | 2240.00 | 100.00 | 2500.00 | 500.00 | Khairati Lal
153.00 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 V, complete as required. | 1.00 | Each | 0.00 | 150.00 | 150.00 | 30.00 | 30.00 | 74.54 | 74.54 | 500.00 | 500.00 | 30.00 | Khairati Lal
154.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 45.00 | Each | 0.00 | 95.00 | 4275.00 | 65.00 | 2925.00 | 155.09 | 6979.05 | 200.00 | 9000.00 | 2925.00 | Khairati Lal
155.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 26.00 | Each | 0.00 | 190.00 | 4940.00 | 200.00 | 5200.00 | 160.37 | 4169.62 | 300.00 | 7800.00 | 4169.62 | BIMAL TECHNOCRATS
156.00 | Numbering of ceiling fan/ exhaust fan/ fluorescent fittings as required. | 85.00 | Each | 0.00 | 50.00 | 4250.00 | 10.00 | 850.00 | 42.92 | 3648.20 | 100.00 | 8500.00 | 850.00 | Khairati Lal
157.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm | 8.00 | Each | 0.00 | 95.00 | 760.00 | 250.00 | 2000.00 | 338.81 | 2710.48 | 300.00 | 2400.00 | 760.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
158.00 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 8.00 | Each | 0.00 | 140.00 | 1120.00 | 70.00 | 560.00 | 155.85 | 1246.80 | 500.00 | 4000.00 | 560.00 | Khairati Lal
159.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 26.00 | Each | 0.00 | 410.00 | 10660.00 | 247.00 | 6422.00 | 277.82 | 7223.32 | 800.00 | 20800.00 | 6422.00 | Khairati Lal
160.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 Way, Double door | 2.00 | Each | 0.00 | 4200.00 | 8400.00 | 6000.00 | 12000.00 | 1742.95 | 3485.90 | 2500.00 | 5000.00 | 3485.90 | BIMAL TECHNOCRATS
161.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way (4 + 18), Double door | 1.00 | Each | 0.00 | 5050.00 | 5050.00 | 6000.00 | 6000.00 | 3744.89 | 3744.89 | 4500.00 | 4500.00 | 3744.89 | BIMAL TECHNOCRATS
162.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 20.00 | Each | 0.00 | 160.00 | 3200.00 | 170.00 | 3400.00 | 192.74 | 3854.80 | 220.00 | 4400.00 | 3200.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
163.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole and neutral | 2.00 | Each | 0.00 | 340.00 | 680.00 | 700.00 | 1400.00 | 450.98 | 901.96 | 1500.00 | 3000.00 | 680.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
164.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 1.00 | Each | 0.00 | 1460.00 | 1460.00 | 1200.00 | 1200.00 | 924.56 | 924.56 | 1500.00 | 1500.00 | 924.56 | BIMAL TECHNOCRATS
165.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 3.00 | Each | 0.00 | 30.00 | 90.00 | 20.00 | 60.00 | 9.79 | 29.37 | 100.00 | 300.00 | 29.37 | BIMAL TECHNOCRATS
166.00 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. 25 A | 2.00 | Each | 0.00 | 2050.00 | 4100.00 | 1800.00 | 3600.00 | 1526.87 | 3053.74 | 3000.00 | 6000.00 | 3053.74 | BIMAL TECHNOCRATS
167.00 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 3.00 | Each | 0.00 | 2160.00 | 6480.00 | 1900.00 | 5700.00 | 2049.38 | 6148.14 | 3500.00 | 10500.00 | 5700.00 | Khairati Lal
168.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface/ recess, complete with testing and commissioning etc. as required For 10 way, Double door SPN MCBDB | 2.00 | Each | 0.00 | 760.00 | 1520.00 | 1000.00 | 2000.00 | 585.45 | 1170.90 | 2000.00 | 4000.00 | 1170.90 | BIMAL TECHNOCRATS
169.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required. For 6 way, Double door TPN MCBDB | 1.00 | Each | 0.00 | 640.00 | 640.00 | 700.00 | 700.00 | 812.40 | 812.40 | 3000.00 | 3000.00 | 640.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
170.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories,and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Each | 0.00 | 6020.00 | 12040.00 | 7200.00 | 14400.00 | 5400.60 | 10801.20 | 12000.00 | 24000.00 | 10801.20 | BIMAL TECHNOCRATS
171.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 50.00 | Each | 0.00 | 110.00 | 5500.00 | 570.00 | 28500.00 | 510.28 | 25514.00 | 200.00 | 10000.00 | 5500.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
172.00 | Supply of 5 Star BEE rated BLDC Ceilling Fan of Blade sweep 1200mm, Metal blades, canopies, capacitor etc suitable for operation on 240 Volts, 50 Hz AC supply, with High speed Copper winding motor, Low noise level etc complete as required | 19.00 | Each | 0.00 | 2050.00 | 38950.00 | 2400.00 | 45600.00 | 1362.30 | 25883.70 | 3800.00 | 72200.00 | 25883.70 | BIMAL TECHNOCRATS
173.00 | Supply of 1 star BEE rated Ceilling Fan of Blade sweep 900mm, double ball bearing, Metal blades, canopies, capacitor etc suitable for operation on 240 Volts, 50 Hz AC supply, with High speed Copper winding motor, Low noise level complete as required | 7.00 | Each | 0.00 | 1960.00 | 13720.00 | 2400.00 | 16800.00 | 1218.30 | 8528.10 | 2200.00 | 15400.00 | 8528.10 | BIMAL TECHNOCRATS
174.00 | Supply of metallic body powder coated Exhaust Fan, 300 mm sweep size, 1290 CMH appx. air flow capacity, High speed suitable for operation on 240 Volts, 50 Hz AC supply, Copper winding motor, Low noise level, maximum limit of Power consumption not more than 45 Watts complete as required. | 9.00 | Each | 0.00 | 1060.00 | 9540.00 | 2000.00 | 18000.00 | 1939.33 | 17453.97 | 2500.00 | 22500.00 | 9540.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
175.00 | SITC of Outdoor type LED street light fixture, should have minimum net efficacy at System level (Not Chip Level) >=100lumens/watt & minimum net lumens output of 4500 lm. suitable for 230V AC, 50 Hz power supply as per enclosed technical specifications including supply and fixing of 0.5 mtr. length GI B class Single arm bracket of suitable dia with threading, clamp, screws etc. to fix on wall surface complete as required. | 10.00 | Each | 0.00 | 2205.00 | 22050.00 | 4200.00 | 42000.00 | 3412.02 | 34120.20 | 5000.00 | 50000.00 | 22050.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
176.00 | Supply of following capacity wall mounted type Split AC unit (5 star rating inverter type) working on Refregerent R-32/R-410A, fitted with hermetically sealed compressor operating on 230V+/-5%, 50 Hz, Single phase, AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, including metal mounting stand for outdoor units, copper refrigerant piping, drain piping, control cabling upto standard length provided as per OEM complete etc as required. (a) 1.5 TR | 2.00 | Each | 0.00 | 52000.00 | 104000.00 | 56500.00 | 113000.00 | 43632.00 | 87264.00 | 40000.00 | 80000.00 | 80000.00 | M/S SHARAD CHANDRA MALL
177.00 | Supply of following capacity wall mounted type Split AC unit (3 star rating inverter type) working on Refregerent R-32/R-410A, fitted with hermetically sealed compressor operating on 230V+/-5%, 50 Hz, Single phase, AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, including metal mounting stand for outdoor units, copper refrigerant piping, drain piping, control cabling upto standard length provided as per OEM complete etc as required. (a) 0.8 TR | 13.00 | Each | 0.00 | 39060.00 | 507780.00 | 48000.00 | 624000.00 | 30047.28 | 390614.64 | 40000.00 | 520000.00 | 390614.64 | BIMAL TECHNOCRATS
178.00 | Supply of required size copper pipe (beyond the standard length provided by OEM as per item no.176 & 177 for suction and delivery line with all accessories suitable for above item capacity Acs i/c insulation, power & Control cabling etc complete as and when required. | 100.00 | Meter | 0.00 | 320.00 | 32000.00 | 1600.00 | 160000.00 | 1414.00 | 141400.00 | 400.00 | 40000.00 | 32000.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
179.00 | SITC of following capacity voltage stabilizers with having range of 160 to 280 voltage single phase, 50 Hz AC supply i/c necessary fixing arrangements, clamps, screws, metal clad top, connecting 3 core cable of standered length as per OEM, complete, etc as required. (a) 4 KVA | 15.00 | Each | 0.00 | 6080.00 | 91200.00 | 4000.00 | 60000.00 | 4242.00 | 63630.00 | 7500.00 | 112500.00 | 60000.00 | Khairati Lal
180.00 | Supply & Fixing of condensate water drain pipe made of PVC having size of 20mm, for additional requirement for AC units i/c necessary clamp, screws, supports, etc complete as required.(beyond the standard length provided by OEM as per item no. 176 & 177 ) | 150.00 | Meter | 0.00 | 140.00 | 21000.00 | 150.00 | 22500.00 | 282.80 | 42420.00 | 250.00 | 37500.00 | 21000.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
181.00 | Installation, Testing and Commisioning upto 1.5 Ton Split inverter type A/C i/c fixing of metal structure powder coated stand suitable for outdoor unit, makeup interconnection i/c all necessary civil works for installations of indoor, outdoor, cabling etc. complete as required. | 15.00 | Job | 0.00 | 900.00 | 13500.00 | 36000.00 | 540000.00 | 2121.00 | 31815.00 | 2000.00 | 30000.00 | 13500.00 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS
182.00 | Supply , installation , testing and commisioning (SITC )of surface/wall mounting Air conditioning changeover timer to switch over two nos ACs on regular duration of time having features like Auto & Manual mode selection, and timer should be suitable for any load up to 20 Amps (20A On each Output) complete as required at site. | 7.00 | Each | 0.00 | 2560.00 | 17920.00 | 62500.00 | 437500.00 | 1170.65 | 8194.55 | 5500.00 | 38500.00 | 8194.55 | BIMAL TECHNOCRATS
183.00 | Supply , installation , testing and commisioning (SITC) of 40/80 L (Gross volume - 80 L) cooling capacity Full body stainless steel (SS304) Water Cooler with stainless steel storage tank inclusive of all accessories such as inlet pipe, drain pipe, outlet faucets, etc complete as required. | 2.00 | Each | 0.00 | 15000.00 | 30000.00 | 44000.00 | 88000.00 | 11662.50 | 23325.00 | 55000.00 | 110000.00 | 23325.00 | BIMAL TECHNOCRATS
184.00 | Supply , installation , testing and commisioning (SITC )of 30 LPH capacity RO+UV system including membrane, booster pump, Filters etc. complete as required as per enclosed technical specification and bill of material. | 2.00 | Each | 0.00 | 18600.00 | 37200.00 | 46000.00 | 92000.00 | 9412.50 | 18825.00 | 35000.00 | 70000.00 | 18825.00 | BIMAL TECHNOCRATS
185.00 | Supply and fixing of minimum 75 L capacity Desert Cooler with high density honeycomb pads, Auto swing Louvers etc. suitable for operation on 230 V, 50 Hz AC supply. (Model No. Sumo 75XL of Symphony Make/equivalent model of crompton or other equivalent make & Model) | 3.00 | Each | 0.00 | 12000.00 | 36000.00 | 14000.00 | 42000.00 | 8636.91 | 25910.73 | 18000.00 | 54000.00 | 25910.73 | BIMAL TECHNOCRATS
| Total in Figures |  |  |  |  | 12792942.50 |  | 15284319.00 |  | 13558153.91 |  | 12142462.00
Lowest Amount Quoted BY: M/S SHARAD CHANDRA MALL(12142462.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Dog kennel (6 dogs), KOTE and other miscellaneous works at MVI Airport, Ayodhya Tender ID: 2025_AAI_249742_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S SHARAD CHANDRA MALL (BID ID -922626) | 12142462.00 | L1
| 2 | SHIVAM ELECTRICALS AND CONSTRUCTION WORKS (BID ID -920039) | 12792942.50 | L2
| 3 | BIMAL TECHNOCRATS (BID ID -921162) | 13558153.91 | L3
| 4 | Khairati Lal (BID ID -920182) | 15284319.00 | L4