## BoQ1
Government eProcurement System Created By: Jeeshan Ali Ansari Created Date/Time: 30-Oct-2025 04:12 PM Tender Title: Reconfiguration of Terminal Building at Dibrugarh Airport (Phase-II) (Balance work) Tender ID: 2025_AAI_249989_1
Tender Inviting Authority: Jeeshan Ali Ansari, SM(Engg-Civil), AAI, Dibrugarh Airport
Name of Work: Reconfiguration of Terminal Building at Dibrugarh Airport (Phase-II) (Balance work)
Contract No: 2025_AAI_249989_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Pavee Construction (GSTN-NA) BID ID -915303 |  | M/s Zeliezhu and Sons (GSTN-NA) BID ID -916672
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm. | 700.00 | Sqm | 100.00 | 70.00 | 49000.00 | 64.00 | 44800.00 | 44800.00 | M/s Zeliezhu and Sons
2.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 250.00 | Sqm | 10.00 | 50.00 | 12500.00 | 47.00 | 11750.00 | 11750.00 | M/s Zeliezhu and Sons
3.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar. | 100.00 | Cum | 10.00 | 1800.00 | 180000.00 | 1900.00 | 190000.00 | 180000.00 | Pavee Construction
4.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | Cum | 10.00 | 2000.00 | 10000.00 | 3054.00 | 15270.00 | 10000.00 | Pavee Construction
5.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 50.00 | Sqm | 10.00 | 55.00 | 2750.00 | 47.00 | 2350.00 | 2350.00 | M/s Zeliezhu and Sons
6.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 50.00 | Kg | 10.00 | 5.00 | 250.00 | 4.00 | 200.00 | 200.00 | M/s Zeliezhu and Sons
7.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineerin-Charge. (a) Internal Work- Exposed on wall. | 20.00 | Metre | 100.00 | 50.00 | 1000.00 | 3.00 | 60.00 | 60.00 | M/s Zeliezhu and Sons
8.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 1.00 | Each | 10.00 | 500.00 | 500.00 | 94.00 | 94.00 | 94.00 | M/s Zeliezhu and Sons
9.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | 1.00 | Each | 100.00 | 500.00 | 500.00 | 115.00 | 115.00 | 115.00 | M/s Zeliezhu and Sons
10.00 | Providing and fixing linear Floor trap of size 600 mm x 100 mm and Preferred make (Jaquar/Kohler/Euronics or equivlanet) as per direction and satisfaction of Engineer-in-charge . | 9.00 | Each | 10.00 | 1000.00 | 9000.00 | 4072.00 | 36648.00 | 9000.00 | Pavee Construction
11.00 | Providing and fixing Rectangular Floor trap of size 150 mm x 150 mm and Preferred make (Jaquar/Kohler/Euronics or equivlanet) as per direction and satisfaction of Engineer-in-charge . | 9.00 | Each | 10.00 | 300.00 | 2700.00 | 1670.00 | 15030.00 | 2700.00 | Pavee Construction
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size) | 10.00 | Cum | 100.00 | 7500.00 | 75000.00 | 6691.00 | 66910.00 | 66910.00 | M/s Zeliezhu and Sons
13.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 170.00 | Cum | 10.00 | 350.00 | 59500.00 | 227.00 | 38590.00 | 38590.00 | M/s Zeliezhu and Sons
14.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet. uPVC as per IS: 13592. | 5.00 | Each | 100.00 | 1500.00 | 7500.00 | 1300.00 | 6500.00 | 6500.00 | M/s Zeliezhu and Sons
15.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 75 mm outlet. uPVC as per IS: 13592. | 5.00 | Each | 100.00 | 1200.00 | 6000.00 | 1357.00 | 6785.00 | 6000.00 | Pavee Construction
16.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal outer dia Pipes. | 100.00 | Meter | 100.00 | 500.00 | 50000.00 | 428.00 | 42800.00 | 42800.00 | M/s Zeliezhu and Sons
17.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia Pipes. | 50.00 | Meter | 100.00 | 550.00 | 27500.00 | 462.00 | 23100.00 | 23100.00 | M/s Zeliezhu and Sons
18.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall. 32 mm nominal outer dia Pipes. | 60.00 | Meter | 100.00 | 700.00 | 42000.00 | 446.00 | 26760.00 | 26760.00 | M/s Zeliezhu and Sons
19.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 32 mm nominal bore. | 3.00 | Each | 100.00 | 850.00 | 2550.00 | 593.00 | 1779.00 | 1779.00 | M/s Zeliezhu and Sons
20.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : 15 mm nominal bore. | 2.00 | Each | 100.00 | 150.00 | 300.00 | 713.00 | 1426.00 | 300.00 | Pavee Construction
21.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : 20 mm nominal bore | 2.00 | Each | 10.00 | 170.00 | 340.00 | 737.00 | 1474.00 | 340.00 | Pavee Construction
22.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : 32 mm nominal bore | 2.00 | Each | 10.00 | 200.00 | 400.00 | 860.00 | 1720.00 | 400.00 | Pavee Construction
23.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore. | 2.00 | Each | 10.00 | 500.00 | 1000.00 | 784.00 | 1568.00 | 1000.00 | Pavee Construction
24.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) | 90.00 | Cum | 100.00 | 6000.00 | 540000.00 | 6600.00 | 594000.00 | 540000.00 | Pavee Construction
25.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform. | 6.00 | sqm | 10.00 | 500.00 | 3000.00 | 797.00 | 4782.00 | 3000.00 | Pavee Construction
26.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 8.00 | Cum | 100.00 | 9000.00 | 72000.00 | 9894.00 | 79152.00 | 72000.00 | Pavee Construction
27.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 800.00 | Kg | 10.00 | 85.00 | 68000.00 | 93.00 | 74400.00 | 68000.00 | Pavee Construction
28.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand). | 32.00 | Cum | 10.00 | 7000.00 | 224000.00 | 8036.00 | 257152.00 | 224000.00 | Pavee Construction
29.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand). | 80.00 | sqm | 100.00 | 1500.00 | 120000.00 | 966.00 | 77280.00 | 77280.00 | M/s Zeliezhu and Sons
30.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 80.00 | sqm | 10.00 | 150.00 | 12000.00 | 90.00 | 7200.00 | 7200.00 | M/s Zeliezhu and Sons
31.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work. | 10.00 | metre | 100.00 | 350.00 | 3500.00 | 439.00 | 4390.00 | 3500.00 | Pavee Construction
32.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | 30.00 | Sqm | 100.00 | 1450.00 | 43500.00 | 1832.00 | 54960.00 | 43500.00 | Pavee Construction
33.00 | Structural steel work in single section, fixed with or without connecting plate,including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | 600.00 | Kg | 100.00 | 130.00 | 78000.00 | 101.00 | 60600.00 | 60600.00 | M/s Zeliezhu and Sons
34.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2220.00 | Kg | 100.00 | 130.00 | 288600.00 | 115.00 | 255300.00 | 255300.00 | M/s Zeliezhu and Sons
35.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand). | 161.44 | sqm | 100.00 | 500.00 | 80720.00 | 300.00 | 48432.00 | 48432.00 | M/s Zeliezhu and Sons
36.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand). | 161.44 | sqm | 100.00 | 500.00 | 80720.00 | 344.00 | 55535.36 | 55535.36 | M/s Zeliezhu and Sons
37.00 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in-charge. | 2.00 | each | 100.00 | 300.00 | 600.00 | 248.00 | 496.00 | 496.00 | M/s Zeliezhu and Sons
38.00 | Providing and fixing roofing consist of 0.8 mm thick galvanized steel deck sheet confirming to IS 277:1992 used as permanent shuttering over which MS wire mesh 3mm laid at 100x100 mm grid including edge trim covered with concrete. This metal deck will be supported on structural steel beam with shear studs. (Structural steel like Beam, column, joists etc. & concrete of different grade as per design will be paid separately). | 13.25 | sqm | 100.00 | 1500.00 | 19875.00 | 1312.00 | 17384.00 | 17384.00 | M/s Zeliezhu and Sons
39.00 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. 10 x 160 mm | 80.00 | each | 100.00 | 150.00 | 12000.00 | 193.00 | 15440.00 | 12000.00 | Pavee Construction
40.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 40.1 12.5 mm thick tapered edge Glass Reinforced Gypsum (GRG) board conforming to IS: 2095- (Part 3) : 1996 (Board with BIS certification marks) | 227.60 | Sqm | 100.00 | 1450.00 | 330020.00 | 1850.00 | 421060.00 | 330020.00 | Pavee Construction
41.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 41.1 GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 1584.38 | Sqm | 100.00 | 1670.00 | 2645914.60 | 2000.00 | 3168760.00 | 2645914.60 | Pavee Construction
42.00 | Dismantling tiles in skirting, wall cladding etc. laid in cement mortar at all floors and disposal of unserviceable materials within a lead of 50 metres. | 10.00 | Sqm | 10.00 | 100.00 | 1000.00 | 301.00 | 3010.00 | 1000.00 | Pavee Construction
43.00 | Providing and mixing 200ml of LW+ water proofing Compound of Dr. Fixit /Pidilite Or equivalent in 1 bag of 50 kg cement as per direction and satisfaction of Engineer-in-Charge. | 10.00 | Litre | 10.00 | 150.00 | 1500.00 | 215.00 | 2150.00 | 1500.00 | Pavee Construction
44.00 | Providing and fixing custom made rectangular mirror of superior glass (of approved make Saint Gobain, Kohler or equivalent) complete with 6 mm thick hard board ground fixed to SS Cleats with C.P. brass screw and washers complete as as per direction of Engineer-Incharge. | 7.00 | Sqm | 10.00 | 3000.00 | 21000.00 | 3483.00 | 24381.00 | 21000.00 | Pavee Construction
45.00 | Providing and fixing I-Marble Slab of thickness as per manufacturer for Wash Basin platforms, vanity counters, window sills, facias and similar locations of required size,approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Sparkle white Texture and Colour | 11.00 | sqm | 10.00 | 8000.00 | 88000.00 | 3371.20 | 37083.20 | 37083.20 | M/s Zeliezhu and Sons
46.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent. | 36.00 | sqm | 100.00 | 4000.00 | 144000.00 | 3612.00 | 130032.00 | 130032.00 | M/s Zeliezhu and Sons
47.00 | Providing and laying vitrified anti skid floor tiles in size 600 x 600 with water absorption less than 0.08% and conforming to IS : 15622 , of approved make , in approved design and shades similar to , laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 701.06 | sqm | 10.00 | 1200.00 | 841272.00 | 1420.00 | 995505.20 | 841272.00 | Pavee Construction
48.00 | Providing and fixing glazed vitrified wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approvedmake, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. Size of Tile 600x600 mm | 243.90 | sqm | 100.00 | 1200.00 | 292680.00 | 1290.00 | 314631.00 | 292680.00 | Pavee Construction
49.00 | Providing and applying white cement based putty of average thickness1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 100.00 | Sqm | 100.00 | 150.00 | 15000.00 | 134.20 | 13420.00 | 13420.00 | M/s Zeliezhu and Sons
50.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 150.00 | Sqm | 100.00 | 150.00 | 22500.00 | 159.66 | 23949.00 | 22500.00 | Pavee Construction
51.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer in-charge. Pre-laminated particle board with decorative lamination on both sides. | 20.10 | sqm | 100.00 | 850.00 | 17085.00 | 959.24 | 19280.72 | 17085.00 | Pavee Construction
52.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For Fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron). | 253.70 | Kg | 100.00 | 500.00 | 126850.00 | 456.57 | 115831.81 | 115831.81 | M/s Zeliezhu and Sons
53.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron) | 324.50 | Kg | 100.00 | 600.00 | 194700.00 | 545.63 | 177056.94 | 177056.94 | M/s Zeliezhu and Sons
54.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness (weight notless than 10kg/sqm). | 26.40 | Sqm | 100.00 | 2000.00 | 52800.00 | 1012.05 | 26718.12 | 26718.12 | M/s Zeliezhu and Sons
55.00 | Providing and fixing toilet paper holder of approved make Jaquar ACN-CHR-11535/Euronics ACC09 /Kohler 5633IN-CP or of equivalent preferred make : C.P. brass. | 9.00 | Each | 100.00 | 1000.00 | 9000.00 | 713.80 | 6424.20 | 6424.20 | M/s Zeliezhu and Sons
56.00 | Providing and fixing vitreous china IWC (Orissa pan) (Parryware E0117/ Jaquar CNS-WHT-453/Kohler Euronics C013-OP ) in approved colour with 100mm sand cast P or S trap, with with concealed cistern (Jaquar Model JCS-WHT-2400FS/Kohler 26353IN-P-NA/ Euronics ECC01FA or approved equivalent) including Face Plate (Jaquar Model JCP-CHR-152415/Kohler 8857IN-M-CP/ Euronics ECC01FA or approved equivalent) and with all fitting and fixtures complete including cutting and making good the walls and floors wherever required and as per direction of Engineer- Incharge. | 2.00 | Each | 100.00 | 5000.00 | 10000.00 | 12470.00 | 24940.00 | 10000.00 | Pavee Construction
57.00 | Providing and fixing white vitreous china wall mounted EWC in approved colur to match the existing tile colour (Jaquar Model DRS-WHT-37953BIUFSM/Kohler 32427IN-O/ Euronics C004-WC or approved equivalant as required) with CP bolts, nuts, CI chair hanging arrangements, seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed cistern (Jaquar Model JCS-WHT-2400FS/Kohler 33931IN-M-O/ Euronics ECC01FA or approved equivalent) including Face Plate (Jaquar Model JCP-CHR-152415/Kohler 75890IN-M-CP/ Euronics ECC01FA or approved equivalent), rack bolt, brass SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer- Incharge. | 7.00 | Each | 100.00 | 15000.00 | 105000.00 | 14663.00 | 102641.00 | 102641.00 | M/s Zeliezhu and Sons
58.00 | Providing and fixing 38.10mm outer dia, 2.77mm thick 304 grade stainless steel pipe for vertical drain of urinal basin and wash basin which should be fixed vertically from the waste coupling of the basin upto the drainage system at the finished floor level including all fittings complete and as directed by Engineer-in-Charge. | 14.00 | Each | 100.00 | 500.00 | 7000.00 | 567.60 | 7946.40 | 7000.00 | Pavee Construction
59.00 | Providing and fixing wall mounted tap for wash basin of (Jaquar Model OPP-CHR-15541KPM/Kohler K-5684IN-4ND-CP or Euronics ORL-2014D or approved equivalent ) with concealed stop cock all complete and as directed by Engineer-in-Charge. | 9.00 | Each | 10.00 | 2500.00 | 22500.00 | 4214.00 | 37926.00 | 22500.00 | Pavee Construction
60.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15mm nominal bore | 9.00 | Each | 10.00 | 1500.00 | 13500.00 | 493.90 | 4445.10 | 4445.10 | M/s Zeliezhu and Sons
61.00 | Providing and fixing liquid soap dispenser of (Jaquar Model ACN-CHR-1135N/Kohler 10712D-CP Soap Dispenser or approved equivalent ) complete and as directed by Engineer-in-Charge. | 9.00 | Each | 10.00 | 800.00 | 7200.00 | 1634.00 | 14706.00 | 7200.00 | Pavee Construction
62.00 | Providing & fixing of modular toilet cubicles ( Titan Standard 12mm series of Merino, Sturdo Classique of Greenply Industries or of approved equivalent) consisting of high pressure 12mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters(. The cubicle shall have dimensions of 1550mm depth x 1050mm width x 2100 mm height with a door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape, etc.(all SS accessories shall be of Grade 304) as per direction of Engineer-Incharge. | 48.95 | sqm | 10.00 | 9000.00 | 440550.00 | 8000.00 | 391600.00 | 391600.00 | M/s Zeliezhu and Sons
63.00 | Making cutouts in false ceiling for light fittings, speakers or opening for perforated false ceiling/Gypsum false ceiling etc as per approved pattern and fixed with 38 x 24 x 0.70 mm thick precoated GI tee ("T") cap including necessary fixing arrangements and making cut out for light fittings, speakers, grills, diffusers and trap doors to be made with frame of perimeter channels of size 20mm x 27 mm x 30 mm x 0.55 mm thick supported suitably etc. complete as directed by Engineer-in-charge. | 30.00 | each | 100.00 | 1500.00 | 45000.00 | 309.60 | 9288.00 | 9288.00 | M/s Zeliezhu and Sons
64.00 | Providing & fixing of white vitreous china Table Top wash basin/circular basin 550 x 450 (Jaquar Model OPS-WHT-15905/Kohler 21226IN-SS-0/Euronics C005-WB or approved equivalent) with CP brass waste assembly, CP cast brass bottle trap with extension piece (Jaquar Model ALD-CHR-769L/Kohler 30685IN-CP/Euronics EBT32-CP or approved equivalent), wall flanges and rubber adapters for waste connection complete including nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 9.00 | Each | 10.00 | 8000.00 | 72000.00 | 5590.00 | 50310.00 | 50310.00 | M/s Zeliezhu and Sons
65.00 | Providing & fixing Off white vitreous china flat back urinal with automatic flushing systems ( Jaquar URS-WHT-13253N/Kohler 26474IN-ER-0/Euronics KUF or approved equivalent) comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, with compatible urinal sensor of Manual, Battery as well as Electrical provisions for operation (Jaquar SNR-51097/ Kohler 24199IN-C01-CP/Euronics EU07BE or equivalent) and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 5.00 | Each | 100.00 | 20500.00 | 102500.00 | 8600.00 | 43000.00 | 43000.00 | M/s Zeliezhu and Sons
66.00 | Providing & fixing C.P. hand spray with lever control (health faucet) ( Jaquar ALD-CHR-573/Kohler 12927IN-CP/ Euronics EHF05-CP or approved equivalent) and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer-Incharge. | 9.00 | Each | 10.00 | 1850.00 | 16650.00 | 1341.60 | 12074.40 | 12074.40 | M/s Zeliezhu and Sons
67.00 | Providing & fixing 2-way Bib cock with flange ( Jaquar OPP-CHR-15053PM/Kohler 20075IN-4-CP/ Euronics ORL-2004D or approved equivalent) and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer-Incharge. | 9.00 | Each | 10.00 | 2500.00 | 22500.00 | 1376.00 | 12384.00 | 12384.00 | M/s Zeliezhu and Sons
68.00 | Providing & fixing lavatory wash basin for handicapped toilet (Jaquar CNS-WHT-705/Kohler 2211IN-0 or equivalent) for handicap toilet complete with brackets, tracks, waste pipes and other accessories complete as required as per direction of Engineer-Incharge. | 1.00 | Each | 100.00 | 850.00 | 850.00 | 3956.00 | 3956.00 | 850.00 | Pavee Construction
69.00 | Providing & fixing Urinal Modesty Panels having standard dimension of 1200 mm Height x 450 -500 mm Width and 12 mm thickness(Greenlam Sturdo of Greenlam Industries Ltd /SS Series of Merino Industries or approved equivalent) Panel starts 500-600 mm above ground level, complete with compact Laminate Board: 12 mm thick Compact Laminate (Greenlam Sturdo of Greenlam Industries Ltd /Titan Series of Merino Industries or approved equivalent) made as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard and should be heat, bacteria, water, chemical, scratch and impact resistant 12 mm thick solid compact laminate panels as per approved texture/shade. The product should have Green Guard Certificate. Including all accessories as per approval and direction of Engineer-in-Charge Modesty panels will be fixed with right angle bracket which will provided in stainless steel grade-304. (a) Right Angle Bracket b) Screws & Wall Plugs. Hardware & Fixing : All screws will of 304 Grade in stainless steel with satin finish & panel will be supported by right angle brackets & will be used to hold the panels with a clearance height upto 500-600 mm. The work includes all accessories, machineries, tools etc., complete as per direction of Engineer-in-charge. | 7.00 | Each | 10.00 | 6500.00 | 45500.00 | 3526.00 | 24682.00 | 24682.00 | M/s Zeliezhu and Sons
70.00 | Providing & Fixing Aerosol Perfume Dispenser fixed to wall /door with wooden cleats and C.P brass screws including cutting and making good the walls wherever required. [Euronic EA-55] | 7.00 | Each | 100.00 | 2500.00 | 17500.00 | 2494.00 | 17458.00 | 17458.00 | M/s Zeliezhu and Sons
71.00 | Providing & fixing of Dsiabled stainless steel Grab Bar (L Shape) 600 mm x 600 mm ( Euronics code EGR04LN or approved equivalent) including screw, rawl plugs making wall good, complete as per directions of Engineer-Incharge. | 1.00 | Each | 100.00 | 8000.00 | 8000.00 | 3956.00 | 3956.00 | 3956.00 | M/s Zeliezhu and Sons
72.00 | Providing & fixing of Swing handicap Grab Bar stainless steel grab bar ( Euronics code EGR S02 or approved equivalent ) including screw, rawl plugs making wall good, complete as per directions of Engineer-Incharge. | 1.00 | Each | 100.00 | 8000.00 | 8000.00 | 3956.00 | 3956.00 | 3956.00 | M/s Zeliezhu and Sons
73.00 | Providing & fixing of Urinal safety steel grab bar (Euronics code EGR5U or approved equivalent) including screw, rawl plugs making wall good, complete as per directions of Engineer-Incharge. | 1.00 | Each | 100.00 | 8000.00 | 8000.00 | 7740.00 | 7740.00 | 7740.00 | M/s Zeliezhu and Sons
74.00 | Providing and fixing CP towel ring in circular shape of (Jaquar CAN-CHR-1121BN/Kohler 5631IN-CP/Euronics ACC03 or equivalent of approved brand as per direction and satisfaction of Engineer-in-charge. | 9.00 | Each | 100.00 | 850.00 | 7650.00 | 860.00 | 7740.00 | 7650.00 | Pavee Construction
75.00 | Providing & fixing of Double coat hook ( Jaquar AKP-CHR-35761P/ Euronics ACC05/ Kohler K25073IN-CP) or approved equivalent) including screw, rawl plugs making wall good, complete as per directions of Engineer-Incharge. | 9.00 | Each | 100.00 | 550.00 | 4950.00 | 670.80 | 6037.20 | 4950.00 | Pavee Construction
76.00 | Providing and fixing Baby Changing station (Euronics EDC01 or equivalent) of approved brand as per direction and satisfaction of Engineer-in-charge. | 2.00 | Each | 100.00 | 25000.00 | 50000.00 | 13760.00 | 27520.00 | 27520.00 | M/s Zeliezhu and Sons
77.00 | Providing and fixing Surface mount washroom panel (Euronics KINOX KPDN or equivalent of approved brand as per direction and satisfaction of Engineer-in-charge. | 2.00 | Each | 100.00 | 45000.00 | 90000.00 | 36120.00 | 72240.00 | 72240.00 | M/s Zeliezhu and Sons
78.00 | Providing and fixing wall hung venyl posters / scenery design made over 4 mm ACP sheet i/c fixing with SS screw for toilet complete and as per direction and satisfaction of Engineer-in-charge. | 6.00 | Sqm | 100.00 | 8000.00 | 48000.00 | 4515.00 | 27090.00 | 27090.00 | M/s Zeliezhu and Sons
79.00 | Providing and fixing venyl posters / scenery design made pasting over wall for toilet complete and as per direction and satisfaction of Engineer-in-charge. | 25.00 | Sqm | 100.00 | 2000.00 | 50000.00 | 3487.30 | 87182.50 | 50000.00 | Pavee Construction
80.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5°: 100 mm pipe | 20.00 | Each | 100.00 | 250.00 | 5000.00 | 266.60 | 5332.00 | 5000.00 | Pavee Construction
81.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5°: 75 mm pipe | 10.00 | Each | 100.00 | 200.00 | 2000.00 | 227.90 | 2279.00 | 2000.00 | Pavee Construction
82.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain): 100 mm | 6.00 | Each | 100.00 | 200.00 | 1200.00 | 296.70 | 1780.20 | 1200.00 | Pavee Construction
83.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain): 75 mm | 10.00 | Each | 10.00 | 150.00 | 1500.00 | 352.60 | 3526.00 | 1500.00 | Pavee Construction
84.00 | Providing and fixing on wall face unplasticised Rigid PVC soil, waste and vent pipe conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes: 100 mm dia. | 50.00 | Metre | 10.00 | 600.00 | 30000.00 | 709.50 | 35475.00 | 30000.00 | Pavee Construction
85.00 | Providing and fixing on wall face unplasticised Rigid PVC soil, waste and vent pipe conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes: 75 mm dia. | 50.00 | Metre | 10.00 | 500.00 | 25000.00 | 430.00 | 21500.00 | 21500.00 | M/s Zeliezhu and Sons
86.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door: 100x100x100 mm | 4.00 | Each | 10.00 | 350.00 | 1400.00 | 602.00 | 2408.00 | 1400.00 | Pavee Construction
87.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door: 75x75x75 mm | 8.00 | Each | 10.00 | 250.00 | 2000.00 | 301.00 | 2408.00 | 2000.00 | Pavee Construction
88.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler: 100 mm | 10.00 | Each | 100.00 | 250.00 | 2500.00 | 354.32 | 3543.20 | 2500.00 | Pavee Construction
89.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler: 75 mm | 10.00 | Each | 10.00 | 200.00 | 2000.00 | 232.20 | 2322.00 | 2000.00 | Pavee Construction
90.00 | Providing and fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC soil, waste and vent pipe by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. For 100 mm dia pipe. | 10.00 | Each | 100.00 | 150.00 | 1500.00 | 344.00 | 3440.00 | 1500.00 | Pavee Construction
91.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC soil, waste and vent pipe by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. For 75 mm dia pipe. | 10.00 | Each | 10.00 | 100.00 | 1000.00 | 301.00 | 3010.00 | 1000.00 | Pavee Construction
92.00 | Design supply & installation of suspended Spider Glazing system designed to withstand the wind pressure as per IS 875 (Part-III). The Suspended System held with Spider Fittings of SS-316 Grade Steel of approved manufacturer like DORMA, KANZ or Equivalent with glass panel having 12 mm thick clear toughened glass held together with SS- 316 Grade Stainless steel Spider & bolt assembly. The Glass panel assembly shall be connected to frames made up of SS- 316 Grade stainless steel Hollow section using fastener & anchor bolts, non-staining weather sealants of approved make, Teflon/ nylon bushes and separators to prevent bi-metallic contacts, all complete to perform as per specification and approved drawings. The complete system to be designed to accommodate thermal expansion & seismic movements etc. The joints between glass panels (6 to 8 mm) and gaps at the perimeter to be filled with non staining weather sealant, so as to make the entire system fully water proof & dust proof. The rate shall include all design, Engineering and shop drawing including approval from structural designer, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixers nut bolts, washer, Buffer plates, fastener, anchors, SS channel laminated glass etc. all complete. For the purpose of payment, actual elevation area of Glazing including thickness of joints and the portion of Glass panel inside the SS channel shall be measured as per direction and satisfaction of Engineer-in-charge. | 277.30 | sqm | 10.00 | 8850.00 | 2454105.00 | 6450.00 | 1788585.00 | 1788585.00 | M/s Zeliezhu and Sons
93.00 | Providing and fixing frosted Architectural Glass Film (plain / designier) of 3M DINOC series or equivalent of 50 micron thickness over the existing glass panes at all height as per direction and satisfaction of Engineering-In-charge. (Sample for colour and architectural design to be got approved from EIC before Execution of item) | 100.00 | sqm | 100.00 | 2950.00 | 295000.00 | 473.00 | 47300.00 | 47300.00 | M/s Zeliezhu and Sons
94.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class FR-PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 20.00 | Point | 10.00 | 1200.00 | 24000.00 | 1204.00 | 24080.00 | 24000.00 | Pavee Construction
95.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class FR-PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 50.00 | Point | 100.00 | 1200.00 | 60000.00 | 946.00 | 47300.00 | 47300.00 | M/s Zeliezhu and Sons
96.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed FR-PVC conduit as required. 2 X 1.5sq.mm + 1 X 1.5sq. mm earth wire | 500.00 | Mtrs | 100.00 | 200.00 | 100000.00 | 253.70 | 126850.00 | 100000.00 | Pavee Construction
97.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed FR-PVC conduit as required. 2 X 2.5sq.mm +1 X 2.5 sq.mm earth wire | 250.00 | Mtrs | 100.00 | 280.00 | 70000.00 | 326.80 | 81700.00 | 70000.00 | Pavee Construction
98.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed FR-PVC conduit as required. 2X4 sq.mm + 1 X 4mm earth wire | 1000.00 | Mtrs | 100.00 | 310.00 | 310000.00 | 400.00 | 400000.00 | 310000.00 | Pavee Construction
99.00 | Supply and fixing of following sizes of modular type switches / sockets on the existing modular plate and switch box including connection but excluding modular plate etc.of approved colour as required. 5/6 amps switch | 12.00 | Each | 100.00 | 100.00 | 1200.00 | 98.90 | 1186.80 | 1186.80 | M/s Zeliezhu and Sons
100.00 | Supply and fixing of following sizes of modular type switches / sockets on the existing modular plate and switch box including connection but excluding modular plate etc.of approved colour as required. 3 pin 5/6 amp socket outlet | 12.00 | Each | 100.00 | 150.00 | 1800.00 | 215.00 | 2580.00 | 1800.00 | Pavee Construction
101.00 | Supply and fixing of following sizes of modular type switches / sockets on the existing modular plate and switch box including connection but excluding modular plate etc.of approved colour as required. 15/16 amp switch | 10.00 | Each | 100.00 | 150.00 | 1500.00 | 215.00 | 2150.00 | 1500.00 | Pavee Construction
102.00 | Supply and fixing of following sizes of modular type switches / sockets on the existing modular plate and switch box including connection but excluding modular plate etc.of approved colour as required. 6 pin 15/16 amp socket outlet | 10.00 | Each | 10.00 | 200.00 | 2000.00 | 215.00 | 2150.00 | 2000.00 | Pavee Construction
103.00 | Supply and fixing of following sizes of modular type switches / sockets on the existing modular plate and switch box including connection but excluding modular plate etc.of approved colour as required. Bell Push | 2.00 | Each | 10.00 | 150.00 | 300.00 | 154.80 | 309.60 | 300.00 | Pavee Construction
104.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module | 2.00 | Each | 10.00 | 200.00 | 400.00 | 304.44 | 608.88 | 400.00 | Pavee Construction
105.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module | 25.00 | Each | 100.00 | 300.00 | 7500.00 | 421.40 | 10535.00 | 7500.00 | Pavee Construction
106.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 6 Module | 10.00 | Each | 10.00 | 600.00 | 6000.00 | 421.40 | 4214.00 | 4214.00 | M/s Zeliezhu and Sons
107.00 | Supply of 600mm x 600mm recess(false ceiling) Mounted LED fixture with high efficiency PMMA diffuser complete with driver and accessories having system output wattage not less than 36 Watts with luminaire efficacy not less than 100 Lumens / watt, CCT from 2700 K to 3000 K, suitable for indoor applications complete as per techhncial specificaitons. | 10.00 | Each | 100.00 | 3200.00 | 32000.00 | 1548.00 | 15480.00 | 15480.00 | M/s Zeliezhu and Sons
108.00 | Supply of recessed type(false cieling mounted) LED downlighter with LEDs of approved makes having high efficiency PmmA diffuser. Specially designed flat opal diffuser fixed to housing, driver installed on housing or externally and prewired upto the terminal block. It has a system output wattage not less than 18 Watts with luminaire efficacy of not less than 100 lm/W, CCT from 2700 K to 3000 K, complete as per Technical Specifications suitable for indoor applications. | 60.00 | Each | 10.00 | 1950.00 | 117000.00 | 851.40 | 51084.00 | 51084.00 | M/s Zeliezhu and Sons
109.00 | Supply of Mirror LED Light with heat dissipation capability with Opal diffuser which creates optimum light uniformity with minimum glare with integral constant current led driver. It has a system output wattage not less than 18 Watts with luminaire efficacy of not less than 100 lm/W, 2700 K to 3000 K suitable for indoor applications complete as per technical specifications. | 10.00 | Each | 10.00 | 1500.00 | 15000.00 | 1634.00 | 16340.00 | 15000.00 | Pavee Construction
110.00 | Installation, testing and commissioning of LED type fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 70.00 | Each | 100.00 | 1800.00 | 126000.00 | 86.00 | 6020.00 | 6020.00 | M/s Zeliezhu and Sons
111.00 | Supply and Installation of Steel Jet Hand Dryer including making necessory alterations for installation the Jet Hand Dryer, making suitable interconnections etc complete as required. (Equivalent to Make Euronics Model : XJD3B) | 3.00 | JOB | 10.00 | 30000.00 | 90000.00 | 55900.00 | 167700.00 | 90000.00 | Pavee Construction
| Total in Figures |  |  |  |  | 11981881.60 |  | 11505540.83
Lowest Amount Quoted BY: M/s Zeliezhu and Sons(11505540.83)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Terminal Building at Dibrugarh Airport (Phase-II) (Balance work) Tender ID: 2025_AAI_249989_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Zeliezhu and Sons (BID ID -916672) | 11505540.83 | L1
| 2 | Pavee Construction (BID ID -915303) | 11981881.60 | L2