## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 11-Nov-2025 11:53 AM Tender Title: Provision of Clean Agent Based Fire Suppression System at Bhavnagar Airport Tender ID: 2025_AAI_250616_1
Tender Inviting Authority: Asst. General Manager (E-E)
Name of Work: Provision of Clean Agent Based Fire Suppression System at Bhavnagar Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -915463 |  | advent electric technologies pvt. ltd. (GSTN-07AAJCA2055K1ZN) BID ID -917095 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -917111 |  | SVS Buildwel Pvt Ltd (GSTN-07AALCS7473H1ZU) BID ID -917181 |  | Carbonic Industries (GSTN-24AAYPV6687L1ZC) BID ID -917285 |  | Kalpataru Industries (GSTN-NA) BID ID -916737
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, testing and Commissioning of Gas Suppression System consisting of Cylinder PESO Approved, complete with UL / VDS / PESO Approved valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure, a pressure guage with a safety burst disc, electronic control head / Solenoid, pressure operated control, head, flexible hose, strap, NRV, Pressure Switch and a safety cap, required nos of Nozzles (UL / VDS listed), Piping, Manifold etc. complete as required. Gas. (Quantity would be as per the volume given below and as per the UL / VDS certification.) CLEAN AGENT (FK-5-1- 12) / Inert Gas with Zero Ozone Depletion Potential (ODP), has appearance / Colourless gas and odour less. Note: The Cylinder, Volume of Gas, Nos. of Nozzles, piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer (OEM) shall be submitted prior to starting the works. The Room Dimension- 8 x 5 x 3 (LxBxH) in meter. | 2.00 | Job | 0.00 | 500000.00 | 1000000.00 | 470550.00 | 941100.00 | 600250.00 | 1200500.00 | 840000.00 | 1680000.00 | 749500.00 | 1499000.00 | 529790.00 | 1059580.00 | 941100.00 | advent electric technologies pvt. ltd.
| Total in Figures |  |  |  |  | 1000000.00 |  | 941100.00 |  | 1200500.00 |  | 1680000.00 |  | 1499000.00 |  | 1059580.00
Lowest Amount Quoted BY: advent electric technologies pvt. ltd.(941100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Clean Agent Based Fire Suppression System at Bhavnagar Airport Tender ID: 2025_AAI_250616_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | advent electric technologies pvt. ltd. (BID ID -917095) | 941100.00 | L1
| 2 | CENTRE TAP ENGINEERING (BID ID -915463) | 1000000.00 | L2
| 3 | Kalpataru Industries (BID ID -916737) | 1059580.00 | L3
| 4 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -917111) | 1200500.00 | L4
| 5 | Carbonic Industries (BID ID -917285) | 1499000.00 | L5
| 6 | SVS Buildwel Pvt Ltd (BID ID -917181) | 1680000.00 | L6