## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 14-Nov-2025 04:14 PM Tender Title: Provision of Remote Cable for High Mast at S.V. Airport Raipur. Tender ID: 2025_AAI_251426_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Provision of Remote Cable for High Mast at S. V. Airport, Raipur.
Contract No : 2025_AAI_251426_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -913842 |  | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -922137 |  | girnar electricals (GSTN-NA) BID ID -921932 |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd (GSTN-NA) BID ID -922182 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -921843
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | H1 Amount | H1 Vendor
1.00 | SH:- I Supply of Item
2.00 | Supply of following sizes of XLPE insulated and PVC sheatheel XLPE aluminium conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required.
3.00 | (a) 4C X 25 Sq.mm | 1670.00 | Meter | 397.95 | 225.00 | 375750.00 | 238.00 | 397460.00 | 255.00 | 425850.00 | 187.00 | 312290.00 | 356.00 | 594520.00 | 594520.00 | SAURABH ENTERPRISES
4.00 | Supply of following sizes of XLPE insulated and PVC sheathed XLPE Copper conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required.
5.00 | (b) 12C X 2.5Sqmm | 3170.00 | Meter | 856.80 | 490.00 | 1553300.00 | 529.00 | 1676930.00 | 560.00 | 1775200.00 | 440.00 | 1394800.00 | 600.00 | 1902000.00 | 1902000.00 | SAURABH ENTERPRISES
6.00 | SH:-II SITC Work
7.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding and cushioning and proactive covering etc. , complete as required
8.00 | (a) 63 mm dia. (OD-63 mm & ID-51 mm nominal) | 4780.00 | Meter | 228.90 | 190.00 | 908200.00 | 218.00 | 1042040.00 | 215.00 | 1027700.00 | 118.00 | 564040.00 | 118.00 | 564040.00 | 1042040.00 | SARASWAT ENGINEERING SERVICES
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL / DWC HDPE/ Mesonary Open duct / Cable Tray as required.
10.00 | (a) 4C X 25 Sq.mm | 1670.00 | Meter | 34.65 | 20.00 | 33400.00 | 24.00 | 40080.00 | 80.00 | 133600.00 | 18.00 | 30060.00 | 5.00 | 8350.00 | 133600.00 | girnar electricals
11.00 | (b) 12C X 2.5Sqmm | 3170.00 | Meter | 34.65 | 20.00 | 63400.00 | 31.00 | 98270.00 | 90.00 | 285300.00 | 18.00 | 57060.00 | 5.00 | 15850.00 | 285300.00 | girnar electricals
12.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
13.00 | (a) 2 X 25 sq. mm (22mm) | 8.00 | Each | 240.45 | 500.00 | 4000.00 | 315.00 | 2520.00 | 200.00 | 1600.00 | 280.00 | 2240.00 | 300.00 | 2400.00 | 4000.00 | Manish Electricals
14.00 | (b) 4 X 25 sq. mm (28mm) | 2.00 | Each | 291.90 | 500.00 | 1000.00 | 373.00 | 746.00 | 300.00 | 600.00 | 285.00 | 570.00 | 400.00 | 800.00 | 1000.00 | Manish Electricals
15.00 | (c) 3½ X 35 sq. mm (32mm) | 6.00 | Each | 342.30 | 700.00 | 4200.00 | 417.00 | 2502.00 | 400.00 | 2400.00 | 400.00 | 2400.00 | 400.00 | 2400.00 | 4200.00 | Manish Electricals
16.00 | (d) 3½ X 120 sq. mm (45mm) | 3.00 | Each | 568.05 | 900.00 | 2700.00 | 861.00 | 2583.00 | 900.00 | 2700.00 | 700.00 | 2100.00 | 600.00 | 1800.00 | 2700.00 | Manish Electricals, girnar electricals
17.00 | (e) 3½ X 150 sq. mm (50mm) | 3.00 | Each | 645.75 | 900.00 | 2700.00 | 894.00 | 2682.00 | 1100.00 | 3300.00 | 750.00 | 2250.00 | 700.00 | 2100.00 | 3300.00 | girnar electricals
18.00 | Supply, Installation, Testing & Commissioning of outdoor type cubical panel with suitable slope on top, double door front opening made out of 14 SWG CRCA sheet steel, Gland plate shall be 3mm thick, totally enclosed with IP 54 protection, dust and vermin proof, compartmentalized with powder quoted painting on suitable cement concrete foundation made up of 1 : 2: 4 (1 Cement: 2 Coarse Sand : 4 Grade Stone agreegate 20 mm nominal size) including wiring, inter connections, earthing etc. as required and shall consist of the following switchgear and accessories:- | 4.00 | Job | 92383.20 | 90000.00 | 360000.00 | 173420.00 | 693680.00 | 100000.00 | 400000.00 | 344351.00 | 1377404.00 | 4212.75 | 16851.00 | 1377404.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
19.00 | (a) Incomer: 1 Nos. 125 A, 25 kA, FP, MCCB, Ics=100% Icu, Thermal Magnetic release variable range, with extended rotary handle and all accessories including providing spreader terminals and auxiliary contacts.
20.00 | (b) 3 Ph phase indicating lamps of LED type for RYB and breaker 'ON', 'OFF' indication with control MCB for individual lamp.
21.00 | (c) Bus Bar: 1 set of 200 Amps FP bus bar of high conductivity electrolytic quality Copper Flexible Cable
22.00 | (d) Outgoing 2 no.Power contactor 100A, AC-3 duly with 2NO+2NC, i/c local & remote switch and feedback indication with TB connector accessories.
23.00 | (e) 6A 12way Remote Control TB Connector
| Total in Figures |  |  |  |  | 3308650.00 |  | 3959493.00 |  | 4058250.00 |  | 3745214.00 |  | 3111111.00
Highest Amount Quoted BY: girnar electricals(4058250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Remote Cable for High Mast at S.V. Airport Raipur. Tender ID: 2025_AAI_251426_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | girnar electricals (BID ID -921932) | 4058250.00 | H1
| 2 | SARASWAT ENGINEERING SERVICES (BID ID -922137) | 3959493.00 | H2
| 3 | Krishsons International Engineers And Consultants (I) Pvt. Ltd (BID ID -922182) | 3745214.00 | H3
| 4 | Manish Electricals (BID ID -913842) | 3308650.00 | H4
| 5 | SAURABH ENTERPRISES (BID ID -921843) | 3111111.00 | H5