## BoQ1
Government eProcurement System Created By: ANJANEE KUMARI Created Date/Time: 19-Nov-2025 12:47 PM Tender Title: Design Supply Installation Testing and Commissioning including Civil and electromechanical works required for MBBR Based Sewage Treatment plant to handle total domestic sewage of 25 KLD at Solapur Airport Tender ID: 2025_AAI_251537_1
Tender Inviting Authority: Asst. General Manager (Engg-Civil), Airports Authority of India, Solapur Airport, Solapur - 413224
Name of Work: Supply, Erection, Installation and Testing & Commissioning & Civil work of MBBR Based Underground Sewage Treatment plant to handle total domestic sewage of 25 KLD at Solapur Airport.
Contract No: AAI/SOLAPUR/AGM(E-C)/STP/2025-26 (Tender ID: 2025_AAI_251537_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JRMS ENGINEERING WORKS (GSTN-19BJTPP9944F1Z9) BID ID -922861 |  | CLEANFLO INDIA PRIVATE LIMITED (GSTN-07AAACD2211P2ZS) BID ID -923290 |  | AWETECH WORKS PVT LTD (GSTN-07AASCA1900E1ZZ) BID ID -924904 |  | AGILE VENTURES (GSTN-NA) BID ID -920264 |  | greenagersenviro solutions and services pvt. ltd. (GSTN-NA) BID ID -924010 |  | Eagle Associates (GSTN-NA) BID ID -924787 |  | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD (GSTN-NA) BID ID -924790
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 92.00 | Cum |  | 300.00 | 27600.00 | 240.00 | 22080.00 | 180.48 | 16604.16 | 206.00 | 18952.00 | 180.00 | 16560.00 | 90.00 | 8280.00 | 200.00 | 18400.00 | 8280.00 | Eagle Associates
1.02 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. Ordinary Rock | 92.00 | Cum |  | 600.00 | 55200.00 | 370.00 | 34040.00 | 180.48 | 16604.16 | 413.00 | 37996.00 | 190.00 | 17480.00 | 130.00 | 11960.00 | 400.00 | 36800.00 | 11960.00 | Eagle Associates
1.03 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. Hard Rock (Blasting prohibited) | 157.00 | Cum |  | 1200.00 | 188400.00 | 1000.00 | 157000.00 | 180.48 | 28335.36 | 1185.00 | 186045.00 | 220.00 | 34540.00 | 1145.00 | 179765.00 | 700.00 | 109900.00 | 28335.36 | AWETECH WORKS PVT LTD
1.04 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. Ordinary or hard rock | 278.00 | Cum |  | 150.00 | 41700.00 | 160.00 | 44480.00 | 150.00 | 41700.00 | 188.00 | 52264.00 | 70.00 | 19460.00 | 291.00 | 80898.00 | 100.00 | 27800.00 | 19460.00 | greenagersenviro solutions and services pvt. ltd.
1.05 | Carriage of material by Mechanical Transport including loading,unloading and stacking Upto 2.0 KM Earth | 92.00 | Cum |  | 200.00 | 18400.00 | 180.00 | 16560.00 | 150.00 | 13800.00 | 204.00 | 18768.00 | 150.00 | 13800.00 | 200.00 | 18400.00 | 200.00 | 18400.00 | 13800.00 | greenagersenviro solutions and services pvt. ltd., AWETECH WORKS PVT LTD
1.06 | Carriage of material by Mechanical Transport including loading,unloading and stacking Upto 2.0 KM Excavated rock | 249.00 | Cum |  | 300.00 | 74700.00 | 300.00 | 74700.00 | 150.00 | 37350.00 | 327.00 | 81423.00 | 150.00 | 37350.00 | 200.00 | 49800.00 | 500.00 | 124500.00 | 37350.00 | greenagersenviro solutions and services pvt. ltd., AWETECH WORKS PVT LTD
1.07 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 42.40 | Cum |  | 7000.00 | 296800.00 | 4650.00 | 197160.00 | 6211.00 | 263346.40 | 6833.00 | 289719.20 | 4800.00 | 203520.00 | 4400.00 | 186560.00 | 5500.00 | 233200.00 | 186560.00 | Eagle Associates
1.08 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 218.20 | Cum |  | 300.00 | 65460.00 | 234.00 | 51058.80 | 342.00 | 74624.40 | 255.00 | 55641.00 | 130.00 | 28366.00 | 50.00 | 10910.00 | 100.00 | 21820.00 | 10910.00 | Eagle Associates
1.09 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 20.30 | Cum |  | 8000.00 | 162400.00 | 6400.00 | 129920.00 | 6531.00 | 132579.30 | 6660.00 | 135198.00 | 5500.00 | 111650.00 | 3000.00 | 60900.00 | 8000.00 | 162400.00 | 60900.00 | Eagle Associates
1.10 | Brick work with common burnt clay FPS (non modular) bricks of class designation 3.5 I superstructure abvoe plinth level upto floor V level I all shapes and size in : Cement Mortar 1:6 (1 Cement : 6 Coarse Sand) | 28.40 | Cum |  | 9000.00 | 255600.00 | 6200.00 | 176080.00 | 6531.00 | 185480.40 | 8300.00 | 235720.00 | 5500.00 | 156200.00 | 3000.00 | 85200.00 | 8000.00 | 227200.00 | 85200.00 | Eagle Associates
1.11 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | 10.50 | Sqm |  | 600.00 | 6300.00 | 550.00 | 5775.00 | 3211.00 | 33715.50 | 545.00 | 5722.50 | 5000.00 | 52500.00 | 450.00 | 4725.00 | 6500.00 | 68250.00 | 4725.00 | Eagle Associates
1.12 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 2400.00 | Kg |  | 200.00 | 480000.00 | 110.00 | 264000.00 | 75.00 | 180000.00 | 90.00 | 216000.00 | 90.00 | 216000.00 | 60.00 | 144000.00 | 85.00 | 204000.00 | 144000.00 | Eagle Associates
1.13 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 500.00 | Kg |  | 180.00 | 90000.00 | 130.00 | 65000.00 | 75.00 | 37500.00 | 90.00 | 45000.00 | 90.00 | 45000.00 | 60.00 | 30000.00 | 85.00 | 42500.00 | 30000.00 | Eagle Associates
1.14 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 50.00 | Sqm |  | 800.00 | 40000.00 | 550.00 | 27500.00 | 282.70 | 14135.00 | 610.00 | 30500.00 | 370.00 | 18500.00 | 150.00 | 7500.00 | 400.00 | 20000.00 | 7500.00 | Eagle Associates
1.15 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 24.00 | Cum |  | 8500.00 | 204000.00 | 8600.00 | 206400.00 | 3000.00 | 72000.00 | 8400.00 | 201600.00 | 7200.00 | 172800.00 | 4000.00 | 96000.00 | 8000.00 | 192000.00 | 72000.00 | AWETECH WORKS PVT LTD
1.16 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | Cum |  | 10000.00 | 50000.00 | 10000.00 | 50000.00 | 3000.00 | 15000.00 | 10190.00 | 50950.00 | 7300.00 | 36500.00 | 400.00 | 2000.00 | 8000.00 | 40000.00 | 2000.00 | Eagle Associates
1.17 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 9.50 | Sqm |  | 600.00 | 5700.00 | 610.00 | 5795.00 | 3000.00 | 28500.00 | 685.00 | 6507.50 | 310.00 | 2945.00 | 400.00 | 3800.00 | 300.00 | 2850.00 | 2850.00 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.18 | 12mm Cement Plaster of mix: 1 : 6 (1 Cement : 6 Coarse Sand) | 40.00 | Sqm |  | 430.00 | 17200.00 | 300.00 | 12000.00 | 252.00 | 10080.00 | 300.00 | 12000.00 | 280.00 | 11200.00 | 250.00 | 10000.00 | 200.00 | 8000.00 | 8000.00 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.19 | 18mm cement plaster in two coats under 12mm thick cement plaster 1:5 (1 Cement : 5 coarse sand) finished with a top layer 6mm thick cement plaster 1:6 (1 Cement : 6 Fine sand) | 40.00 | Sqm |  | 530.00 | 21200.00 | 300.00 | 12000.00 | 310.00 | 12400.00 | 444.00 | 17760.00 | 310.00 | 12400.00 | 350.00 | 14000.00 | 250.00 | 10000.00 | 10000.00 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.20 | Providing and fixing Polyethelene-Aluminium- Polyethelene PE-AL-PE Composite Pressure Pipes conforming to IS : 15450, U.V. stabilized with carbon black having thermal stability for hot & cold water supply, capable to withstand temperature up to 80°C, including all special fittings of composite material (engineering plastic blend and brass inserts wherever required) e.g. elbows, tees, reducers, couplers & connectors etc., with trenching, refilling and testing of joints complete as per direction of the engineer in charge. External work 1216 (16 mm OD) pipe | 200.00 | Meter |  | 600.00 | 120000.00 | 225.00 | 45000.00 | 310.00 | 62000.00 | 275.00 | 55000.00 | 220.00 | 44000.00 | 200.00 | 40000.00 | 200.00 | 40000.00 | 40000.00 | Eagle Associates, PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.21 | Providing and fixing Polyethelene-Aluminium- Polyethelene PE-AL-PE Composite Pressure Pipes conforming to IS : 15450, U.V. stabilized with carbon black having thermal stability for hot & cold water supply, capable to withstand temperature up to 80°C, including all special fittings of composite material (engineering plastic blend and brass inserts wherever required) e.g. elbows, tees, reducers, couplers & connectors etc., with trenching, refilling and testing of joints complete as per direction of the engineer in charge. External work 2025 (25 mm OD ) pipe | 200.00 | Meter |  | 800.00 | 160000.00 | 467.00 | 93400.00 | 320.00 | 64000.00 | 3080.00 | 616000.00 | 300.00 | 60000.00 | 400.00 | 80000.00 | 300.00 | 60000.00 | 60000.00 | greenagersenviro solutions and services pvt. ltd., PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.22 | Providing and fixing Polyethelene-Aluminium- Polyethelene PE-AL-PE Composite Pressure Pipes conforming to IS : 15450, U.V. stabilized with carbon black having thermal stability for hot & cold water supply, capable to withstand temperature up to 80°C, including all special fittings of composite material (engineering plastic blend and brass inserts wherever required) e.g. elbows, tees, reducers, couplers & connectors etc., with trenching, refilling and testing of joints complete as per direction of the engineer in charge. External work 3240 (40 mm OD ) pipe | 200.00 | Meter |  | 1000.00 | 200000.00 | 545.00 | 109000.00 | 340.00 | 68000.00 | 646.00 | 129200.00 | 450.00 | 90000.00 | 500.00 | 100000.00 | 400.00 | 80000.00 | 68000.00 | AWETECH WORKS PVT LTD
1.23 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 50 mm nominal dia Pipes | 200.00 | Meter |  | 1600.00 | 320000.00 | 850.00 | 170000.00 | 340.00 | 68000.00 | 812.00 | 162400.00 | 700.00 | 140000.00 | 450.00 | 90000.00 | 100.00 | 20000.00 | 20000.00 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.24 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, to achieve even shade and colour. New work (two or more coat) over and including waer thinable priming coat with cement primer having VOC content less than 50 gram/ litre. | 46.50 | Sqm |  | 330.00 | 15345.00 | 210.00 | 9765.00 | 180.00 | 8370.00 | 93.00 | 4324.50 | 60.00 | 2790.00 | 50.00 | 2325.00 | 100.00 | 4650.00 | 2325.00 | Eagle Associates
1.25 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 40.00 | Sqm |  | 340.00 | 13600.00 | 165.00 | 6600.00 | 164.00 | 6560.00 | 167.00 | 6680.00 | 90.00 | 3600.00 | 70.00 | 2800.00 | 150.00 | 6000.00 | 2800.00 | Eagle Associates
1.26 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 50.00 | Sqm |  | 280.00 | 14000.00 | 209.00 | 10450.00 | 140.00 | 7000.00 | 192.00 | 9600.00 | 85.00 | 4250.00 | 100.00 | 5000.00 | 150.00 | 7500.00 | 4250.00 | greenagersenviro solutions and services pvt. ltd.
1.27 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | 20.00 | Cum |  | 8000.00 | 160000.00 | 6000.00 | 120000.00 | 4500.00 | 90000.00 | 7230.00 | 144600.00 | 5500.00 | 110000.00 | 5000.00 | 100000.00 | 6000.00 | 120000.00 | 90000.00 | AWETECH WORKS PVT LTD
1.28 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 10.00 | Cum |  | 7000.00 | 70000.00 | 5700.00 | 57000.00 | 4500.00 | 45000.00 | 6330.00 | 63300.00 | 4800.00 | 48000.00 | 4800.00 | 48000.00 | 4000.00 | 40000.00 | 40000.00 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.29 | Constructing brick masonry circular type manhole 0.91 m internal dia at bottom and 0.56m dia at top in cement mortar 1:4 (1 cement : 4 coarse sand), inside cement plaster 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement, foundation concrete 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size), and making necessary channel in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement, all complete as per standard design : 0.91 m deep with S.F.R.C. cover and frame (heavy duty, HD-20 grade designation) 560 mm internal diameter conforming to I.S. 12592, total weight of cover and frame to be not less than 182 kg., fixed in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including centering, shuttering all complete. (Excavation, foot rests and 12mm thick cement plaster at the external surface shall be paid for separately) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 20.00 | Each |  | 15000.00 | 300000.00 | 30000.00 | 600000.00 | 40000.00 | 800000.00 | 11890.00 | 237800.00 | 20000.00 | 400000.00 | 5000.00 | 100000.00 | 4000.00 | 80000.00 | 80000.00 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.30 | Extra depth for circular type manhole 0.91m internal dia (at bottom) beyond 0.91 m to 1.67 m With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 20.00 | Meter |  | 10000.00 | 200000.00 | 6000.00 | 120000.00 | 11000.00 | 220000.00 | 6700.00 | 134000.00 | 150.00 | 3000.00 | 500.00 | 10000.00 | 500.00 | 10000.00 | 3000.00 | greenagersenviro solutions and services pvt. ltd.
1.31 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile C Fixing with adjustable lugs with split end tail to each jamb | 30.00 | Meter |  | 500.00 | 15000.00 | 530.00 | 15900.00 | 3500.00 | 105000.00 | 444.00 | 13320.00 | 600.00 | 18000.00 | 200.00 | 6000.00 | 500.00 | 15000.00 | 6000.00 | Eagle Associates
1.32 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 600.00 | Kg |  | 500.00 | 300000.00 | 223.00 | 133800.00 | 382.00 | 229200.00 | 176.00 | 105600.00 | 120.00 | 72000.00 | 55.00 | 33000.00 | 100.00 | 60000.00 | 33000.00 | Eagle Associates
1.33 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 500.00 | Kg |  | 300.00 | 150000.00 | 110.00 | 55000.00 | 150.00 | 75000.00 | 155.00 | 77500.00 | 120.00 | 60000.00 | 85.00 | 42500.00 | 100.00 | 50000.00 | 42500.00 | Eagle Associates
1.34 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 14.00 | Sqm |  | 1000.00 | 14000.00 | 1050.00 | 14700.00 | 700.00 | 9800.00 | 672.00 | 9408.00 | 600.00 | 8400.00 | 500.00 | 7000.00 | 600.00 | 8400.00 | 7000.00 | Eagle Associates
1.35 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-incharge. Made of G.I. wire of dia. 4 mm, PVC coated to achieve outer dia not less than 5 mm in required colour and shade | 240.00 | sqm |  | 350.00 | 84000.00 | 640.00 | 153600.00 | 613.00 | 147120.00 | 902.00 | 216480.00 | 500.00 | 120000.00 | 600.00 | 144000.00 | 250.00 | 60000.00 | 60000.00 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.36 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 300.00 | Meter |  | 1500.00 | 450000.00 | 900.00 | 270000.00 | 870.00 | 261000.00 | 903.00 | 270900.00 | 650.00 | 195000.00 | 700.00 | 210000.00 | 800.00 | 240000.00 | 195000.00 | greenagersenviro solutions and services pvt. ltd.
1.37 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 90.00 | Cum |  | 300.00 | 27000.00 | 260.00 | 23400.00 | 180.00 | 16200.00 | 287.00 | 25830.00 | 250.00 | 22500.00 | 150.00 | 13500.00 | 200.00 | 18000.00 | 13500.00 | Eagle Associates
1.38 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock | 60.00 | Cum |  | 300.00 | 18000.00 | 545.00 | 32700.00 | 180.00 | 10800.00 | 525.00 | 31500.00 | 250.00 | 15000.00 | 200.00 | 12000.00 | 400.00 | 24000.00 | 10800.00 | AWETECH WORKS PVT LTD
1.39 | Providing and fixing Polyethelene-Aluminium- Polyethelene PE-AL-PE Composite Pressure Pipes conforming to IS : 15450, U.V. stabilized with carbon black having thermal stability for hot & cold water supply, capable to withstand temperature up to 80°C, including all special fittings of composite material (engineering plastic blend and brass inserts wherever required) e.g. elbows, tees, reducers, couplers & connectors etc., with trenching, refilling and testing of joints complete as per direction of the engineer in charge. 1620 (20 mm OD ) pipe | 300.00 | Meter |  | 800.00 | 240000.00 | 560.00 | 168000.00 | 310.00 | 93000.00 | 293.00 | 87900.00 | 250.00 | 75000.00 | 400.00 | 120000.00 | 300.00 | 90000.00 | 75000.00 | greenagersenviro solutions and services pvt. ltd.
1.40 | Providing and fixing Polyethelene-Aluminium- Polyethelene PE-AL-PE Composite Pressure Pipes conforming to IS : 15450, U.V. stabilized with carbon black having thermal stability for hot & cold water supply, capable to withstand temperature up to 80°C, including all special fittings of composite material (engineering plastic blend and brass inserts wherever required) e.g. elbows, tees, reducers, couplers & connectors etc., with trenching, refilling and testing of joints complete as per direction of the engineer in charge. 1216 (16 mm OD) pipe | 200.00 | Meter |  | 600.00 | 120000.00 | 195.00 | 39000.00 | 320.00 | 64000.00 | 275.00 | 55000.00 | 220.00 | 44000.00 | 200.00 | 40000.00 | 200.00 | 40000.00 | 39000.00 | CLEANFLO INDIA PRIVATE LIMITED
1.41 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50 mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For vertical surface two coats @ 0.70 kg per sqm per coat | 20.00 | Sqm |  | 1500.00 | 30000.00 | 800.00 | 16000.00 | 1000.00 | 20000.00 | 407.00 | 8140.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 200.00 | 4000.00 | 4000.00 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.42 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50 mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For horizontal surface one coat @1.10 kg per sqm. | 19.02 | Sqm |  | 1500.00 | 28530.00 | 1000.00 | 19020.00 | 1000.00 | 19020.00 | 311.00 | 5915.22 | 450.00 | 8559.00 | 400.00 | 7608.00 | 500.00 | 9510.00 | 5915.22 | AGILE VENTURES
1.43 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 1.80 | Sqm |  | 800.00 | 1440.00 | 300.00 | 540.00 | 282.00 | 507.60 | 308.00 | 554.40 | 350.00 | 630.00 | 200.00 | 360.00 | 200.00 | 360.00 | 360.00 | Eagle Associates, PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
1.44 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 40.00 | Sqm |  | 600.00 | 24000.00 | 600.00 | 24000.00 | 282.00 | 11280.00 | 670.00 | 26800.00 | 180.00 | 7200.00 | 350.00 | 14000.00 | 500.00 | 20000.00 | 7200.00 | greenagersenviro solutions and services pvt. ltd.
1.45 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 1.80 | Sqm |  | 800.00 | 1440.00 | 700.00 | 1260.00 | 282.00 | 507.60 | 770.00 | 1386.00 | 150.00 | 270.00 | 300.00 | 540.00 | 500.00 | 900.00 | 270.00 | greenagersenviro solutions and services pvt. ltd.
1.46 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 500.00 | Kg |  | 300.00 | 150000.00 | 150.00 | 75000.00 | 150.00 | 75000.00 | 112.00 | 56000.00 | 120.00 | 60000.00 | 75.00 | 37500.00 | 100.00 | 50000.00 | 37500.00 | Eagle Associates
1.47 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 500.00 | kg |  | 300.00 | 150000.00 | 140.00 | 70000.00 | 150.00 | 75000.00 | 93.00 | 46500.00 | 120.00 | 60000.00 | 75.00 | 37500.00 | 100.00 | 50000.00 | 37500.00 | Eagle Associates
1.48 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 5000.00 | per litre |  | 20.00 | 100000.00 | 7.60 | 38000.00 | 17.00 | 85000.00 | 10.00 | 50000.00 | 18.00 | 90000.00 | 5.50 | 27500.00 | 15.00 | 75000.00 | 27500.00 | Eagle Associates
1.49 | Supplying and Filling with Sand/ aggregate of size between 4.5 mm to 12.5 mm surrounding Underground STP tank including watering, ramming, consolidating and dressing complete as per direction of EIC. | 18.60 | Cum |  | 3000.00 | 55800.00 | 1100.00 | 20460.00 | 1000.00 | 18600.00 | 6000.00 | 111600.00 | 2000.00 | 37200.00 | 800.00 | 14880.00 | 2000.00 | 37200.00 | 14880.00 | Eagle Associates
1.50 | Supply, installation, commissioning of 25 KLD capacity underground compact portable, ready to install type STP as per following technical specifications, terms and conditions .The process of sewage treatment plant shall be MBBR and compartments included in seperation & sedimentation tank, Anaerobic Chamber, Aerobic Chamber and sedimentation chamber. Specifications and materials include in 25 KLD capacity Compact STP (MBBR Type) :- a) Air Blower with accessories for STP - 2 no (54 m3/Hr Each, 2 HP Each) . - (1W+1S) c) Raw Sewage Lift Pump (No clog Submersible)- 2nos - (9.00 m3/Hr, Head 10 m, 1.00 HP & Kirloskar/Equivalent ) - (1W+1S) d) Filter Feed Pump 02no's- (2 m3/Hr, Head 22 m, 2 HP & Kirloskar/Equivalent .- (1W+1S) e) Plumbing & Misc. Erection & Commissioning Material:-Up to 5 meters Length; As per requirement. f) Relay based Electrical Control Panel (Automated);-TBD as per requirement. h) Pressure Sand Filter (PSF) with Media & Accessories:-1 no.- 16" Diam. X 65" HOS & FRP. i) Activated Carbon Filter (ACF) with Media & Accessories:-1 no.- 16" Diam. X 65" HOS & FRP. j) Bar Screen (Mesh) 0.5x0.5, FRP k) Underground tank of 25000 ltr/day capacity of FRP l) FRP underground tank of intermediate cum treated water tank of capacity 10000 ltr m) Recirculation pump - 01 no. 9.0m3/hr capacity, 1.00HP, 10m head, non-clog submersible n) Chlorine (Sodium Hypochorite dosing) system o) Treated water storage pump 02no's- (9 m3/Hr, Head 10 m, 1-2 HP & Kirloskar/Equivalent .- (1W+1S) Note:-The cost of RCC Equilization tank ,RCC treated water tank and concrete area for placing the compact STP not inluded in this item . The item is including with transportation and installation of STP and one year O&M of non-comprehensive AMC. | 1.00 | job |  | 3850000.00 | 3850000.00 | 1842573.00 | 1842573.00 | 1800000.00 | 1800000.00 | 2339523.00 | 2339523.00 | 2400000.00 | 2400000.00 | 3050000.00 | 3050000.00 | 3449000.00 | 3449000.00 | 1800000.00 | AWETECH WORKS PVT LTD
2.00 | Electrical Works
2.01 | Execution of any item of work as per CPWD Delhi Schedule of Rates (E&M)-2022. (if quoted rate is same as per DSR E&M 2022 item rates, the value is 1. if quoted rate is 10% below DSR E&M 2022 item rates, the value should be 0.9 if quoted rate is 10% above DSR E&M 2022 item rates, the value should be 1.1) | 500000.00 | Percentage |  | 1.80 | 900000.00 | 1.10 | 550000.00 | 0.90 | 450000.00 | 1.00 | 500000.00 | 0.80 | 400000.00 | 0.60 | 300000.00 | 1.00 | 500000.00 | 300000.00 | Eagle Associates
2.02 | Supply of following size of XLPE insulated & PVC sheathed, armoured, aluminium conductor under ground cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments complete as required. 4C x 70 Sq.mm | 100.00 | Metre |  | 5000.00 | 500000.00 | 1050.00 | 105000.00 | 750.00 | 75000.00 | 400.00 | 40000.00 | 600.00 | 60000.00 | 140.00 | 14000.00 | 550.00 | 55000.00 | 14000.00 | Eagle Associates
2.03 | Supply of Aluminium Tiltable tower ladder with bucket type type having reach height of 40-50 FOOT and weight capacity of minimum 170 kg | 1.00 | Each |  | 328000.00 | 328000.00 | 125000.00 | 125000.00 | 149493.00 | 149493.00 | 150000.00 | 150000.00 | 160000.00 | 160000.00 | 245000.00 | 245000.00 | 16000.00 | 16000.00 | 16000.00 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD
2.04 | Supply of Aluminium platform step ladder Step on oneside and rung on the other side of total extended height of 15 FEET and weight capacity of minimum 200 kg. | 2.00 | Each |  | 36000.00 | 72000.00 | 35000.00 | 70000.00 | 34000.00 | 68000.00 | 25000.00 | 50000.00 | 50000.00 | 100000.00 | 16146.00 | 32292.00 | 18000.00 | 36000.00 | 32292.00 | Eagle Associates
| Total in Figures |  |  |  |  | 11282815.00 |  | 6755716.80 |  | 6511212.88 |  | 7540527.32 |  | 6134170.00 |  | 6000003.00 |  | 6944540.00
Lowest Amount Quoted BY: Eagle Associates(6000003.00)

## BOQ Summary
BOQ Summary Details Tender Title: Design Supply Installation Testing and Commissioning including Civil and electromechanical works required for MBBR Based Sewage Treatment plant to handle total domestic sewage of 25 KLD at Solapur Airport Tender ID: 2025_AAI_251537_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Eagle Associates (BID ID -924787) | 6000003.00 | L1
| 2 | greenagersenviro solutions and services pvt. ltd. (BID ID -924010) | 6134170.00 | L2
| 3 | AWETECH WORKS PVT LTD (BID ID -924904) | 6511212.88 | L3
| 4 | CLEANFLO INDIA PRIVATE LIMITED (BID ID -923290) | 6755716.80 | L4
| 5 | PALEO CRYSTAL ENVIRO TECHNOLOGIES PVT LTD (BID ID -924790) | 6944540.00 | L5
| 6 | AGILE VENTURES (BID ID -920264) | 7540527.32 | L6
| 7 | JRMS ENGINEERING WORKS (BID ID -922861) | 11282815.00 | L7