## BoQ1
Government eProcurement System Created By: DEEPAK GARG Created Date/Time: 12-Nov-2025 05:33 PM Tender Title: Replacement of Air-Conditioners at various locations of Bikaner Airport and DVOR sites. Tender ID: 2025_AAI_251587_1
Tender Inviting Authority: AGM (Engg-E), RHQ-NR
Name of Work: Replacement of Air-Conditioners at various locations of Bikaner Airport and DVOR sites.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -921264 |  | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -921451 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -921479 |  | LIFE STYLE INTERIORS (GSTN-08AEWPT8384E1ZJ) BID ID -921559 |  | AIR DESIGN SOLUTIONS (GSTN-NA) BID ID -921484
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-A Supply of 2.0/ 1.5 Tr Split ACs
2.00 | Supply of 5 Star, 1.5 TR high wall type split Inverter Air Conditioner unit with rotary compressor operating on refrigerant R-32/Non CFC & Copper condensor coil of outdoor unit & having cordless LCD remote, auto restart operation with copper refrigerant gas pipeline insulated with nitrile/polythene foam i/c electrical cable of suitable size copper conductor from indoor to outdoor unit (both upto standard length ) i/c standard drain pipe suitable for operation on 230V , 50 Hz single phase AC supply and capable of performing such standard function like cooling, dehumidifying, air circulating etc complete as required & as per the direction of E-I-C. | 13.00 | Each | 1.25 | 35000.00 | 455000.00 | 38800.00 | 504400.00 | 42000.00 | 546000.00 | 35000.00 | 455000.00 | 37395.00 | 486135.00 | 455000.00 | Awasthi Electric Works, LIFE STYLE INTERIORS
3.00 | Supply of 5 Star, 2 TR high wall type split Inverter Air Conditioner unit with rotary compressor operating on refrigerant R-32/Non CFC & Copper condensor coil of outdoor unit & having cordless LCD remote, auto restart operation with copper refrigerant gas pipeline insulated with nitrile/polythene foam i/c electrical cable of suitable size copper conductor from indoor to outdoor unit (both upto standard length) i/c standard drain pipe suitable for operation on 230V , 50 Hz single phase AC supply and capable of performing such standard function like cooling, dehumidifying, air circulating etc complete as required & as per the direction of E-I-C. | 15.00 | Each | 0.00 | 43000.00 | 645000.00 | 47400.00 | 711000.00 | 52000.00 | 780000.00 | 47800.00 | 717000.00 | 51325.00 | 769875.00 | 645000.00 | Awasthi Electric Works
4.00 | SH-B ITC of 2.0/ 1.5 Tr Split Acs
5.00 | Installation, Testing & Commissioning of 1.5 TR Split Inverter type Air Conditioner unit including supply and fixing of MS base frame / plateform duly epoxy painted along with vibration pad for outdoor unit and fixing of standard drain pipe, required cabling between indoor and outdoor etc. complete as required. | 13.00 | Job | 100.00 | 2500.00 | 32500.00 | 1500.00 | 19500.00 | 3000.00 | 39000.00 | 1500.00 | 19500.00 | 2000.00 | 26000.00 | 19500.00 | VOLKS ENERGIE PVT LTD, LIFE STYLE INTERIORS
6.00 | Installation, Testing & Commissioning of 2.0 TR Split Inverter type Air Conditioner unit including supply and fixing of MS base frame / plateform duly epoxy painted along with vibration pad for outdoor unit and fixing of standard drain pipe, required cabling between indoor and outdoor etc. complete as required. | 15.00 | Job | 53.00 | 2500.00 | 37500.00 | 1800.00 | 27000.00 | 3500.00 | 52500.00 | 1500.00 | 22500.00 | 2000.00 | 30000.00 | 22500.00 | LIFE STYLE INTERIORS
7.00 | Supply and fixing of extra copper refrigerant piping (beyond the standard length) complete with suction/ liquid line along with insulation and electrical cabling with PVC protection piping for cable and all accessories required for 1.5 TR as per site requirement. | 65.00 | Mtr. | 10.00 | 1650.00 | 107250.00 | 770.00 | 50050.00 | 600.00 | 39000.00 | 1200.00 | 78000.00 | 1150.00 | 74750.00 | 39000.00 | Manish Electricals
8.00 | Supply and fixing of extra copper refrigerant piping (beyond the standard length) complete with suction/ liquid line along with insulation and electrical cabling with PVC protection piping for cable and all accessories required for 2 TR as per site requirement. | 75.00 | Mtr. | 11.00 | 1650.00 | 123750.00 | 820.00 | 61500.00 | 700.00 | 52500.00 | 1300.00 | 97500.00 | 1250.00 | 93750.00 | 52500.00 | Manish Electricals
9.00 | Supply and fixing of 20 mm. dia. U-PVC Plumbing/drain pipes required for 2.0/ 1.5 TR Split ACs on surface including all accessories like bends, sockets and water seal joints etc. complete as required. | 140.00 | Mtr. | 100.00 | 125.00 | 17500.00 | 100.00 | 14000.00 | 120.00 | 16800.00 | 200.00 | 28000.00 | 125.00 | 17500.00 | 14000.00 | VOLKS ENERGIE PVT LTD
10.00 | Supply and fixing of Single Phase, 240 V smart controller / Timer with 4 hr / 8 hr duration, 25A capacity, having OV & UV indication / protection suitable for AC power supply 240 V, 50 Hz. etc. complete as required. | 10.00 | Each | 53.00 | 7500.00 | 75000.00 | 5143.00 | 51430.00 | 5200.00 | 52000.00 | 8000.00 | 80000.00 | 4500.00 | 45000.00 | 45000.00 | AIR DESIGN SOLUTIONS
11.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, modular type plug top alongwith 20 A "C" curve, SP, MCB, in PVC Box/Enclosure, on surface or in recess complete with connections, testing and commissioning etc. as required. | 28.00 | Each | 10.00 | 1350.00 | 37800.00 | 1200.00 | 33600.00 | 1200.00 | 33600.00 | 1150.00 | 32200.00 | 750.00 | 21000.00 | 21000.00 | AIR DESIGN SOLUTIONS
12.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 240.00 | Mtr. | 11.00 | 460.00 | 110400.00 | 160.00 | 38400.00 | 300.00 | 72000.00 | 240.00 | 57600.00 | 550.00 | 132000.00 | 38400.00 | VOLKS ENERGIE PVT LTD
13.00 | Dismantling the existing 1.5Tr/2Tr split type AC completely of different capacities from different locations of the bikaner airport, Lunka-I & Lunka-II and shifting to AAI store i/c. loading / unloading etc. complete as required. | 26.00 | Job | 11.00 | 500.00 | 13000.00 | 600.00 | 15600.00 | 500.00 | 13000.00 | 900.00 | 23400.00 | 750.00 | 19500.00 | 13000.00 | Awasthi Electric Works, Manish Electricals
14.00 | SH-C Supply of Miscellaneous Items
15.00 | Supply of star rated (min 3 star) Refrigerator of 235 litre nominal capacity with Double door, Frost Free, exterior body build of steel, inverter type compressor with warranty of 10 years ,free standing installation and suitable for operation on 230 V, 50 HZ single phase AC supply complete with all accessories, as required as per the direction of E-I-C. | 2.00 | Each | 10.00 | 28000.00 | 56000.00 | 29332.00 | 58664.00 | 35000.00 | 70000.00 | 21900.00 | 43800.00 | 30000.00 | 60000.00 | 43800.00 | LIFE STYLE INTERIORS
16.00 | Supply of Microwave oven convection type having 24 litre nominal capacity with Magnetron warranty of 5 years, steel body finish, stainless steel finish of heating chamber, Heating time adjustment, Convection heating/adjustment of microwave power, LED display with feather touch control and suitable for operation on 230 V, 50 HZ single phase supply and complete with all accessories as required as per the direction of E-I-C. | 2.00 | Each | 22.00 | 15000.00 | 30000.00 | 18640.00 | 37280.00 | 9000.00 | 18000.00 | 7500.00 | 15000.00 | 15500.00 | 31000.00 | 15000.00 | LIFE STYLE INTERIORS
17.00 | Supply of Induction stove of minimum 2000W with touch control and suitable for operation on 220-240 V, 50 HZ single phase supply and complete with all accessories as per technical specifications and as per the direction of E-I-C. | 2.00 | Each | 0.00 | 4500.00 | 9000.00 | 5542.00 | 11084.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 6500.00 | 13000.00 | 4000.00 | LIFE STYLE INTERIORS
18.00 | Supply of floor mounted water dispenser with tank material made of SS 304 food grade and cooling/heating capacity of min 3/5 Ltrs per hour respectively, 3 nos faucets for Hot, Cold and Normal/ambient water supply suitable for operation on 230 V, 50 HZ single phase supply, eco friendly refrigrant R134a or equivalant along with 02 nos 20 Ltr. good quality water bottles as per technical specifications and complete with all accessories as required as per the direction of E-I-C. | 1.00 | Each | 1.00 | 45000.00 | 45000.00 | 7203.00 | 7203.00 | 41500.00 | 41500.00 | 7000.00 | 7000.00 | 10500.00 | 10500.00 | 7000.00 | LIFE STYLE INTERIORS
| Total in Figures |  |  |  |  | 1794700.00 |  | 1640711.00 |  | 1831900.00 |  | 1680500.00 |  | 1830010.00
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(1640711.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Air-Conditioners at various locations of Bikaner Airport and DVOR sites. Tender ID: 2025_AAI_251587_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD (BID ID -921451) | 1640711.00 | L1
| 2 | LIFE STYLE INTERIORS (BID ID -921559) | 1680500.00 | L2
| 3 | Awasthi Electric Works (BID ID -921264) | 1794700.00 | L3
| 4 | AIR DESIGN SOLUTIONS (BID ID -921484) | 1830010.00 | L4
| 5 | Manish Electricals (BID ID -921479) | 1831900.00 | L5