## BoQ1
Government eProcurement System Created By: DURGA NAGENDRA PRASAD DONGA Created Date/Time: 13-Nov-2025 05:10 PM Tender Title: Provision of Perimeter lighting for newly constructing road at Begumpet Airport, Hyderabad. Tender ID: 2025_AAI_251862_1
Tender Inviting Authority: Senior Manager(E-E), AAI, Hyderabad International Airport, Begumpet.
Name of Work: Miscellaneous Works. SH: Provision of Perimeter lighting for newly constructing road at Begumpet Airport, Hyderabad.
Contract No: 2025_AAI_251862_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Capart Industries Pvt. Ltd., (GSTN-36AABCC3174B1Z5) BID ID -919427 |  | M/s LEESHA ELECTRICALS (GSTN-27ABAPW8550C1ZK) BID ID -920518 |  | AKASH ELECTRIC WORKS (GSTN-NA) BID ID -921541 |  | sri sai leela electrical projects (GSTN-NA) BID ID -922575
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1KV grade confirming to relevant IS 1554 / IS 7098 with upto date amendments etc, as required. A) 4 core x 16 Sq.mm | 1151.00 | Meter |  | 198.80 | 228818.80 | 170.00 | 195670.00 | 215.00 | 247465.00 | 210.00 | 241710.00 | 195670.00 | M/s LEESHA ELECTRICALS
2.00 | Supply of XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1KV grade confirming to relevant IS 1554 / IS 7098 with upto date amendments etc, as required. B) 3.5 Core X 50 Sq.mm | 606.00 | Meter |  | 399.00 | 241794.00 | 340.00 | 206040.00 | 434.00 | 263004.00 | 420.00 | 254520.00 | 206040.00 | M/s LEESHA ELECTRICALS
3.00 | Laying of following size DWC HDPE pipe including all accessories like socket, bend, couplers etc. complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. ( DWC HDPE pipe will be provided by AAI) a) 50 mm (Outer Dia) | 775.00 | Meter |  | 84.00 | 65100.00 | 110.00 | 85250.00 | 295.00 | 228625.00 | 300.00 | 232500.00 | 65100.00 | Capart Industries Pvt. Ltd.,
4.00 | Supply & Laying of following size DWC HDPE pipe including all accessories like socket, bend, couplers etc. complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. a) 90 mm dia (OD-90 mm & ID-76 mm nominal) | 372.00 | Meter |  | 214.50 | 79794.00 | 200.00 | 74400.00 | 350.00 | 130200.00 | 430.00 | 159960.00 | 74400.00 | M/s LEESHA ELECTRICALS
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. A) Upto 35 sq. mm | 775.00 | Meter |  | 21.60 | 16740.00 | 25.00 | 19375.00 | 50.00 | 38750.00 | 20.00 | 15500.00 | 15500.00 | sri sai leela electrical projects
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. b) Above 35 sq. mm and up to 95 sq. mm | 372.00 | Meter |  | 39.00 | 14508.00 | 35.00 | 13020.00 | 70.00 | 26040.00 | 30.00 | 11160.00 | 11160.00 | sri sai leela electrical projects
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required. a) Above 35 sq. mm and up to 95 sq. mm | 25.00 | Meter |  | 26.00 | 650.00 | 25.00 | 625.00 | 50.00 | 1250.00 | 50.00 | 1250.00 | 625.00 | M/s LEESHA ELECTRICALS
8.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on Surface/ cable tray as required. a) Above 35 sq. mm and up to 95 sq. mm (clamped with 25x3mm MS flat clamp) | 69.00 | Meter |  | 195.00 | 13455.00 | 50.00 | 3450.00 | 90.00 | 6210.00 | 100.00 | 6900.00 | 3450.00 | M/s LEESHA ELECTRICALS
9.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 8.00 | Set |  | 10400.00 | 83200.00 | 8500.00 | 68000.00 | 9000.00 | 72000.00 | 8000.00 | 64000.00 | 64000.00 | sri sai leela electrical projects
10.00 | Fixing of existing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required | 1540.00 | Meter |  | 7.80 | 12012.00 | 15.00 | 23100.00 | 35.00 | 53900.00 | 5.00 | 7700.00 | 7700.00 | sri sai leela electrical projects
11.00 | Supply of 6.0 metre height hot dip galvanised octagonal poles with 130 mm bottom A/F & 70 mm top A/F made up of 3 mm thick sheet, along with base plate of size 200 mm X 200 mm X 12 mm thick, along with 1000mm length single arm bracket and with suitable end to mount LED fitting at suitable angle as per design, suitably designed door with space for internal junction box as per drawing etc. as required comprising following accessories: (a) Supply of 4 nos of M16X450 long 'J' type EN 8 grade foundation bolts along with template, 12 nuts and washers. (b) Bakelite sheet with 1 Nos of 6A SP MCB and stud type connector suitable for looping of 4Cx 16 Sq mm cable. | 29.00 | Job |  | 10747.10 | 311665.90 | 12500.00 | 362500.00 | 13500.00 | 391500.00 | 12000.00 | 348000.00 | 311665.90 | Capart Industries Pvt. Ltd.,
12.00 | Supply of 4.0 metre height hot dip galvanised octagonal poles with 130 mm bottom A/F & 70 mm top A/F made up of 3 mm thick sheet, along with base plate of size 200 mm X 200 mm X 12 mm thick, along with 1000mm length single arm bracket and with suitable end to mount LED fitting at suitable angle as per design, suitably designed door with space for internal junction box as per drawing etc. as required comprising following accessories: (a) Supply of 4 nos of M16X450 long 'J' type EN 8 grade foundation bolts along with template, 12 nuts and washers. (b) Bakelite sheet with 1 Nos of 6A SP MCB and stud type connector suitable for looping of 4Cx 16 Sq mm cable. | 3.00 | Job |  | 8212.10 | 24636.30 | 10500.00 | 31500.00 | 10500.00 | 31500.00 | 10000.00 | 30000.00 | 24636.30 | Capart Industries Pvt. Ltd.,
13.00 | Erection of poles upto 6 Mtrs. Height Street Light Poles in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling or as per OEM recommendations etc. complete as required. | 32.00 | Job |  | 10400.00 | 332800.00 | 3500.00 | 112000.00 | 5000.00 | 160000.00 | 3000.00 | 96000.00 | 96000.00 | sri sai leela electrical projects
14.00 | Supply, Installation, Testing and Commissioning of outdoor type feeder pillar panel made out of 14 SWG MS CRCA sheet, duly powder coated, dust tight & vermin proof, floor mounted, totally enclosed, cubicle type, free standing front openable distribution feeder pillar, suitable for operation at 415V, 3 Phase, 4 Wire, 50 Hz AC System complete with all accessories, interconnection, connection, earthing, painting, provided with bottom base channel and locking arrangements including excavation for foundation, providing PCC foundation, suitable MS channel frame with legs for grouting in foundation suitable for 45 cm mounting height, painting, fixing of panel etc. complete as required and as per technical specifications and comprising of the following: (A) INCOMER (i) 4P MCCB - 125 Amps, 36 KA with Thermal magnetic release, ROM & spreader terminals, (Make L&T - DN0-125D or similar) - 1 No. (ii) C. T. 150/5 Amps, 5 VA - 3 Nos. INCOMER METERING (i) LED indicating lamp (RYB) - 1 Set with MCB for protection (ii) Digital VAF + PF Meter, CL-1 (Make L&T - 4110 or similar) - 1 No. with MCB for protection. (B) BUS BARS (i) 25 x 10 mm Aluminium TPN Busbar - 1 Set (C) OUTGOINGS (i) 4P MCB - 40 Amps, 10 KA - 4 Nos. (ii) 3 Pole 30 Amp. Power Contactor (Make L&T - MNX 18 or similar) - 4 Nos. (iii) Selector Switch for Auto/Manual - 4 No. (iv) Analogue Time Switch (Make L&T - AUTS03ANA00 or similar) - 4 Nos. (v) ON/OFF Indication Lamps - Red & Green - 4 Nos (vi) ON/OFF Push Button Actuators - Red & Green - 4 Nos | 2.00 | Job |  | 111655.20 | 223310.40 | 115000.00 | 230000.00 | 75600.00 | 151200.00 | 85000.00 | 170000.00 | 151200.00 | AKASH ELECTRIC WORKS
15.00 | Supply of LED street light luminaire not more than 72 Watt , with minimum 7920 Lumens output with powder coated pressure die-cast aluminium housing and toughened glass, minimum IP 66 protection, weatherproof gasket for lamp and control gear accessories, integral electronic driver with in-built short circuit, over voltage, over load and 10 KV surge protection, THD less than 10%, min CCT 5700K, suitable for mounting on existing arm bracket supplied against street light pole Item etc. complete as required. (Make: Bajaj Brlep or similar) | 42.00 | Each |  | 2940.00 | 123480.00 | 2000.00 | 84000.00 | 3200.00 | 134400.00 | 4000.00 | 168000.00 | 84000.00 | M/s LEESHA ELECTRICALS
16.00 | Installation, testing and commissioning of LED Street light fitting on existing Steer light pole complete with all accessories inculding 4P connector , 6A MCB and 3 C x 1.5 Sq.mm PVC Insulated anf FR PVC round Sheathed , copper conductor (flexible) industrial cable connections etc. as required | 32.00 | Each |  | 455.00 | 14560.00 | 550.00 | 17600.00 | 150.00 | 4800.00 | 1200.00 | 38400.00 | 4800.00 | AKASH ELECTRIC WORKS
17.00 | Supply & making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XPLE aluminium conductor of 1.1 kV grade as required. (a) 3½ X 50 sq.mm (35 mm) | 6.00 | Each |  | 260.00 | 1560.00 | 500.00 | 3000.00 | 300.00 | 1800.00 | 1000.00 | 6000.00 | 1560.00 | Capart Industries Pvt. Ltd.,
18.00 | Supply & making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XPLE aluminium conductor of 1.1 kV grade as required. (b) 4 X 16 sq.mm (28 mm) | 6.00 | Each |  | 152.10 | 912.60 | 250.00 | 1500.00 | 275.00 | 1650.00 | 400.00 | 2400.00 | 912.60 | Capart Industries Pvt. Ltd.,
19.00 | Supply & making end termination with aluminium lugs in octagonal pole (Without Gland) for following size of PVC insulated and PVC sheathed / XPLE aluminium conductor of 1.1 kV grade as required. (a) 4 X 16 sq.mm | 58.00 | Each |  | 8.45 | 490.10 | 150.00 | 8700.00 | 150.00 | 8700.00 | 354.00 | 20532.00 | 490.10 | Capart Industries Pvt. Ltd.,
20.00 | Extra for excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 60.00 | Cum |  | 910.00 | 54600.00 | 1200.00 | 72000.00 | 250.00 | 15000.00 | 4000.00 | 240000.00 | 15000.00 | AKASH ELECTRIC WORKS
21.00 | Providing and laying in position cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) etc as required. | 18.00 | Cum |  | 5850.00 | 105300.00 | 7500.00 | 135000.00 | 7500.00 | 135000.00 | 5500.00 | 99000.00 | 99000.00 | sri sai leela electrical projects
| Total in Figures |  |  |  |  | 1949387.10 |  | 1746730.00 |  | 2102994.00 |  | 2213532.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(1746730.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Perimeter lighting for newly constructing road at Begumpet Airport, Hyderabad. Tender ID: 2025_AAI_251862_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS (BID ID -920518) | 1746730.00 | L1
| 2 | Capart Industries Pvt. Ltd., (BID ID -919427) | 1949387.10 | L2
| 3 | AKASH ELECTRIC WORKS (BID ID -921541) | 2102994.00 | L3
| 4 | sri sai leela electrical projects (BID ID -922575) | 2213532.00 | L4