## BoQ1
Government eProcurement System Created By: Ajay Sahu Created Date/Time: 17-Nov-2025 02:08 PM Tender Title: Construction of Quarter Guard and associated work at Jabalpur Airport Jabalpur Tender ID: 2025_AAI_251872_1
Tender Inviting Authority: AGM (E-C), Airports Authority of India, Jabalpur Airport, Jabalpur
Name of Work : Construction of Quarter Guard and associated work at Jabalpur Airport Jabalpur
Tender ID - - 2025_AAI_251872_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMAN TRADERS (GSTN-23ABHPN5613J1ZP) BID ID -922495 |  | JITENDRA KUMAR MISHRA (GSTN-NA) BID ID -926130
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. All kinds of soil | 1698.00 | Cum | 0.00 | 150.00 | 254700.00 | 154.00 | 261492.00 | 254700.00 | AMAN TRADERS
2.00 | Extra for every additional lift of 1.5 m or part thereof in excavation banking excavated or stacked materials: All kinds of soil | 111.00 | Cum | 0.00 | 107.00 | 11877.00 | 111.00 | 12321.00 | 11877.00 | AMAN TRADERS
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 31.10 | Cum | 0.00 | 220.00 | 6842.00 | 226.00 | 7028.60 | 6842.00 | AMAN TRADERS
4.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil: Pipes, cables etc. not exceeding 80 mm dia. | 100.00 | metre | 0.00 | 182.00 | 18200.00 | 188.00 | 18800.00 | 18200.00 | AMAN TRADERS
5.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :All kinds of soil: Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 100.00 | metre | 0.00 | 298.00 | 29800.00 | 305.00 | 30500.00 | 29800.00 | AMAN TRADERS
6.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift. | 865.00 | Cum | 0.00 | 166.00 | 143590.00 | 170.00 | 147050.00 | 143590.00 | AMAN TRADERS
7.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas within AAI Premises (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and filling avaliable earth obtained for subgrade, embankment, depressions as instructed and in layers not exceeding 20 cm (loose) in depth (or any thickness as approved by the Engineer-in-Charge in case vibratory roller / soil compactor is used) including breaking clods, watering, consolidating each layer with power road roller 8 -10 tonnes weight or vibratory roller / soil compactor of adequate capacity under optimum moisture content condition to give at least 95% of the maximum laboratory dry density (modified Proctor density) as per IS : 2720 (part VIII) complete including leveling, fine dressing to the required grade, camber and slope complete as per MORTH specifications and as directed by the Engineer-in-Charge with all leads and lifts. (The item includes cost of excavation, carriage of avaliable earth upto work site for all leads and lifts and compaction . Payment shall be made for compacted quantity only | 1008.00 | Cum | 0.00 | 237.00 | 238896.00 | 242.00 | 243936.00 | 238896.00 | AMAN TRADERS
8.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 75.00 | Cum | 0.00 | 1799.00 | 134925.00 | 1842.00 | 138150.00 | 134925.00 | AMAN TRADERS
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 591.00 | Sqm | 0.00 | 332.00 | 196212.00 | 340.00 | 200940.00 | 196212.00 | AMAN TRADERS
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 268.00 | Sqm | 0.00 | 713.00 | 191084.00 | 731.00 | 195908.00 | 191084.00 | AMAN TRADERS
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 215.00 | Sqm | 0.00 | 785.00 | 168775.00 | 805.00 | 173075.00 | 168775.00 | AMAN TRADERS
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 264.00 | Sqm | 0.00 | 623.00 | 164472.00 | 640.00 | 168960.00 | 164472.00 | AMAN TRADERS
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 442.00 | Sqm | 0.00 | 814.00 | 359788.00 | 834.00 | 368628.00 | 359788.00 | AMAN TRADERS
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Stairs, (excluding landings) except spiral-staircases | 10.00 | Sqm | 0.00 | 647.00 | 6470.00 | 663.00 | 6630.00 | 6470.00 | AMAN TRADERS
15.00 | Edges of slabs and breaks in floors and walls: Under 20 cm wide | 106.00 | metre | 0.00 | 176.00 | 18656.00 | 181.00 | 19186.00 | 18656.00 | AMAN TRADERS
16.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 27.00 | Cum | 0.00 | 6673.00 | 180171.00 | 6837.00 | 184599.00 | 180171.00 | AMAN TRADERS
17.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 363.00 | Cum | 0.00 | 5770.00 | 2094510.00 | 5912.00 | 2146056.00 | 2094510.00 | AMAN TRADERS
18.00 | Providing and laying damp-proof course 40 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-lll) derived from natural sources : 4 graded stone aggregate 12.5 mm nominal size derived from natural sources) | 34.30 | Sqm | 0.00 | 348.00 | 11936.40 | 357.00 | 12245.10 | 11936.40 | AMAN TRADERS
19.00 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer’s specification. | 912.00 | Per 50 kg cement | 0.00 | 15.00 | 13680.00 | 16.00 | 14592.00 | 13680.00 | AMAN TRADERS
20.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 195.00 | Cum | 0.00 | 7662.00 | 1494090.00 | 7849.00 | 1530555.00 | 1494090.00 | AMAN TRADERS
21.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 52.00 | Cum | 0.00 | 9193.00 | 478036.00 | 9418.00 | 489736.00 | 478036.00 | AMAN TRADERS
22.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 62.00 | Cum | 0.00 | 9746.00 | 604252.00 | 9984.00 | 619008.00 | 604252.00 | AMAN TRADERS
23.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.: Thermo-Mechanically Treated bars of grade Fe-500D or more | 25350.00 | Kg | 0.00 | 91.00 | 2306850.00 | 94.00 | 2382900.00 | 2306850.00 | AMAN TRADERS
24.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.: Thermo-Mechanically Treated bars of grade Fe-500D or more | 17100.00 | Kg | 0.00 | 91.00 | 1556100.00 | 94.00 | 1607400.00 | 1556100.00 | AMAN TRADERS
25.00 | Brick work with local available size bricks of class designation 3.5 in foundation and plinth in: Cement mortar 1:6 (1 Cement : 6 Coarse sand) | 30.00 | Cum | 0.00 | 5216.00 | 156480.00 | 5343.00 | 160290.00 | 156480.00 | AMAN TRADERS
26.00 | Brick work with local available size bricks of class designation 3.5 in superstructure above plinth level upto floor V level in all shapes and sizes in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 59.49 | Cum | 0.00 | 6965.00 | 414347.85 | 7135.00 | 424461.15 | 414347.85 | AMAN TRADERS
27.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 214.52 | Sqm | 0.00 | 1427.00 | 306120.04 | 1461.00 | 313413.72 | 306120.04 | AMAN TRADERS
28.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.: Granite stone slab of colour black, Cherry/Ruby red: Area of slab over 0.50 sqm | 8.15 | Sqm | 0.00 | 4351.00 | 35460.65 | 4457.00 | 36324.55 | 35460.65 | AMAN TRADERS
29.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.: Granite Work | 20.25 | Metre | 0.00 | 432.00 | 8748.00 | 443.00 | 8970.75 | 8748.00 | AMAN TRADERS
30.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 2.00 | Each | 0.00 | 829.00 | 1658.00 | 850.00 | 1700.00 | 1658.00 | AMAN TRADERS
31.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).: Second class teak wood | .65 | Cum | 0.00 | 121093.00 | 78710.45 | 124047.00 | 80630.55 | 78710.45 | AMAN TRADERS
32.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 3.78 | Sqm | 0.00 | 1840.00 | 6955.20 | 1884.00 | 7121.52 | 6955.20 | AMAN TRADERS
33.00 | Providing and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows, fixing with butt hinges of required size with necessary screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer-in-charge. (Note:- Butt hinges and necessary screws shall be paid separately): Second class teak wood: 30 mm thick shutters | 8.28 | Sqm | 0.00 | 3174.00 | 26280.72 | 3251.00 | 26918.28 | 26280.72 | AMAN TRADERS
34.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Float glass pane: 4 mm thick glass pane (weight not less than 10kg/sqm) | 8.28 | Sqm | 0.00 | 1899.00 | 15723.72 | 1945.00 | 16104.60 | 15723.72 | AMAN TRADERS
35.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.: Fixed to openings /wooden frames with rawl plugs screws etc. | 240.00 | Kg | 0.00 | 201.00 | 48240.00 | 207.00 | 49680.00 | 48240.00 | AMAN TRADERS
36.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete.: With 2nd class teak wood beading 62X19 mm | 13.95 | sqm | 0.00 | 1108.00 | 15456.60 | 1136.00 | 15847.20 | 15456.60 | AMAN TRADERS
37.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 4.00 | Each | 0.00 | 220.00 | 880.00 | 226.00 | 904.00 | 880.00 | AMAN TRADERS
38.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :: 200x10 mm | 22.00 | Each | 0.00 | 84.00 | 1848.00 | 86.00 | 1892.00 | 1848.00 | AMAN TRADERS
39.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 24.00 | Each | 0.00 | 56.00 | 1344.00 | 58.00 | 1392.00 | 1344.00 | AMAN TRADERS
40.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 4615.00 | Kg | 0.00 | 99.00 | 456885.00 | 102.00 | 470730.00 | 456885.00 | AMAN TRADERS
41.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 6.30 | Sqm | 0.00 | 9690.00 | 61047.00 | 9926.00 | 62533.80 | 61047.00 | AMAN TRADERS
42.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.: Hot finished welded type tubes | 2632.48 | Kg | 0.00 | 164.00 | 431726.72 | 168.00 | 442256.64 | 431726.72 | AMAN TRADERS
43.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.: In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works: | 1527.00 | Kg | 0.00 | 146.00 | 222942.00 | 150.00 | 229050.00 | 222942.00 | AMAN TRADERS
44.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 36.80 | Sqm | 0.00 | 1074.00 | 39523.20 | 1100.00 | 40480.00 | 39523.20 | AMAN TRADERS
45.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 160.02 | sqm | 0.00 | 1650.00 | 264033.00 | 1690.00 | 270433.80 | 264033.00 | AMAN TRADERS
46.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 33.36 | sqm | 0.00 | 1994.00 | 66519.84 | 2043.00 | 68154.48 | 66519.84 | AMAN TRADERS
47.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), including pointing the joints with white cement and matching pigments etc., complete. | 10.50 | Sqm | 0.00 | 1114.00 | 11697.00 | 1141.00 | 11980.50 | 11697.00 | AMAN TRADERS
48.00 | Providing & fixing at all heights, levels and locations Mill finish Aluminium alloy roofing sheets of alloy IS designation 31500, temper Hx8 conforming to IS 737 and dimensions as per IS code 2676 with characteristics of good formability and corrosion resistance. The profile sheets shall be fixed to truss members in slope or required pitch or curvature with Hex cap headed self drilling/tapping Stainless steel screws M6, 50 mm long with 3 mm EPDM seal washer etc. all inclusive of labour, scaffolding, T&P and sundries etc. complete as per directions of the Engineer-In-Charge. (Cost of truss/frame work shall be paid separately). : 0.56 mm, Aluminium troughed profile with center to center pitch of 200 mm, depth of 32 mm, overall profile width1092 mm, cover width 1000mm. | 282.00 | Sqm | 0.00 | 875.00 | 246750.00 | 897.00 | 252954.00 | 246750.00 | AMAN TRADERS
49.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 768.00 | Sqm | 0.00 | 293.00 | 225024.00 | 302.00 | 231936.00 | 225024.00 | AMAN TRADERS
50.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand | 342.00 | Sqm | 0.00 | 338.00 | 115596.00 | 346.00 | 118332.00 | 115596.00 | AMAN TRADERS
51.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 1110.00 | Sqm | 0.00 | 222.00 | 246420.00 | 228.00 | 253080.00 | 246420.00 | AMAN TRADERS
52.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.: Two coats | 342.00 | Sqm | 0.00 | 116.00 | 39672.00 | 119.00 | 40698.00 | 39672.00 | AMAN TRADERS
53.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile organic compound ) content less than 50 grams/litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour: Two coats | 768.00 | Sqm | 0.00 | 120.00 | 92160.00 | 124.00 | 95232.00 | 92160.00 | AMAN TRADERS
54.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 467.00 | Sqm | 0.00 | 191.00 | 89197.00 | 196.00 | 91532.00 | 89197.00 | AMAN TRADERS
55.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 137.50 | Cum | 0.00 | 6771.00 | 931012.50 | 6937.00 | 953837.50 | 931012.50 | AMAN TRADERS
56.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge.: Made of G.I. wire of dia 4 mm | 576.00 | Sqm | 0.00 | 862.00 | 496512.00 | 882.00 | 508032.00 | 496512.00 | AMAN TRADERS
57.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of M sand, compacting and proper embedding/laying of inter locking paver blocks into the M sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with M sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 1549.00 | Sqm | 0.00 | 822.00 | 1273278.00 | 842.00 | 1304258.00 | 1273278.00 | AMAN TRADERS
58.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Each | 0.00 | 5519.00 | 11038.00 | 5654.00 | 11308.00 | 11038.00 | AMAN TRADERS
59.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 1.00 | each | 0.00 | 10226.00 | 10226.00 | 10475.00 | 10475.00 | 10226.00 | AMAN TRADERS
60.00 | Providing and fixing wash basin with CI brackets,15mm brass pillar taps,32mm CP brass waste of standard pattern, including painting of fittings and brackets,cutting and making good the walls wherever required.: White vitreous china wash basin size 630 mm x 450 mm with single 15mm CP brass pillar tap. | 2.00 | Each | 0.00 | 1885.00 | 3770.00 | 1931.00 | 3862.00 | 3770.00 | AMAN TRADERS
61.00 | Providing and fixing P.V.C waste pipe for sink or wash basin including P.V.C waste fitting complete: Flexible pipe: 40 mm dia | 3.00 | Each | 0.00 | 101.00 | 303.00 | 103.00 | 309.00 | 303.00 | AMAN TRADERS
62.00 | Providing and fixing 600x450mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | Each | 0.00 | 1362.00 | 2724.00 | 1395.00 | 2790.00 | 2724.00 | AMAN TRADERS
63.00 | providing & fixing PTMT towel rail complete with brackets fixed to wooden cleats with cp brass screws with concealed fittings arrangement of approved quality and colour.: 450 mm long towel rail with total length of 495 mm. 78 mm wide and effective height of 88 mm, weighting not less than 170 gms. | 2.00 | Each | 0.00 | 570.00 | 1140.00 | 584.00 | 1168.00 | 1140.00 | AMAN TRADERS
64.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 4.00 | Each | 0.00 | 429.00 | 1716.00 | 439.00 | 1756.00 | 1716.00 | AMAN TRADERS
65.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 20 mm nominal outer dia pipes. | 30.00 | Metre | 0.00 | 283.00 | 8490.00 | 290.00 | 8700.00 | 8490.00 | AMAN TRADERS
66.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 25 mm nominal outer dia pipes. | 30.00 | Metre | 0.00 | 340.00 | 10200.00 | 348.00 | 10440.00 | 10200.00 | AMAN TRADERS
67.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 32 mm nominal outer dia pipes. | 30.00 | Metre | 0.00 | 439.00 | 13170.00 | 450.00 | 13500.00 | 13170.00 | AMAN TRADERS
68.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 40 mm nominal outer dia pipes. | 30.00 | Metre | 0.00 | 595.00 | 17850.00 | 610.00 | 18300.00 | 17850.00 | AMAN TRADERS
69.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 15 mm nominal outer dia pipes | 30.00 | Metre | 0.00 | 421.00 | 12630.00 | 431.00 | 12930.00 | 12630.00 | AMAN TRADERS
70.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 20 mm nominal outer dia pipes | 30.00 | Metre | 0.00 | 455.00 | 13650.00 | 466.00 | 13980.00 | 13650.00 | AMAN TRADERS
71.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 25 mm nominal outer dia pipes. | 30.00 | Metre | 0.00 | 531.00 | 15930.00 | 544.00 | 16320.00 | 15930.00 | AMAN TRADERS
72.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.: 50 mm nominal dia Pipes | 100.00 | Metre | 0.00 | 672.00 | 67200.00 | 689.00 | 68900.00 | 67200.00 | AMAN TRADERS
73.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 5.00 | Each | 0.00 | 567.00 | 2835.00 | 581.00 | 2905.00 | 2835.00 | AMAN TRADERS
74.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 25 mm dia nominal bore | 5.00 | Each | 0.00 | 527.00 | 2635.00 | 540.00 | 2700.00 | 2635.00 | AMAN TRADERS
75.00 | Providing and placing on terrace (at all floor levels) Polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement amd making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Litre | 0.00 | 9.00 | 9000.00 | 9.55 | 9550.00 | 9000.00 | AMAN TRADERS
76.00 | Providing and fixing unplasticised P.V.C connection pipe with PTMT Nuts coller and bush of approved quality and colour.: 15mm nominal bore with 45cm length | 5.00 | Each | 0.00 | 103.00 | 515.00 | 106.00 | 530.00 | 515.00 | AMAN TRADERS
77.00 | Providing & fixing on wall face unplasticised -Rigid PVC rain water pipes conforming to IS ; 13592 Type A included jointing with seal ring conforning to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm diameter | 40.00 | Metre | 0.00 | 319.00 | 12760.00 | 327.00 | 13080.00 | 12760.00 | AMAN TRADERS
78.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: Coupler-110mm diameter | 20.00 | Each | 0.00 | 115.00 | 2300.00 | 118.00 | 2360.00 | 2300.00 | AMAN TRADERS
79.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm bend | 15.00 | Each | 0.00 | 127.00 | 1905.00 | 130.00 | 1950.00 | 1905.00 | AMAN TRADERS
80.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm Shoe | 8.00 | Each | 0.00 | 111.00 | 888.00 | 114.00 | 912.00 | 888.00 | AMAN TRADERS
81.00 | Providing & fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed with .M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4(1cement : 4 coarse sand) and making good the wall etc. complete.: 110mm dia | 40.00 | Each | 0.00 | 314.00 | 12560.00 | 322.00 | 12880.00 | 12560.00 | AMAN TRADERS
82.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15cm diameter and weighting not less than 440 grams. | 8.00 | Each | 0.00 | 46.00 | 368.00 | 47.00 | 376.00 | 368.00 | AMAN TRADERS
83.00 | Providing and fixing soil, waste and vent pipes: 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 120.00 | Metre | 0.00 | 975.00 | 117000.00 | 999.00 | 119880.00 | 117000.00 | AMAN TRADERS
84.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. :For 100 mm dia pipe | 20.00 | Each | 0.00 | 307.00 | 6140.00 | 314.00 | 6280.00 | 6140.00 | AMAN TRADERS
85.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100 mm dia Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 506.00 | 10120.00 | 519.00 | 10380.00 | 10120.00 | AMAN TRADERS
86.00 | Providing and fixing plain bend of required degree.:100 mm dia Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 398.00 | 7960.00 | 408.00 | 8160.00 | 7960.00 | AMAN TRADERS
87.00 | Providing and fixing heel rest sanitary bend: 100 mm dia Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 494.00 | 9880.00 | 506.00 | 10120.00 | 9880.00 | AMAN TRADERS
88.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : 100x100x100x100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 964.00 | 19280.00 | 988.00 | 19760.00 | 19280.00 | AMAN TRADERS
89.00 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100x100x100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 615.00 | 12300.00 | 630.00 | 12600.00 | 12300.00 | AMAN TRADERS
90.00 | Providing and fixing terminal guard : 100 mm Sand cast iron S&S as per IS - 1729 | 3.00 | Each | 0.00 | 374.00 | 1122.00 | 384.00 | 1152.00 | 1122.00 | AMAN TRADERS
91.00 | Providing and fixing collar : 100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 392.00 | 7840.00 | 403.00 | 8060.00 | 7840.00 | AMAN TRADERS
92.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm | 200.00 | Each | 0.00 | 527.00 | 105400.00 | 541.00 | 108200.00 | 105400.00 | AMAN TRADERS
93.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 1729 | 5.00 | Each | 0.00 | 1426.00 | 7130.00 | 1460.00 | 7300.00 | 7130.00 | AMAN TRADERS
94.00 | Providing and laying cement concrete 1:5:10 (1 cement: 5 coarse sand: 10 graded stone aggregate 40 mm nominal size) all-round SW including bed concrete as per standard design.: 100mm diameter | 120.00 | Metre | 0.00 | 817.00 | 98040.00 | 838.00 | 100560.00 | 98040.00 | AMAN TRADERS
95.00 | Providing and fixing square mouth SW gully trap class SP-1 complete with CI grating brick masonry chamber and water tight CI cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg. as per standard design.: 180x150mm size P type: with common burnt local available bricks of class designation 3.5 | 13.00 | Each | 0.00 | 2059.00 | 26767.00 | 2110.00 | 27430.00 | 26767.00 | AMAN TRADERS
96.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. : with common burnt local available bricks of class designation 3.5 | 1.00 | Each | 0.00 | 19668.00 | 19668.00 | 20147.00 | 20147.00 | 19668.00 | AMAN TRADERS
97.00 | Supply and installation of a Tiruchi Assault Rifle (TAR) rack with capacity to accommodate 10 TAR rifles, consisting of a single‑tier rack complete with ammunition box and special locking arrangement, fabricated from appropriate MS sections, including priming coat and two coats of synthetic enamel paint of the specified colour, all as per the specifications and to the satisfaction of the Engineer‑in‑Charge. | 5.00 | Each | 0.00 | 27549.00 | 137745.00 | 28221.00 | 141105.00 | 137745.00 | AMAN TRADERS
98.00 | Preparing & providing Structural Design and Drawings of Structural Elements (as per relevant IS codes) like RCC box culvert and any other elements for the proposed Construction of RCC box culvert for covering the existing drain at operational area of airport as per Layouts/Plans/Drawings provided by AAI after investigating the existing location. The contractor shall submit 3 sets of structural design and drawings to the Engineer-in-Charge for vetting from any government engineering college . The fee / charges for vetting shall be paid by the contractor. In case any clarification / modification in design/drawing is required during vetting or during the course of execution of work, it shall be got done by the contractor through the consultant for which nothing extra shall be paid. After vetting/approval of structural design & drawing, 3 (three) sets of good for construction drawings showing all relevant details duly signed by the consultant shall be submitted to the Engineer-in-Charge. Rate quoted by contractor shall be for complete job including structural design, drawings, vetting charges, site visits by consultant, modifications, submission of required nos. of copies of reports. Nothing extra shall be payable over and above the quoted rate. | 1.00 | JOB | 0.00 | 131202.00 | 131202.00 | 134402.00 | 134402.00 | 131202.00 | AMAN TRADERS
99.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required.(Group C) | 54.00 | Point | 0.00 | 1713.00 | 92502.00 | 1843.00 | 99522.00 | 92502.00 | AMAN TRADERS
100.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. (Group C) | 5.00 | Point | 0.00 | 1020.00 | 5100.00 | 1098.00 | 5490.00 | 5100.00 | AMAN TRADERS
101.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 107.00 | Mtr | 0.00 | 401.00 | 42907.00 | 432.00 | 46224.00 | 42907.00 | AMAN TRADERS
102.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire) | 144.00 | Mtr | 0.00 | 345.00 | 49680.00 | 371.00 | 53424.00 | 49680.00 | AMAN TRADERS
103.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (5/6 amps switch) | 16.00 | Each | 0.00 | 91.00 | 1456.00 | 98.00 | 1568.00 | 1456.00 | AMAN TRADERS
104.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (3 pin 5/6 amp socket outlet) | 16.00 | Each | 0.00 | 126.00 | 2016.00 | 135.00 | 2160.00 | 2016.00 | AMAN TRADERS
105.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (15/16 amp switch) | 20.00 | Each | 0.00 | 142.00 | 2840.00 | 153.00 | 3060.00 | 2840.00 | AMAN TRADERS
106.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (6 pin 15/16 amp socket outlet) | 20.00 | Each | 0.00 | 226.00 | 4520.00 | 243.00 | 4860.00 | 4520.00 | AMAN TRADERS
107.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. (3 Module) | 22.00 | Each | 0.00 | 379.00 | 8338.00 | 408.00 | 8976.00 | 8338.00 | AMAN TRADERS
108.00 | Supply of LED street light of maximum rated capacity of 70 watt with minimum lumen output 7700 lumens made of pressor die cast aluminum housing with polycarbonate modular secondary lens optics including all accessories like electronic gear / driver with LED as light source suitable to operate on 140-270 V, 50 Hz AC supply complete as per technical specification etc. as required. | 22.00 | Each | 0.00 | 6352.00 | 139744.00 | 6829.00 | 150238.00 | 139744.00 | AMAN TRADERS
109.00 | Supply of 20 watt Engineering plastic batten with white acrylic cover sleek design and high efficiency for wall and surface suitable for 140-270 V, 50 Hz AC supply complete as per technical specification etc. as required. | 35.00 | Each | 0.00 | 728.00 | 25480.00 | 783.00 | 27405.00 | 25480.00 | AMAN TRADERS
110.00 | Supplying and fixing of 32 mm dia X Approx 60 cm long G.I. pipe (medium class) bracket for mounting of LED street light fitting on wall / pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts bolts and washer, painting the flat iron with primer and finish paint etc. as required. | 22.00 | Each | 0.00 | 868.00 | 19096.00 | 934.00 | 20548.00 | 19096.00 | AMAN TRADERS
111.00 | Installation, testing and commissioning of pre-wired, LED batten light / street light etc of above fixtures with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on existing in False ceiling / wall / surface/ cieling as including connection as per site requirement | 57.00 | Each | 0.00 | 79.00 | 4503.00 | 85.00 | 4845.00 | 4503.00 | AMAN TRADERS
112.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way (4 + 18), Double door | 1.00 | Each | 0.00 | 4326.00 | 4326.00 | 4651.00 | 4651.00 | 4326.00 | AMAN TRADERS
113.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way, Double door | 4.00 | Each | 0.00 | 1896.00 | 7584.00 | 2039.00 | 8156.00 | 7584.00 | AMAN TRADERS
114.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 100 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. (i) 40 Amp | 1.00 | Each | 0.00 | 3252.00 | 3252.00 | 3497.00 | 3497.00 | 3252.00 | AMAN TRADERS
115.00 | Supplying and fixing Double pole 25 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 0.00 | 804.00 | 3216.00 | 865.00 | 3460.00 | 3216.00 | AMAN TRADERS
116.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (i) Single pole , 6 amps to 32 amps | 30.00 | Each | 0.00 | 555.00 | 16650.00 | 598.00 | 17940.00 | 16650.00 | AMAN TRADERS
117.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 4.00 | Each | 0.00 | 24.00 | 96.00 | 26.00 | 104.00 | 96.00 | AMAN TRADERS
118.00 | Supply of 300 mm Sweep 1400RPM heavy duty metal exhaust fan suitable for operation on single phase 230 Volt +/-10 Volt, 50 Hz, Single Phase, AC Power supply including lauvers complete as required | 2.00 | Each | 0.00 | 3075.00 | 6150.00 | 3307.00 | 6614.00 | 6150.00 | AMAN TRADERS
119.00 | Supply of 1200 mm sweep, 5 star BEE rated, energy saving ceiling fans without remote (with BLDC motor) suitable for 230 V, 50 Hz power supply with 30 cm down rod and other accessories, canopies but without regulator etc as required. | 14.00 | Each | 0.00 | 2828.00 | 39592.00 | 3041.00 | 42574.00 | 39592.00 | AMAN TRADERS
120.00 | Supply of 400 mm sweep wall mounted fan suitable for 230 volt, 50 Hz power supply with all accessories as required. | 6.00 | Each | 0.00 | 2569.00 | 15414.00 | 2762.00 | 16572.00 | 15414.00 | AMAN TRADERS
121.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover, fan box etc. as required. | 14.00 | Each | 0.00 | 594.00 | 8316.00 | 638.00 | 8932.00 | 8316.00 | AMAN TRADERS
122.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 14.00 | Each | 0.00 | 354.00 | 4956.00 | 380.00 | 5320.00 | 4956.00 | AMAN TRADERS
123.00 | Installation of exhaust fan upto 450 mm in the existing opening, including, making the hole to suit the size of fan, making good the damage, connection, testing, commissioning etc. as required. | 2.00 | Each | 0.00 | 428.00 | 856.00 | 460.00 | 920.00 | 856.00 | AMAN TRADERS
124.00 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 2.00 | Each | 0.00 | 226.00 | 452.00 | 243.00 | 486.00 | 452.00 | AMAN TRADERS
125.00 | Numbering of ceiling fan/ exhaust fan/ Light fittings as required. | 79.00 | Each | 0.00 | 52.00 | 4108.00 | 56.00 | 4424.00 | 4108.00 | AMAN TRADERS
126.00 | Supply of following size 1.1 KV grade XLPE /PVC insulated, PVC sheathed, armoured Aluminium conductor conforming to is 7098(part 1) amended upto date. 4 X 10 Sq.mm | 500.00 | Mtr | 0.00 | 298.00 | 149000.00 | 320.00 | 160000.00 | 149000.00 | AMAN TRADERS
127.00 | Supply of following size 1.1 KV grade XLPE /PVC insulated, PVC sheathed, armoured Aluminium conductor conforming to is 7098(part 1) amended upto date. 4 X 25 Sq.mm | 500.00 | Mtr | 0.00 | 417.00 | 208500.00 | 448.00 | 224000.00 | 208500.00 | AMAN TRADERS
128.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required Upto 35 sq. mm (clamped with 1mm thick saddle) | 500.00 | Mtr | 0.00 | 51.00 | 25500.00 | 55.00 | 27500.00 | 25500.00 | AMAN TRADERS
129.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 500.00 | Mtr | 0.00 | 34.00 | 17000.00 | 37.00 | 18500.00 | 17000.00 | AMAN TRADERS
130.00 | Providing & fixing of 6 SWG GI wire on surface or in the recess for loop earth. | 227.00 | Mtr | 0.00 | 65.00 | 14755.00 | 70.00 | 15890.00 | 14755.00 | AMAN TRADERS
131.00 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of XLPE/PVC installed PVC sheathed aluminum conductor electric cable of 1.1 kv grade as required. 4C x 25 sq.mm. | 4.00 | Set | 0.00 | 296.00 | 1184.00 | 318.00 | 1272.00 | 1184.00 | AMAN TRADERS
132.00 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of XLPE/PVC installed PVC sheathed aluminum conductor electric cable of 1.1 kv grade as required. 4C x 10 sq.mm. | 8.00 | Set | 0.00 | 255.00 | 2040.00 | 274.00 | 2192.00 | 2040.00 | AMAN TRADERS
133.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 2.00 | Each | 0.00 | 6256.00 | 12512.00 | 6727.00 | 13454.00 | 12512.00 | AMAN TRADERS
134.00 | Supply of 3C x 4 sq.mm size, flat PVC insulated and PVC sheathed industrial copper cable for submersible pump motors 650/1100 V grade cable as specified in particular specification and as required. | 300.00 | Mtr | 0.00 | 140.00 | 42000.00 | 150.00 | 45000.00 | 42000.00 | AMAN TRADERS
135.00 | Supply of Air Cooler (Duct Type) with following specifications as given below: Fan Size: 17 Inch & Above. Fan Speed: 1400 rpm / 3 speed. Water Tank Capacity: 100 Litres & Above. Cooling Media: ASPEN. Cooling Area: 500 Sqft & Above. Cooling Pads : On 4 Sides. | 2.00 | Each | 0.00 | 17990.00 | 35980.00 | 19343.00 | 38686.00 | 35980.00 | AMAN TRADERS
136.00 | Supply, installation, testing & commissioning of 25L, 2000W, 230V, 5 star rating vertical storage water heater (Minimum 2 years warranty) complete with all accessories as required. | 2.00 | Each | 0.00 | 10735.00 | 21470.00 | 11542.00 | 23084.00 | 21470.00 | AMAN TRADERS
137.00 | Supply of 5 HP/ 25 stage, 2850 RPM submersible pump-motor set suitable for discharge of minimum 167 LPM to 67 LPM against static Head 55 Mtr to 150 Mtr with suitable motor suitable for operation on 415 volt, 50 Hz A/C supply. Pumps and motors must be connected with alignment shafts etc. complete as required . (Make : Model CORA 7D/25 of KSB or its equivalent to approved make list). | 1.00 | Each | 0.00 | 32369.00 | 32369.00 | 34803.00 | 34803.00 | 32369.00 | AMAN TRADERS
138.00 | Supply and fixing of Fully automatic DOL starter on surface suitable up to 7.5 HP submersible pump with relay ( relay range 13A-20 A) with all accessories etc. ( Make-BCH) or equivalent to approved make.​ | 1.00 | Each | 0.00 | 7639.00 | 7639.00 | 8213.00 | 8213.00 | 7639.00 | AMAN TRADERS
139.00 | Supply of 3C X 2.5 sq.mm XLPE insulated PVC Sheathed, armoured Copper conductor cable of 650 V/ 1.1KV grade confirming to IS:7098 part-I with up to date amendments etc. as required. | 200.00 | Mtr | 0.00 | 287.00 | 57400.00 | 309.00 | 61800.00 | 57400.00 | AMAN TRADERS
140.00 | Supply & fixing of outdoor PVC loop in loop out box i/c connector, thimble, PVC gland suitable for 3C X 2.5 sq.mm armoured Copper cable complete as required. | 22.00 | Each | 0.00 | 613.00 | 13486.00 | 659.00 | 14498.00 | 13486.00 | AMAN TRADERS
141.00 | Supplying and laying of following size DWC HDPE pipe along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 50 mm dia (OD-50 mm nominal) | 500.00 | Mtr | 0.00 | 170.00 | 85000.00 | 183.00 | 91500.00 | 85000.00 | AMAN TRADERS
142.00 | Supply of 2 inch dia B class (medium class) GI pipe complete with all accessories including sockets etc. as required. | 90.00 | Mtr | 0.00 | 830.00 | 74700.00 | 892.00 | 80280.00 | 74700.00 | AMAN TRADERS
143.00 | Supply of 12 mm Nylon Tuf rope Suitable for Submersible pump set etc. complete as required. | 210.00 | Mtr | 0.00 | 18.00 | 3780.00 | 19.00 | 3990.00 | 3780.00 | AMAN TRADERS
144.00 | Supply, installation, testing and commissioning outdoor feeder pillar box of minimum size 450 X 450 X 300 mm depth, suitable for operation on 415V, 3 phase, 4 wire 50Hz AC supply system, fabricated in totally enclosed, free standing, IP-65 rated design from CRCA sheet steel of 2 mm thick for frame work and covers, 3 mm thick for gland plates, complete with 25 kA for 1 Sec rated 100 Amps current capacity Aluminium Bus-bars, hinged front & back door opening & locking arrangement, painted/powder coated with one coat of red oxide & two coats of enamel paint, suitable openings at the bottom for cable entries, earthing bolts etc. The box shall be mounted on MS angle stand to be grouted in 1:2:4 concrete of 100 X 100 X 300 mm depth, providing & laying in position cement concrete (PCC) of specified grade around the feeder panel boxes (PCC Size 1 Mtr X 1 Mtr X 0.25 Mtr) (1:2:4) (1 cement: 2 coarse sand: 4 graded stone aggregate 40mm nominal size) with Suitable HDPE pipe for cable in & out to the boxes, etc. as per technical specifications as required. FEEDER PILLAR AS ABOVE - 46.1 to 46.2 | 1.00 | Each | 0.00 | 9000.00 | 9000.00 | 9000.00 | 9000.00 | 9000.00 | AMAN TRADERS, JITENDRA KUMAR MISHRA
| Total in Figures |  |  |  |  | 19392022.89 |  | 19974005.74
Lowest Amount Quoted BY: AMAN TRADERS(19392022.89)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Quarter Guard and associated work at Jabalpur Airport Jabalpur Tender ID: 2025_AAI_251872_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AMAN TRADERS (BID ID -922495) | 19392022.89 | L1
| 2 | JITENDRA KUMAR MISHRA (BID ID -926130) | 19974005.74 | L2