## BoQ1
Government eProcurement System Created By: Raj Yadav Created Date/Time: 25-Nov-2025 05:00 PM Tender Title: Design, Supply, Installation, Testing and Commissioning of Solar power Plant at Srinagar International Airport, Srinagar. Tender ID: 2025_AAI_251985_1
Tender Inviting Authority: Sr. Manager (Engg.-Elect.), AAI, Srinagar International Airport, Srinagar
Name of Work: Design, Supply, Installation, Testing and Commissioning of Solar power Plant at Srinagar International Airport, Srinagar.
Contract No: 2025_AAI_251985_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JK Electric Engineers Pvt. Ltd. (GSTN-01AAECJ0629F1Z6) BID ID -921588 |  | MATESHWARI ENTERPRISES (GSTN-08AQUPJ7022P1Z2) BID ID -922230 |  | Grun Umwelt Energy Pvt ltd (GSTN-NA) BID ID -921592 |  | E AND C ENGINEERING & CONSULTANCY SERVICES PRIVATE LIMITED (GSTN-NA) BID ID -918596 |  | M/S SURYA SHAKTI SOLAR SOLUTIONS (GSTN-NA) BID ID -922163 |  | Sunshine Renewables (GSTN-NA) BID ID -919340 |  | NEWSOL PV POWER PRIVATE LIMITED (GSTN-NA) BID ID -918637
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head I: DSITC of Grid connected Tin Roof Top mounted Solar Photovoltaic Power Plant: Design, Supply, Installation, Testing and Commissioning of Grid connected Tin Roof Top mounted Solar Photovoltaic Power Plant conforming to MNRE specifications as amended upto date, consisting of Mono Crystalline silicon solar cells, net metering facility, necessary protections, earthing, mounted on Aluminium / GI structure of suitable strength with following components complete as required:- a) Solar Photovoltaic Module of capacity 540 W or above, manufactured in India, conforming to IS 14286/ IEC 61215, IS/ IEC 61730-Part-1, IS/ IEC 61730-Part-2. Solar Photovoltaic Module conversion efficiency shall not be less than 19%. PV modules used in solar power plants/ systems must be warranted for their output peak watt capacity, which should not be less than 90% at the end of 10 years and 80% at the end of 25 years. b) Power Conditioning Unit (PCU) of 200-850 V DC Input voltage range and 415 V AC, three phase, 4 wire, 50Hz / 60Hz, output voltage suitable to generate AC Power with efficiency not less than 97%, total harmonic distortion less than 3% and suitable for ambient temperature from -20 degree C to 55 degree C. The PCU shall adjust the voltage and frequency level to suit the Grid Voltage Frequency. Auxiliary & Control Supply System, Data Logger System (with PC & hardware for local monitoring) & web based Remote Monitoring System, Plant Solar Radiation & Environment Monitoring System etc. as per technical specifications & approved system design. c) Fixing of Array junction box & Main junction box with IP 65 protection and termination arrangement for incoming and outgoing cable along with glands, lugs and other accessories etc. as required. d) Lightning and surge voltage protection. e) Connections & Interconnections by supplying & fixing required size XLPE insulated copper conductor 1.1 kV grade armoured power and DC cables between solar modules, main power cable to grid supply to PCU unit along with supplying & fixing of necessary channel/conduit lugs and other accessories etc. as required. f) DLP 02 years. g) Carrying out Glint/Glare Analysis for safe flight operations, shadow analysis, clearance/approval from DISCOM, CEA and other statutory agencies, transportations & insurance of materials etc. and all other items/accessories/services which are required for successful commissioning of Solar Power plant complete as required and as per Special conditions of contract and technical specifications of the contract.
1.10 | Location (1): Terminal Building Power House, Approx. Available Area: 7212 Sq. Ft | 100.00 | KWP | 0.00 | 51500.00 | 5150000.00 | 42500.00 | 4250000.00 | 58000.00 | 5800000.00 | 49900.00 | 4990000.00 | 48000.00 | 4800000.00 | 44767.00 | 4476700.00 | 40000.00 | 4000000.00 | 4000000.00 | NEWSOL PV POWER PRIVATE LIMITED
1.20 | Location (2): Aashina, AAI, Residential Colony Approx. Available Area: 1200 Sq. Ft | 20.00 | KWp | 0.00 | 52500.00 | 1050000.00 | 43500.00 | 870000.00 | 50000.00 | 1000000.00 | 49900.00 | 998000.00 | 49500.00 | 990000.00 | 45108.00 | 902160.00 | 40000.00 | 800000.00 | 800000.00 | NEWSOL PV POWER PRIVATE LIMITED
1.30 | Location (3): Chinar, AAI, Residential Colony Approx. Available Area: 800 Sq. Ft | 15.00 | KWp | 0.00 | 53000.00 | 795000.00 | 44500.00 | 667500.00 | 50000.00 | 750000.00 | 49900.00 | 748500.00 | 49500.00 | 742500.00 | 45108.00 | 676620.00 | 40000.00 | 600000.00 | 600000.00 | NEWSOL PV POWER PRIVATE LIMITED
2.00 | Sub Head II-: All Inclusive Comprehensive Maintenance (AICMC) All Inclusive Comprehensive Maintenance (AICMC) of Roof top Solar plant after successfully completion period of DLP (i.e. 2 Years ) as per BOQ item no-1.1, 1.2 & 1.3 of above including trouble shooting and breakdown maintenance etc.& monthly visit by service engineer as required as per recommendation of original manufacturer (OEM), good engineering practice & instructions of Engineer- In-Charge in line with tender scope as per terms and conditions specified in tender document.(Final measurement of capacity of respective year will be done based on installed capacity with considering annual degradation of 0.5% per year)
2.10 | AICMC charges for 3rd year after DLP of 02 Years | 1.00 | Job per Year | 0.00 | 100000.00 | 77220.00 | 150000.00 | 115830.00 | 50000.00 | 38610.00 | 49999.00 | 38609.23 | 180000.00 | 138996.00 | 152250.00 | 117567.45 | 135000.00 | 104247.00 | 38609.23 | E AND C ENGINEERING & CONSULTANCY SERVICES PRIVATE LIMITED
2.20 | AICMC charges for 4th year after DLP of 02 Years | 1.00 | Job per Year | 0.00 | 100000.00 | 70840.00 | 150000.00 | 106260.00 | 50000.00 | 35420.00 | 49999.00 | 35419.29 | 180000.00 | 127512.00 | 154534.00 | 109471.89 | 136000.00 | 96342.40 | 35419.29 | E AND C ENGINEERING & CONSULTANCY SERVICES PRIVATE LIMITED
2.30 | AICMC charges for 5th year after DLP of 02 Years | 1.00 | Job per Year | 0.00 | 100000.00 | 64990.00 | 150000.00 | 97485.00 | 50000.00 | 32495.00 | 49999.00 | 32494.35 | 180000.00 | 116982.00 | 156852.00 | 101938.11 | 137000.00 | 89036.30 | 32494.35 | E AND C ENGINEERING & CONSULTANCY SERVICES PRIVATE LIMITED
2.40 | AICMC charges for 6th year after DLP of 02 Years | 1.00 | Job per Year | 0.00 | 100000.00 | 59630.00 | 150000.00 | 89445.00 | 50000.00 | 29815.00 | 49999.00 | 29814.40 | 180000.00 | 107334.00 | 159205.00 | 94933.94 | 138000.00 | 82289.40 | 29814.40 | E AND C ENGINEERING & CONSULTANCY SERVICES PRIVATE LIMITED
2.50 | AICMC charges for 7th year after DLP of 02 Years | 1.00 | Job per Year | 0.00 | 100000.00 | 54700.00 | 150000.00 | 82050.00 | 50000.00 | 27350.00 | 49999.00 | 27349.45 | 180000.00 | 98460.00 | 161593.00 | 88391.37 | 139000.00 | 76033.00 | 27349.45 | E AND C ENGINEERING & CONSULTANCY SERVICES PRIVATE LIMITED
2.60 | AICMC charges for 8th year after DLP of 02 Years | 1.00 | Job per Year | 0.00 | 100000.00 | 50190.00 | 150000.00 | 75285.00 | 50000.00 | 25095.00 | 54999.00 | 27604.00 | 180000.00 | 90342.00 | 164017.00 | 82320.13 | 140000.00 | 70266.00 | 25095.00 | Grun Umwelt Energy Pvt ltd
2.70 | AICMC charges for 9th year after DLP of 02 Years | 1.00 | Job per Year | 0.00 | 100000.00 | 46040.00 | 150000.00 | 69060.00 | 50000.00 | 23020.00 | 54999.00 | 25321.54 | 180000.00 | 82872.00 | 166477.00 | 76646.01 | 141000.00 | 64916.40 | 23020.00 | Grun Umwelt Energy Pvt ltd
2.80 | AICMC charges for 10th year after DLP of 02 Years | 1.00 | Job per Year | 0.00 | 100000.00 | 42240.00 | 150000.00 | 63360.00 | 50000.00 | 21120.00 | 59999.00 | 25343.58 | 180000.00 | 76032.00 | 168974.00 | 71374.62 | 142000.00 | 59980.80 | 21120.00 | Grun Umwelt Energy Pvt ltd
| Total in Figures |  |  |  |  | 7460850.00 |  | 6486275.00 |  | 7782925.00 |  | 6978455.84 |  | 7371030.00 |  | 6798123.52 |  | 6043111.30
Lowest Amount Quoted BY: NEWSOL PV POWER PRIVATE LIMITED(6043111.30)

## BOQ Summary
BOQ Summary Details Tender Title: Design, Supply, Installation, Testing and Commissioning of Solar power Plant at Srinagar International Airport, Srinagar. Tender ID: 2025_AAI_251985_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NEWSOL PV POWER PRIVATE LIMITED (BID ID -918637) | 6043111.30 | L1
| 2 | MATESHWARI ENTERPRISES (BID ID -922230) | 6486275.00 | L2
| 3 | Sunshine Renewables (BID ID -919340) | 6798123.52 | L3
| 4 | E AND C ENGINEERING & CONSULTANCY SERVICES PRIVATE LIMITED (BID ID -918596) | 6978455.84 | L4
| 5 | M/S SURYA SHAKTI SOLAR SOLUTIONS (BID ID -922163) | 7371030.00 | L5
| 6 | JK Electric Engineers Pvt. Ltd. (BID ID -921588) | 7460850.00 | L6
| 7 | Grun Umwelt Energy Pvt ltd (BID ID -921592) | 7782925.00 | L7