## BoQ1
Government eProcurement System Created By: Amitabh Ranjan Created Date/Time: 08-Dec-2025 04:41 PM Tender Title: Provision of Gas based Fire suppression system to unmanned site of CNS at SGRDJI Airport, Amritsar Tender ID: 2025_AAI_252151_1
Tender Inviting Authority: <AGM Engg (Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <Provision of Gas based Fire suppression system to unmanned site of CNS at SGRDJI Airport, Amritsar.>
Contract No: <AAI/ASR/ENGG-ELECT/eNIT-08/2025-26>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SVS Buildwel Pvt Ltd (GSTN-07AALCS7473H1ZU) BID ID -920458 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -923283 |  | advent electric technologies pvt. ltd. (GSTN-07AAJCA2055K1ZN) BID ID -923317 |  | Vasu Infosec Pvt Ltd (GSTN-27AABCV6080D1ZE) BID ID -923661 |  | Kalpataru Industries (GSTN-NA) BID ID -923584
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of Automatic Gaseous Fire Suppression System
1.10 | Supply including ITC of 34 litre capacity, seamless, high pressure, cylinder assembly, conforming to IS - 7285 (PT-2): 2004 or UL - 2166 etc. complete as required including valve, bracket assembly, pressure guage etc. complete as required. | 13.00 | Each |  | 68290.00 | 887770.00 | 69120.00 | 898560.00 | 111545.00 | 1450085.00 | 84016.00 | 1092208.00 | 103370.00 | 1343810.00 | 887770.00 | SVS Buildwel Pvt Ltd
2.00 | Supply including ITC of 80 litre capacity, seamless, high pressure, cylinder assembly, conforming to IS - 7285 (PT-2): 2004 or UL - 2166 etc. complete as required including valve, bracket assembly, pressure guage and etc. complete as required. | 3.00 | Each |  | 83480.00 | 250440.00 | 89390.00 | 268170.00 | 154569.50 | 463708.50 | 102660.00 | 307980.00 | 118320.00 | 354960.00 | 250440.00 | SVS Buildwel Pvt Ltd
3.00 | Supply including ITC of 120 litre capacity, seamless, high pressure, cylinder assembly, conforming to IS - 7285 (PT-2): 2004 or UL - 2166 etc. complete as required including valve, bracket assembly, pressure guage etc. complete as required. | 3.00 | Each |  | 98425.00 | 295275.00 | 120680.00 | 362040.00 | 159350.00 | 478050.00 | 112100.00 | 336300.00 | 129420.00 | 388260.00 | 295275.00 | SVS Buildwel Pvt Ltd
4.00 | Supply & filling of clean, odourless, colour less, UL listed and suitable for fire class - A, B & C fire suppression agent (FK-5-1-12 fire suppresion fluid) etc. complete as required. (Gas shall be UL Listed and Chromatography Report is required). | 895.00 | Kg |  | 1650.00 | 1476750.00 | 1300.00 | 1163500.00 | 1991.00 | 1781945.00 | 1652.00 | 1478540.00 | 2150.00 | 1924250.00 | 1163500.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
5.00 | Supply of 24 V DC, Electric Actuator and Local /manual pneumatic actuator for triggering the cylinder assembly etc. complete as required. a. Electric Control Head, 24 V DC b. Discharge Hose, 2" x 31"/1.5'' x 31'' c. Warning Sign - FK-5-1-12 | 17.00 | Each |  | 32115.00 | 545955.00 | 35860.00 | 609620.00 | 28683.00 | 487611.00 | 39046.20 | 663785.40 | 48900.00 | 831300.00 | 487611.00 | advent electric technologies pvt. ltd.
6.00 | Supply of Mid Slave Kit etc complete as required. (for Mid-slave Cylinder) a. Pressure Operated Control Head b. Actuation Hose, 30" c. Male Branch Tee, 5/16" Flare x 1/8"NPT d. Discharge Hose, 2" x 31" | 1.00 | Each |  | 19080.00 | 19080.00 | 30702.00 | 30702.00 | 14341.50 | 14341.50 | 27836.20 | 27836.20 | 28900.00 | 28900.00 | 14341.50 | advent electric technologies pvt. ltd.
7.00 | Supply of Slave Kit etc complete as required. (for Slave Cylinder) a. Pressure Operated Control Head b. Actuation Hose, 30" c. Discharge Hose, 2" x 31" d. Master Cylinder Adaptor Kit e. Male Elbow, 5/16' Flare x 1/8" NPT | 1.00 | Each |  | 22080.00 | 22080.00 | 27460.00 | 27460.00 | 14341.50 | 14341.50 | 27836.20 | 27836.20 | 34400.00 | 34400.00 | 14341.50 | advent electric technologies pvt. ltd.
8.00 | Supply of check valve etc complete as required. | 3.00 | Each |  | 16790.00 | 50370.00 | 10350.00 | 31050.00 | 11473.20 | 34419.60 | 9440.00 | 28320.00 | 19350.00 | 58050.00 | 28320.00 | Vasu Infosec Pvt Ltd
9.00 | Supply of Manifold for Cylinder etc complete as required. | 1.00 | Each |  | 19500.00 | 19500.00 | 10000.00 | 10000.00 | 9561.00 | 9561.00 | 17700.00 | 17700.00 | 61375.00 | 61375.00 | 9561.00 | advent electric technologies pvt. ltd.
10.00 | Supply of Low pressure switch for the cylinder assembly etc. complete as required. | 19.00 | Each |  | 12198.00 | 231762.00 | 10.00 | 190.00 | 7967.00 | 151373.00 | 9204.00 | 174876.00 | 10900.00 | 207100.00 | 190.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
11.00 | Supply of pressure switch for pipeline assembly etc. complete as required. | 17.00 | Each |  | 4528.00 | 76976.00 | 8704.00 | 147968.00 | 12748.00 | 216716.00 | 10030.00 | 170510.00 | 16900.00 | 287300.00 | 76976.00 | SVS Buildwel Pvt Ltd
12.00 | Supply of Manual Gas Release Station etc. complete as required. | 17.00 | Each |  | 6500.00 | 110500.00 | 3660.00 | 62220.00 | 1274.00 | 21658.00 | 4071.00 | 69207.00 | 4850.00 | 82450.00 | 21658.00 | advent electric technologies pvt. ltd.
13.00 | Supplying of Manual Gas Abort Station etc. complete as required. | 17.00 | Each |  | 6500.00 | 110500.00 | 3660.00 | 62220.00 | 1274.00 | 21658.00 | 4071.00 | 69207.00 | 4750.00 | 80750.00 | 21658.00 | advent electric technologies pvt. ltd.
14.00 | Supply of suitable size (as per hydraulic flow calculation) nozzle with orfices discharge nozzles designed to provide the proper flow and distribution of gas to flood hazard area at - 360 degrees etc. complete as required. | 33.00 | Each |  | 12790.00 | 422070.00 | 4500.00 | 148500.00 | 4780.00 | 157740.00 | 2773.00 | 91509.00 | 8150.00 | 268950.00 | 91509.00 | Vasu Infosec Pvt Ltd
15.00 | Supply of Hooter cum strobe for pre-alarming having min 80DB sound type for FK 5-1-12 System complete as per tender specification and as per site requirment. | 17.00 | Each |  | 1431.00 | 24327.00 | 1420.00 | 24140.00 | 1274.00 | 21658.00 | 4071.00 | 69207.00 | 2900.00 | 49300.00 | 21658.00 | advent electric technologies pvt. ltd.
16.00 | Supply of Hooter cum strobe confirming to UL/LPCB/EN-54. | 17.00 | Each |  | 1431.00 | 24327.00 | 3450.00 | 58650.00 | 1274.00 | 21658.00 | 4071.00 | 69207.00 | 4600.00 | 78200.00 | 21658.00 | advent electric technologies pvt. ltd.
17.00 | Supply of MS pipe (M.S. Seamless To ASTM A-106, SCH. 40) red painted with all fittings & supports, etc. on surface/ recess/ above false ceiling/ concealed space/ wall concealed complete as required as per site requirement. (Note: Lot comprises of required length of suitable size MS pipe and associated pipe accessories like Bend, Tee, Elbow & Coupling etc. for each location) (Puff test in the scoper of agency and no extra payment will be paid in this regard) | 17.00 | Job |  | 65000.00 | 1105000.00 | 7760.00 | 131920.00 | 31870.00 | 541790.00 | 59590.00 | 1013030.00 | 56375.00 | 958375.00 | 131920.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
17.10 | GAS RELEASE PANEL CUM FIRE DETECTION
18.00 | Supply of Gas release panel (02 zone for detection with a suppression zone) with built in time relay, auto/manual selector switch, housed in a suitable 16 SWG M.S. Sheet panel for succesful auto operation of FK 5-1-12 System during fire condition. ) Audio / Visual indications by dual lamps LED's for fire and fault in each zone with lamp test facility. The control panel shall be provided with standby power supply of 2 x 12 volts, 7 AH sealed maintenance free batteries complete with circuit wiring etc., as per IS : 2189 & uptodate Amendment and have Provision for testing each circuit separately including resetting complete as per tender specification and as per site requirment i/c Fright Charges from Manufaturer factory to Site location. UL/EN/Vds | 17.00 | Each |  | 65000.00 | 1105000.00 | 21000.00 | 357000.00 | 28683.00 | 487611.00 | 35400.00 | 601800.00 | 45650.00 | 776050.00 | 357000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
19.00 | Supplying of conventional multisensor type smoke detector, conforming to UL/LPCB/FMI/EN-54, with all accessories viz : indicator, base, base box etc. to be installed on ceiling / false ceiling /False Flooring etc. complete as per site requirment. | 52.00 | Each |  | 2210.00 | 114920.00 | 930.00 | 48360.00 | 2230.00 | 115960.00 | 1604.80 | 83449.60 | 2700.00 | 140400.00 | 48360.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
20.00 | Supply of Response Indicator for all detectors located above false ceiling with GI Junction box, screws, cable end terminations, lugs, ferruls, other hardwares etc. complete as per technical specifications. | 16.00 | Each |  | 90.00 | 1440.00 | 90.00 | 1440.00 | 318.06 | 5088.96 | 336.30 | 5380.80 | 235.00 | 3760.00 | 1440.00 | SVS Buildwel Pvt Ltd, PYROGUARD ENGINEERS PRIVATE LIMITED
21.00 | Supply and laying of PVC insulated, PVC sheathed, FRLS armored copper conductor of cable as per IS 1554- Part- I of size 2x1.5 sq. mm complete as per site requirment. | 3500.00 | Mtr |  | 198.00 | 693000.00 | 105.00 | 367500.00 | 223.06 | 780710.00 | 138.06 | 483210.00 | 210.00 | 735000.00 | 367500.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 7587042.00 |  | 4811210.00 |  | 7277684.06 |  | 6881099.20 |  | 8692940.00
Lowest Amount Quoted BY: PYROGUARD ENGINEERS PRIVATE LIMITED(4811210.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Gas based Fire suppression system to unmanned site of CNS at SGRDJI Airport, Amritsar Tender ID: 2025_AAI_252151_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -923283) | 4811210.00 | L1
| 2 | Vasu Infosec Pvt Ltd (BID ID -923661) | 6881099.20 | L2
| 3 | advent electric technologies pvt. ltd. (BID ID -923317) | 7277684.06 | L3
| 4 | SVS Buildwel Pvt Ltd (BID ID -920458) | 7587042.00 | L4
| 5 | Kalpataru Industries (BID ID -923584) | 8692940.00 | L5