## BoQ1
Government eProcurement System Created By: Sumit Gupta Created Date/Time: 11-Dec-2025 12:59 PM Tender Title: Miscellaneous Electrical works at Datia Airport. Tender ID: 2025_AAI_252501_1
Tender Inviting Authority: SM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Miscellaneous Electrical works at Datia Airport.
Contract No: AAI/DATIA/ENGG(E)/NIT-01/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BOSE ENGINEERING AND MARKETING COMPANY (GSTN-19AHMPB0264G1ZJ) BID ID -924041 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -924184 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -924187 |  | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -924190
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing and Commissioning of FAA compliant, indoor type Micro- processor based Constant Current Regulator(CCR) suitable for remote as well as local control operations with 5 position brightness control (6.6A maximum current corresponding to 100% brightness) on input voltage 230/415 V, 50 Hz., AC supply, provision for control supply with all switchgears, CCR protections, connection/ inter-connections etc. and confirming to tenders technical specifications complete as required. a) 4 KW, 6. 6A output current. | 3.00 | Each |  | 250000.00 | 750000.00 | 265000.00 | 795000.00 | 230000.00 | 690000.00 | 235500.00 | 706500.00 | 690000.00 | surbhi association
2.00 | Supply of single core x 6 sq. mm sizes 5 KV grade PVC insulated & PVC sheathed, antitermite & anti- rodent, multi- stranded copper conductor single core airfield lighting cable confirming to IS 1554 (Part II) with up to date amendments complete as required. | 5000.00 | Meter |  | 120.00 | 600000.00 | 175.00 | 875000.00 | 112.00 | 560000.00 | 118.00 | 590000.00 | 560000.00 | surbhi association
3.00 | Supply of 4 core x 25 Sqmm. XLPE insulated PVC sheathed armoured aluminium conductor cable of 1.1 KV Grade confirming to IS:7098 (Part 1) with upto date amendment etc. complete as required. | 285.00 | Meter |  | 280.00 | 79800.00 | 290.00 | 82650.00 | 218.00 | 62130.00 | 240.00 | 68400.00 | 62130.00 | surbhi association
4.00 | Supply of 3 core x 16 Sqmm. XLPE insulated PVC sheathed armoured aluminium conductor cable of 1.1 KV Grade confirming to IS:7098 (Part 1) with upto date amendment etc. complete as required. | 480.00 | Meter |  | 168.00 | 80640.00 | 185.00 | 88800.00 | 131.00 | 62880.00 | 135.00 | 64800.00 | 62880.00 | surbhi association
5.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 5480.00 | Meter |  | 300.00 | 1644000.00 | 190.00 | 1041200.00 | 130.00 | 712400.00 | 170.00 | 931600.00 | 712400.00 | surbhi association
6.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 5 KV grade of 6 sqmm size in the existing RCC/GV/ DWC HUME/ METAL pipe etc. as required. | 5000.00 | Meter |  | 30.00 | 150000.00 | 10.00 | 50000.00 | 20.00 | 100000.00 | 20.00 | 100000.00 | 50000.00 | Manish Electricals
7.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 5200.00 | Meter |  | 30.00 | 156000.00 | 25.00 | 130000.00 | 21.00 | 109200.00 | 20.00 | 104000.00 | 104000.00 | Techno Electricals
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Up to 35 sqmm | 460.00 | Meter |  | 40.00 | 18400.00 | 10.00 | 4600.00 | 20.00 | 9200.00 | 25.00 | 11500.00 | 4600.00 | Manish Electricals
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Up to 35 sqmm | 140.00 | Meter |  | 40.00 | 5600.00 | 10.00 | 1400.00 | 20.00 | 2800.00 | 25.00 | 3500.00 | 1400.00 | Manish Electricals
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Up to 35 sqmm | 210.00 | Meter |  | 100.00 | 21000.00 | 10.00 | 2100.00 | 20.00 | 4200.00 | 25.00 | 5250.00 | 2100.00 | Manish Electricals
11.00 | Supply of 5 KV grade plug and receptacle ,suitable for field attachment with 5 KV grade PVC insulated, PVC sheathed single core 6 sq. mm copper conductor AGL cable complete etc. as required. | 30.00 | Each |  | 600.00 | 18000.00 | 480.00 | 14400.00 | 500.00 | 15000.00 | 580.00 | 17400.00 | 14400.00 | Manish Electricals
12.00 | Making connections of 5 KV grade, 6 Sq. mm Copper conductor AFL cables with plug and receptacle connector i/c crimping & fixing, applying HT tape complete as required. | 30.00 | Each |  | 600.00 | 18000.00 | 100.00 | 3000.00 | 100.00 | 3000.00 | 175.00 | 5250.00 | 3000.00 | Manish Electricals, surbhi association
13.00 | SITC of Mini Remote Control Desk having provision for control of PAPI both side landing T and windsock and 1 CCR spare i/c MIMIC display etc. complete as required. | 1.00 | Each |  | 140000.00 | 140000.00 | 135000.00 | 135000.00 | 90000.00 | 90000.00 | 100000.00 | 100000.00 | 90000.00 | surbhi association
14.00 | Supply and fixing of 24 core X 1.5 Sq. mm Copper conductor armoured 1.1 KV grade XLPE insulated PVC Sheathed control cable as per IS 7098 Part-1 1988 as amended upto date as per site requirement. | 50.00 | Meter |  | 760.00 | 38000.00 | 1100.00 | 55000.00 | 600.00 | 30000.00 | 850.00 | 42500.00 | 30000.00 | surbhi association
15.00 | Supply, Erection and termination CRCA sheet 3mm powder coated control cable end termination junction box to be mounted on wall 300mm X 200 mm X 500mm | 1.00 | Nos. |  | 4000.00 | 4000.00 | 2000.00 | 2000.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 2000.00 | Manish Electricals
16.00 | Earthing with G. I. pipe 4.5 m long x 40 mm dia. (Drilling of 300 mm dia, 4.5 Mtr deep by using Borewell machine) including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. including charcoal or coke and salt complete as required. | 6.00 | Set |  | 7000.00 | 42000.00 | 6000.00 | 36000.00 | 7000.00 | 42000.00 | 7100.00 | 42600.00 | 36000.00 | Manish Electricals
17.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 30.00 | Meter |  | 150.00 | 4500.00 | 600.00 | 18000.00 | 450.00 | 13500.00 | 700.00 | 21000.00 | 4500.00 | BOSE ENGINEERING AND MARKETING COMPANY
18.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections complete etc. as required. | 30.00 | Meter |  | 150.00 | 4500.00 | 300.00 | 9000.00 | 150.00 | 4500.00 | 350.00 | 10500.00 | 4500.00 | BOSE ENGINEERING AND MARKETING COMPANY, surbhi association
19.00 | Supplying and fixing following DB- Phase Segregated DB 12 Way Double Door 8 Incomer 4+4+4 Sub Incomer 12+12+12 Outgoing, of steel sheet for 415 volts on surface/ recess complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FR PVC insulated copper conductor up to terminal blocks, tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, powder painted, IP54 including earthing etc. as required.(But without MCB/ RCCB/ Isolator) | 5.00 | Each |  | 12000.00 | 60000.00 | 2800.00 | 14000.00 | 14500.00 | 72500.00 | 3500.00 | 17500.00 | 14000.00 | Manish Electricals
20.00 | Supplying and fixing distribution board of 12way double door SP, steel sheet for 230 volts on surface/ recess complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FR PVC insulated copper conductor up to terminal blocks, including earthing etc. as required.(But without MCB/ RCCB/ Isolator) | 9.00 | Each |  | 1800.00 | 16200.00 | 1900.00 | 17100.00 | 2000.00 | 18000.00 | 3500.00 | 31500.00 | 16200.00 | BOSE ENGINEERING AND MARKETING COMPANY
21.00 | Supplying and fixing 63 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A TPN MCB | 5.00 | Each |  | 1800.00 | 9000.00 | 1500.00 | 7500.00 | 1700.00 | 8500.00 | 2150.00 | 10750.00 | 7500.00 | Manish Electricals
22.00 | Supplying and fixing 32 amps rating, 240/415 volts, "C" curve, Double Pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 10.00 | Each |  | 700.00 | 7000.00 | 550.00 | 5500.00 | 550.00 | 5500.00 | 540.00 | 5400.00 | 5400.00 | Techno Electricals
23.00 | Supplying and fixing following rating, two pole, 230 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 25 A | 25.00 | Each |  | 1800.00 | 45000.00 | 4000.00 | 100000.00 | 1900.00 | 47500.00 | 3000.00 | 75000.00 | 45000.00 | BOSE ENGINEERING AND MARKETING COMPANY
24.00 | Supplying and fixing 6 amps rating, 240volts,10kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 108.00 | Each |  | 250.00 | 27000.00 | 250.00 | 27000.00 | 140.00 | 15120.00 | 225.00 | 24300.00 | 15120.00 | surbhi association
25.00 | Supplying and fixing 16 amps rating, 240volts,10kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 66.00 | Each |  | 250.00 | 16500.00 | 150.00 | 9900.00 | 140.00 | 9240.00 | 280.00 | 18480.00 | 9240.00 | surbhi association
26.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 114.00 | Point |  | 900.00 | 102600.00 | 950.00 | 108300.00 | 850.00 | 96900.00 | 700.00 | 79800.00 | 79800.00 | Techno Electricals
27.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 410.00 | Meter |  | 140.00 | 57400.00 | 270.00 | 110700.00 | 220.00 | 90200.00 | 350.00 | 143500.00 | 57400.00 | BOSE ENGINEERING AND MARKETING COMPANY
28.00 | Wiring for circuit/ sub main wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 580.00 | Meter |  | 120.00 | 69600.00 | 210.00 | 121800.00 | 190.00 | 110200.00 | 280.00 | 162400.00 | 69600.00 | BOSE ENGINEERING AND MARKETING COMPANY
29.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 1 no. 5 pin 5/6 A & 1 no. twin 6/16 A modular socket outlet and 1 no. 5/6 A & 1 no. 15/16 A modular switch, connections etc. as required. | 17.00 | Each |  | 200.00 | 3400.00 | 250.00 | 4250.00 | 750.00 | 12750.00 | 500.00 | 8500.00 | 3400.00 | BOSE ENGINEERING AND MARKETING COMPANY
30.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 2 no. 5 pin 5/6 A modular socket outlet and 2 no. 5/6 A modular switch, connections etc. as required. | 15.00 | Each |  | 250.00 | 3750.00 | 250.00 | 3750.00 | 550.00 | 8250.00 | 240.00 | 3600.00 | 3600.00 | Techno Electricals
31.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 1 no. twin 6/16 A modular socket outlet and 1 no. 15/16 A modular switch, connections etc. as required. | 11.00 | Each |  | 350.00 | 3850.00 | 300.00 | 3300.00 | 450.00 | 4950.00 | 280.00 | 3080.00 | 3080.00 | Techno Electricals
32.00 | Supply of energy efficient 5 star rated BLDC ceiling fan, 1200 mm sweep remote operated suitable for operation on 240V, 50Hz A.C. supply with down rod canopies etc. complete as required. (Maximum power consumption - 28W) | 12.00 | Each |  | 3500.00 | 42000.00 | 2500.00 | 30000.00 | 2280.00 | 27360.00 | 3100.00 | 37200.00 | 27360.00 | surbhi association
33.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 14.00 | Each |  | 300.00 | 4200.00 | 250.00 | 3500.00 | 60.00 | 840.00 | 130.00 | 1820.00 | 840.00 | surbhi association
34.00 | Supply of energy efficient wall fan Hiflo Wave Plus 60W KD White Wall Fan Sweep: 400 mm suitable for operation on 240V, 50Hz A.C, complete as required. (Maximum power consumption - 60W) | 14.00 | Each |  | 5000.00 | 70000.00 | 2900.00 | 40600.00 | 1920.00 | 26880.00 | 3100.00 | 43400.00 | 26880.00 | surbhi association
35.00 | Installation, testing and commissioning of wall mount fan, including wiring with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. complete as required. | 16.00 | Each |  | 200.00 | 3200.00 | 325.00 | 5200.00 | 60.00 | 960.00 | 200.00 | 3200.00 | 960.00 | surbhi association
36.00 | Supply of 230 mm sweep metallic exhaust fan suitable for operation on 240V, 50Hz A.C. supply, 1400 rpm with all accessories including louvers, shutters etc. complete as required. | 7.00 | Each |  | 3500.00 | 24500.00 | 1500.00 | 10500.00 | 1500.00 | 10500.00 | 2300.00 | 16100.00 | 10500.00 | Manish Electricals, surbhi association
37.00 | Installation of exhaust fan of size 230 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 7.00 | Each |  | 900.00 | 6300.00 | 800.00 | 5600.00 | 100.00 | 700.00 | 450.00 | 3150.00 | 700.00 | surbhi association
38.00 | Supply of minimum 15 Watt recessed mounting LED downlight with minimum output 1500 lumens suitable for 140-270 V, AC, 50 HZ, PF>0.95, luminaire should have extruded aluminium / CRCA / Extended alloy housing. Luminaire should have proper thermal management, Min IP protection should be IP 20. Total power consumption of fitting (including driver loss) should not more than 110 % of rated capacity of LED Light fitting, complete with all accessories as required. | 56.00 | Each |  | 1001.00 | 56056.00 | 700.00 | 39200.00 | 850.00 | 47600.00 | 490.00 | 27440.00 | 27440.00 | Techno Electricals
39.00 | Supply of minimum 30 W LED recessed 2ft X 2ft luminaire with minimum output 3000 lumens suitable for 140-270 V, AC, 50 HZ, PF>0.95, luminaire should have extruded aluminium / CRCA / Extended alloy housing. Luminaire should have proper thermal management, Min IP protection should be IP 20. Total power consumption of fitting (including driver loss) should not more than 110 % of rated capacity of LED Light fitting, complete with all accessories as required. | 22.00 | Each |  | 1900.00 | 41800.00 | 1025.00 | 22550.00 | 1550.00 | 34100.00 | 1350.00 | 29700.00 | 22550.00 | Manish Electricals
40.00 | Supply of minimun 40 W LED street light fitting with minimum output of 4400 lumens suitable for 140-270 V, AC, 50 HZ, PF>0.95, luminaire should have High pressure die cast Aluminium /Standard alloy housing. Luminaire should have Air vents in housing for proper thermal management, Min IP protection should be IP 65. Total power consumption of fitting (including driver loss) should not more than 110 % of rated capacity of LED Light fitting, complete with all accessories as required. | 30.00 | Each |  | 2000.00 | 60000.00 | 1050.00 | 31500.00 | 1650.00 | 49500.00 | 1500.00 | 45000.00 | 31500.00 | Manish Electricals
41.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent / LED Fittings of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 95.00 | Each |  | 150.00 | 14250.00 | 210.00 | 19950.00 | 120.00 | 11400.00 | 190.00 | 18050.00 | 11400.00 | surbhi association
42.00 | Supply, Installation, Testing & Commissioning of 2 Ton (5 Star) Inverter Split Air conditioning unit fitted with rotary compressor alongwith indoor/outdoor units, gas R-410A or eco-friendly gas suitable to operate on 230V +/- 10%, 50 Hz, single phase AC power supply capable of performing the function as Dehumidification, air circulating and filtering complete with compressor, evaporators, air cooled copper condenser connected refrigerant piping (upto 10 feet) electrical wiring including MS stand suitable for outdoor unit with all accessories complete etc as required. | 6.00 | Each |  | 70000.00 | 420000.00 | 48000.00 | 288000.00 | 49500.00 | 297000.00 | 60000.00 | 360000.00 | 288000.00 | Manish Electricals
43.00 | Supply, Installation, Testing & Commissioning of 1.5 Ton (5 Star) Inverter Split Air conditioning unit fitted with rotary compressor alongwith indoor/outdoor units, gas R-410A or eco-friendly gas suitable to operate on 230V +/- 10%, 50 Hz, single phase AC power supply capable of performing the function as Dehumidification, air circulating and filtering complete with compressor, evaporators, air cooled copper condenser connected refrigerant piping (upto 10 feet) electrical wiring including MS stand suitable for outdoor unit with all accessories complete etc as required. | 5.00 | Each |  | 48000.00 | 240000.00 | 39000.00 | 195000.00 | 38500.00 | 192500.00 | 45000.00 | 225000.00 | 192500.00 | surbhi association
44.00 | SITC of Floor Standing RO Purifier Chiller & Dispenser having RO + UF + TDS Control with minimum Flow Rate 30L/hr and storage 20L Tank complete as required | 3.00 | Each |  | 40000.00 | 120000.00 | 24000.00 | 72000.00 | 55000.00 | 165000.00 | 26000.00 | 78000.00 | 72000.00 | Manish Electricals
45.00 | SITC of 1.5kVA stand-alone solar power system having 3no. 530Wp monocrystalline solar panel,1no. 24V 1.5kVA solar inverter with MPPT feature, 2no. 150Ah solar tubular batteries, complete with DCDB box, earthing, Lightning arrestor installation and module mounting structure and associated all cabling complete etc. as required. Preferred make-TATA POWER or equivalent. | 4.00 | Each |  | 220000.00 | 880000.00 | 190000.00 | 760000.00 | 105000.00 | 420000.00 | 250000.00 | 1000000.00 | 420000.00 | surbhi association
46.00 | Supply of 3 core x 4 Sqmm. XLPE insulated PVC sheathed armoured copper conductor cable of 1.1 KV Grade confirming to IS:7098 (Part 1) with upto date amendment etc. complete as required. | 60.00 | Meter |  | 303.00 | 18180.00 | 210.00 | 12600.00 | 260.00 | 15600.00 | 200.00 | 12000.00 | 12000.00 | Techno Electricals
47.00 | Supply, Installation, Testing and Commissioning of following 5 H.P. 3 Phase 100 mm water cooled Borewell Submersible pump set- with associate accessories. | 1.00 | Each |  | 43800.00 | 43800.00 | 27000.00 | 27000.00 | 30000.00 | 30000.00 | 36000.00 | 36000.00 | 27000.00 | Manish Electricals
48.00 | Supply, Installation, Testing and Commissioning of following 5 H.P. 3 Phase 6-10A DOL water cooled Borewell Submersible Pump Starter with associate accessories. | 1.00 | Each |  | 9900.00 | 9900.00 | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 6800.00 | 6800.00 | 3000.00 | surbhi association
49.00 | Supply, Installation, Testing and Commissioning of following sizes of CI butterfly valve conforming to API-594 with C.I. body, SS Disc, SS stem, EPDM seal, complete with companion flanges, bolts, nuts, washers & inserted rubber gasket complete as required
49.01 | 150 mm dia. | 2.00 | Each |  | 11000.00 | 22000.00 | 11000.00 | 22000.00 | 5760.00 | 11520.00 | 16000.00 | 32000.00 | 11520.00 | surbhi association
49.02 | 100 mm dia. | 2.00 | Each |  | 9000.00 | 18000.00 | 9000.00 | 18000.00 | 4350.00 | 8700.00 | 15000.00 | 30000.00 | 8700.00 | surbhi association
49.03 | 80 mm dia. | 2.00 | Each |  | 6500.00 | 13000.00 | 7000.00 | 14000.00 | 2900.00 | 5800.00 | 14000.00 | 28000.00 | 5800.00 | surbhi association
50.00 | Supply, Installation, Testing and Commissioning of following sizes of C- class heavy duty Mild Steel pipes conforming to IS-1239/ IS-3589, including cutting, welding, nut-bolts, gasket, fitting viz. bends, tees, reducers, crosses, flanges etc. and fixing the pipes on wall / ceiling / beam / floor with suitable MS clamps / structural supports/PCC block and painting complete as required and as per enclosed specification.
50.01 | 150 mm dia. | 18.00 | Meter |  | 1800.00 | 32400.00 | 1350.00 | 24300.00 | 2150.00 | 38700.00 | 1500.00 | 27000.00 | 24300.00 | Manish Electricals
50.02 | 100 mm dia. | 12.00 | Meter |  | 1500.00 | 18000.00 | 985.00 | 11820.00 | 1350.00 | 16200.00 | 1100.00 | 13200.00 | 11820.00 | Manish Electricals
50.03 | 80 mm dia. | 12.00 | Meter |  | 1200.00 | 14400.00 | 825.00 | 9900.00 | 950.00 | 11400.00 | 950.00 | 11400.00 | 9900.00 | Manish Electricals
51.00 | Supply, Installation, Testing and Commissioning of MS structural support for Above ground piping and pump room manifold | 1000.00 | Kg |  | 140.00 | 140000.00 | 105.00 | 105000.00 | 95.00 | 95000.00 | 130.00 | 130000.00 | 95000.00 | surbhi association
52.00 | Supply of fracture bed designed to provide firm, even support for patients with fractures. Bed to be made of mild steel with a powder-coated finish having features for allowing for changes in height and position and includes wheels for easy mobility within the hospital setting | 1.00 | Each |  | 8000.00 | 8000.00 | 25000.00 | 25000.00 | 36000.00 | 36000.00 | 40000.00 | 40000.00 | 8000.00 | BOSE ENGINEERING AND MARKETING COMPANY
53.00 | Supply of healthcare semi fowler bed made of mild steel with a powder-coated finish having feature to bend bed from mid. | 3.00 | Each |  | 35000.00 | 105000.00 | 8500.00 | 25500.00 | 12500.00 | 37500.00 | 28000.00 | 84000.00 | 25500.00 | Manish Electricals
54.00 | Supply of suitable semi fowler 2 section mattress for healthcare bed with minimum 4inch thickness. The mattress to have non hygroscopic outer cover which is easy to clean such as artificial leather cover. | 4.00 | Each |  | 14000.00 | 56000.00 | 3900.00 | 15600.00 | 2500.00 | 10000.00 | 20000.00 | 80000.00 | 10000.00 | surbhi association
| Total in Figures |  |  |  |  | 6676726.00 |  | 5714570.00 |  | 4618680.00 |  | 5830070.00
Lowest Amount Quoted BY: surbhi association(4618680.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Electrical works at Datia Airport. Tender ID: 2025_AAI_252501_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association (BID ID -924187) | 4618680.00 | L1
| 2 | Manish Electricals (BID ID -924184) | 5714570.00 | L2
| 3 | Techno Electricals (BID ID -924190) | 5830070.00 | L3
| 4 | BOSE ENGINEERING AND MARKETING COMPANY (BID ID -924041) | 6676726.00 | L4