## BoQ1
Government eProcurement System Created By: Suman Biswas Created Date/Time: 12-Dec-2025 05:57 PM Tender Title: AAI/ER/KOL/EE/NIT-11/2025 -26 Tender ID: 2025_AAI_252573_1
Tender Inviting Authority: Airports Authority of India, RHQ-ER
Name of Work: Providing electrical connection, light fittings and accessories etc for Room No 111, IMD Director's room and IMD Briefing Room at Ground Floor of ATS Building, NSCBI Airport, Kolkata
Tender ID: 2025_AAI_252573_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -924766 |  | ANIRBAN ENTERPRISE (GSTN-19AHNPB5949D1Z6) BID ID -930152 |  | EASTERN POWER ENGINEERING (GSTN-18AGUPD0421A2ZX) BID ID -930232
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
1.10 | 3 x 1.5 sq. mm | 130.00 | Mtr. |  | 160.00 | 20800.00 | 160.00 | 20800.00 | 110.00 | 14300.00 | 14300.00 | EASTERN POWER ENGINEERING
1.20 | 3 x 2.5 sq. mm | 100.00 | Mtr. |  | 250.00 | 25000.00 | 250.00 | 25000.00 | 158.00 | 15800.00 | 15800.00 | EASTERN POWER ENGINEERING
1.30 | 3 x 4 sq. mm | 75.00 | Mtr. |  | 240.00 | 18000.00 | 250.00 | 18750.00 | 250.00 | 18750.00 | 18000.00 | Youngmen Traders
2.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
2.10 | 20 mm | 84.00 | Mtr. |  | 125.00 | 10500.00 | 110.00 | 9240.00 | 90.00 | 7560.00 | 7560.00 | EASTERN POWER ENGINEERING
2.20 | 25 mm | 48.00 | Mtr. |  | 135.00 | 6480.00 | 130.00 | 6240.00 | 55.00 | 2640.00 | 2640.00 | EASTERN POWER ENGINEERING
2.30 | 32 mm | 18.00 | Mtr. |  | 140.00 | 2520.00 | 130.00 | 2340.00 | 25.00 | 450.00 | 450.00 | EASTERN POWER ENGINEERING
3.00 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required.
3.10 | 75 mm X 75 mm X 60 mm deep | 5.00 | Each |  | 250.00 | 1250.00 | 230.00 | 1150.00 | 260.00 | 1300.00 | 1150.00 | ANIRBAN ENTERPRISE
3.20 | 150 mm X 150 mm X 60 mm deep | 10.00 | Each |  | 390.00 | 3900.00 | 370.00 | 3700.00 | 450.00 | 4500.00 | 3700.00 | ANIRBAN ENTERPRISE
4.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
4.10 | 5/6 A switch | 46.00 | Each |  | 140.00 | 6440.00 | 130.00 | 5980.00 | 150.00 | 6900.00 | 5980.00 | ANIRBAN ENTERPRISE
4.20 | 15/16 A switch | 8.00 | Each |  | 190.00 | 1520.00 | 170.00 | 1360.00 | 205.00 | 1640.00 | 1360.00 | ANIRBAN ENTERPRISE
4.30 | 3 pin 5/6 A socket outlet | 38.00 | Each |  | 160.00 | 6080.00 | 150.00 | 5700.00 | 185.00 | 7030.00 | 5700.00 | ANIRBAN ENTERPRISE
4.40 | 6 pin 15/16 A socket outlet | 8.00 | Each |  | 180.00 | 1440.00 | 170.00 | 1360.00 | 262.00 | 2096.00 | 1360.00 | ANIRBAN ENTERPRISE
5.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required.
5.10 | 3 Module (100mmX75mm) | 4.00 | Each |  | 330.00 | 1320.00 | 310.00 | 1240.00 | 415.00 | 1660.00 | 1240.00 | ANIRBAN ENTERPRISE
5.20 | 6 Module (200mmX75mm) | 4.00 | Each |  | 450.00 | 1800.00 | 420.00 | 1680.00 | 493.00 | 1972.00 | 1680.00 | ANIRBAN ENTERPRISE
5.30 | 8 Module (125mmX125mm) | 2.00 | Each |  | 490.00 | 980.00 | 470.00 | 940.00 | 530.00 | 1060.00 | 940.00 | ANIRBAN ENTERPRISE
5.40 | 12 Module (200mmX150mm) | 8.00 | Each |  | 565.00 | 4520.00 | 550.00 | 4400.00 | 675.00 | 5400.00 | 4400.00 | ANIRBAN ENTERPRISE
6.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
6.10 | 8 way (4 + 24), Double door | 1.00 | Each |  | 10000.00 | 10000.00 | 13000.00 | 13000.00 | 8500.00 | 8500.00 | 8500.00 | EASTERN POWER ENGINEERING
7.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
7.10 | Single pole | 18.00 | Each |  | 185.00 | 3330.00 | 170.00 | 3060.00 | 450.00 | 8100.00 | 3060.00 | ANIRBAN ENTERPRISE
8.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
8.10 | 63 A | 1.00 | Each |  | 700.00 | 700.00 | 685.00 | 685.00 | 1500.00 | 1500.00 | 685.00 | ANIRBAN ENTERPRISE
9.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 850.00 | 1700.00 | 840.00 | 1680.00 | 2500.00 | 5000.00 | 1680.00 | ANIRBAN ENTERPRISE
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
10.10 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 50.00 | Mtr. |  | 70.00 | 3500.00 | 60.00 | 3000.00 | 95.00 | 4750.00 | 3000.00 | ANIRBAN ENTERPRISE
11.00 | SITC of 2ft X 2ft surface/recess mounted LED light fitting suitable for mounting into false ceiling | 32.00 | Each |  | 2500.00 | 80000.00 | 2300.00 | 73600.00 | 3035.00 | 97120.00 | 73600.00 | ANIRBAN ENTERPRISE
12.00 | SITC of wall mounted fan as per site requirement | 4.00 | Each |  | 2500.00 | 10000.00 | 2300.00 | 9200.00 | 3180.00 | 12720.00 | 9200.00 | ANIRBAN ENTERPRISE
13.00 | Supply of 4 Core X 16 Sqmm unarmoured Aluminum core 1.1 kV grade LT power cable | 50.00 | Mtr. |  | 190.00 | 9500.00 | 250.00 | 12500.00 | 350.00 | 17500.00 | 9500.00 | Youngmen Traders
| Total in Figures |  |  |  |  | 231280.00 |  | 226605.00 |  | 248248.00
Lowest Amount Quoted BY: ANIRBAN ENTERPRISE(226605.00)

## BOQ Summary
BOQ Summary Details Tender Title: AAI/ER/KOL/EE/NIT-11/2025 -26 Tender ID: 2025_AAI_252573_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANIRBAN ENTERPRISE (BID ID -930152) | 226605.00 | L1
| 2 | Youngmen Traders (BID ID -924766) | 231280.00 | L2
| 3 | EASTERN POWER ENGINEERING (BID ID -930232) | 248248.00 | L3