## BoQ1
Government eProcurement System Created By: Amitabh Ranjan Created Date/Time: 24-Nov-2025 03:47 PM Tender Title: SITC of Ceiling fan, Water cooler, RO etc. for CISF at SGRDJI Airport, Amritsar Tender ID: 2025_AAI_252799_1
Tender Inviting Authority: <AGM Engg (Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <SITC of Ceiling fan, Water cooler, RO etc. for CISF at SGRDJI Airport, Amritsar.>
Contract No: <AAI/ASR/ENGG-ELECT/eNIT-09/2025-26>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ECS ENGINEERING PVT LTD (GSTN-09AABCE5944P1Z1) BID ID -923688 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -924756 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -924788 |  | Goyal Electric Works (GSTN-NA) BID ID -919872
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1200mm, service value ≥ 6.0 CM/Min/Watt, air delivery 210 CM/Min (Minimum), BEE 5 Star rated ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. metal ( Aluminum alloy) blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, steel/Al body Power Factor not less than 0.9, Service Value (CM/M/W) minimum as below, 350 RPM (tolerance as per IS : 374-2019), THD (Total Harmonic Distortion) less than 10%, suitable for operation with regulator for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Ceiling Fan compliant to IS 374:2019 fan Supply, earthing etc. complete as required. | 227.00 | Each |  | 2368.00 | 537536.00 | 2900.00 | 658300.00 | 2050.00 | 465350.00 | 3150.00 | 715050.00 | 465350.00 | Awasthi Electric Works
2.00 | SITC of Floor Mounted self contained, storage type drinking water cooler suitable for operation on 230 V, 50 Hz AC supply confirming to IS 1475/78 with amendment and having nominal cooling capacities of 150 Litre / Hour at ambient temperature of 35 C complete with hermitically sealed compressors of reputed brand, thermostat, fan motor, PUF insulated water storage tank of capacity - 150 Litre made of SS 304, stainless steel body (SS-304) including providing suitable size duly painted MS stand etc. and it shall meet technical specifications enclosed with tender complete as required. | 11.00 | Each |  | 68000.00 | 748000.00 | 57000.00 | 627000.00 | 69500.00 | 764500.00 | 75000.00 | 825000.00 | 627000.00 | Manish Electricals
3.00 | SITC of industrial type 50 LPH capacity Reverse Osmosis (RO) system having 50 LPH flow rate with multigrade sand / sediment filter set, activated carbon filter set, antisclant dosing system, micron filters, high pressure pump, UV sytem etc. complete with all attachments and accessories assembled, pre-piped, pre-wired and housed in a well-designed cabin modeled mild steel epoxy painted or PU coated / stainless steel skid i/c making inlet outlet connections with comprehensive warranty period (Defect Liability Period) of 01 year (including all consumables) and periodical services adhering to technical specifications, all terms and conditions of the tender document complete as required. | 11.00 | Each |  | 43500.00 | 478500.00 | 36000.00 | 396000.00 | 47800.00 | 525800.00 | 30000.00 | 330000.00 | 330000.00 | Goyal Electric Works
4.00 | Supply of Pedestal fan of 500 mm sweep, (1400-1800) RPM, Heavy duty operating on 230 V AC, 50 HZ power supply, body type - Metal, complete as required. | 30.00 | Each |  | 3052.00 | 91560.00 | 8000.00 | 240000.00 | 2800.00 | 84000.00 | 3820.00 | 114600.00 | 84000.00 | Awasthi Electric Works
5.00 | Supply of 300 mm sweep 900 RPM (nominal), Heavy Duty Exhaust fan suitable for 230V 50Hz single phase AC supply complete with all accessories including louvers, shutter etc complete as required. | 40.00 | Each |  | 1950.00 | 78000.00 | 5000.00 | 200000.00 | 2400.00 | 96000.00 | 3400.00 | 136000.00 | 78000.00 | ECS ENGINEERING PVT LTD
6.00 | Supply of 600 mm sweep 900 RPM (nominal), Heavy Duty Exhaust fan suitable for 230V 50Hz single phase AC supply complete with all accessories including louvers, shutter etc complete as required. | 3.00 | Each |  | 4315.00 | 12945.00 | 13500.00 | 40500.00 | 7600.00 | 22800.00 | 8500.00 | 25500.00 | 12945.00 | ECS ENGINEERING PVT LTD
7.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 43.00 | Each |  | 1200.00 | 51600.00 | 150.00 | 6450.00 | 500.00 | 21500.00 | 430.00 | 18490.00 | 6450.00 | Manish Electricals
8.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable etc. as required. | 227.00 | Each |  | 200.00 | 45400.00 | 150.00 | 34050.00 | 150.00 | 34050.00 | 175.00 | 39725.00 | 34050.00 | Manish Electricals, Awasthi Electric Works
9.00 | Dismantling of ceiling/ exhaust fan and handing over to electrical store of AAI complete as required as per site conditions. | 267.00 | Each |  | 100.00 | 26700.00 | 100.00 | 26700.00 | 100.00 | 26700.00 | 90.00 | 24030.00 | 24030.00 | Goyal Electric Works
10.00 | Supply of LED batten of 20 Watt suitable to operate on 230 V AC, 50 HZ power supply complete as required. | 94.00 | Each |  | 150.00 | 14100.00 | 162.00 | 15228.00 | 325.00 | 30550.00 | 260.00 | 24440.00 | 14100.00 | ECS ENGINEERING PVT LTD
11.00 | Installation, testing and commissioning of wall mounted LED batten directly on ceiling/ wall, including connections with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 94.00 | Each |  | 100.00 | 9400.00 | 150.00 | 14100.00 | 100.00 | 9400.00 | 90.00 | 8460.00 | 8460.00 | Goyal Electric Works
12.00 | Supplying and fixing two module stepped type BLDC fan Regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 227.00 | Each |  | 175.00 | 39725.00 | 250.00 | 56750.00 | 375.00 | 85125.00 | 350.00 | 79450.00 | 39725.00 | ECS ENGINEERING PVT LTD
13.00 | Supply of 2000 watts room blower heater with 3/4 setting suitable to operate on 230±10%V, 50Hz at Amritsar Airport. | 35.00 | Each |  | 2052.00 | 71820.00 | 3500.00 | 122500.00 | 1975.00 | 69125.00 | 3000.00 | 105000.00 | 69125.00 | Awasthi Electric Works
14.00 | Supply of CRCA type 25 liter storage capacity Water Geyser suitable to operate on 230±10%V, 50Hz at Amritsar Airport. | 12.00 | Each |  | 6850.00 | 82200.00 | 12000.00 | 144000.00 | 5150.00 | 61800.00 | 6400.00 | 76800.00 | 61800.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 2287486.00 |  | 2581578.00 |  | 2296700.00 |  | 2522545.00
Lowest Amount Quoted BY: ECS ENGINEERING PVT LTD(2287486.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Ceiling fan, Water cooler, RO etc. for CISF at SGRDJI Airport, Amritsar Tender ID: 2025_AAI_252799_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ECS ENGINEERING PVT LTD (BID ID -923688) | 2287486.00 | L1
| 2 | Awasthi Electric Works (BID ID -924788) | 2296700.00 | L2
| 3 | Goyal Electric Works (BID ID -919872) | 2522545.00 | L3
| 4 | Manish Electricals (BID ID -924756) | 2581578.00 | L4