## BoQ1
Government eProcurement System Created By: MEHBUB AHMED Created Date/Time: 14-Nov-2025 12:48 PM Tender Title: Design, Supply, Installation, Testing and Commissioning of 9KW ON GRID Connection roof Top Solar Plant at Tezpur Airport Inclusive Operation and Comprehensive Maintenance Contract for 7 years Tender ID: 2025_AAI_252985_1
Tender Inviting Authority: M (E-E), AAI Tezpur Airport.
Name of Work: Design, Supply, Installation, Testing & Commissioning of 9KW ON GRID Connection roof Top Solar Plant (DSITC) at Tezpur Airport Inclusive Operation and Comprehensive Maintenance Contract (AICMC) for 7 years.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RENERGY SOLUTIONS PRIVATE LIMITED (GSTN-NA) BID ID -922480
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I - Design, Supply, Installation, Testing & Commissioning (DSITC) Roof Top Solar Plant Design, Detailed Engineering, Supply, Installation, Testing and Commissioning of Grid Connected Solar PV Power Generation Plant of 9 KWp capacity with structure made up of aesthetically appealing hot dip GaIvanised GI steel structure of min. 85 micron with PV modules of minimum 540Wp, Mono PERC half cut, Minimum Efficiency: 20.90%, suitable for 1500 VDC, fixed in anodized aluminium frame complete as required including elevated structural support systems, foundation for all components after proper RCC Structure investigation/treatment as per site conditions, proper Communication, Data, Control, Power Cables & Safety System for reverse power protection, min. IP65 rated DC DB/JB for connection of modules to inverters through DC copper cables of suitable capacity laid in heavy duty CPVC/UPVC /HDPE pipes, Power Conditioning Units, String Monitoring Units, Meters, Surge & Lightning Protection System (as per NBC 2016), Earthing of modules & structures, Water cleaning system with proper drainage, LT/HT evacuation & injection at suitable injection point as per site conditions through cables, switchgears of suitable capacity for minimal voltage drop/losses, End terminations including modification of existing LT Panel (if required) (cable laying should be in HDPE pipes of suitable size as per site conditions, MNRE guidlines & revelent IEC 62548 & IEC 61215 ,62804), Auxiliary & Control Supply System, Data Acquisition system (complete desktop system with Hardware, Software, Switchgear, Cabling, Air Conditioning of room etc.) for local & remote monitoring, communication & control cabling alongwith providing Fire Extinguishers of required numbers & capacity, LED type Lighting for general illumination in the roof top shed i/c wiring / cabling, MCBs, DBs, Switchs etc, Plant Solar Radiation & Environment Monitoring System, Shadow Analysis, Glare Analysis for safe flight operations, Clearance from DISCOM/APDCL and approvals from other Statuatory Agencies, Transportation & Insurance of material etc. and any other items/accessories/clearances/services required for successful commissioning of power plant on "Turnkey basis" complete in all respects as per the technical specifications, terms & conditions specified in the tender document and handing over the Solar PV Power Generation System to AAI. The complete system shall be under Defect Liability Period (DLP) of 02 years. Location: AAI Tezpur Airport, Assam. | 1.00 | Job | 100.00 | 700000.00 | 700000.00 | 700000.00 | RENERGY SOLUTIONS PRIVATE LIMITED
2.10 | SH:II - All Inclusive Comprehensive Maintenance Contract (AICMC) All inclusive Comprehensive Maintenance for 07 years (After defect liability period of two years) of above installed complete ongrid 09 KWp Rooftop Solar Photo voltaic Power Plant including all associated systems/acessories complete taken as part of SITC in item no. 1 of various makes to ensure serviceability and unintrupted smooth operation alongwith providing & replacement of faulty components, all types of repairing works, attending breakdown along with supply of required spares, consumables, cleaning, including providing manpower for maintenan including monthly visit of qualified workmen of Agency for preventive maintenenece complete in all respect as per OEM stadard practice as required or as per the directions of EIC. For first Year | 1.00 | per annum | 100.00 | 20000.00 | 20000.00 | 20000.00 | RENERGY SOLUTIONS PRIVATE LIMITED
2.20 | For Second Year | 1.00 | per annum | 10.00 | 20000.00 | 20000.00 | 20000.00 | RENERGY SOLUTIONS PRIVATE LIMITED
2.30 | For Third Year | 1.00 | per annum | 10.00 | 20000.00 | 20000.00 | 20000.00 | RENERGY SOLUTIONS PRIVATE LIMITED
2.40 | For Fourth Year | 1.00 | per annum | 10.00 | 20000.00 | 20000.00 | 20000.00 | RENERGY SOLUTIONS PRIVATE LIMITED
2.50 | For Fifth Year | 1.00 | per annum | 10.00 | 20000.00 | 20000.00 | 20000.00 | RENERGY SOLUTIONS PRIVATE LIMITED
2.60 | For Sixth Year | 1.00 | per annum | 10.00 | 20000.00 | 20000.00 | 20000.00 | RENERGY SOLUTIONS PRIVATE LIMITED
2.70 | For Seventh Year | 1.00 | per annum | 10.00 | 20000.00 | 20000.00 | 20000.00 | RENERGY SOLUTIONS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 840000.00
Lowest Amount Quoted BY: RENERGY SOLUTIONS PRIVATE LIMITED(840000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Design, Supply, Installation, Testing and Commissioning of 9KW ON GRID Connection roof Top Solar Plant at Tezpur Airport Inclusive Operation and Comprehensive Maintenance Contract for 7 years Tender ID: 2025_AAI_252985_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RENERGY SOLUTIONS PRIVATE LIMITED (BID ID -922480) | 840000.00 | L1