## BoQ1
Government eProcurement System Created By: KONERU HARSHAVARDHAN Created Date/Time: 12-Dec-2025 05:55 PM Tender Title: Miscellaneous works FY 2025 2026 Part II at Chennai Airport Tender ID: 2025_AAI_253199_1
Tender Inviting Authority: SM(E-E)
Name of Work:Modernization of Chennai Airport Phase-II, Chennai.SH:Miscellaneous Electrical works FY-2025-2026 (Part-II) at Chennai Airport.
Contract No: 2025_AAI_253199_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -929623 |  | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -929767
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Execution of works as per CPWD Delhi Schedule of rates (E&M)-2025 as and when required for One year.(Rate shall be quoted in the Indian rupees only), payment of DSR item will be released on the basis of percentage calculation of quoted amount and fixed amount of Rs.50,00,000.00 as clarified below.For example if desired to quote 5% above on DSR (E&M) 2025 rates, the rate column shall be filled as Rs. 52,50,000.00.If desired to quote 5% below on DSR (E&M) 2025 rates, the rate column shall be filled as Rs. 47,50,000.00 | 1.00 | Job |  | 5250000.00 | 5250000.00 | 3500000.00 | 3500000.00 | 3500000.00 | Balaji Engineering
2.01 | Supply of 3½ core × 150 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:2010 Part 1 with upto date amendments. As direction of Engineering In charge. | 500.00 | Mtrs |  | 749.00 | 374500.00 | 900.00 | 450000.00 | 374500.00 | CHENNAI ENGINEERING SERVICES
2.02 | Supply of 3½ core × 95 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:2010 Part 1 with upto date amendments. As direction of Engineering In charge. | 1000.00 | Mtrs |  | 509.00 | 509000.00 | 750.00 | 750000.00 | 509000.00 | CHENNAI ENGINEERING SERVICES
2.03 | Supply of 3½ core × 50 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:2010 Part 1 with upto date amendments. As direction of Engineering In charge. | 1000.00 | Mtrs |  | 329.00 | 329000.00 | 600.00 | 600000.00 | 329000.00 | CHENNAI ENGINEERING SERVICES
2.04 | Supply of 3½ core × 25 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:2010 Part 1 with upto date amendments. As direction of Engineering In charge. | 500.00 | Mtrs |  | 199.00 | 99500.00 | 250.00 | 125000.00 | 99500.00 | CHENNAI ENGINEERING SERVICES
2.05 | Supply of 4 core × 16 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:2010 Part 1 with upto date amendments. As direction of Engineering In charge. | 500.00 | Mtrs |  | 149.00 | 74500.00 | 225.00 | 112500.00 | 74500.00 | CHENNAI ENGINEERING SERVICES
2.06 | Supply of 4 core x 10 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS : 694 : 2010 with upto date amendments. As direction of Engineering In charge. | 500.00 | Mtrs |  | 529.00 | 264500.00 | 1000.00 | 500000.00 | 264500.00 | CHENNAI ENGINEERING SERVICES
2.07 | Supply of 4 core x 6 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS : 694 : 2010 with upto date amendments. As direction of Engineering In charge. | 500.00 | Mtrs |  | 299.00 | 149500.00 | 1500.00 | 750000.00 | 149500.00 | CHENNAI ENGINEERING SERVICES
2.08 | Supply of 4 core x 4 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS 694 : 1990 with upto date amendments. As direction of Engineering In charge. | 500.00 | Mtrs |  | 209.00 | 104500.00 | 600.00 | 300000.00 | 104500.00 | CHENNAI ENGINEERING SERVICES
2.09 | Supply of 3 core x 4 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS 694 : 1990 with upto date amendments. As direction of Engineering In charge. | 500.00 | Mtrs |  | 159.00 | 79500.00 | 350.00 | 175000.00 | 79500.00 | CHENNAI ENGINEERING SERVICES
2.10 | Supply of 3 core x 2.5 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS 694 : 2010 with upto date amendments. As direction of Engineering In charge. | 500.00 | Mtrs |  | 109.00 | 54500.00 | 200.00 | 100000.00 | 54500.00 | CHENNAI ENGINEERING SERVICES
2.11 | Supply of Single core, 95 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS 694 : 2010 with upto date amendments. As direction of Engineering In charge. | 500.00 | Mtrs |  | 1149.00 | 574500.00 | 1000.00 | 500000.00 | 500000.00 | Balaji Engineering
3.01 | Supplying and fixing of 32 x 12 mm heavy duty PVC casing and capping along with accessoires in surface including cutting the wall and making good the same in case of recessed conduit as required and as per direction of engineering in charge. As direction of Engineering in charge. | 500.00 | Mtrs |  | 49.00 | 24500.00 | 50.00 | 25000.00 | 24500.00 | CHENNAI ENGINEERING SERVICES
3.02 | Supplying and fixing of 50 x 20 mm. heavy duty PVC casing and capping along with accessoires in surface including cutting the wall and making good the same in case of recessed conduit as required and as per direction of engineering in charge. As direction of Engineering in charge. | 500.00 | Mtrs |  | 99.00 | 49500.00 | 50.00 | 25000.00 | 25000.00 | Balaji Engineering
4.00 | Supplying and fixing 6 module, PVC box alongwith modular base & cover plate for modular switches in recess etc. as required. As direction of Engineering in charge. | 1000.00 | Nos |  | 229.00 | 229000.00 | 200.00 | 200000.00 | 200000.00 | Balaji Engineering
5.00 | Dismantling of Existing 2 x 36 Watts / 1 x 36 watts Fixtures with all accessories etc as required. As direction of Engineering in charge. | 100.00 | Nos |  | 199.00 | 19900.00 | 10.00 | 1000.00 | 1000.00 | Balaji Engineering
6.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. As direction of Engineering in charge. Upto 450 mm sweep | 5.00 | Each |  | 2999.00 | 14995.00 | 250.00 | 1250.00 | 1250.00 | Balaji Engineering
7.00 | Dismantling of Existing 12" Exhaust Fan including the damage, connection, testing, commissioning etc. as required. As direction of Engineering in charge. | 3.00 | Each |  | 499.00 | 1497.00 | 20.00 | 60.00 | 60.00 | Balaji Engineering
8.01 | Supply of 1 row 12 module size IP-65 Distribution boxes with DIN channel and metric knock outs for cable entry - with PE+ N terminals .Make - Hensel -kV9112 M OR Legrand | 10.00 | Nos |  | 8939.00 | 89390.00 | 5500.00 | 55000.00 | 55000.00 | Balaji Engineering
8.02 | Supply of 1 row 18 modules IP-65 Distribution boxes with DIN channel and metric knock outs for cable entry, with PE+ N terminals .Make - Hensel -KV9118 M OR Legrand | 10.00 | Nos |  | 11319.00 | 113190.00 | 7500.00 | 75000.00 | 75000.00 | Balaji Engineering
9.01 | Supplying and fixing of following ways pre-wired per phase isolation TP&N , 415 V, MCB distribution board of sheet steel, on surface or recess complete with losse wire box, cable tray adaptor box, terminal connectors for all incoming and outgoing circuits duly pre-wired with suitable size FRLS PVC insulated copper conductor upto terminal blocks,100A,tinned copper busbar,neutral link,earth bar,din bar,detachable gland plate,inter connections,powder painted including earthing etc suitable for 8 module incomer , 2 module RCCB& SPMCB as outgoing as required (but without MCB/RCCB) 4 way (8+6+12)Double door | 10.00 | Nos |  | 14999.00 | 149990.00 | 7500.00 | 75000.00 | 75000.00 | Balaji Engineering
9.02 | Supplying and fixing of following ways pre-wired per phase isolation TP&N , 415 V, MCB distribution board of sheet steel, on surface or recess complete with losse wire box, cable tray adaptor box, terminal connectors for all incoming and outgoing circuits duly pre-wired with suitable size FRLS PVC insulated copper conductor upto terminal blocks,100A,tinned copper busbar,neutral link,earth bar,din bar,detachable gland plate,inter connections,powder painted including earthing etc suitable for 8 module incomer , 2 module RCCB& SPMCB as outgoing as required (but without MCB/RCCB) 8 way (8+6+24) Double door | 10.00 | Nos |  | 24999.00 | 249990.00 | 9000.00 | 90000.00 | 90000.00 | Balaji Engineering
9.03 | Supplying and fixing of following ways pre-wired per phase isolation TP&N , 415 V, MCB distribution board of sheet steel, on surface or recess complete with losse wire box, cable tray adaptor box, terminal connectors for all incoming and outgoing circuits duly pre-wired with suitable size FRLS PVC insulated copper conductor upto terminal blocks,100A,tinned copper busbar,neutral link,earth bar,din bar,detachable gland plate,inter connections,powder painted including earthing etc suitable for 8 module incomer , 2 module RCCB& SPMCB as outgoing as required (but without MCB/RCCB) 12 way (8+6+36) Double door | 10.00 | Nos |  | 29999.00 | 299990.00 | 12500.00 | 125000.00 | 125000.00 | Balaji Engineering
10.10 | Supplying and fixing following rating, 415 V, 10 kA, "C" curve, 4 pole miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 Amps | 10.00 | Nos |  | 1999.00 | 19990.00 | 1500.00 | 15000.00 | 15000.00 | Balaji Engineering
10.20 | Supplying and fixing following rating, 415 V, 10 kA, "C" curve, 4 pole miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 Amps | 10.00 | Nos |  | 2499.00 | 24990.00 | 1500.00 | 15000.00 | 15000.00 | Balaji Engineering
10.30 | Supplying and fixing following rating, 415 V, 10 kA, "C" curve, 4 pole miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. 100 Amps | 5.00 | Nos |  | 12499.00 | 62495.00 | 1500.00 | 7500.00 | 7500.00 | Balaji Engineering
11.00 | Supply of 12" (300 mm sweep) heavy duty exhaust fan running at 1400 RPM operated in 230V, 50 Hz AC supply as required as per direction of Engineer In charge. | 3.00 | Nos |  | 6499.00 | 19497.00 | 3500.00 | 10500.00 | 10500.00 | Balaji Engineering
12.01 | Supply of Recess mounted LED Luminaire with system wattage not less than 36 W and system lumen 3600lm-3800lm, of size 595mmx595mmx65mm. The luminaire efficiency shall be >100lm. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintennance. CRI should be greater than 80, housing should be CRCA Sheet of thickness of 0.5-0.6 mm thick. The diffuser shll be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor >0.9 of the inout voltage tolerance shall be 140-270 volt AC complete in all recpect including LED and other accessories etc as required. (Havells Make Model No: VENUSNEOTW2X2PLR42WLEDTWMOD) or equivalent. | 30.00 | Nos |  | 1319.00 | 39570.00 | 1500.00 | 45000.00 | 39570.00 | CHENNAI ENGINEERING SERVICES
12.02 | Supply of Ceiling / Wall mounted Batten type (T5) LED Tubelight fixtures with lamp wattage not less than 20 W, Housing & cover made up of CRCA sheet steel. Cover is fixed to the housing by means of 2 nos. bolt with engineering plastic head with Epoxy powder coated white after phosphochromate complete in all recpect and other accessories etc as required. (Havells make Model No: LUMILINESMART20WLED865PCWH) or equivalent. | 30.00 | Nos |  | 359.00 | 10770.00 | 500.00 | 15000.00 | 10770.00 | CHENNAI ENGINEERING SERVICES
12.03 | Supply of flood light of following watts LED IP 66 luminaire made of Die-cast aluminium housing (heat sink) for efficient thermal management, sturdiness & corrosion resistant of size of 309mm x 346mm x 60mm having tolerance +5 mm. The luminaire shall be able to deliver a system lumen of >7000 lumens. The CCT shall be 5700K, operating temperature -10° C to +45° C, operating voltage 140 V-300 V, Lumen efficacy of LED >130 lm/W and viewing angle of 120°. The electronic Powered by an integral, isolated electronic LED driver (SMPS based constant current supply) with lower THD, Output Open / Short Circuit protection, Over Voltage protection, Surge Voltage Protection & other safety test as per IS 15885 Part-2/Sec 13. The luminaire shall be complete in all respect including led tube and other accessories etc as required. (70-80)w | 20.00 | Nos |  | 3299.00 | 65980.00 | 6000.00 | 120000.00 | 65980.00 | CHENNAI ENGINEERING SERVICES
12.04 | Supply of flood light of following watts LED IP 66 luminaire made of Die-cast aluminium housing (heat sink) for efficient thermal management, sturdiness & corrosion resistant of size of 309mm x 346mm x 60mm having tolerance +5 mm. The luminaire shall be able to deliver a system lumen of >7000 lumens. The CCT shall be 5700K, operating temperature -10° C to +45° C, operating voltage 140 V-300 V, Lumen efficacy of LED >130 lm/W and viewing angle of 120°. The electronic Powered by an integral, isolated electronic LED driver (SMPS based constant current supply) with lower THD, Output Open / Short Circuit protection, Over Voltage protection, Surge Voltage Protection & other safety test as per IS 15885 Part-2/Sec 13. The luminaire shall be complete in all respect including led tube and other accessories etc as required. Not less than 100w | 30.00 | Nos |  | 4599.00 | 137970.00 | 8500.00 | 255000.00 | 137970.00 | CHENNAI ENGINEERING SERVICES
12.05 | Supply of flood light of following watts LED IP 66 luminaire made of Die-cast aluminium housing (heat sink) for efficient thermal management, sturdiness & corrosion resistant of size of 309mm x 346mm x 60mm having tolerance +5 mm. The luminaire shall be able to deliver a system lumen of >7000 lumens. The CCT shall be 5700K, operating temperature -10° C to +45° C, operating voltage 140 V-300 V, Lumen efficacy of LED >130 lm/W and viewing angle of 120°. The electronic Powered by an integral, isolated electronic LED driver (SMPS based constant current supply) with lower THD, Output Open / Short Circuit protection, Over Voltage protection, Surge Voltage Protection & other safety test as per IS 15885 Part-2/Sec 13. The luminaire shall be complete in all respect including led tube and other accessories etc as required. Not less than 150w | 30.00 | Nos |  | 5699.00 | 170970.00 | 10000.00 | 300000.00 | 170970.00 | CHENNAI ENGINEERING SERVICES
13.00 | Supply and fixing of Earth Electrodes, 17.2mm dia. exothermic welded copper bonded rod 17.2mm dia, 3 mtr. long with terminal size 32x10mm with 50 Kgs. Of backfil earth enhancing compound. Base metal shall be IS marked branded MS Rod and providng masonry enclosure with cover plate including all other accessories. (Chemical Earthing) | 6.00 | Each |  | 14999.00 | 89994.00 | 20000.00 | 120000.00 | 89994.00 | CHENNAI ENGINEERING SERVICES
14.01 | Providing the following machinaries with operator on requirement basis for carryout the work as required as per direction of Engineering in charge. Excavator (JCB) | 250.00 | Hrs |  | 1499.00 | 374750.00 | 1500.00 | 375000.00 | 374750.00 | CHENNAI ENGINEERING SERVICES
14.02 | Providing the following machinaries with operator on requirement basis for carryout the work as required as per direction of Engineering in charge. Crane capacity of handling 12 Tons | 250.00 | Hrs |  | 1499.00 | 374750.00 | 1000.00 | 250000.00 | 250000.00 | Balaji Engineering
15.01 | Dismantling of existing metallic pole of following length in cement concrete foundation including excavation and refilling etc. as required. Above 4.5 metre and upto 6.5 metre | 5.00 | Each |  | 5999.00 | 29995.00 | 500.00 | 2500.00 | 2500.00 | Balaji Engineering
15.02 | Dismantling of existing metallic pole of following length in cement concrete foundation including excavation and refilling etc. as required. Above 8.0 metre and upto 11.0 metre | 5.00 | Each |  | 9999.00 | 49995.00 | 500.00 | 2500.00 | 2500.00 | Balaji Engineering
16.00 | Providing and Fixing of Precast RCC earth pit alongwith G.I. cover plate 600 mm X 600 mm X 6 mm thick for Protection of Earthing pit etc. as required. | 20.00 | Job |  | 14999.00 | 299980.00 | 1000.00 | 20000.00 | 20000.00 | Balaji Engineering
17.00 | Supply and fixing of emergency panic alarm system operating at 230 volt, 50 Hz and with all necessary switches - 2 nos,sockets- 2 nos, Gang box- 2nos, 2x1.5 sqmm cable for power accessories like clamps, tags etc., and opening and closing of false ceiling and providing of temporary power if necessary fordisabled persons toilets. | 30.00 | Nos |  | 7999.00 | 239970.00 | 1500.00 | 45000.00 | 45000.00 | Balaji Engineering
18.00 | Dismantling, Reinstallation, Testing and Commissioning of existing Highmast tower including dismantling of Existing fixture, lateral carriage and others accessories etc as required. | 1.00 | Job |  | 199999.00 | 199999.00 | 20.00 | 20.00 | 20.00 | Balaji Engineering
19.00 | Providing and fixing of heavy duty 3 channel rubber cable protector 800mm l x 300mm b x 50mm height | 20.00 | Nos |  | 9999.00 | 199980.00 | 1000.00 | 20000.00 | 20000.00 | Balaji Engineering
20.00 | Supply, Installation, Testing & commissioning of outdoor type, double door, street light service / Sub feeder pillar, fabricated out of 3.15 mm steel sheet duly powder coated, dust and Vermin proof with one no. 100A Incomer MCCB 25KA, bus bar as required, 32A FP MCB 10KA- 5 Nos , Astro type digital timer- 1 No., 100A 3P power contactor,daylight sensor, Timer, Voltmeter, Ameter, CT, Indication lamps, danger notice plate etc as required including connection of cables i/c supply and installation of brick foundation with plaster for the feeder pillar as required etc | 2.00 | Set |  | 99999.00 | 199998.00 | 1000.00 | 2000.00 | 2000.00 | Balaji Engineering
21.01 | Providing services of 2 No. Site Engineer having minimum qualifications with minimum three year diploma course in Electrical/Electronics or B.E/B.Tech with minimu two year experience for handling electrical engg.Works as per satisfication of Enginner-in-charge. | 12.00 | Months |  | 119999.00 | 1439988.00 | 45000.00 | 540000.00 | 540000.00 | Balaji Engineering
21.02 | Providing Services 2 No.Experienced Data Entry Operator (HighlySkilled) for carrying out office jobs,typing,having complete knowledge on working MS Office and various other works as per direction and satisfaction of Engineer-in-charge. | 12.00 | Months |  | 40000.00 | 480000.00 | 45000.00 | 540000.00 | 480000.00 | CHENNAI ENGINEERING SERVICES
21.03 | Providing following Manpower as specified in the detailed technical specifications,special terms and conditions including the required T&P , minor consumble items etc. in general shift including sundays and holidays as per instruction of Engineer-in-charge. Electrician | 12.00 | Months |  | 37999.00 | 455988.00 | 35000.00 | 420000.00 | 420000.00 | Balaji Engineering
21.04 | Providing following Manpower as specified in the detailed technical specifications,special terms and conditions including the required T&P , minor consumble items etc. in general shift including sundays and holidays as per instruction of Engineer-in-charge. Helper | 12.00 | Months |  | 34999.00 | 419988.00 | 35000.00 | 420000.00 | 419988.00 | CHENNAI ENGINEERING SERVICES
22.00 | Supply, installation, testing and commissioning of ceiling occupancy sensor / movement detector, 230V AC, PIR based, 360° coverage, adjustable lux & time delay, suitable for automatic lighting control, complete as required and as per direction of Engineer-in-Charge. | 12.00 | Nos |  | 9999.00 | 119988.00 | 3500.00 | 42000.00 | 42000.00 | Balaji Engineering
23.01 | Supply of ISI marked (IS:2878) Fire Extinguisher, Carbon-di-oxide type capacity 4.5 Kg. Flat base including valve, discharge hose of not less than 10 mm dia, 1M long and complete in all respects including initial fill with CO2 gas conforming to IS:307-1966 and walll suspension braket / floor mounted as required as per specifications. | 30.00 | Nos |  | 6500.00 | 195000.00 | 5000.00 | 150000.00 | 150000.00 | Balaji Engineering
23.02 | Supply of 4kg ABC (Powder Type) Fire Extinguisher. Mild Steel Cylinders ISI marked TAC approved fitted with pressure indicating gauge, internal tube, squeeze lever type valve fully charged with ABC powder (Mono Ammonium Phosphate) pressured by Nitrogen complete in all respects including wall suspension bracket/ floor mounted and conforming to IS:13849-1993 as required as per specifications. | 30.00 | Nos |  | 2499.00 | 74970.00 | 3500.00 | 105000.00 | 74970.00 | CHENNAI ENGINEERING SERVICES
24.01 | Supplying of under floor truncking made out of 1.6mm(min) thick GI sheet complete with jointing sleeve, horizontal bends ,vertical bends, level adjustment components and closer, vertical elbow, covers, access outlet etc. complete with all other accessories under floor installation , making good the same ,placing in position and cleaning from inside complete etc., as required 50mm wide x 38mm deep raceway | 150.00 | Mtrs |  | 799.00 | 119850.00 | 500.00 | 75000.00 | 75000.00 | Balaji Engineering
24.02 | Supplying of under floor truncking made out of 1.6mm(min) thick GI sheet complete with jointing sleeve, horizontal bends ,vertical bends, level adjustment components and closer, vertical elbow, covers, access outlet etc. complete with all other accessories under floor installation , making good the same ,placing in position and cleaning from inside complete etc., as required 150mm wide x 38mm deep raceway | 150.00 | Mtrs |  | 2249.00 | 337350.00 | 1000.00 | 150000.00 | 150000.00 | Balaji Engineering
24.03 | Supplying of under floor truncking made out of 1.6mm(min) thick GI sheet complete with jointing sleeve, horizontal bends ,vertical bends, level adjustment components and closer, vertical elbow, covers, access outlet etc. complete with all other accessories under floor installation , making good the same ,placing in position and cleaning from inside complete etc., as required 300mm wide x 38mm deep raceway | 150.00 | Mtrs |  | 3499.00 | 524850.00 | 1500.00 | 225000.00 | 225000.00 | Balaji Engineering
24.04 | Assembling and laying of under floor truncking made out of 1.6mm(min) thick GI sheet complete with jointing sleeve, horizontal bends ,vertical bends, level adjustment components and closer, vertical elbow, covers, access outlet etc. complete with all other accessories under floor installation , making good the same ,placing in position and cleaning from inside complete etc., as required 50mm wide x 38mm deep raceway | 150.00 | Mtrs |  | 1349.00 | 202350.00 | 500.00 | 75000.00 | 75000.00 | Balaji Engineering
24.05 | Assembling and laying of under floor truncking made out of 1.6mm(min) thick GI sheet complete with jointing sleeve, horizontal bends ,vertical bends, level adjustment components and closer, vertical elbow, covers, access outlet etc. complete with all other accessories under floor installation , making good the same ,placing in position and cleaning from inside complete etc., as required 150mm wide x 38mm deep raceway | 150.00 | Mtrs |  | 1199.00 | 179850.00 | 500.00 | 75000.00 | 75000.00 | Balaji Engineering
24.06 | Assembling and laying of under floor truncking made out of 1.6mm(min) thick GI sheet complete with jointing sleeve, horizontal bends ,vertical bends, level adjustment components and closer, vertical elbow, covers, access outlet etc. complete with all other accessories under floor installation , making good the same ,placing in position and cleaning from inside complete etc., as required 300mm wide x 38mm deep raceway | 150.00 | Mtrs |  | 3499.00 | 524850.00 | 500.00 | 75000.00 | 75000.00 | Balaji Engineering
24.07 | Supply and fixing of height adjustable under floor raceway junction box of 65-90mm with flyover of following size 225x225x65-90mm | 10.00 | Nos |  | 4499.00 | 44990.00 | 500.00 | 5000.00 | 5000.00 | Balaji Engineering
24.08 | Supply and fixing of height adjustable under floor raceway junction box of 65-90mm with flyover of following size 300x300x65-90mm | 10.00 | Nos |  | 5949.00 | 59490.00 | 500.00 | 5000.00 | 5000.00 | Balaji Engineering
24.09 | Supply and fixing of height adjustable under floor raceway junction box of 65-90mm with flyover of following size 400x400x65-90mm | 10.00 | Nos |  | 8449.00 | 84490.00 | 500.00 | 5000.00 | 5000.00 | Balaji Engineering
25.00 | Supply and installation of floor mounted mobile / laptop table top charging station supporting with atleast 8 devices at a time with USB type C port and 5A universal sockets and complete with protection circuit | 10.00 | Nos |  | 18199.00 | 181990.00 | 5000.00 | 50000.00 | 50000.00 | Balaji Engineering
26.01 | Supply, Installation, Testing and Commissioning of min. following capacities Inline Fans (Cabinet type Double skin) operating on, 50 Hz, AC supply for installing in existing toilet exhaust ducts in vertical or horizontal position by cutting the existing duct and installing the inline fan betwen the ducts including duct reducer/expander, Canvas, threaded rod, anchor fastener, nuts & bolts etc complete as per site requirement. Quoted price shall be inclusive of starter panel if any with cabling between starter panel and fan. The fan shall have low sound level exceeding not more than 55 decibels at three metre distance. Inline Fan:1000-2000 CFM | 1.00 | Nos |  | 45999.00 | 45999.00 | 3500.00 | 3500.00 | 3500.00 | Balaji Engineering
26.02 | Supply, Installation, Testing and Commissioning of min. following capacities Inline Fans (Cabinet type Double skin) operating on, 50 Hz, AC supply for installing in existing toilet exhaust ducts in vertical or horizontal position by cutting the existing duct and installing the inline fan betwen the ducts including duct reducer/expander, Canvas, threaded rod, anchor fastener, nuts & bolts etc complete as per site requirement. Quoted price shall be inclusive of starter panel if any with cabling between starter panel and fan. The fan shall have low sound level exceeding not more than 55 decibels at three metre distance. Inline Fan:2000-4000 CFM | 2.00 | Nos |  | 67999.00 | 135998.00 | 4500.00 | 9000.00 | 9000.00 | Balaji Engineering
26.03 | Supply, Installation, Testing and Commissioning of min. following capacities Inline Fans (Cabinet type Double skin) operating on, 50 Hz, AC supply for installing in existing toilet exhaust ducts in vertical or horizontal position by cutting the existing duct and installing the inline fan betwen the ducts including duct reducer/expander, Canvas, threaded rod, anchor fastener, nuts & bolts etc complete as per site requirement. Quoted price shall be inclusive of starter panel if any with cabling between starter panel and fan. The fan shall have low sound level exceeding not more than 55 decibels at three metre distance. Inline Fan:4000-6000 CFM | 2.00 | Nos |  | 97999.00 | 195998.00 | 5000.00 | 10000.00 | 10000.00 | Balaji Engineering
27.01 | Ceiling Hung Directional Sign
27.02 | Refer design drawing 2.1aS,2.1aG
27.03 | Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge.
27.04 | Sign face
27.05 | Sign face shall be made in 5mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl. Entire panel covered with a protective overlaminate. The films to wrap around the edge of the acrylic to a distance of 25mm on the back side. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics (Wherever Signle side content provided then other side also to be provided with 5 mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl shall match colour Pantone Black 6C The sign height shall be equal to the message panel height used i.e. multiple of 255mm and of specified make duly approved by the Engineer-in-Charge.
27.06 | Sign Frame
27.07 | Providing and fixing sign frame 50mm wide Powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with 3M brand dual lock system in one side and 3M both way tape from the other side. The panel should be made easily openable for maintenance.
27.08 | Sign internal Structure
27.09 | Providing and fixing Framework of Aluminium 25mmx 25mm x 1.5 hollow square sections. Shall be directly fixed to the sign frame.
27.10 | Suspender
27.11 | Providing and fixing Stainless steel 32mmx32mmx2mm Hollow sections (assuming typical length of 1 metre) mounted on slabs/beams/walls. All hardware used for fixing of sign shall be Stainless steel.The item cost includes cutting and opening of various types of false at location, and making good the location to the match the original finish after fixing and installation of sign
27.12 | Lighting
27.13 | All internal illumination shall be using Power LED Light strips/modules from Osram or equivalent ( Edge lighting - 6500K, 24 v, with optimal homogeneous backlighting & light Throw of minimum 4 ft) with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable at the site. The number of LED strips / modules and electronic controllers shall vary as per number of messages in sign board to the satisfactory illumination of sign boards.
27.14 | The actual structural design of the sign for its stability shall be ensured. Secret fixing methods should be used to fix parts together.
27.15 | Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing.
27.16 | Message 1 (Single Side) | 4.00 | Each |  | 29999.00 | 119996.00 | 50000.00 | 200000.00 | 119996.00 | CHENNAI ENGINEERING SERVICES
27.17 | Message 1 (Double Side) | 4.00 | Each |  | 36499.00 | 145996.00 | 55000.00 | 220000.00 | 145996.00 | CHENNAI ENGINEERING SERVICES
27.18 | Message 2 (Single Side) | 4.00 | Each |  | 35499.00 | 141996.00 | 55000.00 | 220000.00 | 141996.00 | CHENNAI ENGINEERING SERVICES
27.19 | Message 2 (Double Side) | 4.00 | Each |  | 40499.00 | 161996.00 | 60000.00 | 240000.00 | 161996.00 | CHENNAI ENGINEERING SERVICES
27.20 | Message 3 (Single Side) | 2.00 | Each |  | 43499.00 | 86998.00 | 60000.00 | 120000.00 | 86998.00 | CHENNAI ENGINEERING SERVICES
27.21 | Message 3 (Double Side) | 2.00 | Each |  | 45499.00 | 90998.00 | 65000.00 | 130000.00 | 90998.00 | CHENNAI ENGINEERING SERVICES
27.22 | Floor mounted directional sign - Without FIDS
27.23 | Refer design drawing 2.1bS,2.1bG without Information panel
27.24 | Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge.
27.25 | Sign face
27.26 | Sign face shall be made in 5mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl. Entire panel covered with a protective overlaminate. The films to wrap around the edge of the acrylic to a distance of 25mm on the back side. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics (Wherever Signle side content provided then other side also to be provided with 5 mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl shall match colour Pantone Black 6C).The sign panel height shall be equal to the message panel height used i.e. multiple of 255mm and of specified make duly approved by the Engineer-in-Charge.
27.27 | Sign Frame
27.28 | Providing and fixing sign frame 50mm wide powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with the 3M brand dual lock system in one side and 3M both way tape from the other side. The panel should be made easily openable for maintenance.
27.29 | Sign Structure
27.30 | All structural members in SS square post 100 x 100 x 3mm and horizontal cross tie member square sections 50x50x2mm, brush finished. base plate embedded below the floor finish and provided with a floor trim ring. All hardware used for fixing of sign shall be Stainless steel. Post including SS base Plate and Gussets in 6mm thick SS Plate as per drawing with holes to fix it on holding down bolts anchored in concrete slab. The post shall closed with a 3 mm thick SS plate as specified and approved by the Engineer-In-charge. The Post shall be always be a single continuous element without any joints. Cost to include all activities and temporary props used for a perfect vertical in plumb installation, etc. required for fixing the sign in an internal location. The actual structural design of the sign for its stability shall be ensured. Secret fixing methods should be used to fix parts together.
27.31 | Lighting
27.32 | All internal illumination shall be using Power LED Light strips/modules from Osram or equivalent ( Edge lighting - 6500K, 24 v, with optimal homogeneous backlighting & light Throw of minimum 4 ft) with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable at the site. The number of LED strips / modules and electronic controllers shall vary as per number of messages in sign board to the satisfactory illumination of sign boards.
27.33 | The actual structural design of the sign for its stability shall be ensured. Secret fixing methods should be used to fix parts together.
27.34 | Foundation
27.35 | Providing and fixing SS Post in position and sturdy on existing RCC floor below the granite by using suitable size anchor fasteners(Anti Corrosive type) and finished as per drawing. The item cost includes cutting and opening the floor granite/marble/tile etc finish at location, and making good the location to the match the original finish after fixing and installation of sign.
27.36 | Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing.
27.37 | Message 3 (Single Side) | 3.00 | Each |  | 61499.00 | 184497.00 | 90000.00 | 270000.00 | 184497.00 | CHENNAI ENGINEERING SERVICES
27.38 | Message 3 (Double Side) | 3.00 | Each |  | 63499.00 | 190497.00 | 95000.00 | 285000.00 | 190497.00 | CHENNAI ENGINEERING SERVICES
27.39 | Message 4 (Single Side) | 3.00 | Each |  | 75499.00 | 226497.00 | 95000.00 | 285000.00 | 226497.00 | CHENNAI ENGINEERING SERVICES
27.40 | Message 4(Double Side) | 3.00 | Each |  | 80999.00 | 242997.00 | 95000.00 | 285000.00 | 242997.00 | CHENNAI ENGINEERING SERVICES
27.41 | Message 5 (Single Side) | 3.00 | Each |  | 78999.00 | 236997.00 | 95000.00 | 285000.00 | 236997.00 | CHENNAI ENGINEERING SERVICES
27.42 | Message 5 (Double Side) | 3.00 | Each |  | 84999.00 | 254997.00 | 95000.00 | 285000.00 | 254997.00 | CHENNAI ENGINEERING SERVICES
27.43 | Sign face
27.44 | Floor mounted directional sign - Single
27.45 | Refer design drawing 2.1b-3
27.46 | Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge.
27.47 | Sign face
27.48 | Sign face shall be made in 5mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl. Entire panel covered with a protective overlaminate. The films to wrap around the edge of the acrylic to a distance of 25mm on the back side. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics (Wherever Signle side content provided then other side also to be provided with 5 mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl shall match colour Pantone Black 6C).The sign panel Height shall be equal to the messege panel height used. i.e. multiple of 255mm and of specified make duly approved by the Engineer-in-Charge.
27.49 | Sign Frame
27.50 | Providing and fixing sign frame 50mm wide powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with the 3M brand dual lock system in one side and 3M both way tape from the other side. The panel should be made easily openable for maintenance.
27.51 | Sign internal Structure
27.52 | Providing and fixing Framewrok of Aluminium 25mmx 25mm x 1.5 mm hollow square sections. Shall be directly fixed to the sign frame.
27.53 | Sign Structure
27.54 | All structural members in SS square post 100 x 100 x 3 mm, brush finished. base plate embedded below the floor finish and provided with a floor trim ring. All hardware used for fixing of sign shall be Stainless steel. Post including SS base Plate and Gussets in 6mm thick SS Plate as per drawing with holes to fix it on holding down bolts anchored in concrete slab. The post shall closed with a 3 mm thick SS plate as specified and approved by the Engineer-In-charge. The Post shall be always be a single continuous element without any joints. Cost to include all activities and temporary props used for a perfect vertical in plumb installation, etc. required for fixing the sign in an internal location. The actual structural design of the sign for its stability shall be ensued. Secret fixing methods should be used to fix parts together.
27.55 | Tension Rod
27.56 | Providing and fixing tension rod of dia 10mm in brush finished S.S. with the turn buckle system. Tension rod shall be fixed to the sign structure and the sign frame with S.S. gusset plates.
27.57 | Lighting
27.58 | All internal illumination shall be using Power LED Light strips/modules from Osram or equivalent ( Edge lighting - 6500K, 24 v, with optimal homogeneous backlighting & light Throw of minimum 4 ft) with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable at the site. The number of LED strips / modules and electronic controllers shall vary as per number of messages in sign board to the satisfactory illumination of sign boards.
27.59 | The actual structural design of the sign for its stability shall be ensured. Secret fixing methods should be used to fix parts together.
27.60 | Foundation
27.61 | Providing and fixing SS Post in position and sturdy on existing RCC floor below the granite by using suitable size anchor fasteners(Anti Corrosive type) and finished as per drawing. The item cost includes cutting and opening the floor granite/marble/tile etc finish at location, and making good the location to the match the original finish after fixing and installation of sign.
27.62 | Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing.
27.63 | Message 1 (Single Side Content either LHS or RHS of Pole) | 3.00 | Each |  | 51999.00 | 155997.00 | 90000.00 | 270000.00 | 155997.00 | CHENNAI ENGINEERING SERVICES
27.64 | Message 2 (Single Side Content either LHS or RHS of Pole) | 3.00 | Each |  | 64999.00 | 194997.00 | 90000.00 | 270000.00 | 194997.00 | CHENNAI ENGINEERING SERVICES
27.65 | Message 3 (Single Side Content either LHS or RHS of Pole) | 3.00 | Each |  | 77999.00 | 233997.00 | 90000.00 | 270000.00 | 233997.00 | CHENNAI ENGINEERING SERVICES
27.66 | Providing and Fixing of computerised 3M vinyl cut text of approved matter in three language with directional sign etc., in double colour on existing Polycarbonate sheet of different sizes on existing signages including dismantling of existing polycarbonate sheet board from the existing signage board and remove the existing signage vinyl sticker over the polycarbonate sheet including cleaning of the complete polycarbonate surface without causing any damage and scratch over the surface and re-fixing the polycarbonate sheet on the existing sign board etc., as per direction of Engineer-in-Charge complete as required. Note: In case of any breakage of Polycarbonate sheets during dismantling, shifting, handling & re-fixing etc., the complete sheet to be replaced by contractor at free of cost. | 2000.00 | Sqft |  | 279.00 | 558000.00 | 750.00 | 1500000.00 | 558000.00 | CHENNAI ENGINEERING SERVICES
27.67 | Providing and Fixing of computerised 3M vinyl cut text of approved matter in three language with directional sign etc., in double colour on 5 mm acrylic sheet of different sizes as per direction of Engineer-in-Charge complete as required. (2100 length )
27.68 | Message 1 | 18.00 | Each |  | 4999.00 | 89982.00 | 15000.00 | 270000.00 | 89982.00 | CHENNAI ENGINEERING SERVICES
27.69 | Message 2 | 18.00 | Each |  | 8499.00 | 152982.00 | 15000.00 | 270000.00 | 152982.00 | CHENNAI ENGINEERING SERVICES
27.70 | Message 3 | 9.00 | Each |  | 9999.00 | 89991.00 | 15000.00 | 135000.00 | 89991.00 | CHENNAI ENGINEERING SERVICES
27.71 | Supply, Fabrication Installation testing and commissioning of stainless steel ( Grade 304) of different size tube/ round/plates as per site requirement including welding at site as per requirement. | 4000.00 | Kg |  | 749.00 | 2996000.00 | 120.00 | 480000.00 | 480000.00 | Balaji Engineering
27.72 | Providing and fixing of new Airline logo sticker at city side departure level airline listing announcer board as per direction of Engineer-in-charge. | 600.00 | Sqft |  | 199.00 | 119400.00 | 750.00 | 450000.00 | 119400.00 | CHENNAI ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 24216870.00 |  | 19874330.00
Lowest Amount Quoted BY: Balaji Engineering(19874330.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous works FY 2025 2026 Part II at Chennai Airport Tender ID: 2025_AAI_253199_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Balaji Engineering (BID ID -929767) | 19874330.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES (BID ID -929623) | 24216870.00 | L2