## BoQ1
Government eProcurement System Created By: Atul Semwal Created Date/Time: 28-Nov-2025 12:36 PM Tender Title: Reconstruction / Shifting of 02 nos primary schools fouling in runway extension area at L.B.S.I. Airport Varanasi Tender ID: 2025_AAI_253846_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Reconstruction / Shifting of 02 nos primary schools fouling in runway extension area at L.B.S.I. Airport Varanasi.
Contract No: 2025_AAI_ 253846_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S M L BROTHER (GSTN-07ACCFM9140P1ZQ) BID ID -929805 |  | Rahul Constructions (GSTN-06AAFFR4603K1Z8) BID ID -930028
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 769.00 | cum |  | 200.00 | 153800.00 | 99.00 | 76131.00 | 76131.00 | Rahul Constructions
1.02 | Filling available excavated earth (excluding rock) in trenches, plinth,sides of foundations etc. in layers not exceeding 20cm in depth,consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 600.00 | cum |  | 150.00 | 90000.00 | 99.00 | 59400.00 | 59400.00 | Rahul Constructions
1.03 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 78.00 | cum |  | 1100.00 | 85800.00 | 1599.00 | 124722.00 | 85800.00 | M/S M L BROTHER
1.04 | Felling trees of the girth (measured at a height of 1 m above ground level), including cutting of trunks and branches, removing the roots and stacking of serviceable material and disposal of unserviceable material. Beyond 30 cm girth upto and including 60 cm girth | 20.00 | each |  | 2000.00 | 40000.00 | 399.00 | 7980.00 | 7980.00 | Rahul Constructions
1.05 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 Cement : 5 coarse sand (zone-III) : 10 graded stone aggregate 40 mm nominal size) | 168.00 | cum |  | 4200.00 | 705600.00 | 3999.00 | 671832.00 | 671832.00 | Rahul Constructions
1.06 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III): 4 graded stone aggregate 12.5mm nominal size) | 308.00 | sqm |  | 500.00 | 154000.00 | 199.00 | 61292.00 | 61292.00 | Rahul Constructions
1.07 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 102.00 | sqm |  | 400.00 | 40800.00 | 599.00 | 61098.00 | 40800.00 | M/S M L BROTHER
1.08 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishingand reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 107.00 | cum |  | 7000.00 | 749000.00 | 5499.00 | 588393.00 | 588393.00 | Rahul Constructions
1.09 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 299.00 | cum |  | 6800.00 | 2033200.00 | 5499.00 | 1644201.00 | 1644201.00 | Rahul Constructions
1.10 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete | 341.00 | sqm |  | 350.00 | 119350.00 | 199.00 | 67859.00 | 67859.00 | Rahul Constructions
1.11 | Centering and shuttering including strutting, propping etc. And removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 808.00 | sqm |  | 350.00 | 282800.00 | 249.00 | 201192.00 | 201192.00 | Rahul Constructions
1.12 | Centering and shuttering including strutting, propping etc. And removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts | 171.00 | sqm |  | 350.00 | 59850.00 | 249.00 | 42579.00 | 42579.00 | Rahul Constructions
1.13 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform. with water proof ply 12mm thick. | 1664.00 | sqm |  | 350.00 | 582400.00 | 249.00 | 414336.00 | 414336.00 | Rahul Constructions
1.14 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 100.00 | qtl. |  | 500.00 | 50000.00 | 399.00 | 39900.00 | 39900.00 | Rahul Constructions
1.15 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 9968.00 | kg |  | 82.00 | 817376.00 | 59.00 | 588112.00 | 588112.00 | Rahul Constructions
1.16 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 26806.00 | kg |  | 82.00 | 2198092.00 | 59.00 | 1581554.00 | 1581554.00 | Rahul Constructions
1.17 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 83.00 | cum |  | 6000.00 | 498000.00 | 4499.00 | 373417.00 | 373417.00 | Rahul Constructions
1.18 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 718.00 | cum |  | 6000.00 | 4308000.00 | 4499.00 | 3230282.00 | 3230282.00 | Rahul Constructions
1.19 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in. Cement mortar 1:4 (1 cement : 4 coarse sand) | 14.00 | sqm |  | 700.00 | 9800.00 | 199.00 | 2786.00 | 2786.00 | Rahul Constructions
1.20 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 411.00 | sqm |  | 600.00 | 246600.00 | 499.00 | 205089.00 | 205089.00 | Rahul Constructions
1.21 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 10.00 | sqm |  | 1500.00 | 15000.00 | 1399.00 | 13990.00 | 13990.00 | Rahul Constructions
1.22 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. Float glass panes 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). | 126.00 | sqm |  | 1000.00 | 126000.00 | 1799.00 | 226674.00 | 126000.00 | M/S M L BROTHER
1.23 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | 1900.00 | kg |  | 120.00 | 228000.00 | 89.00 | 169100.00 | 169100.00 | Rahul Constructions
1.24 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2235.00 | kg |  | 120.00 | 268200.00 | 89.00 | 198915.00 | 198915.00 | Rahul Constructions
1.25 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 43.00 | sqm |  | 4000.00 | 172000.00 | 4444.00 | 191092.00 | 172000.00 | M/S M L BROTHER
1.26 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 1466.00 | sqm |  | 350.00 | 513100.00 | 399.00 | 584934.00 | 513100.00 | M/S M L BROTHER
1.27 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. 40 mm wide and 4 mm thick | 618.00 | mtr |  | 50.00 | 30900.00 | 69.00 | 42642.00 | 30900.00 | M/S M L BROTHER
1.28 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 2952.00 | sqm |  | 250.00 | 738000.00 | 249.00 | 735048.00 | 735048.00 | Rahul Constructions
1.29 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand) | 2952.00 | sqm |  | 250.00 | 738000.00 | 249.00 | 735048.00 | 735048.00 | Rahul Constructions
1.30 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water thinnable priming coat with cement primer | 2918.00 | sqm |  | 80.00 | 233440.00 | 59.00 | 172162.00 | 172162.00 | Rahul Constructions
1.31 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm) | 2918.00 | sqm |  | 80.00 | 233440.00 | 59.00 | 172162.00 | 172162.00 | Rahul Constructions
1.32 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 1000.00 | sqm |  | 100.00 | 100000.00 | 59.00 | 59000.00 | 59000.00 | Rahul Constructions
1.33 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 10.00 | each |  | 3000.00 | 30000.00 | 3999.00 | 39990.00 | 30000.00 | M/S M L BROTHER
1.34 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap. | 10.00 | each |  | 3000.00 | 30000.00 | 1999.00 | 19990.00 | 19990.00 | Rahul Constructions
1.35 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 250 mm | 4.00 | each |  | 3000.00 | 12000.00 | 4999.00 | 19996.00 | 12000.00 | M/S M L BROTHER
1.36 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 4.00 | each |  | 2000.00 | 8000.00 | 1299.00 | 5196.00 | 5196.00 | Rahul Constructions
1.37 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall 15mm | 50.00 | mtr |  | 200.00 | 10000.00 | 249.00 | 12450.00 | 10000.00 | M/S M L BROTHER
1.38 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall 25 mm nominal outer dia .Pipes. | 50.00 | mtr |  | 250.00 | 12500.00 | 349.00 | 17450.00 | 12500.00 | M/S M L BROTHER
1.39 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall 50 mm nominal outer dia .Pipes. | 100.00 | mtr |  | 300.00 | 30000.00 | 749.00 | 74900.00 | 30000.00 | M/S M L BROTHER
1.40 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 15 mm nominal dia Pipes | 100.00 | mtr |  | 200.00 | 20000.00 | 199.00 | 19900.00 | 19900.00 | Rahul Constructions
1.41 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal dia Pipes | 100.00 | mtr |  | 250.00 | 25000.00 | 249.00 | 24900.00 | 24900.00 | Rahul Constructions
1.42 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 40 mm nominal dia Pipes | 50.00 | mtr |  | 300.00 | 15000.00 | 399.00 | 19950.00 | 15000.00 | M/S M L BROTHER
1.43 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 50 mm nominal dia Pipes | 50.00 | mtr |  | 350.00 | 17500.00 | 599.00 | 29950.00 | 17500.00 | M/S M L BROTHER
1.44 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 4.00 | each |  | 600.00 | 2400.00 | 499.00 | 1996.00 | 1996.00 | Rahul Constructions
1.45 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 40 mm nominal bore | 4.00 | each |  | 1500.00 | 6000.00 | 799.00 | 3196.00 | 3196.00 | Rahul Constructions
1.46 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 4.00 | each |  | 3000.00 | 12000.00 | 799.00 | 3196.00 | 3196.00 | Rahul Constructions
1.47 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 20 mm nominal bore | 20.00 | each |  | 100.00 | 2000.00 | 99.00 | 1980.00 | 1980.00 | Rahul Constructions
1.48 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. Circular tank | 10000.00 | ltr |  | 9.00 | 90000.00 | 8.00 | 80000.00 | 80000.00 | Rahul Constructions
1.49 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore. | 20.00 | each |  | 700.00 | 14000.00 | 733.00 | 14660.00 | 14000.00 | M/S M L BROTHER
1.50 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore. | 20.00 | each |  | 700.00 | 14000.00 | 499.00 | 9980.00 | 9980.00 | Rahul Constructions
1.51 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg), R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) foundation concrete 1:5:10 (1 cement : 5 coarse sand (Zone III) : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand), finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design : Inside dimensions 455x610 mm and 45 cm deep for single pipe line : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 10.00 | each |  | 11000.00 | 110000.00 | 5999.00 | 59990.00 | 59990.00 | Rahul Constructions
1.52 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | each |  | 15000.00 | 30000.00 | 24999.00 | 49998.00 | 30000.00 | M/S M L BROTHER
1.53 | Providing complete Structural Consultancy service for the work after soil investigation (SBC) and studying the proposed 02 locations/sites and getting approval of Drawings etc. from Engineer-In-Charge. i. The Structural designs shall be prepared as per the latest provisions of National Building Codes and relevant BIS Codes. The Architectural, Electrical & Services and Structural designs/drawings must be prepared as per the latest trends in market by keeping in view of the available items in this schedule of work. ii. Contractor shall submit Architectural , Electrical & Services and Structural designs/drawings to the Engineer-In-Charge after vetting from any NIT/IIT/Government Engineering College. The fee/charges for vetting shall be paid by the contractor. In case any clarifications/ modifications in designs/drawings are required during vetting or during the course of execution of work, it shall be got done by the contractor through the consultants for which nothing extra shall be paid. iii. After vetting/approval of Structural designs/drawings, 2 (Two) sets of soil investigation reports (SBC) and all good for construction drawings showing all relevant details duly signed by the consultants for both schools separately shall be submitted to the Engineer-In-Charge. Contractor shall submit 2 (Two) sets of As-Built drawings after execution of work. He shall also submit all drawings in soft copy. The Rate quoted by contractor include all fees to be paid by contractor to Architectural, Electrical & Services and Structural Consultants service, designs/drawings, vetting charges, site visits by consultants, modifications, submission of required nos. of copies of reports/drawings and all applicable taxes but Excluding GST. Nothing extra shall be payable over and above the quoted rate. | 1.00 | Job |  | 900999.99 | 900999.99 | 110241.00 | 110241.00 | 110241.00 | Rahul Constructions
2.00 | Electricial works :
2.01 | Supplying and fixing of 6 way (4 +18), double door , metal, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing, blanking plates etc. as required. (But without MCB/RCCB/Isolator). | 2.00 | Each |  | 8011.00 | 16022.00 | 3999.00 | 7998.00 | 7998.00 | Rahul Constructions
2.02 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group B | 122.00 | Point |  | 700.00 | 85400.00 | 1399.00 | 170678.00 | 85400.00 | M/S M L BROTHER
2.03 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed pvc conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group B | 98.00 | Point |  | 700.00 | 68600.00 | 777.00 | 76146.00 | 68600.00 | M/S M L BROTHER
2.04 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (a)(2 X 2.5 sq. mm +1 X 2.5 sq. mm earth wire) | 800.00 | Metre |  | 315.00 | 252000.00 | 333.00 | 266400.00 | 252000.00 | M/S M L BROTHER
2.05 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 switch | 20.00 | Each |  | 200.00 | 4000.00 | 133.00 | 2660.00 | 2660.00 | Rahul Constructions
2.06 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 A socket outlet | 20.00 | Each |  | 200.00 | 4000.00 | 177.00 | 3540.00 | 3540.00 | Rahul Constructions
2.07 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100mm X 75mm) | 20.00 | Each |  | 200.00 | 4000.00 | 333.00 | 6660.00 | 4000.00 | M/S M L BROTHER
2.08 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 KA "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 36.00 | Each |  | 250.00 | 9000.00 | 222.00 | 7992.00 | 7992.00 | Rahul Constructions
2.09 | Supplying & Fixing following rating, FP, 415 V, isolator in the existing MCB DB complete with connections, testing and comissioning etc as required 63A | 2.00 | Each |  | 3000.00 | 6000.00 | 1499.00 | 2998.00 | 2998.00 | Rahul Constructions
2.10 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (a)(2 X 4 sq. mm +1 X 4 sq. mm earth wire) | 600.00 | Metre |  | 300.00 | 180000.00 | 349.00 | 209400.00 | 180000.00 | M/S M L BROTHER
2.11 | Supply of 1 X 20W LED tube light fixture with suitable lamp suitable to operate on single phase, 230 V, 50 Hz A.C supply etc complete as required. | 124.00 | Each |  | 500.00 | 62000.00 | 129.00 | 15996.00 | 15996.00 | Rahul Constructions
2.12 | Supply of LED Street Light fitting with min output of 2750 lumens and min 110 lumen/watt with features as energy saving, environmentally friendly and made of die cast aluminium housing with high power LED as light source, IP65 or better, surge protection >=4KV CCT 5700-6500K, operating on 230 V, 50 Hz suppy etc complete as required. | 30.00 | Each |  | 5000.00 | 150000.00 | 1399.00 | 41970.00 | 41970.00 | Rahul Constructions
2.13 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/LED tube light fitting/LED Street Lights of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 154.00 | Job |  | 120.00 | 18480.00 | 177.00 | 27258.00 | 18480.00 | M/S M L BROTHER
2.14 | Supply of 1 X 9W LED lamp suitable to operate on single phase, 230 V, 50 Hz A.C supply etc complete as required. | 12.00 | Each |  | 300.00 | 3600.00 | 99.00 | 1188.00 | 1188.00 | Rahul Constructions
2.15 | Supplying and fixing brass type batten/ angle holder including connection etc. as required. | 12.00 | Each |  | 100.00 | 1200.00 | 111.00 | 1332.00 | 1200.00 | M/S M L BROTHER
2.16 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ woodenblock including connection etc as required. | 154.00 | Each |  | 25.00 | 3850.00 | 88.00 | 13552.00 | 3850.00 | M/S M L BROTHER
2.17 | Supplying and fixing of plastic body exhaust fan (i/c louvers/ shutters) of 150 mm sweep, 1300 rpm, operating on 230 V AC, 50 Hz power supply, in the existing opening using suitable size nut & bolt with spring washer & plain washer, including making good the damage, connection, testing, commissioning etc. as required. | 6.00 | Each |  | 3500.00 | 21000.00 | 1599.00 | 9594.00 | 9594.00 | Rahul Constructions
2.18 | Supplying of Ceiling Fans of 1200 mm sweep, minimum 350 rpm, operating on 230 V AC, 50 Hz power supply, in the existing opening using suitable size nut & bolt with spring washer & plain washer, including making good the damage, connection, testing, commissioning etc. as required. | 68.00 | Each |  | 6000.00 | 408000.00 | 1599.00 | 108732.00 | 108732.00 | Rahul Constructions
2.19 | Installation, testing and commissioning of ceiling fan, including providing fan box, if required and wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 68.00 | Each |  | 150.00 | 10200.00 | 199.00 | 13532.00 | 10200.00 | M/S M L BROTHER
2.20 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. With charcoal/coke and salt as required. | 4.00 | Set |  | 12000.00 | 48000.00 | 5999.00 | 23996.00 | 23996.00 | Rahul Constructions
2.21 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 200.00 | Metre |  | 54.00 | 10800.00 | 59.00 | 11800.00 | 10800.00 | M/S M L BROTHER
2.22 | Supply, Installation, Testing & commissioning of Water Cooler of 40/80 FSS with inbuilt RO water purifier & having 80 L storage capacity and having 2 nos. of faucets etc complete as required. | 2.00 | Each |  | 50200.00 | 100400.00 | 62429.00 | 124858.00 | 100400.00 | M/S M L BROTHER
| Total in Figures |  |  |  |  | 19478499.99 |  | 15111111.00
Lowest Amount Quoted BY: Rahul Constructions(15111111.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconstruction / Shifting of 02 nos primary schools fouling in runway extension area at L.B.S.I. Airport Varanasi Tender ID: 2025_AAI_253846_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rahul Constructions (BID ID -930028) | 15111111.00 | L1
| 2 | M/S M L BROTHER (BID ID -929805) | 19478499.99 | L2