## BoQ1
Government eProcurement System Created By: SUJITHRA GS Created Date/Time: 07-Jul-2026 03:25 PM Tender Title: Special repair works for HVAC and BMS system at Calicut International Airport Tender ID: 2025_AAI_254125_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work : ARMO of E&M Installations at Calicut International Airport 2025-26. SH : Special Repair Works for HVAC and BMS System
Contract No: Tender ID -2025_AAI__254125__1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | STERLING AND WILSON PRIVATE LIMITED (GSTN-NA) BID ID -931075
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of the AHU filters with a 50 mm thick filter section containing washable synthetic type air filters having anodized aluminum frame, filters shall be 90% down to particle size of 10 microns(MERV-8) in AHU’s, as per IS 7613, and ASHRAE 52.1., of various dimensions suitable for the AHUs at Calicut International Airport, including dismantling of the existing filters and disposing it away from site, etc complete as required. Note: This item includes dismantling and disposal of the old filters. | 200.00 | Sq.mtr | 1336.00 | 2388.00 | 477600.00 | 477600.00 | STERLING AND WILSON PRIVATE LIMITED
2.00 | Rectification and upgradation of BMS system by providing and installation of Siemens make BMS web based desigo BAC Net Router - PXG3.L and BMS software- Siemens Desigo including configuration, programming, testing, and integration with existing BMS system to enable and to operate the controllers i.e., PXC 12, PXC 22, PXC 36 and VFDs available at site, including interconnection, wiring works etc. complete as required. | 1.00 | Job | 2149.00 | 993771.00 | 993771.00 | 993771.00 | STERLING AND WILSON PRIVATE LIMITED
| Total in Figures |  |  |  |  | 1471371.00
Lowest Amount Quoted BY: STERLING AND WILSON PRIVATE LIMITED(1471371.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special repair works for HVAC and BMS system at Calicut International Airport Tender ID: 2025_AAI_254125_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | STERLING AND WILSON PRIVATE LIMITED (BID ID -931075) | 1471371.00 | L1