## BoQ1
Government eProcurement System Created By: MEHBUB AHMED Created Date/Time: 17-Dec-2025 10:22 AM Tender Title: Facelifting, relocating, testing commissioning of existing water filtration plant at AAI Residential Colony, Guwahati Airport. Tender ID: 2025_AAI_254361_1
Tender Inviting Authority: AGM (E-E), RHQ, NER, AAI
Name of Work: Facelifting, relocating, testing & commissioning of existing water filtration plant at AAI Residential Colony, Guwahati Airport.
Tender ID No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Taurus Industries (GSTN-NA) BID ID -932388
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I Facelifting Work Facelifting of old water treatment plant from existing location to a designated location as per direction of E-I-C at AAI old residential colony including removing & cleaning of existing media, dismantling existing pipes, valves, fittings & accessories as per recommendation of OEM/channel partner of OEM, removing the filtration plant FRP vessels from existing foundation without damaging the vessel & it's opening for fixing new accessories & fittings, design & construction of new RCC foundation platform of load bearing capacity meeting the weight of FRP vessel in fully loaded & operating condition with media & water duly vetted by Govt. Engineering college/ Govt. Polytechnic college, re-installation on new platform by mechanical means by hiring of mechanical equipment for lifting-shifting-placing of FRP vessel in empty condition, filling brand new Filter media, fixing & interconnecting piping system from centrifugal pump to FRP vessels, interconnection of pipes (Vessel to vessel), valves, strainers, pressure meter/gauge, gasket, nut-bolts, flanges, fittings etc., testing, commissioning the facelifted water treatmen plant complete as required to achieve potable water as per recommendation of state public health engineering department.. Vessel dia 2000 mm; overall height 2700 mm.- For 02 sets | 1.00 | JOB | 1.25 | 625000.00 | 625000.00 | 625000.00 | Taurus Industries
1.01 | The item inlcudes following media, fittings, pipes, accessories, but not limited to for completion of work- (Refer technical specifications TSC PAGE 2 & TSC PAGE 3 for approximate quantities)
1.02 | Gravels & Pebbles of various grades e.g., 3-6 mm, 6-12 mm, 12-20 mm etc.
1.03 | Suitable Mesh Sized Coarse & Fine Barakar Sand
1.04 | Treated Green Sand
1.05 | MnO2 oxidizing lumps
1.06 | Anthracite
1.07 | Birm/MZ-10
1.08 | Katalox light
1.09 | Starke White Quartz Sand
1.10 | Pressure Gauge
1.11 | Bottom distribution system
1.12 | Operating vlaves (butterfly valve, gate valve)
1.13 | Gaskets
1.14 | Pipes (UPVC) of size as per manufacturer.
1.15 | Fittings, flanges, union, socket, nut bolts
2.00 | SH:II CMC Work Comprehensive maintenance contract of iron removal filter plant with consumables, such as soda ash, liquid chlorine etc. and monthly visit of trained technician to supervise the maintenance, dosing, backwash etc. i.e. attending breakdown calls as an when required and maintaining the required pH value as per required specification including quarterly water testing reports for all the sites etc. complete as required.
2.01 | First Year (start after completion of defect liability period of 12 months) | 12.00 | Month | 10.00 | 7250.00 | 87000.00 | 87000.00 | Taurus Industries
2.02 | Second Year | 12.00 | Month | 22.00 | 7250.00 | 87000.00 | 87000.00 | Taurus Industries
2.03 | Third Year | 12.00 | Month | 5.00 | 7250.00 | 87000.00 | 87000.00 | Taurus Industries
2.04 | Fourth Year | 12.00 | Month | 0.00 | 7250.00 | 87000.00 | 87000.00 | Taurus Industries
2.05 | Fifth Year | 12.00 | Month | 1.00 | 7250.00 | 87000.00 | 87000.00 | Taurus Industries
| Total in Figures |  |  |  |  | 1060000.00
Lowest Amount Quoted BY: Taurus Industries(1060000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facelifting, relocating, testing commissioning of existing water filtration plant at AAI Residential Colony, Guwahati Airport. Tender ID: 2025_AAI_254361_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Taurus Industries (BID ID -932388) | 1060000.00 | L1