## BoQ1
Government eProcurement System Created By: JAGAN MOHAN BONTADA Created Date/Time: 02-Dec-2025 11:23 AM Tender Title: M/R to E and M Installations at Chennai International Airport. SH Facility Management Contract (FMC) of E and M Installations of Multi Level Car Parking (MLCP) at Chennai Airport) Tender ID: 2025_AAI_254683_1
Tender Inviting Authority: Sr. Manager (Engg.-Elect.), AMED-VII, Airports Airports Authority of India, Operational Offices, Chennai Airport, Chennai - 600 016.
Name of Work: M/R to E&M Installations at Chennai International Airport. SH: Facility Management Contract (FMC) of E&M Installations of Multi Level Car Parking (MLCP) at Chennai Airport.
Contract No: AAI/CHE/AMED-VII/2025/04 Tender ID: 2025_AAI_254683_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -933872 |  | VOLTAS LIMITED (GSTN-33AAACV2809DIZT) BID ID -934293 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -932490
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH I: Monitoring and Maintenance of Electrical and Mechanical Installations.
1.01 | Monitoring, Operation and Maintenance of Power Supply and IEI Installations of East and West side of Multilevel Car Parking (MLCP) comprising of 11 KV VCB Panels, 2 Nos. of DG Sets, 2Nos. of Dry Type Transformers 2 Nos. 3200 Amp. LT Panels, LT Changeover Panels, other distribution LT Panels, APFC Panels, 4 Nos. of 150A Active Harmonic Filters, Solar Plants (20KW+15KW), associated Earthing System, Internal and External Electrical Installations at Various Locations in & around MLCP etc., (As per Annexure 'C1' - List of Inventories) for round the Clock 24X7 Basis (Manpower in Shift Basis - 8 Hours For One Shift and General shift as per Annexure- 'A'), Monitoring, Control and Maintenance for 100% Serviceability including Co-ordination with 11 KV Central Sub-Station and other Sub-Stations and Power Houses, attending faults/ repairs/Breakdown of Equipment / replacement of defective components with AAI Supplied New Components i/c wiring/ rewiring, ensuring 100% Serviceability/ satisfactory working condition of the systems, routine and general preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/ yearly basis as per standard manufacturers' practices, periodical Cleaning of Solar modules, maintenance of records and log books and reporting as and when required, complete General Housekeeping and Upkeeping of the Installations and Substation, Providing Supervisory Services, etc., on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge as required. (Note: The quoted rate shall be exclusive of Goods and Services Tax, EPF, ESI and Bonus) | 12.00 | Months | 0.00 | 529999.00 | 6359988.00 | 564590.00 | 6775080.00 | 538389.12 | 6460669.44 | 6359988.00 | CHENNAI ENGINEERING SERVICES
2.00 | Monitoring, Operation and Maintenance of HVAC System installed at East and West MLCP comprising of 3x280TR Chillers, VRFs (outdoor and indoor), Pumps, Cooling Towers, AHUs, FCUs, CSUs, Split ACs, Exhaust and fresh air fans (both Centrifugal & Tube Axial fans), Toilet Inline Fans, Kitchen Exhaust fans, Staircase pressurization fans, Lift well Pressurization fans, Smoke Extract fans, Air curtains, Electrical Power supply/Control panels pertaining to AC system, valves, strainers etc. and its connected accessories as per inventory list of HVAC Installations attached as Annexure C2, C3, C4 & C5 on round the clock shift basis by deploying 01 manpower/shift (Three Shifts, 8 hour per shift) as per Technical Specification and Special Conditions of Contract, to ensure satisfactory working condition of the HVAC systems i/c coordination with all other service provider agencies and attending minor faults / repairs / replacement of minor components, periodical cleaning of grills and Air filters, general cleaning/up keeping of installations & its surrounding area and carrying out day-to-day maintenance as per standard manufacturers' practices, maintenance of records, log books and reporting etc. complete on all days including Sundays & Holidays as required. (Note: The quoted rate shall be exclusive of Goods and Services Tax, EPF, ESI and Bonus) | 12.00 | Months | 0.00 | 139999.00 | 1679988.00 | 153271.00 | 1839252.00 | 146288.00 | 1755456.00 | 1679988.00 | CHENNAI ENGINEERING SERVICES
3.00 | Monitoring, Operation and Maintenance of Building Management System (BMS) installed at East and West MLCP as per inventory list attached as Annexure C6 on round the clock basis by deploying 02 manpower/shift (Three Shifts, 8 hour per shift) as per Technical Specification and Special Conditions of Contract i/c carrying out Preventive maintenance activities as per standard manufacturers' practices/ recommendations and site requirement including coordination with all other associated service provider / agencies and attending minor faults for ensuring Serviceability / satisfactory working condition of the BMS systems, maintenance of records, log books and submission of service report, general cleaning of installations and its surrounding area as per the site requirement etc. on all days including Sundays & Holidays as required. (Note: The quoted rate shall be exclusive of Goods and Services Tax, EPF, ESI and Bonus) | 12.00 | Months | 0.00 | 249999.00 | 2999988.00 | 268224.00 | 3218688.00 | 256004.00 | 3072048.00 | 2999988.00 | CHENNAI ENGINEERING SERVICES
4.00 | Monitoring, Operation and Maintenance of Sewage System installations at Water Treatment Plant/ Sewage Treatment plant (STP) of capacity 115 & 160 KLD with all relevant water sources as per inventory list enclosed vide Annexure 'C7', covering the scope of activities given in special condition of contract and technical specification, attending faults, ensuring output treated water quality to specifications, chemical testing / sample analysis / corrective actions, ensuring serviceability / satisfactory working condition of the systems, maintenance activity as per attached "Annexure D3" updation of lab, normal & preventive records, log books as required etc. and cleaning, upkeeping on all days. These services including supervision of all above activities shall be ensured for STP Plant equipment’s, Electric motor driven pump sets, associated borewells, open wells, Sumps, MCC & starter panels and control panels round the clock (Three shift X 8 Hours) on all days including Sundays / holidays as per site requirement etc. complete as required. (Note: The quoted rate shall be exclusive of Goods and Services Tax, EPF, ESI and Bonus) | 12.00 | Months | 0.00 | 239999.00 | 2879988.00 | 261911.00 | 3142932.00 | 250021.00 | 3000252.00 | 2879988.00 | CHENNAI ENGINEERING SERVICES
5.00 | Monitoring, Operation and Maintenance of Fire Fighting System/Fire Alarm System along with associated installations as per inventory mentioned in Annexure C8, i/c monitoring, operation and carrying out maintenance activities to ensure the unintrupted serviceability of entire system on round the clock basis by deploying minimum manpower including maintaining registers/ records etc., as per the special conditions and Technical specifications round the clock (Three shift X 8 Hours) on all days including Sundays / holidays as per site requirement etc. complete as required. (Note: The quoted rate shall be exclusive of Goods and Services Tax, EPF, ESI and Bonus) | 12.00 | Months | 0.00 | 239999.00 | 2879988.00 | 261912.00 | 3142944.00 | 250021.00 | 3000252.00 | 2879988.00 | CHENNAI ENGINEERING SERVICES
6.00 | SH II: Miscellaneous works of Power Supply and IEI.
6.01 | Overhauling and Servicing of (400 - 1250) Amp 11 KV HT VCBs by Deploying Authorised Service Personnel of Manufacturer/ Service Dealer provided at Various Power Houses/ Substations including drawing out of the VCB, opening the same, Inspection, Servicing, Cleaning of Contact Surfaces, Overhauling of Operating Mechanism, Lubrication of Moving Parts, Cleaning of CTs, PTs, Busbars and Chambers, Checking of Busbars and bus links, Replacement of Gasket of Panel, Checking of Electrical and Mechanical Operation, measuring of Contact Resistance, Checking of IR values, Testing of ON OFF Time, replacement of minor defective spares supplied by AAI (excluding supply of spares), Testing and Commissioning etc., as required. ISC of VCBs [VCB of Make Schneider -4 Nos.] | 4.00 | Nos | 0.00 | 3499.00 | 13996.00 | 21053.00 | 84212.00 | 3000.00 | 12000.00 | 12000.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | Inspection/ Overhauling/ Servicing of ACBs of Schneider/ ABB Make of Various Capacities provided in the various LT Panels at Various Power Houses/ SSs by Deploying Authorised Service Personnel of Manufacturer/ Service Dealer/ Specialised Agencies experienced in Servicing of ACBs including cleaning of ACBs, opening the same, inspection, servicing, cleaning of contact surfaces, arc chutes, overhauling of operating mechanism, lubrication of moving parts, Checking of UV Coils, Trip Circuits, Checking of Control Circuits, replacement of minor defective spares supplied by AAI (excluding supply of spares), testing and commissioning etc., as required. | 16.00 | Nos | 0.00 | 1499.00 | 23984.00 | 7368.00 | 117888.00 | 1700.00 | 27200.00 | 23984.00 | CHENNAI ENGINEERING SERVICES
8.00 | Calibration of Releases provided in various ACBs in various LT Panels, Testing of Tripping, Timing, etc., i/c adjustment of Settings if required at site by Secondary Injection Test as required. | 16.00 | Nos | 0.00 | 499.00 | 7984.00 | 5263.00 | 84208.00 | 700.00 | 11200.00 | 7984.00 | CHENNAI ENGINEERING SERVICES
9.00 | Testing & Calibration of Relays [(Electro-Mechanical/ Static/ Digital/ Microprocessor Based Relays)-(O/C and E/F)] provided in various HV/LV Panels, Testing of Insulation Values, Pick-up Value, Timing, Burden, etc., i/c adjustment of Settings if required at site etc., as required, conforming to IS 9124/IS 62314 - 2006 by Secondary Injection Test as required. | 8.00 | Jobs | 0.00 | 999.00 | 7992.00 | 10526.00 | 84208.00 | 700.00 | 5600.00 | 5600.00 | DElite System Engineering (India) Pvt. Ltd.
10.00 | Testing & Calibration of Auxillary Relays provided in various EHV/HV/LV Panels, Testing of Insulation values, Pick-up Value, Drop Off, Burden etc., as required, conforming to IS 9124 by Secondary Injection Test as required. | 11.00 | Jobs | 0.00 | 149.00 | 1639.00 | 2105.00 | 23155.00 | 700.00 | 7700.00 | 1639.00 | CHENNAI ENGINEERING SERVICES
11.00 | Testing of 11 KV CTs (3 Nos. of Current Rating each up to 400 Amps) associated with Relays (OC/EF/Master) provided in various HV Panels, Tesing of Polarity, Ratio, Insulation values, Testing of Ammeter connected in the Panel, Marking of available CT Ratio, Checking of Trip Circuit and Breaker Operation/ Tripping etc., as required, conforming to IS 9124 - 1979 by Primary Injection Test (Testing at 50% and 100% Rating) as required. | 4.00 | Jobs | 0.00 | 999.00 | 3996.00 | 5263.00 | 21052.00 | 700.00 | 2800.00 | 2800.00 | DElite System Engineering (India) Pvt. Ltd.
12.00 | Comprehensive Annual Maintenance Contract of Active Harmonic Filters of capacity 150A (4 Nos.) including all spares, consumables, manpower required for trouble shooting, arrangement of all tools & plants, routine, preventive and breakdown maintenance etc. as required as per good Engineering practice for maintaining the system in operational and serviceable state. | 48.00 | Jobs | 0.00 | 5999.00 | 287952.00 | 16842.00 | 808416.00 | 5000.00 | 240000.00 | 240000.00 | DElite System Engineering (India) Pvt. Ltd.
13.00 | Comprehensive Annual Maintenance Contract of RO Water fountain with 01 Nos SS finish bubbler sensor type/ push button including all necessary spares and Consumables, Preventive maintenance, Breakdown maintenance, Emergency services etc. | 6.00 | Nos | 0.00 | 899.00 | 5394.00 | 6316.00 | 37896.00 | 500.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
14.00 | All Inclusive Annual Comprehensive Maintenance of Voltas/ Bluestar Make Water Cooler of Storage Tank Capacity of 80 Liters and RO Purification at 50 LPH Capacity including Supply of all necessary Spares (Both Electrical (including PCB of same Make) and Mechanical (Including SS Taps)), Consumables (Gas/Oil/Filters (Carbon & Spun)-Other than Cleaning Materials), Major Electrical and Mechanical Components and Equipments (Compressors/ Fan/ Motors/ Cooling Coils/ Booster Pumps/Controls Systems (Including All Type of Sensors) etc.), To Carry Out Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS) as required. | 13.00 | Nos | 0.00 | 899.00 | 11687.00 | 12632.00 | 164216.00 | 500.00 | 6500.00 | 6500.00 | DElite System Engineering (India) Pvt. Ltd.
15.00 | All Inclusive Comprehensive Annual Maintenance Contract of following capacity 3 Phase Numeric/socomec Make UPS System installed at MLCP building (Aero Hub) , including providing preventive maintenances as per OEM Standards and Recommendations, carrying out Breakdown Maintenance, Emergency Service etc., including supply and replacement of all necessary spares and consumables, (Except replacement of batteries) providing technical and supporting labour, maintenance of Records, meeting the requirement of AAI to ensure 100% Serviceability etc., complete as required.
15.01 | 6 KVA socomec make UPS - 1 No. | 12.00 | Months | 0.00 | 1499.00 | 17988.00 | 1179.00 | 14148.00 | 1200.00 | 14400.00 | 14148.00 | VOLTAS LIMITED
15.02 | 10 KVA socomec make UPS - 1 No. | 12.00 | Months | 0.00 | 1749.00 | 20988.00 | 1741.00 | 20892.00 | 1200.00 | 14400.00 | 14400.00 | DElite System Engineering (India) Pvt. Ltd.
15.03 | 30 KVA Numeric make UPS - 2 Nos. | 12.00 | Months | 0.00 | 9999.00 | 119988.00 | 4571.00 | 54852.00 | 5000.00 | 60000.00 | 54852.00 | VOLTAS LIMITED
15.04 | 40 KVA Numeric make UPS - 2 Nos. | 12.00 | Months | 0.00 | 9999.00 | 119988.00 | 6095.00 | 73140.00 | 5000.00 | 60000.00 | 60000.00 | DElite System Engineering (India) Pvt. Ltd.
16.00 | Servicing and replacement of defective stainless steel/plastic body hand driers spares (Spares shall be supplied by AAI) of Jaguar/ euronics make complete as required. | 20.00 | Jobs | 0.00 | 149.00 | 2980.00 | 1579.00 | 31580.00 | 50.00 | 1000.00 | 1000.00 | DElite System Engineering (India) Pvt. Ltd.
17.00 | Annual Comprehensive Maintenance Contract for Assa Abloy / dormakaba make automatic Sliding Doors installed in Multi level car parking Chennai International Airport, comprising of periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements to check serviceability & to carry out maintenance, attending breakdown calls as per scope of work enclosed to keep the automatic sliding door in perfect working condition at all time etc. as requried. | 14.00 | Nos | 0.00 | 29999.00 | 419986.00 | 47368.00 | 663152.00 | 29000.00 | 406000.00 | 406000.00 | DElite System Engineering (India) Pvt. Ltd.
18.00 | Rewinding of following fans as per original characteristics with super enamelled copper wire and `E' class insulation material, replacement of the worn out bearing etc., as required i/c dismantling, making arrangement for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required basis).
18.01 | Air Circulator (450mm/600mm Sweep) | 10.00 | Nos | 0.00 | 749.00 | 7490.00 | 3684.00 | 36840.00 | 500.00 | 5000.00 | 5000.00 | DElite System Engineering (India) Pvt. Ltd.
19.00 | SUPPLY OF SPARE PARTS FOR MAINTENANCE & REPAIR WORKS (AS AND WHEN REQUIRED BASIS ONLY)
20.00 | Supply of 450mm sweep, metallic Air circulator of wall mounted type with minimum 1440 RPM and minimum Air delivery of 150 CMM and having minimum noise level 60-65 db suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 4.00 | Nos | 0.00 | 3999.00 | 15996.00 | 9789.00 | 39156.00 | 3000.00 | 12000.00 | 12000.00 | DElite System Engineering (India) Pvt. Ltd.
21.00 | Supply of 600mm sweep, metallic Air circulator of wall mounted type with minimum 1440 RPM and minimum Air delivery of 250 CMM and having minimum noise level 60-65 db suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 4.00 | Nos | 0.00 | 4999.00 | 19996.00 | 13053.00 | 52212.00 | 3000.00 | 12000.00 | 12000.00 | DElite System Engineering (India) Pvt. Ltd.
22.00 | Supply of LED flood light luminaire made of pressure die cast aluminium housing with toughened glass and High Purity lens optics with Surface Mounted Device (SMD) LEDs having System efficacy of more than 110 lm/W and minimum Lumen Output of 8800 Lumen with hermitically sealed separate compartments for LEDs and driver suitable to operate in temperature range of 0ᴼ to 50ᴼ C and on 230 Volt, 50 Hz AC Supply and with Lighting Characteritics of CCT of 5665 ± 355 Kelvin, CRI not less than 70, provided with 4 KV internal Surge Protection and 10 KV external surge protection, IP 66 Ingress Protection complete with all accessories etc., and meeting the techno commercial specifications as required. | 10.00 | Nos | 0.00 | 2499.00 | 24990.00 | 1105.00 | 11050.00 | 2200.00 | 22000.00 | 11050.00 | VOLTAS LIMITED
23.00 | Supply of LED Street light luminaire made of pressure die cast aluminium housing with toughened glass and High Purity lens optics with Surface Mounted Device (SMD) LEDs having System efficacy of more than 110 lm/W and minimum Lumen Output of 12100 Lumen with hermitically sealed separate compartments for LEDs and driver suitable to operate in temperature range of 0ᴼ to 50ᴼ C and on 230 Volt, 50 Hz AC Supply and with Lighting Characteritics of CCT of 5665 ± 355 Kelvin, CRI not less than 70, provided with 4 KV internal Surge Protection and 10 KV external surge protection, IP 66 Ingress Protection complete with all accessories etc., and meeting the techno commercial specifications as required. | 15.00 | Nos | 0.00 | 1199.00 | 17985.00 | 4316.00 | 64740.00 | 1200.00 | 18000.00 | 17985.00 | CHENNAI ENGINEERING SERVICES
24.00 | Supply of 4 feet 40W LED batten made of extruded aluminium housing having luminaire efficacy of not less than 110 lm/W suitable to operate 150 – 270V AC supply, LED Colour Temperature from 5700K - 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications as required. | 75.00 | Nos | 0.00 | 599.00 | 44925.00 | 1211.00 | 90825.00 | 500.00 | 37500.00 | 37500.00 | DElite System Engineering (India) Pvt. Ltd.
25.00 | Supply of 4 feet Linear 40W LED suspended Linear Connected/ Standalone made of extruded aluminium housing linear profile with flushed diffuser for uniform illumination having luminaire efficacy of not less than 110 lm/W suitable to operate 150 – 270V AC supply, LED CCT 3000°K / 4000°K / 5700°K / 6000°K / 6500°K (As per ANSI Bin),with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications as required.(CCT shall be as approved by Engineer-in-Charge as per requirement). | 10.00 | Nos | 0.00 | 3799.00 | 37990.00 | 2718.00 | 27180.00 | 3999.00 | 39990.00 | 27180.00 | VOLTAS LIMITED
26.00 | Supply of 15W LED recess mounted down lighter having luminaire efficacy of not less than 110 lm/W suitable to operate 150 – 270V AC supply, LED CCT 3000°K / 4000°K / 5700°K / 6000°K / 6500°K (As per ANSI Bin) with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications as required.(CCT shall be as approved by Engineer-in-Charge as per requirement) | 75.00 | Nos | 0.00 | 449.00 | 33675.00 | 1138.00 | 85350.00 | 499.00 | 37425.00 | 33675.00 | CHENNAI ENGINEERING SERVICES
27.00 | Supply of 18W-20W LED recess mounted deep recessed adjustable/ fix for down light having luminaire efficacy of not less than 110 lm/W suitable to operate 150 – 270V AC supply, LED CCT 3000°K (As per ANSI Bin) with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications as required.(CCT shall be as approved by Engineer-in-Charge as per requirement) | 15.00 | Nos | 0.00 | 1149.00 | 17235.00 | 2316.00 | 34740.00 | 1400.00 | 21000.00 | 17235.00 | CHENNAI ENGINEERING SERVICES
28.00 | Supply of 5 meter LED flexible strip having efficacy of 100 lm/W and 75 watt, LED Colour Temp. from 3000K/4000K with Minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 65 protected, complete as required and meeting the techno commercial specifications. | 75.00 | Nos | 0.00 | 649.00 | 48675.00 | 737.00 | 55275.00 | 700.00 | 52500.00 | 48675.00 | CHENNAI ENGINEERING SERVICES
29.00 | Supply of IP20, 50-100W / 24V Driver for the above mentioned Strip light along with necessary components complete as required. | 75.00 | Nos | 0.00 | 899.00 | 67425.00 | 4737.00 | 355275.00 | 799.00 | 59925.00 | 59925.00 | DElite System Engineering (India) Pvt. Ltd.
30.00 | Supply of LED aviation obstruction light in cast aluminium housing with poly carbonate enclosure as per ICAO standards complete as required.(Make.bajaj CAT No. BGAV 302 LED or equivalent) | 5.00 | Nos | 0.00 | 3499.00 | 17495.00 | 4474.00 | 22370.00 | 4000.00 | 20000.00 | 17495.00 | CHENNAI ENGINEERING SERVICES
31.00 | Supply of B22 9 W Thread type LED, CCT 3000°K / 4000°K / 5700°K/ 6000°K / 6500°K (As per ANSI Bin)GLS Bulb having efficacy of minimum 95 lm/W, CT 3000 K, suitable for 220-240 Volts AC Supply as required.(CCT shall be as approved by Engineer-in-Charge as per requirement) | 20.00 | Nos | 0.00 | 299.00 | 5980.00 | 158.00 | 3160.00 | 100.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
32.00 | Supply of following sizes PVC Casing and Capping of 1.2 mm thick as required.
32.01 | 20 X 12 mm | 100.00 | Mtrs. | 0.00 | 35.00 | 3500.00 | 21.00 | 2100.00 | 35.00 | 3500.00 | 2100.00 | VOLTAS LIMITED
32.02 | 25 X 16 mm | 50.00 | Mtrs. | 0.00 | 49.00 | 2450.00 | 26.00 | 1300.00 | 40.00 | 2000.00 | 1300.00 | VOLTAS LIMITED
33.00 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required.
33.01 | 3 X 10 sq. mm | 100.00 | Mtrs. | 0.00 | 122.00 | 12200.00 | 103.00 | 10300.00 | 130.00 | 13000.00 | 10300.00 | VOLTAS LIMITED
33.02 | 3 X 16 sq. mm | 100.00 | Mtrs. | 0.00 | 139.00 | 13900.00 | 111.00 | 11100.00 | 140.00 | 14000.00 | 11100.00 | VOLTAS LIMITED
33.03 | 4 X 10 sq. mm | 100.00 | Mtrs. | 0.00 | 165.00 | 16500.00 | 131.00 | 13100.00 | 150.00 | 15000.00 | 13100.00 | VOLTAS LIMITED
33.04 | 4 X 16 sq. mm | 100.00 | Mtrs. | 0.00 | 179.00 | 17900.00 | 140.00 | 14000.00 | 180.00 | 18000.00 | 14000.00 | VOLTAS LIMITED
33.05 | 4 X 25 sq. mm | 100.00 | Mtrs. | 0.00 | 189.00 | 18900.00 | 183.00 | 18300.00 | 200.00 | 20000.00 | 18300.00 | VOLTAS LIMITED
33.06 | 3½ X 35 sq. mm | 100.00 | Mtrs. | 0.00 | 259.00 | 25900.00 | 207.00 | 20700.00 | 250.00 | 25000.00 | 20700.00 | VOLTAS LIMITED
34.00 | Supply of Copper Conductor, FR PVC insulated, PVC sheathed, un-armoured power cable of 1.1 KV grade of following Sizes conforming to IS 694 as amended upto date as required.
34.01 | 3 x 1.5 sq.mm | 100.00 | Mtrs. | 0.00 | 79.00 | 7900.00 | 65.00 | 6500.00 | 70.00 | 7000.00 | 6500.00 | VOLTAS LIMITED
34.02 | 3 x 2.5 sq.mm | 100.00 | Mtrs. | 0.00 | 109.00 | 10900.00 | 102.00 | 10200.00 | 110.00 | 11000.00 | 10200.00 | VOLTAS LIMITED
34.03 | 3 x 4.0 sq.mm | 100.00 | Mtrs. | 0.00 | 209.00 | 20900.00 | 158.00 | 15800.00 | 150.00 | 15000.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd.
35.00 | Supply of following sizes Single core flexible copper conductor Flame Retardent Low Smoke (FRLS) PVC insulated wires of 1.1 K Grade conforming to IS:694 as required.
35.01 | 1.5 sq.mm | 200.00 | Mtrs. | 0.00 | 19.00 | 3800.00 | 21.00 | 4200.00 | 25.00 | 5000.00 | 3800.00 | CHENNAI ENGINEERING SERVICES
35.02 | 2.5 sq.mm | 200.00 | Mtrs. | 0.00 | 28.00 | 5600.00 | 32.00 | 6400.00 | 40.00 | 8000.00 | 5600.00 | CHENNAI ENGINEERING SERVICES
35.03 | 4 sq.mm | 200.00 | Mtrs. | 0.00 | 32.00 | 6400.00 | 53.00 | 10600.00 | 50.00 | 10000.00 | 6400.00 | CHENNAI ENGINEERING SERVICES
36.00 | Supply of following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load and suitable to fix in the existing MCB DB as required.
36.01 | (0-32) A SP | 100.00 | Nos | 0.00 | 109.00 | 10900.00 | 141.00 | 14100.00 | 170.00 | 17000.00 | 10900.00 | CHENNAI ENGINEERING SERVICES
36.02 | 40A DP | 5.00 | Nos | 0.00 | 499.00 | 2495.00 | 638.00 | 3190.00 | 300.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
36.03 | 63A DP | 5.00 | Nos | 0.00 | 599.00 | 2995.00 | 638.00 | 3190.00 | 500.00 | 2500.00 | 2500.00 | DElite System Engineering (India) Pvt. Ltd.
36.04 | 40A TP | 5.00 | Nos | 0.00 | 799.00 | 3995.00 | 998.00 | 4990.00 | 799.00 | 3995.00 | 3995.00 | DElite System Engineering (India) Pvt. Ltd., CHENNAI ENGINEERING SERVICES
36.05 | 40A FP | 10.00 | Nos | 0.00 | 999.00 | 9990.00 | 1285.00 | 12850.00 | 1200.00 | 12000.00 | 9990.00 | CHENNAI ENGINEERING SERVICES
36.06 | 63A FP | 10.00 | Nos | 0.00 | 1199.00 | 11990.00 | 1285.00 | 12850.00 | 1500.00 | 15000.00 | 11990.00 | CHENNAI ENGINEERING SERVICES
37.00 | Supply of following Modular switches, Modular sockets, PVC boxes, Modular base & cover plates etc. as required.
37.01 | Supply of 10A Modular Switch, ABB make compatible for existing modular plate. | 50.00 | Nos | 0.00 | 39.00 | 1950.00 | 59.00 | 2950.00 | 30.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
37.02 | Supply of 20A Modular Switch, ABB make compatible for existing modular plate. | 50.00 | Nos | 0.00 | 89.00 | 4450.00 | 306.00 | 15300.00 | 79.00 | 3950.00 | 3950.00 | DElite System Engineering (India) Pvt. Ltd.
37.03 | Supply of 10A Modular Socket, Anchor ABB make compatible for existing modular plate. | 50.00 | Nos | 0.00 | 79.00 | 3950.00 | 172.00 | 8600.00 | 79.00 | 3950.00 | 3950.00 | DElite System Engineering (India) Pvt. Ltd., CHENNAI ENGINEERING SERVICES
37.04 | Supply of 25A & 10A Modular Twin Socket, ABB make compatible for existing modular plate. | 50.00 | Nos | 0.00 | 139.00 | 6950.00 | 23.00 | 1150.00 | 120.00 | 6000.00 | 1150.00 | VOLTAS LIMITED
37.05 | Dummy plate, ABB make compatible for existing modular plate. | 50.00 | Nos | 0.00 | 9.00 | 450.00 | 21.00 | 1050.00 | 20.00 | 1000.00 | 450.00 | CHENNAI ENGINEERING SERVICES
37.06 | 1 or 2 Module PVC box, ABB make. | 15.00 | Nos | 0.00 | 39.00 | 585.00 | 65.00 | 975.00 | 39.00 | 585.00 | 585.00 | DElite System Engineering (India) Pvt. Ltd., CHENNAI ENGINEERING SERVICES
37.07 | 3 Module PVC box, ABB make. | 15.00 | Nos | 0.00 | 49.00 | 735.00 | 60.00 | 900.00 | 90.00 | 1350.00 | 735.00 | CHENNAI ENGINEERING SERVICES
37.08 | 4 Module PVC box, ABB make. | 15.00 | Nos | 0.00 | 55.00 | 825.00 | 84.00 | 1260.00 | 90.00 | 1350.00 | 825.00 | CHENNAI ENGINEERING SERVICES
37.09 | 6 Module PVC box, ABB make. | 15.00 | Nos | 0.00 | 69.00 | 1035.00 | 63.00 | 945.00 | 90.00 | 1350.00 | 945.00 | VOLTAS LIMITED
37.10 | 9 Module PVC box, ABB make. | 15.00 | Nos | 0.00 | 89.00 | 1335.00 | 93.00 | 1395.00 | 90.00 | 1350.00 | 1335.00 | CHENNAI ENGINEERING SERVICES
37.11 | 12 Module PVC box, ABB make. | 15.00 | Nos | 0.00 | 119.00 | 1785.00 | 79.00 | 1185.00 | 90.00 | 1350.00 | 1185.00 | VOLTAS LIMITED
37.12 | Supply of 1 or 2 Module base & cover plate, ABB make or equivalent for existing modular boxes. | 15.00 | Nos | 0.00 | 69.00 | 1035.00 | 148.00 | 2220.00 | 90.00 | 1350.00 | 1035.00 | CHENNAI ENGINEERING SERVICES
37.13 | Supply of 3 Module base & cover plate, ABB make or equivalent for existing modular boxes. | 15.00 | Nos | 0.00 | 89.00 | 1335.00 | 129.00 | 1935.00 | 120.00 | 1800.00 | 1335.00 | CHENNAI ENGINEERING SERVICES
37.14 | Supply of 4 Module base & cover plate, ABB make or equivalent for modular boxes. | 15.00 | Nos | 0.00 | 109.00 | 1635.00 | 220.00 | 3300.00 | 200.00 | 3000.00 | 1635.00 | CHENNAI ENGINEERING SERVICES
37.15 | Supply of 6 Module base & cover plate, ABB make or equivalent for modular boxes. | 15.00 | Nos | 0.00 | 139.00 | 2085.00 | 179.00 | 2685.00 | 400.00 | 6000.00 | 2085.00 | CHENNAI ENGINEERING SERVICES
37.16 | Supply of 8/9 Module base & cover plate, ABB make or equivalent for modular boxes. | 15.00 | Nos | 0.00 | 169.00 | 2535.00 | 282.00 | 4230.00 | 600.00 | 9000.00 | 2535.00 | CHENNAI ENGINEERING SERVICES
37.17 | Supply of 12 Module base & cover plate, ABB make or equivalent for modular boxes. | 15.00 | Nos | 0.00 | 199.00 | 2985.00 | 196.00 | 2940.00 | 999.00 | 14985.00 | 2940.00 | VOLTAS LIMITED
38.00 | Supply of following spares for stainless steel hand drier of jaguar/ euronics make or equivalent etc as required.
38.01 | Sensor Mounting plate | 4.00 | Nos | 0.00 | 279.00 | 1116.00 | 322.00 | 1288.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.02 | Blower Cover | 4.00 | Nos | 0.00 | 699.00 | 2796.00 | 683.00 | 2732.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.03 | Regulator | 4.00 | Nos | 0.00 | 999.00 | 3996.00 | 211.00 | 844.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.04 | Relay | 4.00 | Nos | 0.00 | 399.00 | 1596.00 | 158.00 | 632.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.05 | Back plate | 4.00 | Nos | 0.00 | 599.00 | 2396.00 | 782.00 | 3128.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.06 | Air nozzle | 4.00 | Nos | 0.00 | 199.00 | 796.00 | 198.00 | 792.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.07 | Carbon set | 4.00 | Nos | 0.00 | 199.00 | 796.00 | 261.00 | 1044.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.08 | Motor | 4.00 | Nos | 0.00 | 479.00 | 1916.00 | 2074.00 | 8296.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.09 | PCB | 4.00 | Nos | 0.00 | 479.00 | 1916.00 | 2971.00 | 11884.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.10 | Sensor mounting plate | 4.00 | Nos | 0.00 | 479.00 | 1916.00 | 158.00 | 632.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.11 | Transformer | 4.00 | Nos | 0.00 | 349.00 | 1396.00 | 211.00 | 844.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.12 | Element | 4.00 | Nos | 0.00 | 349.00 | 1396.00 | 1469.00 | 5876.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.13 | Sensor cover | 4.00 | Nos | 0.00 | 99.00 | 396.00 | 1469.00 | 5876.00 | 100.00 | 400.00 | 396.00 | CHENNAI ENGINEERING SERVICES
38.14 | Motor supporting plate | 4.00 | Nos | 0.00 | 349.00 | 1396.00 | 526.00 | 2104.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
38.15 | Motor gripper | 4.00 | Nos | 0.00 | 349.00 | 1396.00 | 211.00 | 844.00 | 100.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
39.00 | SH III: Miscallaneous works of HVAC
39.01 | Comprehensive Maintenance Contract of HVAC Low side equipments at East & West MLCP comprising of AHUs, FCUs, CSUs, Exhaust and fresh air fans (both Centrifugal & Tube Axial fans), Toilet Inline Fans, Kitchen Exhaust fans, Staircase pressurization fans, Lift well Pressurization fans, Smoke Extract fans, Flow meters, BTU meters, Valves etc., and all its associated accessories such as Blower Fan units and drive motors, Cooling coils, Canvas, Air filters, all side & Door Panels, Electrical Power supply and Control panels, Starter panels i/c VFD, all type of power and control cabling and earth interconnection with starter panels, AHU coil sweat water drain system, condenser/ chilled water pipe lines, strainers, 2 way / 3 way valves with and without insulation, actuators, ducting system, VCDs, Fire dampers system etc., attending water leakage complaints in the pipe lines including carrying out preventive maintenance activities on Monthly/quarterly basis as per OEM recommendation and site requirement for ensuring 100% servicebaility / satisfactory working condition of system with all associated accessories as per inventory list attached as Annexure C2 and attending breakdown maintenance including supply & replacement of all defective components with same rating and make etc. as per Technical Specification and Special Conditions of Contract as required. | 12.00 | Months | 0.00 | 99999.00 | 1199988.00 | 58576.00 | 702912.00 | 92000.00 | 1104000.00 | 702912.00 | VOLTAS LIMITED
40.00 | Comprehensive Maintenance Contract of HVAC High side equipments installed at East & West MLCP comprising of Condenser & Chilled Water Pumps and its associated pipelines & accessories, Cooling Towers i/c fills, sprinklers/nozzles, cooling fans and associated inlet and outlet water pipelines and accessories /installations such as valves with and without insulation, actuators, gauges, sensors, strainers, bellows, flow meters, air separators, pressure vessels, electrical power supply distribution panels, Starter Panels and Control panels i/c VFDs, all type of power and control cables interconnected with distribution panels and HVAC equipments, earthing system including attending all kind of breakdown maintanance to ensure 100% serviceability / satisfactory working condition of the systems as per inventory list attached in Annexure C3 and carrying out preventive maintenance activities as per OEM recommendation including replacement of defective components with same rating and make etc.as per Technical Specification and Special Conditions of Contract as required. | 12.00 | Months | 0.00 | 139999.00 | 1679988.00 | 122647.00 | 1471764.00 | 119000.00 | 1428000.00 | 1428000.00 | DElite System Engineering (India) Pvt. Ltd.
41.00 | All inclusive Comprehensive Maintenance Contract of split type air conditioners at East & West MLCP of various capacities as per inventory list attached in Annexure C4 including supply of all necessary spares (electrical and mechanical), consumables, major electrical and mechanical components and equipment (compressors/ capacitor/ fan/ motor/ coils etc.) and to carry out routine preventive maintenance as per OEM practices and specifications as required.
41.01 | 1 to 2 TR - 12 Nos | 12.00 | Months | 0.00 | 3999.00 | 47988.00 | 3529.00 | 42348.00 | 999.00 | 11988.00 | 11988.00 | DElite System Engineering (India) Pvt. Ltd.
41.02 | 4 to 6 TR - 10 Nos | 12.00 | Months | 0.00 | 12499.00 | 149988.00 | 8059.00 | 96708.00 | 4000.00 | 48000.00 | 48000.00 | DElite System Engineering (India) Pvt. Ltd.
42.00 | Comprehensive Maintenance Contract for following sizes of Air curtains installed at East & West MLCP as per inventory list attached as Annexure C5 including attending breakdown maintenance as and when required and carrying out preventive monthly Servicing activities as per standard practice / OEM recommendations including cleaning of unit enclosure, blowers unit, grills, attending faults, repair / re-winding of blower fan motors, replacement of defective / worn out spares such as Bearings, Bushes, Blowers fan unit, Switches & capacitors etc. as per special conditions and technical specification etc. as required. a) 6 feet Air Curtain - 24 Nos. | 12.00 | Months | 0.00 | 9999.00 | 119988.00 | 7059.00 | 84708.00 | 1100.00 | 13200.00 | 13200.00 | DElite System Engineering (India) Pvt. Ltd.
43.00 | Monitoring, supply and dosing of chemicals as required to maintain the water parameters within control limits as stipulated in technical specifications (Table 1 & 2) i/c monthly water testing and submission of reports from NABL accredited labs etc. complete as required.
43.01 | Condenser water system | 12.00 | Months | 0.00 | 18999.00 | 227988.00 | 6316.00 | 75792.00 | 16000.00 | 192000.00 | 75792.00 | VOLTAS LIMITED
43.02 | Chilled water system | 12.00 | Months | 0.00 | 5999.00 | 71988.00 | 3684.00 | 44208.00 | 5000.00 | 60000.00 | 44208.00 | VOLTAS LIMITED
44.00 | SH-IV: Miscellaneous works of STP
44.01 | Testing of following sewage samples from existing MLCP STP at State/ Central Govt. Laboratory every month and submit the original analysis test report to Engineer -In-charge etc. Complete as required. Samples: (i) MLCP Sewage Treated Water (MLCP East STP 115 KLD & West STP 160 KLD)
44.02 | MLCP East STP 115 KLD | 12.00 | Job | 0.00 | 3999.00 | 47988.00 | 4737.00 | 56844.00 | 4500.00 | 54000.00 | 47988.00 | CHENNAI ENGINEERING SERVICES
44.03 | West STP 160 KLD | 12.00 | Job | 0.00 | 3999.00 | 47988.00 | 4737.00 | 56844.00 | 9999.00 | 119988.00 | 47988.00 | CHENNAI ENGINEERING SERVICES
45.00 | Supplying, fixing, testing and commissioning of Butterfly Valve (Manual) with CI body, SS disc, SS stem, nitrile/ EPDM rubber seal,O - ring & PN 16 pressure rating alongwith bolt, nut, washer as per following sizes etc including dismantling the existing valve complete as required.
45.01 | Butterfly Valve- 65 mm Dia | 1.00 | No | 0.00 | 3499.00 | 3499.00 | 5647.00 | 5647.00 | 700.00 | 700.00 | 700.00 | DElite System Engineering (India) Pvt. Ltd.
45.02 | Butterfly Valve- 50 mm Dia | 1.00 | No | 0.00 | 2999.00 | 2999.00 | 5316.00 | 5316.00 | 700.00 | 700.00 | 700.00 | DElite System Engineering (India) Pvt. Ltd.
46.00 | Supply of following Plumbing accessories accessories for various installations etc as and when required.
46.01 | GI elbow-2" (50 mm) Threaded | 2.00 | Nos | 0.00 | 399.00 | 798.00 | 311.00 | 622.00 | 300.00 | 600.00 | 600.00 | DElite System Engineering (India) Pvt. Ltd.
46.02 | GI Flange-2" (50mm) Threaded | 2.00 | Nos | 0.00 | 299.00 | 598.00 | 616.00 | 1232.00 | 300.00 | 600.00 | 598.00 | CHENNAI ENGINEERING SERVICES
46.03 | GI Pipe Nipple-2" X 12" long | 1.00 | No | 0.00 | 399.00 | 399.00 | 379.00 | 379.00 | 200.00 | 200.00 | 200.00 | DElite System Engineering (India) Pvt. Ltd.
47.00 | NRV wafer type: Body CI, disc SS, Seat: Nitrile/ EPDM PN-16
47.01 | 50 mm Dia | 1.00 | No | 0.00 | 2999.00 | 2999.00 | 1611.00 | 1611.00 | 1200.00 | 1200.00 | 1200.00 | DElite System Engineering (India) Pvt. Ltd.
48.00 | Gate Valve: MOC-Gun Metal with C.I. wheel of approved quality (screwed end) :
48.01 | 50 mm nominal bore | 1.00 | No | 0.00 | 1999.00 | 1999.00 | 3984.00 | 3984.00 | 1900.00 | 1900.00 | 1900.00 | DElite System Engineering (India) Pvt. Ltd.
49.00 | Supply of hand lever operated Cast Steel ball valve approved quality (screwed end) :
49.01 | 1" Ball Valve | 1.00 | No | 0.00 | 999.00 | 999.00 | 5021.00 | 5021.00 | 700.00 | 700.00 | 700.00 | DElite System Engineering (India) Pvt. Ltd.
50.00 | Supply of hand lever operated Cast Steel ball valve approved quality (screwed end) : Supply of following chemicals for water treatment plant and tertiary treatment plant to be supplied as and when required as per site requirement.
50.01 | Liquid Dosing Chemicals
50.02 | Hydro Chloric Acid 35% concentration | 2000.00 | Ltr | 0.00 | 9.00 | 18000.00 | 26.00 | 52000.00 | 10.00 | 20000.00 | 18000.00 | CHENNAI ENGINEERING SERVICES
50.03 | Sodium Hypo Chlorite 6% concentration | 2000.00 | Ltr | 0.00 | 9.00 | 18000.00 | 11.00 | 22000.00 | 10.00 | 20000.00 | 18000.00 | CHENNAI ENGINEERING SERVICES
50.04 | Caustic Soda | 160.00 | Kg | 0.00 | 13.00 | 2080.00 | 84.00 | 13440.00 | 19.00 | 3040.00 | 2080.00 | CHENNAI ENGINEERING SERVICES
50.05 | Industrial Salt | 20000.00 | Kg | 0.00 | 4.00 | 80000.00 | 9.50 | 190000.00 | 8.00 | 160000.00 | 80000.00 | CHENNAI ENGINEERING SERVICES
51.00 | Test Kit
51.01 | Hardness Test kit-atleast 250 sample (Aquasol AE-211 or equivalent) | 2.00 | Nos. | 0.00 | 1999.00 | 3998.00 | 1053.00 | 2106.00 | 1200.00 | 2400.00 | 2106.00 | VOLTAS LIMITED
51.02 | Chloride Test Kit-atleast 300 sample (Aquasol AE-203 or equivalent) | 2.00 | Nos. | 0.00 | 1999.00 | 3998.00 | 1579.00 | 3158.00 | 1200.00 | 2400.00 | 2400.00 | DElite System Engineering (India) Pvt. Ltd.
52.00 | SH-V: Miscallaneous works of Fire Fighting System/Fire Alarm and Detection System
52.01 | Supply, Installation, Testing & commissioning of UL/EN listed (latest version) intelligent addressable Smoke detector with base and unique optical sensing chamber, visible LED etc. complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) or equivalent complete with connections etc. as required and to be installed below/ above false ceiling roof and concreate space and as per enclosed specifications complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) List of Preferred makes for use in AAI works. | 4.00 | Nos. | 0.00 | 3359.00 | 13436.00 | 3263.00 | 13052.00 | 2000.00 | 8000.00 | 8000.00 | DElite System Engineering (India) Pvt. Ltd.
53.00 | Supply, Installation, Testing and Commissioning of UL / EN listed (latest version) intelligent Addressable Type Heat Detector/Laser Dedector (Fixed cum-rate of rise type) with max. triggering temperature programmable as per UL/EN settings complete with all fixing accessories like base, base box, self-adhesive sticker indicating loop number and address etc. to be installed below/ above false ceiling, roof and concealed space, etc. interconnecting to loop cable, etc. as per specification complete as required. List of Preferred makes for use in AAI works. | 4.00 | Nos. | 0.00 | 3359.00 | 13436.00 | 3263.00 | 13052.00 | 2000.00 | 8000.00 | 8000.00 | DElite System Engineering (India) Pvt. Ltd.
54.00 | Supply, Installation, Testing & Commissioning of UL/EN listed (latest version) Intelligent Addressable Manual Call Station (Push & pull dual action type) with connection etc. complete as required and as per Specifications. List of Preferred makes for use in AAI works. | 2.00 | Nos. | 0.00 | 3675.00 | 7350.00 | 3726.00 | 7452.00 | 2000.00 | 4000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
55.00 | Supply, Installation, Testing & Commissioning of UL/EN listed (latest version) Addressable Hooter-cum strobe with adjustable sound level in the range as per UL/EN described db with termination etc. complete as required and as per Specification. List of Preferred makes for use in AAI works. | 1.00 | No | 0.00 | 3149.00 | 3149.00 | 4316.00 | 4316.00 | 2000.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
56.00 | Supply of Solo A10S - 001 HFC Free Smoke Detector Tester 250 ml etc as required | 1.00 | Can | 0.00 | 3500.00 | 3500.00 | 4316.00 | 4316.00 | 50.00 | 50.00 | 50.00 | DElite System Engineering (India) Pvt. Ltd.
57.00 | Providing Sprinkler bulb with washer, gaskets, nipple etc., complete as required. | 10.00 | Each | 0.00 | 419.00 | 4190.00 | 289.00 | 2890.00 | 999.00 | 9990.00 | 2890.00 | VOLTAS LIMITED
58.00 | Providing, laying, testing & commissioning of C class heavy duty MS pipe conforming to IS 3589/IS 1239 including welding, fittings like elbow, tees, flanges, tapers, nuts bolts, gasket etc. and fixing the pipe on the wall/ceiling with suitable clamp/suuport frame and painting with two or more coats of synthetic enamel paint of required shade complete as required.
58.01 | 25 mm dia (IS: 1239, Heavy 'C' class) | 12.00 | Mtr | 0.00 | 119.00 | 1428.00 | 374.00 | 4488.00 | 999.00 | 11988.00 | 1428.00 | CHENNAI ENGINEERING SERVICES
58.02 | 32 mm dia (IS: 1239, Heavy 'C' class) | 12.00 | Mtr | 0.00 | 149.00 | 1788.00 | 458.00 | 5496.00 | 999.00 | 11988.00 | 1788.00 | CHENNAI ENGINEERING SERVICES
58.03 | 40 mm dia (IS: 1239, Heavy 'C' class) | 12.00 | Mtr | 0.00 | 179.00 | 2148.00 | 528.00 | 6336.00 | 1400.00 | 16800.00 | 2148.00 | CHENNAI ENGINEERING SERVICES
59.00 | Providing, laying, testing & commissioning of C class heavy duty MS pipe conforming to IS 3589/IS 1239 including fittings like elbow, tees, flanges, tapers, nuts bolts, gasket etc. including welding excavation and providing cement concrete blocks as supports, anticorrosive treatement with coaltar/Asphalt tape as per IS 10221, refilling the trench etc complete as required.
59.01 | 100 mm dia (IS: 1239, Heavy 'C' class) | 12.00 | Mtrs | 0.00 | 1999.00 | 23988.00 | 1663.00 | 19956.00 | 2000.00 | 24000.00 | 19956.00 | VOLTAS LIMITED
59.02 | 150 mm dia (IS: 1239, Heavy 'C' class) | 12.00 | Mtrs | 0.00 | 2499.00 | 29988.00 | 2337.00 | 28044.00 | 3000.00 | 36000.00 | 28044.00 | VOLTAS LIMITED
60.00 | Providing and fixing the following size of lever operated butterfly valves of approved make after dismantling the existing damaged one i/c replacement of the gasket nutbolts etc complete as required.
60.01 | 100mm dia (PN-16) | 2.00 | Nos. | 0.00 | 1999.00 | 3998.00 | 3926.00 | 7852.00 | 2000.00 | 4000.00 | 3998.00 | CHENNAI ENGINEERING SERVICES
60.02 | 150mm dia (PN-16) | 2.00 | Nos. | 0.00 | 2499.00 | 4998.00 | 4958.00 | 9916.00 | 4000.00 | 8000.00 | 4998.00 | CHENNAI ENGINEERING SERVICES
61.00 | Providing of following size of Non return valves/check valve/Gate valve of approved make after dismantling the existing damaged one i/c replacement of the gasket, nutbolts etc as required.
61.01 | 100mm dia NRV | 2.00 | Nos. | 0.00 | 1999.00 | 3998.00 | 4789.00 | 9578.00 | 3000.00 | 6000.00 | 3998.00 | CHENNAI ENGINEERING SERVICES
61.02 | 200mm dia NRV | 2.00 | Nos. | 0.00 | 2499.00 | 4998.00 | 6021.00 | 12042.00 | 5000.00 | 10000.00 | 4998.00 | CHENNAI ENGINEERING SERVICES
62.00 | Replacement of following spares suitable for existing 63mm dia hydrant delivery/landing valves (Single/ Double Head), first aid hose reel drums, other related accessories and valves in fire hydrant and sprinkler system etc as required.
62.01 | Rubber coupling washer | 50.00 | Nos. | 0.00 | 199.00 | 9950.00 | 32.00 | 1600.00 | 50.00 | 2500.00 | 1600.00 | VOLTAS LIMITED
62.02 | Rubber sheeting washer | 10.00 | Nos. | 0.00 | 299.00 | 2990.00 | 32.00 | 320.00 | 50.00 | 500.00 | 320.00 | VOLTAS LIMITED
62.03 | 1" Rubber Gasket | 10.00 | Nos. | 0.00 | 199.00 | 1990.00 | 1316.00 | 13160.00 | 50.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
62.04 | 12mm dia, 3" long bolts & nuts | 10.00 | Nos. | 0.00 | 99.00 | 990.00 | 63.00 | 630.00 | 30.00 | 300.00 | 300.00 | DElite System Engineering (India) Pvt. Ltd.
62.05 | Rubber Hose 20mm X 30 Mtrs, suitable for first aid hose reel drums | 10.00 | Nos. | 0.00 | 199.00 | 1990.00 | 5074.00 | 50740.00 | 7999.00 | 79990.00 | 1990.00 | CHENNAI ENGINEERING SERVICES
62.06 | O ring seal for first aid hose reel drum | 10.00 | Nos. | 0.00 | 199.00 | 1990.00 | 32.00 | 320.00 | 50.00 | 500.00 | 320.00 | VOLTAS LIMITED
62.07 | 25 mm dia forged brass ball valve | 10.00 | Nos. | 0.00 | 249.00 | 2490.00 | 1158.00 | 11580.00 | 999.00 | 9990.00 | 2490.00 | CHENNAI ENGINEERING SERVICES
62.08 | Brass shutoff nozzle with 1/2" ball valve | 10.00 | Nos. | 0.00 | 249.00 | 2490.00 | 1211.00 | 12110.00 | 999.00 | 9990.00 | 2490.00 | CHENNAI ENGINEERING SERVICES
62.09 | 25mm GM air releas valve (Screwed type) | 10.00 | Nos. | 0.00 | 199.00 | 1990.00 | 1263.00 | 12630.00 | 999.00 | 9990.00 | 1990.00 | CHENNAI ENGINEERING SERVICES
62.10 | Providing of 100mm dia pressure gauges, 0 -200 PSI, H.Guru make or as per the approved make specification etc complete as required. | 2.00 | Nos. | 0.00 | 1499.00 | 2998.00 | 1053.00 | 2106.00 | 1999.00 | 3998.00 | 2106.00 | VOLTAS LIMITED
62.11 | Providing of pressure switch suitable for the existing system with a pressure range of 1-10 bar etc complete as required. | 2.00 | Nos. | 0.00 | 1499.00 | 2998.00 | 3105.00 | 6210.00 | 1999.00 | 3998.00 | 2998.00 | CHENNAI ENGINEERING SERVICES
62.12 | Calibration of pressure gauges and submission of reports etc complete as required. | 5.00 | Nos. | 0.00 | 1999.00 | 9995.00 | 526.00 | 2630.00 | 2500.00 | 12500.00 | 2630.00 | VOLTAS LIMITED
62.13 | Calibration of pressure switches and submission of report etc complete as required | 5.00 | Nos. | 0.00 | 1999.00 | 9995.00 | 526.00 | 2630.00 | 2500.00 | 12500.00 | 2630.00 | VOLTAS LIMITED
62.14 | Painting (Two or more coats) with synthetic enamel paint of approved shade and color over one coat of red oxide primer over pipelines i/c cleaning/scrapping and marking the existing indications/numbers with white paint/sticker etc complete as required. | 100.00 | Sq.Mtr | 0.00 | 159.00 | 15900.00 | 2316.00 | 231600.00 | 150.00 | 15000.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd.
63.00 | Providing Minor Civil repair works etc as and when required for attending breakdown of Hydrant system as detailed below:
63.01 | Earth work (all types of soil) in excavation by mechanical means (Hydraulic excavator) /manual means including disposal of excavated erath, disposed earth to be levelled and neatly dressed. | 2.00 | Cum | 0.00 | 2999.00 | 5998.00 | 111.00 | 222.00 | 1000.00 | 2000.00 | 222.00 | VOLTAS LIMITED
63.02 | Demolishing cement concrete manually/mechanical means including disposal of material within 50 meters lead as per direction of Engineer-In-Charge. | 2.00 | Cum | 0.00 | 2999.00 | 5998.00 | 1263.00 | 2526.00 | 1000.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
63.03 | Laying cement concrete in 1:2:4 (1cement : 2 coarse sand: 4 graded stone aggregate 20mm nominal size) i/c curing etc. | 2.00 | Cum | 0.00 | 1999.00 | 3998.00 | 7895.00 | 15790.00 | 6000.00 | 12000.00 | 3998.00 | CHENNAI ENGINEERING SERVICES
63.04 | Cement morter in 1:6 (1cement: 6 coarse sand) i/c curing etc. | 2.00 | Cum | 0.00 | 1499.00 | 2998.00 | 6842.00 | 13684.00 | 700.00 | 1400.00 | 1400.00 | DElite System Engineering (India) Pvt. Ltd.
63.05 | Brick work common burnt clay F.P.S (non modular) class B bricks in foundation and plinth in 1:6 (1 cement: 6 | 2.00 | Cum | 0.00 | 999.00 | 1998.00 | 8947.00 | 17894.00 | 700.00 | 1400.00 | 1400.00 | DElite System Engineering (India) Pvt. Ltd.
63.06 | Providing SS holding lugs with nut and bolt etc complete as required | 2.00 | Nos. | 0.00 | 999.00 | 1998.00 | 158.00 | 316.00 | 700.00 | 1400.00 | 316.00 | VOLTAS LIMITED
63.07 | Providing MS trim kit and gong bell for alarm valve 150 NB with nut and bolts etc complete as required | 1.00 | No | 0.00 | 1199.00 | 1199.00 | 36842.00 | 36842.00 | 999.00 | 999.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
63.08 | Providing 15mm ball & 50mm ball valve etc complete as required | 1.00 | No | 0.00 | 1499.00 | 1499.00 | 579.00 | 579.00 | 999.00 | 999.00 | 579.00 | VOLTAS LIMITED
64.00 | SH VI: DSR Electrical Items:
65.00 | Execution of Items of CPWD Delhi Schedule Rates (DSR) E&M 2025 as and when required for attending Repair and Maintenance, Breakdowns and Upkeep of E & M Installations as per Direction of Engineer-In-Charge at MLCP under Chennai Airport conforming to CPWD General Specifications for Electrical Works Part-I (Internal) 2023, Part-II (External) 2023, Part -IV (Substation) 2013, Part -V (Wet Riser & Sprinkler Systems) 2020, Part VI (Fire Detection and Alarm System) 2018, HVAC 2024 and also to relevant BIS Specifications. Note: The Bidder shall quote the Rate in INR only for the Job corresponding to the Base Rate (Rs. 15,00,000.00 as per Proposed Estimate) and Percentage (%) Above/ Below shall be calculated by AAI (Based on Quoted Rate w.r.t Base Rate) and the same % worked out will be applied on DSR Rates while executing the DSR Items and will be paid as per Payment Methodology given in Annexure - G. | 1.00 | Job | 0.00 | 1000000.00 | 1000000.00 | 1342105.00 | 1342105.00 | 900000.00 | 900000.00 | 900000.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 23447427.00 |  | 26441344.00 |  | 23275068.44
Lowest Amount Quoted BY: DElite System Engineering (India) Pvt. Ltd.(23275068.44)

## BOQ Summary
BOQ Summary Details Tender Title: M/R to E and M Installations at Chennai International Airport. SH Facility Management Contract (FMC) of E and M Installations of Multi Level Car Parking (MLCP) at Chennai Airport) Tender ID: 2025_AAI_254683_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DElite System Engineering (India) Pvt. Ltd. (BID ID -932490) | 23275068.44 | L1
| 2 | CHENNAI ENGINEERING SERVICES (BID ID -933872) | 23447427.00 | L2
| 3 | VOLTAS LIMITED (BID ID -934293) | 26441344.00 | L3