## BoQ1
Government eProcurement System Created By: Manoj Kumar Sahoo Created Date/Time: 19-Dec-2025 12:18 PM Tender Title: Replacement of Cassette type Air Conditioning units at Passenger Boarding Bridges of Visakhapatnam Airport Tender ID: 2025_AAI_255197_1
Tender Inviting Authority:
Name of Work: Replacement of Cassette type Air Conditioning units at Passenger Boarding Bridges of Visakhapatnam Airport
Contract No: 2025_AAI_255197_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Standard Airconditioning and Refrigeration Engineers (GSTN-36ACIPM4401B1Z5) BID ID -941835 |  | V Save Electronics Pvt Ltd (GSTN-NA) BID ID -937273
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling of existing 4-way cassette ac units in passenger boarding aero bridges without any damage to indoor units in ceiling and outdoor units on external MS stand, older refrigerant copper pipe line including insulation, Condense water drain pipe arrangements including making good the damages to the original finish and shifting to AAI stores etc complete as required. | 3.00 | Job | 767.00 | 630.00 | 1890.00 | 1000.00 | 3000.00 | 1890.00 | Standard Airconditioning and Refrigeration Engineers
2.00 | SITC of 4.0 TR, 4-way Inverter Type Cassette Air Conditioning Unit at the aircraft side of Bukaka Make Passenger Boarding Bridges, installed under the ceiling, complete with outdoor (copper coil) condensing unit having one hermetically sealed Scroll/Rotary-Swing/Twin Rotary compressor, using R-32/R-410A/Non-CFC refrigerant, minimum 3-star rating, suitable for single/three phase 240/415V, 50Hz AC supply, with cordless remote control, including necessary modification of MS supports, threaded rods, accessories, and minor fabrication works as per site requirement etc complete as required. (Make: Hitachi, Model: RAG348HGE00 or equivqlent as per AAI Preffered Make List) | 3.00 | Each | 1232.00 | 116901.00 | 350703.00 | 118000.00 | 354000.00 | 350703.00 | Standard Airconditioning and Refrigeration Engineers
3.00 | Supply and installation of Nitrile rubber–insulated copper refrigerant piping of size 5/8" (suction line) and 3/8" (discharge line) between Outdoor and Indoor Units of the Air Conditioning system as per BOQ Item No. 1, including necessary fittings, supports, copper brazing, and accessories, complete as required. | 15.00 | Mtr | 1072.00 | 1250.00 | 18750.00 | 1000.00 | 15000.00 | 15000.00 | V Save Electronics Pvt Ltd
4.00 | Supply, installation, and fixing of 1" dia. PVC drain pipe for AC units as specified under BOQ Item No. 1, including all necessary fittings, bends, tees, supports, clamps, sealing, and allied accessories, with proper alignment and connection to the nearest drain point, complete in all respects as required. | 15.00 | Mtr | 2346.00 | 95.00 | 1425.00 | 100.00 | 1500.00 | 1425.00 | Standard Airconditioning and Refrigeration Engineers
5.00 | Supply and installation of 4C x 4 sq.mm Multi Core Copper Conductor PVC insulated and sheathed ‐ FR cable interconnecting control cable between Indoor and Outdoor Units, including necessary connections and terminations as required. | 15.00 | Mtr | 10980.00 | 250.00 | 3750.00 | 100.00 | 1500.00 | 1500.00 | V Save Electronics Pvt Ltd
| Total in Figures |  |  |  |  | 376518.00 |  | 375000.00
Lowest Amount Quoted BY: V Save Electronics Pvt Ltd(375000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Cassette type Air Conditioning units at Passenger Boarding Bridges of Visakhapatnam Airport Tender ID: 2025_AAI_255197_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | V Save Electronics Pvt Ltd (BID ID -937273) | 375000.00 | L1
| 2 | Standard Airconditioning and Refrigeration Engineers (BID ID -941835) | 376518.00 | L2