## BoQ1
Government eProcurement System Created By: Manoj Kumar Sahoo Created Date/Time: 17-Feb-2026 12:46 PM Tender Title: SITC of Soft Starters for 300 Tr Chiller and Supply and fixing of AHU bottom GI sheet at Visakhapatnam International Airport Tender ID: 2025_AAI_256190_1
Tender Inviting Authority:
Name of Work : ARMO of Electrical and Mechanical Installations 2025-26 at Visakhapatnam Airport. SH : Supply, Installation, Testing & Commissioning of Soft Starters for 300 Tr Chiller and Supply and fixing of AHU bottom GI sheet at Visakhapatnam International Airport.
Contract No: 2025_AAI_256190_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNOWMEX ENGINEERS LIMITED (GSTN-07AAMCS8717P1ZF) BID ID -950072 |  | DSRK CONSTRUCTIONS (GSTN-NA) BID ID -955257
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of Soft Starter of current ratings 142 Amps confirming to IEC 60947-42 suitable to existing Chiller unit (Make: DUNHAM- BUSH, MODEL NO. HXWCi310-5SR) in HVAC plant as per technical specification with all necessary programming and accessories for fixing of the same etc., complete as required. (Preferred make : ABB, Model : PSTX 142-600-70 or equivalent). | 1.00 | Job |  | 220000.00 | 220000.00 | 195000.00 | 195000.00 | 195000.00 | DSRK CONSTRUCTIONS
2.00 | Supply, Installation, Testing and Commissioning of Soft Starter of current ratings 175 Amps confirming to IEC 60947-42 suitable to existing Chiller unit (Make: DUNHAM- BUSH, MODEL NO. HXWCi310-5SR) in HVAC plant as per technical specification with all necessary programming and accessories for fixing of the same etc., complete as required. (Preferred make: ABB, Model: PSTX 175-600-70 or equivalent) | 1.00 | Job |  | 250000.00 | 250000.00 | 205000.00 | 205000.00 | 205000.00 | DSRK CONSTRUCTIONS
3.00 | Supply and laying of 1 Core x 50 Sqmm size XLPE insulated PVC sheathed Copper flexible power cable of 1.1 KV grade confirming to IS 7098 (part 1) 2011 with upto date amendments etc., complete as required. | 10.00 | Mtr |  | 150.00 | 1500.00 | 960.00 | 9600.00 | 1500.00 | SNOWMEX ENGINEERS LIMITED
4.00 | Supply and laying of 1 Core x 70 Sqmm size XLPE insulated PVC sheathed Copper flexible power cable of 1.1 KV grade confirming to IS 7098 (part 1) 2011 with upto date amendments etc., complete as required. | 45.00 | Mtr |  | 100.00 | 4500.00 | 1400.00 | 63000.00 | 4500.00 | SNOWMEX ENGINEERS LIMITED
5.00 | Supply and laying of 1 Core x 95 Sqmm size XLPE insulated PVC sheathed Copper flexible power cable of 1.1 KV grade confirming to IS 7098 (part 1) 2011 with upto date amendments etc., complete as required. | 10.00 | Mtr |  | 102.00 | 1020.00 | 1800.00 | 18000.00 | 1020.00 | SNOWMEX ENGINEERS LIMITED
6.00 | Supply and laying of 1 Core x 120 Sqmm size XLPE insulated PVC sheathed Copper flexible power cable of 1.1 KV grade confirming to IS 7098 (part 1) 2011 with upto date amendments etc., complete as required. | 10.00 | Mtr |  | 105.00 | 1050.00 | 2350.00 | 23500.00 | 1050.00 | SNOWMEX ENGINEERS LIMITED
7.00 | Supplying and Making end termination with Copper lugs for 1 core 50 sq.mm XLPE insulated and PVC sheathed 1.1KV grade Copper cable etc., as required. | 6.00 | Each |  | 50.00 | 300.00 | 75.00 | 450.00 | 300.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Supplying and Making end termination with Copper lugs for 1 core 70 sq.mm XLPE insulated and PVC sheathed 1.1KV grade Copper cable etc., as required. | 24.00 | Each |  | 50.00 | 1200.00 | 110.00 | 2640.00 | 1200.00 | SNOWMEX ENGINEERS LIMITED
9.00 | Supplying and Making end termination with Copper lugs for 1 core 95 sq.mm XLPE insulated and PVC sheathed 1.1KV grade Copper cable etc., as required. | 24.00 | Each |  | 55.00 | 1320.00 | 140.00 | 3360.00 | 1320.00 | SNOWMEX ENGINEERS LIMITED
10.00 | Supplying and Making end termination with Copper lugs for 1 core 120 sq.mm XLPE insulated and PVC sheathed 1.1KV grade Copper cable etc., as required. | 18.00 | Each |  | 56.00 | 1008.00 | 200.00 | 3600.00 | 1008.00 | SNOWMEX ENGINEERS LIMITED
11.00 | Dismantling of AHU (Capacity upto 24000 CFM) PUF casing for enabeling to repairing the AHU bottom with new GI sheet as per BOQ item No. 12 and re-fixing the same after completion of work etc, complete as required. | 10.00 | Job |  | 1210.00 | 12100.00 | 13000.00 | 130000.00 | 12100.00 | SNOWMEX ENGINEERS LIMITED
12.00 | Supply and fixing of GI sheet of AHUs bottom including cutting, welding & dismantling of old GI sheet and replace with new 18 gauge GI sheet etc complete as required. | 70.00 | Sqm |  | 2815.00 | 197050.00 | 1200.00 | 84000.00 | 84000.00 | DSRK CONSTRUCTIONS
| Total in Figures |  |  |  |  | 691048.00 |  | 738150.00
Lowest Amount Quoted BY: SNOWMEX ENGINEERS LIMITED(691048.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Soft Starters for 300 Tr Chiller and Supply and fixing of AHU bottom GI sheet at Visakhapatnam International Airport Tender ID: 2025_AAI_256190_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SNOWMEX ENGINEERS LIMITED (BID ID -950072) | 691048.00 | L1
| 2 | DSRK CONSTRUCTIONS (BID ID -955257) | 738150.00 | L2