## BoQ1
Government eProcurement System Created By: Jeeshan Ali Ansari Created Date/Time: 08-Jan-2026 12:31 PM Tender Title: Special Civil Maintenance (Renovation) of DWR Building at Dibrugarh Airport. Tender ID: 2025_AAI_256323_1
Tender Inviting Authority: Jeeshan Ali Ansari, SM(Engg-Civil), AAI, Dibrugarh Airport
Name of Work : Special Civil Maintenance (Renovation) of DWR Building at Dibrugarh Airport.
Contract No: 2025_AAI_256323_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PRAKASH SARMAH (GSTN-NA) BID ID -940890 |  | RAHIM UDDIN KHAN (GSTN-NA) BID ID -941780
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size). | 6.00 | Cum | 100.00 | 5751.00 | 34506.00 | 5000.00 | 30000.00 | 30000.00 | RAHIM UDDIN KHAN
2.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approvedmake, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 115.00 | Sqm | 10.00 | 588.00 | 67620.00 | 900.00 | 103500.00 | 67620.00 | PRAKASH SARMAH
3.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 10.00 | Each | 10.00 | 120.00 | 1200.00 | 280.00 | 2800.00 | 1200.00 | PRAKASH SARMAH
4.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 480.00 | kg | 10.00 | 241.00 | 115680.00 | 130.00 | 62400.00 | 62400.00 | RAHIM UDDIN KHAN
5.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). | 180.00 | sqm | 10.00 | 1023.00 | 184140.00 | 1120.00 | 201600.00 | 184140.00 | PRAKASH SARMAH
6.00 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300mm or more (thickness to be specified by the manufacturer), of 1stquality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4(1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. | 55.00 | Sqm | 10.00 | 971.00 | 53405.00 | 1150.00 | 63250.00 | 53405.00 | PRAKASH SARMAH
7.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 40.00 | sqm | 10.00 | 1134.00 | 45360.00 | 1300.00 | 52000.00 | 45360.00 | PRAKASH SARMAH
8.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 130.00 | Metre | 10.00 | 496.00 | 64480.00 | 350.00 | 45500.00 | 45500.00 | RAHIM UDDIN KHAN
9.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 110 mm Shoe | 6.00 | Each | 10.00 | 117.00 | 702.00 | 250.00 | 1500.00 | 702.00 | PRAKASH SARMAH
10.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 10.00 | Each | 10.00 | 102.00 | 1020.00 | 300.00 | 3000.00 | 1020.00 | PRAKASH SARMAH
11.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 8.00 | Each | 10.00 | 117.00 | 936.00 | 350.00 | 2800.00 | 936.00 | PRAKASH SARMAH
12.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 50.00 | Sqm | 10.00 | 511.00 | 25550.00 | 1000.00 | 50000.00 | 25550.00 | PRAKASH SARMAH
13.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. a) Two coats | 1750.00 | Sqm | 10.00 | 58.00 | 101500.00 | 90.00 | 157500.00 | 101500.00 | PRAKASH SARMAH
14.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 1900.00 | Sqm | 10.00 | 18.00 | 34200.00 | 70.00 | 133000.00 | 34200.00 | PRAKASH SARMAH
15.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface). | 1900.00 | Sqm | 10.00 | 58.00 | 110200.00 | 85.00 | 161500.00 | 110200.00 | PRAKASH SARMAH
16.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 13.00 | Each | 10.00 | 204.00 | 2652.00 | 450.00 | 5850.00 | 2652.00 | PRAKASH SARMAH
17.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes within 50 metres lead as per direction of Engineer- in-Charge. (a) Internal Work - Exposed on wall | 105.00 | Metre | 10.00 | 37.00 | 3885.00 | 110.00 | 11550.00 | 3885.00 | PRAKASH SARMAH
18.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer 3 mm thick water proofing membrane, black finished reinforced with non-woven polyester matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufacture of density at 25°C, 0.87-0.89 kg/ litre and viscocity 70-160 cps. Over the primer coat the layer of membrane shall be laid using Butane Torch and sealing all joints etc, and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 650/ 450N/ 5cm. Tear strength in longitudinal and transverse direction as 300/ 250N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick | 335.00 | Sqm | 10.00 | 511.00 | 171185.00 | 180.00 | 60300.00 | 60300.00 | RAHIM UDDIN KHAN
19.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix). | 6.00 | Cum | 10.00 | 139.00 | 834.00 | 2500.00 | 15000.00 | 834.00 | PRAKASH SARMAH
20.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 190.00 | Sqm | 10.00 | 29.00 | 5510.00 | 450.00 | 85500.00 | 5510.00 | PRAKASH SARMAH
21.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 8.00 | Each | 10.00 | 110.00 | 880.00 | 145.00 | 1160.00 | 880.00 | PRAKASH SARMAH
22.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 240.00 | Sqm | 10.00 | 16.00 | 3840.00 | 190.00 | 45600.00 | 3840.00 | PRAKASH SARMAH
23.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 35.00 | Sqm | 10.00 | 58.00 | 2030.00 | 180.00 | 6300.00 | 2030.00 | PRAKASH SARMAH
24.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 100.00 | Cum | 10.00 | 197.00 | 19700.00 | 950.00 | 95000.00 | 19700.00 | PRAKASH SARMAH
25.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 175.00 | metre | 10.00 | 1022.00 | 178850.00 | 450.00 | 78750.00 | 78750.00 | RAHIM UDDIN KHAN
26.00 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 4.00 | Each | 10.00 | 4015.00 | 16060.00 | 2200.00 | 8800.00 | 8800.00 | RAHIM UDDIN KHAN
27.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : | 1.00 | Each | 10.00 | 4745.00 | 4745.00 | 950.00 | 950.00 | 950.00 | RAHIM UDDIN KHAN
28.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : | 2.00 | Each | 10.00 | 5256.00 | 10512.00 | 850.00 | 1700.00 | 1700.00 | RAHIM UDDIN KHAN
29.00 | White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 8.00 | Each | 10.00 | 2628.00 | 21024.00 | 1400.00 | 11200.00 | 11200.00 | RAHIM UDDIN KHAN
30.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia | 8.00 | Each | 10.00 | 153.00 | 1224.00 | 95.00 | 760.00 | 760.00 | RAHIM UDDIN KHAN
31.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 1.00 | Each | 10.00 | 307.00 | 307.00 | 500.00 | 500.00 | 307.00 | PRAKASH SARMAH
32.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 6.00 | Each | 10.00 | 1095.00 | 6570.00 | 500.00 | 3000.00 | 3000.00 | RAHIM UDDIN KHAN
33.00 | Providing and fixing toilet paper holder: C.P.brass | 10.00 | Each | 10.00 | 402.00 | 4020.00 | 190.00 | 1900.00 | 1900.00 | RAHIM UDDIN KHAN
34.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 3989 | 9.00 | Each | 10.00 | 3103.00 | 27927.00 | 490.00 | 4410.00 | 4410.00 | RAHIM UDDIN KHAN
35.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :100 mm inlet and 75 mm outlet Sand cast iron S&S as per IS - 3989 | 9.00 | Each | 10.00 | 2336.00 | 21024.00 | 290.00 | 2610.00 | 2610.00 | RAHIM UDDIN KHAN
36.00 | Providing and fixing PTMT Waste Coupling for wash basin and sink, of approved quality and colour. Waste coupling 31 mm dia of 79 mm length and 62 mm breadth weighing not less than 45 gms. | 8.00 | Each | 10.00 | 88.00 | 704.00 | 190.00 | 1520.00 | 704.00 | PRAKASH SARMAH
37.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 7.00 | Each | 10.00 | 548.00 | 3836.00 | 140.00 | 980.00 | 980.00 | RAHIM UDDIN KHAN
38.00 | Providing and fixing PTMT 15 mm Urinal spreader size 95x69x100 mm with 1/2" BSP thread and shapes, weighing not less than 60 gms. | 3.00 | Each | 10.00 | 120.00 | 360.00 | 390.00 | 1170.00 | 360.00 | PRAKASH SARMAH
39.00 | Providing and fixing PTMT urinal cock of approved quality and colour. 15 mm nominal bore, 80 mm long. 42 mm high and 30 mm wide with BSP female threads weighing not less than 48 gms. | 3.00 | Each | 10.00 | 120.00 | 360.00 | 380.00 | 1140.00 | 360.00 | PRAKASH SARMAH
40.00 | Providing and fixing floor mounted, white vitreous china single piece, double traps syphonic water closet of approved brand/make, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | 6.00 | Each | 10.00 | 6205.00 | 37230.00 | 480.00 | 2880.00 | 2880.00 | RAHIM UDDIN KHAN
41.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 32 mm nominal outer dia Pipes | 60.00 | Metre | 10.00 | 197.00 | 11820.00 | 490.00 | 29400.00 | 11820.00 | PRAKASH SARMAH
42.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls 15 mm nominal outer dia Pipes | 50.00 | Metre | 10.00 | 212.00 | 10600.00 | 190.00 | 9500.00 | 9500.00 | RAHIM UDDIN KHAN
43.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls 20 mm nominal outer dia Pipes | 50.00 | Metre | 10.00 | 256.00 | 12800.00 | 290.00 | 14500.00 | 12800.00 | PRAKASH SARMAH
44.00 | Making connection of G.I. distribution branch with G.I. mains of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore | 5.00 | Each | 10.00 | 307.00 | 1535.00 | 250.00 | 1250.00 | 1250.00 | RAHIM UDDIN KHAN
45.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :32 mm nominal bore. | 5.00 | Each | 10.00 | 964.00 | 4820.00 | 400.00 | 2000.00 | 2000.00 | RAHIM UDDIN KHAN
46.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required :15 mm nominal bore | 10.00 | Each | 10.00 | 336.00 | 3360.00 | 400.00 | 4000.00 | 3360.00 | PRAKASH SARMAH
47.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required :20 mm nominal bore | 5.00 | Each | 10.00 | 402.00 | 2010.00 | 400.00 | 2000.00 | 2000.00 | RAHIM UDDIN KHAN
48.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required :32 mm nominal bore | 5.00 | Each | 10.00 | 584.00 | 2920.00 | 1150.00 | 5750.00 | 2920.00 | PRAKASH SARMAH
49.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore. | 7.00 | Each | 10.00 | 518.00 | 3626.00 | 850.00 | 5950.00 | 3626.00 | PRAKASH SARMAH
50.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15 mm nominal bore. | 7.00 | Each | 10.00 | 584.00 | 4088.00 | 500.00 | 3500.00 | 3500.00 | RAHIM UDDIN KHAN
51.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 150 x 100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 10.00 | Each | 10.00 | 5211.47 | 52114.70 | 700.00 | 7000.00 | 7000.00 | RAHIM UDDIN KHAN
52.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 100.00 | KG | 10.00 | 1095.00 | 109500.00 | 530.00 | 53000.00 | 53000.00 | RAHIM UDDIN KHAN
53.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 200.00 | KG | 10.00 | 1095.00 | 219000.00 | 240.00 | 48000.00 | 48000.00 | RAHIM UDDIN KHAN
54.00 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides. | 20.00 | Sqm | 10.00 | 876.00 | 17520.00 | 800.00 | 16000.00 | 16000.00 | RAHIM UDDIN KHAN
55.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 100.00 | Sqm | 10.00 | 803.00 | 80300.00 | 2000.00 | 200000.00 | 80300.00 | PRAKASH SARMAH
56.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 11.00 | Each | 100.00 | 876.00 | 9636.00 | 7500.00 | 82500.00 | 9636.00 | PRAKASH SARMAH
57.00 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). | 55.00 | Sqm | 10.00 | 475.00 | 26125.00 | 1400.00 | 77000.00 | 26125.00 | PRAKASH SARMAH
58.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles. | 50.00 | sqm | 10.00 | 1168.00 | 58400.00 | 800.00 | 40000.00 | 40000.00 | RAHIM UDDIN KHAN
59.00 | Job contract for executing the assigned job by deploying skilled labour for unforeseen maintenance jobs | 20.00 | per day | 10.00 | 438.00 | 8760.00 | 700.00 | 14000.00 | 8760.00 | PRAKASH SARMAH
60.00 | Job contract for executing the assigned job by deploying unskilled labour for day to day maintenance jobs, shifting of office from one location to another location etc. | 100.00 | per day | 10.00 | 365.00 | 36500.00 | 550.00 | 55000.00 | 36500.00 | PRAKASH SARMAH
61.00 | Deduct for taking away C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 20.00 | kg | 10.00 | 400.00 | -8000.00 | 200.00 | -4000.00 | -8000.00 | PRAKASH SARMAH
62.00 | Deduct for taking away of CI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 50.00 | kg | 10.00 | 365.00 | -18250.00 | 1500.00 | -75000.00 | -75000.00 | RAHIM UDDIN KHAN
63.00 | Deduct for taking away of PVC connections, PVC flushing cistern with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 10.00 | kg | 10.00 | 411.00 | -4110.00 | 1000.00 | -10000.00 | -10000.00 | RAHIM UDDIN KHAN
64.00 | Deduct for taking away of aluminium butt hinges, sliding door bolts, tower bolts, pull body lock, handle, door stopper, casement stay, tee channels, plates, frames, shutters, partition, tubular sections etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 10.00 | kg | 10.00 | 438.00 | -4380.00 | 5000.00 | -50000.00 | -50000.00 | RAHIM UDDIN KHAN
| Total in Figures |  |  |  |  | 2026462.70 |  | 2050230.00
Lowest Amount Quoted BY: PRAKASH SARMAH(2026462.70)

## BOQ Summary
BOQ Summary Details Tender Title: Special Civil Maintenance (Renovation) of DWR Building at Dibrugarh Airport. Tender ID: 2025_AAI_256323_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PRAKASH SARMAH (BID ID -940890) | 2026462.70 | L1
| 2 | RAHIM UDDIN KHAN (BID ID -941780) | 2050230.00 | L2