## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 28-Jan-2026 11:43 AM Tender Title: SITC of various LED Lights at Goa Airport Tender ID: 2025_AAI_256400_1
Tender Inviting Authority: Asst. General Manager (Engg-E)
Name of Work: SITC of various LED Lights at Goa Airport.
Contract No: Tender ID : 2025_AAI_256400_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -943346 |  | WM Energy and Lighting Pvt Ltd. (GSTN-09AADCV1649Q1ZM) BID ID -943583 |  | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -944196 |  | M J ELECTRICALS AND ELECTRONICS (GSTN-07ABSFM7582Q1Z0) BID ID -944258 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -944260 |  | Sachin Electricals (GSTN-NA) BID ID -941582 |  | MACH ENTERPRISES (GSTN-NA) BID ID -944209
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of high-quality integrated LED linear light (suitable for recessed mounting inside the boom arrangement including mounting accessories) with length of 8 feet and inclusive of driver with a minimum system lumen of 7000Lm and system wattage not exceeding 80W (±5%) with a nominal system efficacy of minimum 110 lumen/watt. CCT of 5700K . The housing should be made up extruded aluminium non-corrosive with pressure die-cast aluminum end caps to with stand extreme environments and suitable nos of hanging wire of suitable length with clip for recessed mounting for 8 feet luminaire fitting. It should have opal white polycarbonate diffuser in order to ensure glare free illumination at the platform level. Ambient operating temperature of the range -10 deg C to +45deg C. . The driver must have over-voltage protection, short circuit protection, over load protection. . The luminaire must be EMI EMC compliant as per EN61547. The cable entry for the luminaire must be from the back of the luminaire through suitable gland. LM79 and LM80 reports must be submitted from a NABL accredited laboratory. Luminaire and driver must have BIS certificate and the same must be submitted for records as per technical specification of LED light fitting of the tender document. Make -Phillips BY500B LED88S-865 PSU W7L240 OD WH S2, WiproLM34-801-AI Series or equivalent. | 350.00 | Nos |  | 6560.00 | 2296000.00 | 3964.80 | 1387680.00 | 5861.00 | 2051350.00 | 8888.00 | 3110800.00 | 7500.00 | 2625000.00 | 4600.00 | 1610000.00 | 5399.00 | 1889650.00 | 1387680.00 | WM Energy and Lighting Pvt Ltd.
2.00 | Installation, Testing, Commissioning of all types of above light fittings mentioned in BOQ item no 1.00 inside of terminal building double height area of height upto 10 mts. Including connecting of the fittings with existing wiring and necessary arrangements such as platform ladders or telescopic ladders and adherence to all required safety precuations, complete in all respects etc as required. | 350.00 | Nos |  | 710.00 | 248500.00 | 2312.80 | 809480.00 | 359.00 | 125650.00 | 100.00 | 35000.00 | 800.00 | 280000.00 | 2000.00 | 700000.00 | 539.00 | 188650.00 | 35000.00 | M J ELECTRICALS AND ELECTRONICS
3.00 | Dismantling of light fitting inside terminal building double height area of height upto 10 mts. Including necessary arrangements such as platform ladders or telescopic ladders, shfting of dismantled light fixtures to the Basment or MLCP building or suitable place as per instruction of EIC at a distance approx 200 mtr and adherence to all required safety precuations, complete in all respects etc as required. | 430.00 | Nos |  | 350.00 | 150500.00 | 991.20 | 426216.00 | 718.00 | 308740.00 | 300.00 | 129000.00 | 600.00 | 258000.00 | 2000.00 | 860000.00 | 290.50 | 124915.00 | 124915.00 | MACH ENTERPRISES
4.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed B class GI conduit with 10 amps rating, SP MCB, "C" curve of 10 KA breaking capacity and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 50.00 | Point |  | 1430.00 | 71500.00 | 1652.00 | 82600.00 | 2177.00 | 108850.00 | 1400.00 | 70000.00 | 1600.00 | 80000.00 | 1500.00 | 75000.00 | 1792.00 | 89600.00 | 70000.00 | M J ELECTRICALS AND ELECTRONICS
5.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed GI conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 100.00 | Point |  | 710.00 | 71000.00 | 1652.00 | 165200.00 | 1970.00 | 197000.00 | 1000.00 | 100000.00 | 1300.00 | 130000.00 | 1300.00 | 130000.00 | 1030.00 | 103000.00 | 71000.00 | MPC ELECTRICALS AND ENGINEERS
| Total in Figures |  |  |  |  | 2837500.00 |  | 2871176.00 |  | 2791590.00 |  | 3444800.00 |  | 3373000.00 |  | 3375000.00 |  | 2395815.00
Lowest Amount Quoted BY: MACH ENTERPRISES(2395815.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of various LED Lights at Goa Airport Tender ID: 2025_AAI_256400_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MACH ENTERPRISES (BID ID -944209) | 2395815.00 | L1
| 2 | SARASWAT ENGINEERING SERVICES (BID ID -944196) | 2791590.00 | L2
| 3 | MPC ELECTRICALS AND ENGINEERS (BID ID -943346) | 2837500.00 | L3
| 4 | WM Energy and Lighting Pvt Ltd. (BID ID -943583) | 2871176.00 | L4
| 5 | Awasthi Electric Works (BID ID -944260) | 3373000.00 | L5
| 6 | Sachin Electricals (BID ID -941582) | 3375000.00 | L6
| 7 | M J ELECTRICALS AND ELECTRONICS (BID ID -944258) | 3444800.00 | L7