## BoQ1
Government eProcurement System Created By: Shridhar Gupta Created Date/Time: 17-Dec-2025 04:53 PM Tender Title: Construction of New Terminal Building and Other Allied structures Phase I and II at Patna Airport. SH Provision of CBR Self Charged AHU filters for installed AHUs in NTB at JPNI Airport, Patna Tender ID: 2025_AAI_256657_1
Tender Inviting Authority:
Name of Work: Provision of CBR (Self Charged) AHU filters for installed AHUs in NTB at JPNI Airport, Patna
Contract No: 2025_AAI_256657_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bharat Engineering Co. (GSTN-NA) BID ID -937092 |  | Riania Infotech Solutions (GSTN-NA) BID ID -941491 |  | Nutech Techno Services Private Limited (GSTN-NA) BID ID -937448 |  | Ultrapure Envirocare Pvt Ltd (GSTN-NA) BID ID -936611
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & Installation of CBR (Self Charged) filter in the following CFM AHUs which shall comprise of 5 layers of filtration. Layer 1 shall be of a black honeycomb woven polypropylene. Layer 2 shall be of a white honeycomb woven polypropylene. Layer 3 shall be polyether 45ppi foam. Layer 4 shall be same as layer 1 and 5 shall be same as layer 2. The media shall consist of material which have high electrostatic potential. Airflow across the filter will cause the layer of self-charge with an higher electrostatic charge to enhance filtration capabilities. The media retainer shall consist of ½” back powder painted 20 gauge welded wire on both the up stream and down side of the filter. The IPD of filter shall not exceed 7 mm & filter thickness shall be approx 50mm. The Filter Frame shall be made of Aluminimum of sutable size and strength and the filter mounting frame will be made of GI of sutibale size as per site requirement and AHU. The filter should have GreenPro, CE, ISO, RoHS certificate alongwith FDA Compliance & CSIR Test Report.
1.01 | FMAHU-10000 CFM Filter Frame Size (610x610x50) - Qty 4 & (610x305x50) - Qty 2 | 2.00 | Each |  | 137000.00 | 274000.00 | 141000.00 | 282000.00 | 139400.00 | 278800.00 | 134000.00 | 268000.00 | 268000.00 | Ultrapure Envirocare Pvt Ltd
1.02 | FMAHU-8000 CFM Filter Frame Size (610x610x50) - Qty 4 | 3.00 | Each |  | 105200.00 | 315600.00 | 108000.00 | 324000.00 | 107200.00 | 321600.00 | 104000.00 | 312000.00 | 312000.00 | Ultrapure Envirocare Pvt Ltd
1.03 | FMAHU-9000 CFM Filter Frame Size (610x610x50) - Qty 4 & (610x305x50) - Qty 2 | 2.00 | Each |  | 137000.00 | 274000.00 | 141000.00 | 282000.00 | 139400.00 | 278800.00 | 134000.00 | 268000.00 | 268000.00 | Ultrapure Envirocare Pvt Ltd
1.04 | FMAHU-12000 CFM Filter Frame Size (610x610x50) - Qty 6 | 9.00 | Each |  | 157800.00 | 1420200.00 | 162000.00 | 1458000.00 | 160800.00 | 1447200.00 | 156000.00 | 1404000.00 | 1404000.00 | Ultrapure Envirocare Pvt Ltd
1.05 | FMAHU-14000 CFM Filter Frame Size (610x610x50) - Qty 6 & (610x305x50) - Qty 3 | 17.00 | Each |  | 205500.00 | 3493500.00 | 211500.00 | 3595500.00 | 209100.00 | 3554700.00 | 201000.00 | 3417000.00 | 3417000.00 | Ultrapure Envirocare Pvt Ltd
1.06 | FMAHU-17000 CFM Filter Frame Size (610x610x50) - Qty 9 | 5.00 | Each |  | 236700.00 | 1183500.00 | 243000.00 | 1215000.00 | 241200.00 | 1206000.00 | 234000.00 | 1170000.00 | 1170000.00 | Ultrapure Envirocare Pvt Ltd
1.07 | FMAHU-20000 CFM Filter Frame Size (610x610x50) - Qty 9 & (610x305x50) - Qty 3 | 9.00 | Each |  | 284400.00 | 2559600.00 | 292500.00 | 2632500.00 | 289500.00 | 2605500.00 | 279000.00 | 2511000.00 | 2511000.00 | Ultrapure Envirocare Pvt Ltd
1.08 | FMAHU-23000 CFM Filter Frame Size (610x610x50) - Qty 12 | 5.00 | Each |  | 315600.00 | 1578000.00 | 324000.00 | 1620000.00 | 321600.00 | 1608000.00 | 312000.00 | 1560000.00 | 1560000.00 | Ultrapure Envirocare Pvt Ltd
1.09 | TFA-4000 CFM Filter Frame Size (610x610x50) - Qty 2 | 1.00 | Each |  | 52600.00 | 52600.00 | 54000.00 | 54000.00 | 53600.00 | 53600.00 | 52000.00 | 52000.00 | 52000.00 | Ultrapure Envirocare Pvt Ltd
1.10 | TFA-6000 CFM Filter Frame Size (610x610x50) - Qty 2 & (610x305x50) - Qty 2 | 1.00 | Each |  | 84400.00 | 84400.00 | 87000.00 | 87000.00 | 85800.00 | 85800.00 | 82600.00 | 82600.00 | 82600.00 | Ultrapure Envirocare Pvt Ltd
1.11 | TFA-7000 CFM Filter Frame Size (610x610x50) - Qty 4 | 2.00 | Each |  | 105200.00 | 210400.00 | 108000.00 | 216000.00 | 107200.00 | 214400.00 | 104000.00 | 208000.00 | 208000.00 | Ultrapure Envirocare Pvt Ltd
1.12 | TFA-8000 CFM Filter Frame Size (610x610x50) - Qty 4 | 1.00 | Each |  | 105200.00 | 105200.00 | 108000.00 | 108000.00 | 107200.00 | 107200.00 | 104000.00 | 104000.00 | 104000.00 | Ultrapure Envirocare Pvt Ltd
1.13 | TFA-9000 CFM Filter Frame Size (610x610x50) - Qty 4 & (610x305x50) - Qty 2 | 3.00 | Each |  | 137000.00 | 411000.00 | 141000.00 | 423000.00 | 139400.00 | 418200.00 | 134000.00 | 402000.00 | 402000.00 | Ultrapure Envirocare Pvt Ltd
| Total in Figures |  |  |  |  | 11962000.00 |  | 12297000.00 |  | 12179800.00 |  | 11758600.00
Lowest Amount Quoted BY: Ultrapure Envirocare Pvt Ltd(11758600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Terminal Building and Other Allied structures Phase I and II at Patna Airport. SH Provision of CBR Self Charged AHU filters for installed AHUs in NTB at JPNI Airport, Patna Tender ID: 2025_AAI_256657_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ultrapure Envirocare Pvt Ltd (BID ID -936611) | 11758600.00 | L1
| 2 | Bharat Engineering Co. (BID ID -937092) | 11962000.00 | L2
| 3 | Nutech Techno Services Private Limited (BID ID -937448) | 12179800.00 | L3
| 4 | Riania Infotech Solutions (BID ID -941491) | 12297000.00 | L4