## BoQ1
Government eProcurement System Created By: Narender Kumar Created Date/Time: 06-Jan-2026 04:07 PM Tender Title: Renovation of Toilets at CRSD, RCDU, MT and associated areas for the year 2025-26 - Electrical Works. Tender ID: 2025_AAI_256880_1
Tender Inviting Authority: Sr. Mgr., Airports Authority of India, Safdarjung Airport, New Delhi.
Name of Work: Renovation of Toilets at CRSD, RCDU, MT and associated areas for the year 2025-26 - Electrical Works.
Contract No: AAI/SAP/Engg.(E)/OA-Toilet/2025-2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MOHANS ENTERPRISES (GSTN-06AAGFM6636C1ZG) BID ID -945730 |  | O. P. CONSTRUCTIONS (GSTN-NA) BID ID -945103
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | DSR WORKS DSR(Electrical) - 2022 Item for Rs 40,00,000/- (Rupees Forty Lakhs Only) [NOTE: The rate should be qouted in Indian Ruppees only] The payment of DSR items shall be released on the basis of percentage calculation between qouted amount and fixed amount of Rs.40,00,000/- NOTE: Guideline for quoting percentage rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 40,00,000/-of DSR 2022 (electrical) and same shall be converted into percentage above/below on the DSR 2022 (considering the rates of DSR 2022 as base rates). 2. For Example if bidder quotes Rs. 35,00,000/- in rates column then same shall be converted into percentage of DSR 2022 as under ((4000000 - 3500000) / 4000000) i.e. 12.50% below on DSR 2022 and accordingly payment shall be made by applying the percentage i.e. 12.50% below on DSR 2022 rates for items covered in DSR 2022. Note- The basisc rate shall be derived as below- Rate of item as per DSR = X Basic Rate to be considered for payment = (X/1.1405)*(100 ± Quoted percentage rate)/100 | 1.00 | Job | 100.00 | 2800000.00 | 2800000.00 | 3300000.00 | 3300000.00 | 2800000.00 | MOHANS ENTERPRISES
2.00 | Supplying of 5W LED Recessed Down lighter (Round) COB Type, suitable for operation on single phase 230V AC 50Hz supply, Aluminium housing with powder coating housing with driver as per the requirement, internal surge protection of min 2 KV with Short & Open circuit protection, IP20, CRI >80 , UGR (Unified Glare Rating) < 19, life time (LED, Driver & electrical circuitry), of minimum 50000 Burning Hours, CCT 3000K (As per ANSI Bin), Fixture shall be confirming to relevant BIS standards. Manufactures Word Mark/ Name Engraved/ Embossing/ Screen printing on housing Complete in all respect i/c connections with 1.5 sq mm FRLS, PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty. (Make: Jaquar, Model: Eris Fixed Low border deep recessed or equivalent as per AAI preferred make list) | 140.00 | Each | 100.00 | 1000.00 | 140000.00 | 900.00 | 126000.00 | 126000.00 | O. P. CONSTRUCTIONS
3.00 | Supplying of 20W LED Recessed Box-type tiltable Spot light, suitable for operation on single phase 230V AC 50Hz supply, aluminium extrusion with powder coating and CRCA frame with powder coating housing with driver as per the requirement with Driver efficiency ≥85%, internal surge protection of min 2 KV with Short & Open circuit protection, THD < 10%, IP20, minimum 50000 Burning Hours, CCT 3000K (As per ANSI Bin), Fixture shall be confirming to relevant BIS standards. Manufactures Word Mark/ Name Engraved/ Embossing/ Screen printing on housing Complete in all respect i/c connections with 1.5 sq mm FRLS, PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty. (Make: Jaquar, Model: Rene or equivalent as per AAI preferred make list) | 60.00 | Nos. | 100.00 | 2500.00 | 150000.00 | 2200.00 | 132000.00 | 132000.00 | O. P. CONSTRUCTIONS
4.00 | Supplying of 2x5W LED wall lamp (including lamps), cylindrical shape opal glass with chrome finish, IP44, suitable for operation on single phase 230V AC 50Hz supply, Complete in all respect i/c connections with 1.5 sq mm FRLS, PVC insulated copper conductor single core cable and earthing etc. as required. (Make: Jaquar, Model: DBL-CHR-MB12021262A or equivalent as per AAI preferred make list) | 50.00 | Nos. | 100.00 | 5500.00 | 275000.00 | 3200.00 | 160000.00 | 160000.00 | O. P. CONSTRUCTIONS
5.00 | Supplying, installing, testing and commissioning of AMCA certified for Air and Sound performance cabinate INLINE FANS suitable for installing in any position in vertical or horizontal ducts including providing & making canvas connection. The casing shall be double skin, internally acoustically lined and constructed of galvanised steel. The fan shall be DIDW/SISW with forward / backward curve impeller fitted with maintenance free external rotor motor. The motor shall be suitable for 220±10% volt single phase 50 cycles AC supply. Quoted price shall be inclusive of starter panel with cabling between starter panel and fan. The fan shall have low sound level exceeding not more than 55 DBA at three metre distance. Exhaust Air (Inline) Fan Air Quantity: 1000 CFM Static Pressure: 100 Pa Proposed Motor Rating: 250W (approx.) | 9.00 | Nos. | 100.00 | 60000.00 | 540000.00 | 16000.00 | 144000.00 | 144000.00 | O. P. CONSTRUCTIONS
6.00 | Supply of 200mm exhaust fan, plastic body, air delivery min 500m3/hr, max power input 35W, speed 1300-1500 rpm, suitable for operation on 230V 50Hz supply. (Make: Havells, Model: Ventil Air DX or equivalent as per AAI preferred make list) | 11.00 | Nos. | 100.00 | 2000.00 | 22000.00 | 1700.00 | 18700.00 | 18700.00 | O. P. CONSTRUCTIONS
7.00 | Supply, installation, testing and commissioning of recess mounting 3-in-1 Washroom Panel having Automatic Paper Dispenser, Hand Dryer & Waste Receptacle. 304 Grade Stainless Steel construction, Electrical or battery operated paper dispenser, waste receptacle capacity 23 liters, including all accessories as required. (Make: Euronics, Model: KMR43A or equivalent as per AAI preferred make list) | 14.00 | Nos. | 10.00 | 85000.00 | 1190000.00 | 75000.00 | 1050000.00 | 1050000.00 | O. P. CONSTRUCTIONS
8.00 | Supply, installation, testing and commissioning of electrically operated wall mounted Touch-Free Infra-Red Activation Hand Dryer, 304 grade Stainless steel casing, brushless motor, hand dry time 15-20sec, auto cutoff 60 sec, having UV, including all accessories as required. (Make: Euronics, Model: Trimax or equivalent as per AAI preferred make list) | 8.00 | Nos. | 10.00 | 20000.00 | 160000.00 | 22000.00 | 176000.00 | 160000.00 | MOHANS ENTERPRISES
9.00 | Supply of electrically operated fully automatic shoe shining machine with sole cleaner, suitable for both black & brown shoes, Stainless steel/wooden material, cream tank capacity 200ml, time protection 15sec, suitable for operation on 220V, 50Hz supply, including all accessories as required. (Make: Euronics, Model: ESM4 or equivalent as per AAI preferred make list) | 11.00 | Nos. | 10.00 | 20000.00 | 220000.00 | 20000.00 | 220000.00 | 220000.00 | O. P. CONSTRUCTIONS, MOHANS ENTERPRISES
| Total in Figures |  |  |  |  | 5497000.00 |  | 5326700.00
Lowest Amount Quoted BY: O. P. CONSTRUCTIONS(5326700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilets at CRSD, RCDU, MT and associated areas for the year 2025-26 - Electrical Works. Tender ID: 2025_AAI_256880_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | O. P. CONSTRUCTIONS (BID ID -945103) | 5326700.00 | L1
| 2 | MOHANS ENTERPRISES (BID ID -945730) | 5497000.00 | L2