## BoQ1
Government eProcurement System Created By: Pawan Kumar Created Date/Time: 06-Mar-2026 06:48 PM Tender Title: Renovation of Toilet Blocks in the Terminal Building and other Miscellaneous Civil Works at CE Hindon Airport, Hindon,Ghaziabad UP 201005 Tender ID: 2025_AAI_256965_1
Tender Inviting Authority: Senior Manager (E-C), Civil Enclave Hindon Airport, Airports Authority of India
Name of Work: Renovation of Toilet Blocks in the Terminal Building and other Miscellaneous Civil Works at Civil Enclave Hindon Airport
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | E-VERVE DESIGN (GSTN-07AADFE2745D1ZT) BID ID -945642 |  | Swami Contractors Pvt Ltd (GSTN-07AAICS8637E1Z3) BID ID -947010 |  | M/S MITTAL GENERATOR SERVICE (GSTN-NA) BID ID -947068 |  | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED (GSTN-NA) BID ID -945345
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar. | 5.00 | CUM |  | 1000.00 | 5000.00 | 1359.39 | 6796.95 | 2060.00 | 10300.00 | 1516.00 | 7580.00 | 5000.00 | E-VERVE DESIGN
2.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 126.00 | SQM |  | 200.00 | 25200.00 | 48.43 | 6102.18 | 73.40 | 9248.40 | 54.00 | 6804.00 | 6102.18 | Swami Contractors Pvt Ltd
3.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | CUM |  | 1500.00 | 7500.00 | 2343.30 | 11716.50 | 3551.00 | 17755.00 | 2614.00 | 13070.00 | 7500.00 | E-VERVE DESIGN
4.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 33.00 | EACH |  | 400.00 | 13200.00 | 73.90 | 2438.70 | 112.50 | 3712.50 | 82.00 | 2706.00 | 2438.70 | Swami Contractors Pvt Ltd
5.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 11.00 | SQM |  | 200.00 | 2200.00 | 36.95 | 406.45 | 56.35 | 619.85 | 41.00 | 451.00 | 406.45 | Swami Contractors Pvt Ltd
6.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading,transporting, unloading to approved municipal dumping ground or asapproved by Engineer-in-charge, beyond 50 m initial lead, for all leadsincluding all lifts involved. | 50.00 | CUM |  | 750.00 | 37500.00 | 173.55 | 8677.50 | 263.95 | 13197.50 | 194.00 | 9700.00 | 8677.50 | Swami Contractors Pvt Ltd
7.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 64.00 | SQM |  | 1100.00 | 70400.00 | 836.09 | 53509.76 | 1375.00 | 88000.00 | 933.00 | 59712.00 | 53509.76 | Swami Contractors Pvt Ltd
8.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600x600 mm | 87.00 | SQM |  | 1500.00 | 130500.00 | 1024.82 | 89159.34 | 2200.00 | 191400.00 | 1143.00 | 99441.00 | 89159.34 | Swami Contractors Pvt Ltd
9.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 9.00 | SQM |  | 3500.00 | 31500.00 | 2291.83 | 20626.47 | 4370.00 | 39330.00 | 2129.00 | 19161.00 | 19161.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
10.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 800x800 mm | 116.00 | SQM |  | 1350.00 | 156600.00 | 1292.08 | 149881.28 | 2886.00 | 334776.00 | 1388.00 | 161008.00 | 149881.28 | Swami Contractors Pvt Ltd
11.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 77.00 | SQM |  | 1200.00 | 92400.00 | 1292.08 | 99490.16 | 2200.00 | 169400.00 | 1287.00 | 99099.00 | 92400.00 | E-VERVE DESIGN
12.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 800x800 mm | 101.00 | SQM |  | 1350.00 | 136350.00 | 1292.08 | 130500.08 | 2850.00 | 287850.00 | 1287.00 | 129987.00 | 129987.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
13.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 125 mm | 14.00 | EACH |  | 450.00 | 6300.00 | 152.43 | 2134.02 | 550.00 | 7700.00 | 170.00 | 2380.00 | 2134.02 | Swami Contractors Pvt Ltd
14.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length: 15 mm nominal bore. | 49.00 | EACH |  | 250.00 | 12250.00 | 64.67 | 3168.83 | 350.00 | 17150.00 | 72.00 | 3528.00 | 3168.83 | Swami Contractors Pvt Ltd
15.00 | Providing and fixing bright/matt finished stainless steel handles of approved quality and make with necessary screws etc all complete. | 3.00 | NOS |  | 450.00 | 1350.00 | 78.52 | 235.56 | 600.00 | 1800.00 | 88.00 | 264.00 | 235.56 | Swami Contractors Pvt Ltd
16.00 | Providing and fixing 150 mm bright finished floor brass door stopper with rubber cushion, necessary brass screws etc. to suit shutter thickness complete | 3.00 | NOS |  | 250.00 | 750.00 | 178.83 | 536.49 | 600.00 | 1800.00 | 200.00 | 600.00 | 536.49 | Swami Contractors Pvt Ltd
17.00 | Providing and fixing stainless steel Cylindrical Round Lock for Doors of size 16.5 x 5 x 6.5 Centimeters including screws, latch bolt assembly complete as per the requirement and direction of Engineer-in-charge. | 8.00 | EACH |  | 1050.00 | 8400.00 | 659.90 | 5279.20 | 1800.00 | 14400.00 | 782.00 | 6256.00 | 5279.20 | Swami Contractors Pvt Ltd
18.00 | Dismantling of Sanitary Fixtures Europeon water closet /Urinal/Wash Basin including stacking of useful materials near the site and disposal of unserviceable materials within 50 metre lead as per direction of Engineer-in-charge. | 60.00 | EACH |  | 400.00 | 24000.00 | 65.99 | 3959.40 | 200.00 | 12000.00 | 276.00 | 16560.00 | 3959.40 | Swami Contractors Pvt Ltd
19.00 | Providing and fixing C.P. brass bib cock with wall flange of make Jaquar Cat. No.FLR-CHR-5047N or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. . | 41.00 | EACH |  | 1100.00 | 45100.00 | 1319.80 | 54111.80 | 2250.00 | 92250.00 | 1012.00 | 41492.00 | 41492.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
20.00 | Providing and fixing C.P. brass angular Stop cock with wall flange of make Jaquar Cat. No. FLR- CHR-5053N or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 71.00 | EACH |  | 550.00 | 39050.00 | 742.38 | 52708.98 | 2200.00 | 156200.00 | 828.00 | 58788.00 | 39050.00 | E-VERVE DESIGN
21.00 | Providing and fixing Sensor Faucet for Wash Basin Deck Mounted Complete with Control Box (Battery Operated) Jaquar Cat. No. SNR-CHR-51011N or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. . | 33.00 | EACH |  | 10500.00 | 346500.00 | 7258.90 | 239543.70 | 11500.00 | 379500.00 | 9200.00 | 303600.00 | 239543.70 | Swami Contractors Pvt Ltd
22.00 | Providing and fixing CP brass Single Towel Rail 600mm Long of Jaquar Cat. No. AQN-CHR-7711 or equivalent make of ROCA or Kohler, complete with brackets fixed to PVC rawl plug with CP brass screws complete as per the direction by Engineer-in-charge. | 5.00 | EACH |  | 550.00 | 2750.00 | 1435.28 | 7176.40 | 3500.00 | 17500.00 | 1380.00 | 6900.00 | 2750.00 | E-VERVE DESIGN
23.00 | Providing and fixing C.P. brass waste coupling full threading of Jaquar Cat. No. ALD-705 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. Size 32 mm with 80 mm height. | 33.00 | EACH |  | 1050.00 | 34650.00 | 362.94 | 11977.02 | 950.00 | 31350.00 | 506.00 | 16698.00 | 11977.02 | Swami Contractors Pvt Ltd
24.00 | Providing & fixing vitreous china Table Top Basin, Size: 565x425x140 mm of make -Jaquar cat no-KUS-WHT-35935 or equivalent make of ROCA or Kohler for table top basin including cutting and making good the walls/slab wherever required complete as per the direction by Engineer-in-charge. | 33.00 | EACH |  | 6500.00 | 214500.00 | 6566.00 | 216678.00 | 9000.00 | 297000.00 | 6440.00 | 212520.00 | 212520.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
25.00 | Providing and fixing WC With UF Soft Close Seat Cover, Hinges,dual flush cistern fitting, fixing Accessories Set, Size: 380x710x740 mm, S Trap-300 mm of make Jaquar Cat No. VGS-WHT-81851S300UF or equivalent make of ROCA or Kohler including all fittings and fixtures with seat cover, nuts, bolts and gasket etc including making connection with the P/S trap, complete in all respect as per the direction by Engineer-in-charge. | 25.00 | EACH |  | 11000.00 | 275000.00 | 15837.60 | 395940.00 | 19000.00 | 475000.00 | 16560.00 | 414000.00 | 275000.00 | E-VERVE DESIGN
26.00 | Providing and fixing Bottle Trap 32mm Size with 300mm & 190mm Long Wall Connection Pipes & Wall Flange of make Jaquar Cat. No. ALD-CHR-769L300x190 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 33.00 | EACH |  | 1050.00 | 34650.00 | 2309.65 | 76218.45 | 2850.00 | 94050.00 | 1380.00 | 45540.00 | 34650.00 | E-VERVE DESIGN
27.00 | Providing and fixing urinal partition with frosted glass 8mm thick, chrome finish, size 900mm x 450mm of Jaquar Cat. No.1810-UC or equivalent make of ROCA or Kohler all complete including wall fixing fitting as per the direction by Engineer-in-charge. | 23.00 | EACH |  | 4500.00 | 103500.00 | 3629.45 | 83477.35 | 5500.00 | 126500.00 | 2070.00 | 47610.00 | 47610.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
28.00 | Providing and Fixing CP Grating with frame and SS Screws casted heavy 125 mm dia complete as per the direction by Engineer-in-charge. | 46.00 | EACH |  | 450.00 | 20700.00 | 164.97 | 7588.62 | 880.00 | 40480.00 | 644.00 | 29624.00 | 7588.62 | Swami Contractors Pvt Ltd
29.00 | Providing and fixing Toilet paper holder Toilet Roll Holder with Stainless Steel Flap of make Jaquar Cat No. ACN-CHR-1153S or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 31.00 | EACH |  | 1900.00 | 58900.00 | 824.87 | 25570.97 | 2500.00 | 77500.00 | 1104.00 | 34224.00 | 25570.97 | Swami Contractors Pvt Ltd
30.00 | Providing and fixing automatic soap dispenser Capacity : 0.8L, Material: Aluminium/ABS, Finish : Chrome/Black of make Jaquar Cat No: SDR-BLC-DJ0160AS or equivalent make of ROCA or Kohler all complete including cutting and making good the walls, wherever required all complete as per the direction by Engineer-in-charge. | 33.00 | EACH |  | 6500.00 | 214500.00 | 4619.30 | 152436.90 | 3200.00 | 105600.00 | 2760.00 | 91080.00 | 91080.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
31.00 | Providing and fixing Grab Bar 692 mm Long, Satin of make Jaquar Cat No: WAC-SAP-BR0600CS or equivalent make of ROCA or Kohler all complete with SS Screws including as per the direction by Engineer-in-charge. | 4.00 | EACH |  | 5250.00 | 21000.00 | 1946.70 | 7786.80 | 2500.00 | 10000.00 | 5060.00 | 20240.00 | 7786.80 | Swami Contractors Pvt Ltd
32.00 | Providing and fixing Hand Shower (Health Faucet) with 8mm Dia, 1 Meter Long Flexible Tube & Wall Hook with N.R.V of make Jaquar Cat No. ALD-CHR-577 or equivalent make of ROCA or Kohler all complete with Screws including cutting and making good the wall wherever required all complete as per the direction by Engineer-in-charge. | 25.00 | EACH |  | 2250.00 | 56250.00 | 989.85 | 24746.25 | 2250.00 | 56250.00 | 1380.00 | 34500.00 | 24746.25 | Swami Contractors Pvt Ltd
33.00 | Providing and fixing 5mm thick Clear mirror on the wall with VHB Tape (3M) and 10mm brush finish stainless steel trims, screw, nuts, machine cut in required size, approved shade & colour etc. complete including fixing to wall at all levels as per the direction by Engineer-in-charge.(Sample of Mirror shall be got approved from Engineer-in-Charge). | 48.00 | SQM |  | 3500.00 | 168000.00 | 1319.80 | 63350.40 | 1750.00 | 84000.00 | 276.00 | 13248.00 | 13248.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
34.00 | Providing and fixing Grab Bar Vertical Swing, satin of make Jaquar WAC-SAP-BG0800CS or equivalent make of ROCA or Kohler all complete with SS Screws including as per the direction by Engineer-in-charge. | 4.00 | EACH |  | 5500.00 | 22000.00 | 3959.40 | 15837.60 | 6400.00 | 25600.00 | 2760.00 | 11040.00 | 11040.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
35.00 | Providing and fixing Sensor Mini Concealed Type Flushing Valve for Urinal Complete Set with Installation Box (Battery Operated) of make Jaquar SNR-STL-51083 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 23.00 | EACH |  | 8000.00 | 184000.00 | 7918.80 | 182132.40 | 5500.00 | 126500.00 | 5980.00 | 137540.00 | 126500.00 | M/S MITTAL GENERATOR SERVICE
36.00 | Providing and fixing Urinal (Back Inlet) With Fixing Accessories, Size: 385x325x635 mm of make Jaquar URS-WHT-13253N (with accessories ZPS-WHT-UA02 & ZPS-WHT-UA05) alon with urinal sensor with fixing accessories of make jaguar SNR/PHR/51097 ,or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 23.00 | EACH |  | 6500.00 | 149500.00 | 16497.50 | 379442.50 | 12000.00 | 276000.00 | 11960.00 | 275080.00 | 149500.00 | E-VERVE DESIGN
37.00 | Providing and fixing Single Piece Slim Concealed Cistern Body with Installations Kit & “S-Type” drain pipe connection set for Wall Hung WC (without Flush Control Plate) of make Jaquar Cat No. JCS-WHT-2400S or equivalent make of ROCA or Kohler including all fittings and fixtures including making connections, complete in all respect as per the direction by Engineer-in-charge. | 25.00 | EACH |  | 6500.00 | 162500.00 | 1969.55 | 49238.75 | 6500.00 | 162500.00 | 10120.00 | 253000.00 | 49238.75 | Swami Contractors Pvt Ltd
38.00 | Providing and fixing Flush Control Plate of make Jaquar Cat No. JCP-CHR-392415 or equivalent make of ROCA or Kohler including all fittings and fixtures including making connections, complete in all respect as per the direction by Engineer-in-charge. | 25.00 | EACH |  | 2500.00 | 62500.00 | 923.86 | 23096.50 | 1990.00 | 49750.00 | 1150.00 | 28750.00 | 23096.50 | Swami Contractors Pvt Ltd
39.00 | Supply of recessed type LED downlighter with powder coated die-cast aluminium housing with opal diffuser and LEDs of approved make fixed on diecast housing . Driver installed on cast aluminium housing and prewired upto the terminal block. It has a system lumen output not less than 1800 lumens with luminaire efficacy of not less than 120 lm/W and lumen maintainence of 70% at the end of 50000 burning hours with constant current driver output, operating range 140V – 270V, 50Hz AC supply, CCT of 5700K - 6500K with PF≥0.95 and THD must be <10% & surge proctection of ≥ 2.5kv. The luminaire is IP 20 protected. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacture. LED shall have reverse polarity, open and short circuit protection. (Similar to Havells make model Integra neo/ Wipro Mollis RF/ Surya Athena or equivalent) | 139.00 | Each |  | 950.00 | 132050.00 | 1979.70 | 275178.30 | 1950.00 | 271050.00 | 1380.00 | 191820.00 | 132050.00 | E-VERVE DESIGN
40.00 | Supply of surface type LED mirror light complete with driver and other accessories. It has a system lumen output not less than 1000 lumens with luminaire efficacy of not less than 100 lm/W and lumen maintainence of 70% at the end of 50000 burning hours with constant current driver output, operating range 140V – 270V, 50Hz AC supply, CCT of 5700K - 6500K with PF≥0.95 and THD must be <10% & surge proctection of ≥ 2.5kv. The luminaire is IP 20 protected. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacture. LED shall have reverse polarity, open and short circuit protection. (Similar to Havells make Lumline or equivalent) | 46.00 | Each |  | 1500.00 | 69000.00 | 659.90 | 30355.40 | 3500.00 | 161000.00 | 1840.00 | 84640.00 | 30355.40 | Swami Contractors Pvt Ltd
41.00 | Supply of heavy duty fully automatic hand dryer with stainless steel 304 casing suitable for 230 (+)/(-) 10% Volt, 50 HZ AC power supply, having minimum blowing volume of 270 CUM per Hour and nominal air velocity of 90 mtr per second complete with AC/ DC motor, infra red sensors, hepa filters, heaters, auto cut off feature etc complete as required suitable for wall mounting similar to model EH210N of Euronics/ DAHD0049 of Dolphy make or equivalent. | 5.00 | Each |  | 10500.00 | 52500.00 | 7918.80 | 39594.00 | 21900.00 | 109500.00 | 8280.00 | 41400.00 | 39594.00 | Swami Contractors Pvt Ltd
42.00 | Supply of 300 mm dia sweep, 900±10% RPM heavy duty ISI marked Exhaust fan in metal body suitable for operation on 230+/- 10% single phase ac supply complete as required. | 7.00 | Each |  | 2500.00 | 17500.00 | 1979.70 | 13857.90 | 2050.00 | 14350.00 | 3680.00 | 25760.00 | 13857.90 | Swami Contractors Pvt Ltd
43.00 | Supply of 250 mm dia sweep, FRP ventilation fan suitable for operation on 230+/- 10% single phase ac supply complete as required. | 6.00 | Each |  | 2050.00 | 12300.00 | 1979.70 | 11878.20 | 3450.00 | 20700.00 | 1656.00 | 9936.00 | 9936.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
44.00 | Supply of 4CX16 Sqmm XLPE insulated PVC sheathed, copper conductor, armoured, power cable of 1.1 KV grade conforming to IS 7098 (Part I), 1988 amended up to date. | 200.00 | Mtr |  | 550.00 | 110000.00 | 593.91 | 118782.00 | 665.00 | 133000.00 | 368.00 | 73600.00 | 73600.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
45.00 | Supply & fixing of Air Circulator Fan of 600mm sweep, complete with aluminium blades, two step fan regulator suitable for operation at 240 V, 50 Hz having nominal air delivery 300 CMM suitable for wall mounting as per IS 2997 with upto amendments etc. complete as required. | 10.00 | Each |  | 3500.00 | 35000.00 | 6599.00 | 65990.00 | 4200.00 | 42000.00 | 5060.00 | 50600.00 | 35000.00 | E-VERVE DESIGN
46.00 | Supply of Air Circulator pedestal Fan of 600mm sweep, complete with aluminium blades, two step fan regulator suitable for operation at 240 V(+)/(-)10%, 50 Hz having nominal air delivery 300 CMM as per IS 2997 with upto amendments etc. complete as required. | 6.00 | Each |  | 6500.00 | 39000.00 | 5939.00 | 35634.00 | 4600.00 | 27600.00 | 8280.00 | 49680.00 | 27600.00 | M/S MITTAL GENERATOR SERVICE
47.00 | Supply of 400mm sweep, 240V(+)/(-)10%, 50 Hz, low noise Wall mounting fan 5 star motor having minimum 65 CMM air delivery with minimum three speed operation in white colour as per relevant specification including all accessories, etc. complete as required. | 15.00 | Each |  | 3500.00 | 52500.00 | 2639.60 | 39594.00 | 4300.00 | 64500.00 | 2300.00 | 34500.00 | 34500.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
48.00 | Supplying and Fixing of 6 A to 32 A rating, 240, 10 kA, “C” curve, single pole miniature circuit breaker as required. | 196.00 | Each |  | 150.00 | 29400.00 | 131.98 | 25868.08 | 450.00 | 88200.00 | 322.00 | 63112.00 | 25868.08 | Swami Contractors Pvt Ltd
49.00 | Supplying and fixing 40 Amp FP, 415 V, 10 kA, “C” curve, miniature circuit breaker as required. | 12.00 | Each |  | 850.00 | 10200.00 | 263.96 | 3167.52 | 2150.00 | 25800.00 | 1380.00 | 16560.00 | 3167.52 | Swami Contractors Pvt Ltd
50.00 | Supplying and fixing 40 Amp, Four pole, (Three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 300 mA as required. | 12.00 | Each |  | 3650.00 | 43800.00 | 1319.80 | 15837.60 | 2000.00 | 24000.00 | 2300.00 | 27600.00 | 15837.60 | Swami Contractors Pvt Ltd
51.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 68.00 | Each |  | 1350.00 | 91800.00 | 1319.80 | 89746.40 | 2000.00 | 136000.00 | 930.00 | 63240.00 | 63240.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
52.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 102.00 | Each |  | 950.00 | 96900.00 | 655.94 | 66905.88 | 2000.00 | 204000.00 | 837.00 | 85374.00 | 66905.88 | Swami Contractors Pvt Ltd
53.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed PVC conduit as required.
53.01 | 2X2.5 Sqmm+1X2.5 Sqmm | 180.00 | Mtr |  | 275.00 | 49500.00 | 211.16 | 38008.80 | 175.00 | 31500.00 | 110.00 | 19800.00 | 19800.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
53.02 | 2X4 Sqmm+1X4 Sqmm | 570.00 | Mtr |  | 360.00 | 205200.00 | 296.95 | 169261.50 | 260.00 | 148200.00 | 147.00 | 83790.00 | 83790.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
54.00 | Supply and fixing of following sizes of medium class PVC conduit alongwith accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.
54.01 | 20 mm | 270.00 | Mtr |  | 80.00 | 21600.00 | 99.64 | 26902.80 | 180.00 | 48600.00 | 63.00 | 17010.00 | 17010.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
54.02 | 25 mm | 180.00 | Mtr |  | 100.00 | 18000.00 | 110.86 | 19954.80 | 265.00 | 47700.00 | 81.00 | 14580.00 | 14580.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
55.00 | Supplying and Drawing following size of FRLS PVC insulated copper conductor single core cable in the existing surface/ recessed steel/ PVC conduit as required.
55.01 | 2X 1.5 Sqmm | 270.00 | Mtr |  | 150.00 | 40500.00 | 131.98 | 35634.60 | 55.00 | 14850.00 | 22.00 | 5940.00 | 5940.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
55.02 | 3X1.5 Sqmm | 180.00 | Mtr |  | 225.00 | 40500.00 | 197.97 | 35634.60 | 75.00 | 13500.00 | 26.00 | 4680.00 | 4680.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
55.03 | 2X4 Sqmm | 180.00 | Mtr |  | 325.00 | 58500.00 | 362.94 | 65329.20 | 110.00 | 19800.00 | 35.00 | 6300.00 | 6300.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
55.04 | 3X4 Sqmm | 270.00 | Mtr |  | 360.00 | 97200.00 | 494.92 | 133628.40 | 143.85 | 38839.50 | 41.00 | 11070.00 | 11070.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
56.00 | Installation, testing and commissioning of pre-wired, LED fitting of all types and wattages, complete with all accessories etc. directly on ceiling/ wall / in false celing including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 169.00 | Each |  | 400.00 | 67600.00 | 131.98 | 22304.62 | 1200.00 | 202800.00 | 170.00 | 28730.00 | 22304.62 | Swami Contractors Pvt Ltd
57.00 | Installation of exhaust fan upto 450 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc as required. | 10.00 | Each |  | 400.00 | 4000.00 | 1979.70 | 19797.00 | 2200.00 | 22000.00 | 414.00 | 4140.00 | 4000.00 | E-VERVE DESIGN
58.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 57.00 | Each |  | 750.00 | 42750.00 | 434.87 | 24787.59 | 685.00 | 39045.00 | 331.00 | 18867.00 | 18867.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
59.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 A modular bell switch, connections etc. as required. | 6.00 | Each |  | 550.00 | 3300.00 | 461.93 | 2771.58 | 196.00 | 1176.00 | 166.00 | 996.00 | 996.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
60.00 | Supply and Fixing call bell / Buzzor suitable for single phase 230 V complete as required | 6.00 | Each |  | 350.00 | 2100.00 | 659.90 | 3959.40 | 156.00 | 936.00 | 110.00 | 660.00 | 660.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
61.00 | Supply and installation testing and commissioning of addressable smoke detectors of appollo make, Model- 58000-600 + 45681-210 with base including connection,providing address, interfacing and programming with the existing Appollo make fire Alarm panel complete as required. | 36.00 | Each |  | 3550.00 | 127800.00 | 1319.80 | 47512.80 | 3000.00 | 108000.00 | 5000.00 | 180000.00 | 47512.80 | Swami Contractors Pvt Ltd
62.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/ Isolator)
62.01 | 4 way (8 + 12), Double door | 2.00 | Each |  | 16000.00 | 32000.00 | 3299.50 | 6599.00 | 3900.00 | 7800.00 | 4830.00 | 9660.00 | 6599.00 | Swami Contractors Pvt Ltd
62.02 | 6 way (8 + 18), Double door | 3.00 | Each |  | 18000.00 | 54000.00 | 3959.40 | 11878.20 | 4890.00 | 14670.00 | 5750.00 | 17250.00 | 11878.20 | Swami Contractors Pvt Ltd
62.03 | 12 way (8 + 36), Double door | 3.00 | Each |  | 22000.00 | 66000.00 | 9898.50 | 29695.50 | 7555.00 | 22665.00 | 8510.00 | 25530.00 | 22665.00 | M/S MITTAL GENERATOR SERVICE
63.00 | SITC of inline exhaust fan with direct driven fan of capacity 580 CFM@350 Pa in the existing ventilation duct including dismantling of old In-line fan/ ducting, supply and installation of hanging rods / support stand, antivibration mounting/ gasket, all hardware etc complete as per site requirement, suitable to operate at 230V+(-)10% volt 50 Hz single phase AC power supply complete as required (Model No. CF315B of carryaire or equivalent) | 1.00 | Job |  | 12500.00 | 12500.00 | 16497.50 | 16497.50 | 11000.00 | 11000.00 | 20240.00 | 20240.00 | 11000.00 | M/S MITTAL GENERATOR SERVICE
64.00 | SITC of inline cabinet type exhaust fan with direct driven fan of capacity 1500 CFM @350Pa in the existing ventilation duct including dismantling of old In-line fan/ ducting, supply and installation of hanging rods / support stand, antivibration mounting/ gasket, all hardware etc complete as per site requirement, , suitable to operate at 230V+(-)10% volt 50 Hz single phase AC power supply complete as required (Model No. CIDF-10 DS FFA of carryaire or equivalent) | 4.00 | Job |  | 33500.00 | 134000.00 | 16497.50 | 65990.00 | 16000.00 | 64000.00 | 13800.00 | 55200.00 | 55200.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
65.00 | Design, Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular / round ducting complete with neoprene rubber gasket,elbow, splitter dampers,vanes hangers supports etc as per approved drawing and specification of 24 SWG thickness complete as required. | 164.00 | SQM |  | 1525.00 | 250100.00 | 923.86 | 151513.04 | 2250.00 | 369000.00 | 1196.00 | 196144.00 | 151513.04 | Swami Contractors Pvt Ltd
66.00 | SITC of skid mounted Water Purifier System of capacity minimum 50 LPH with High purifying capacity, Purification by RO followed by UV with TDS controller to maintain natural minerals in water, with all accessories such as RO membrane, sediment filter, Pressure boosting pump, activated carbon filter, solenoid valves & electronic control, high pressure switch and low pressure switch, SS Skid stand etc. as required suitable for instalation with existing Oasis make drinking water fountains. | 5.00 | Each |  | 41000.00 | 205000.00 | 9898.50 | 49492.50 | 110000.00 | 550000.00 | 13800.00 | 69000.00 | 49492.50 | Swami Contractors Pvt Ltd
67.00 | SITC of self contained fully stainless steel water cooler with inbuilt RO system having minimum cooling capacity of 40 LPH with storage tank of capacity minimum 80 Ltr and RO+UV system of capacity of 50 LPH, the water cooler tank and body shall be made of stainless steel 304 complete with hermetically sealed compressor, tank locking arragement and other accessories etc suitable for operation at 230V+/-10% 50 Hz AC power supply complete as required. | 5.00 | Each |  | 38000.00 | 190000.00 | 13198.00 | 65990.00 | 90000.00 | 450000.00 | 35000.00 | 175000.00 | 65990.00 | Swami Contractors Pvt Ltd
68.00 | Supply and fixing of fully automatic, wall-mounted sanitary napkin vending machine made of powder-coated MS body or stainless steel (SS 304), with capacity to hold minimum 50–75 napkins, operated by coin/card/digital interface, suitable for female toilet installation. The machine shall be tamper-proof, easy to operate, and equipped with display indicators. All materials should be ISI/ISO certified as per relevant standards. | 4.00 | Each |  | 8500.00 | 34000.00 | 7918.80 | 31675.20 | 5000.00 | 20000.00 | 13800.00 | 55200.00 | 20000.00 | M/S MITTAL GENERATOR SERVICE
69.00 | Supply and Installation of wall-mounted or stand-alone sanitary napkin incinerator with a minimum burning capacity of 5–15 napkins per cycle, complete with ceramic insulation, automated temperature control, auto cut-off system, ashtray collection unit, digital display, and safety alarm. Casing shall be rust-proof powder-coated MS or stainless steel. Machine must comply with CPCB/environmental safety norms for indoor installations. | 4.00 | Each |  | 12500.00 | 50000.00 | 6599.00 | 26396.00 | 15000.00 | 60000.00 | 9200.00 | 36800.00 | 26396.00 | Swami Contractors Pvt Ltd
70.00 | SITC of aluminium circular duct of nominal dia 100 mm duy insulated with Nitrile classO insulation suitable for exhaust of sanitary napkin incinerator fumes, fabricated from corrosion-resistant aluminium sheet (minimum 24 SWG or 0.6 mm thick), including all necessary bends, elbows, reducers, joints, clamps, flanges, couplers, sealing with aluminium tape or silicone sealant (heat resistant), hangers/supports, and required accessories. | 100.00 | Mtr |  | 2400.00 | 240000.00 | 1451.78 | 145178.00 | 300.00 | 30000.00 | 1104.00 | 110400.00 | 30000.00 | M/S MITTAL GENERATOR SERVICE
71.00 | Supply, installation, testing & commissioning of square/rectangular ceiling-mounted air diffusers made from extruded aluminum sections, powder-coated finish, with aluminium vcd , suitable for ductable airflow. Fixing using concealed screw arrangements. Standard neck sizes (e.g., 150X150 mm, 200X200 mm,300x300 mm, 450x450 mm). | 2.00 | SQM |  | 1550.00 | 3100.00 | 4784.27 | 9568.54 | 3000.00 | 6000.00 | 1840.00 | 3680.00 | 3100.00 | E-VERVE DESIGN
72.00 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed/ XLPE copper conductor cable of 1.1kV grade as required. 4CX16 Sqmm | 16.00 | Each |  | 500.00 | 8000.00 | 989.85 | 15837.60 | 450.00 | 7200.00 | 284.00 | 4544.00 | 4544.00 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED
73.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power / control cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Size - Upto 35 sq. mm | 50.00 | Mtr |  | 200.00 | 10000.00 | 461.93 | 23096.50 | 600.00 | 30000.00 | 1860.00 | 93000.00 | 10000.00 | E-VERVE DESIGN
74.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Size - Upto 35 sq. mm | 50.00 | Mtr |  | 300.00 | 15000.00 | 362.94 | 18147.00 | 600.00 | 30000.00 | 1860.00 | 93000.00 | 15000.00 | E-VERVE DESIGN
75.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc..direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm(OD) | 100.00 | Mtr |  | 450.00 | 45000.00 | 131.98 | 13198.00 | 250.00 | 25000.00 | 258.00 | 25800.00 | 13198.00 | Swami Contractors Pvt Ltd
| Total in Figures |  |  |  |  | 5896150.00 |  | 4822307.81 |  | 7659950.75 |  | 4918614.00
Lowest Amount Quoted BY: Swami Contractors Pvt Ltd(4822307.81)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilet Blocks in the Terminal Building and other Miscellaneous Civil Works at CE Hindon Airport, Hindon,Ghaziabad UP 201005 Tender ID: 2025_AAI_256965_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Swami Contractors Pvt Ltd (BID ID -947010) | 4822307.81 | L1
| 2 | NANDA KAILASH INFRASTRUCTURE AND DEVELOPERS PRIVATE LIMITED (BID ID -945345) | 4918614.00 | L2
| 3 | E-VERVE DESIGN (BID ID -945642) | 5896150.00 | L3
| 4 | M/S MITTAL GENERATOR SERVICE (BID ID -947068) | 7659950.75 | L4