## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 12-Jan-2026 01:52 PM Tender Title: Work Contract for Operation and Maintenance of EandM Installations, Various Capacity of DG Sets at Katihar ACS for the year 2025-26. Tender ID: 2025_AAI_257767_1
Tender Inviting Authority: DGM(E-E)
Name of Work: Work Contract for Operation & Maintenance of E&M Installations, Various Capacity of DG Sets at Katihar ACS for the year 2025-26.
Contract No: 2025_AAI_257767_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MANNA ELECTRONICS AND ELECTRICAL WORKS (GSTN-19AALFM9363P2Z6) BID ID -950444 |  | SUPURAN CONSTRUCTION PVT. LTD. (GSTN-NA) BID ID -945475 |  | ruhienterprises (GSTN-NA) BID ID -945483
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: OPERATION & MAINTENANCE
2.00 | Providing Maintenance Services of Electrical & Mechanical Installations viz 11 KV power supply system of Substation/power house, transformers ,11 KV VCBs, AVRs & LT panels , fire alarm system , Auto dialer, DG sets. covering the scope of operation, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis , each shift of 8 hours) on all days including Sundays & Holidays at MSSR and DVOR site at katihar & as per direction of EIC. | 12.00 | Month | 250706.00 | 234447.00 | 2813364.00 | 211000.00 | 2532000.00 | 250120.00 | 3001440.00 | 2532000.00 | SUPURAN CONSTRUCTION PVT. LTD.
3.00 | SH-II: MAINTENANACE OF DG/FADS
4.00 | Annual maintenance contract of following make DG sets and servicing of B-Check including AMF panel with other accessories from OEM/authorised service agencies. Job includes monthly visit for carrying out preventive maintenance & attending any number of breakdown calls as & when required ,minor repairs etc. as per manufacturer"s recomondations/standard practice and as per the scope of work, complete as required.
5.00 | 25 KVA soundproof Kirloskar Green DG set- 01 no. (MSSR). | 12.00 | Month | 2420.00 | 3000.00 | 36000.00 | 2000.00 | 24000.00 | 1000.00 | 12000.00 | 12000.00 | ruhienterprises
6.00 | 25 KVA soundproof Kirloskar Green DG set- 01 no. (DVOR). | 12.00 | Month | 2420.00 | 3000.00 | 36000.00 | 2000.00 | 24000.00 | 1000.00 | 12000.00 | 12000.00 | ruhienterprises
7.00 | 25 KVA soundproof Kirloskar Green DG set- 01 no. (DVOR). | 12.00 | Month | 2420.00 | 3000.00 | 36000.00 | 2000.00 | 24000.00 | 1000.00 | 12000.00 | 12000.00 | ruhienterprises
8.00 | 160KVA DG set {Engine- Cummins model no 6BTA5.9 G5, Alternator -stampford} at MSSR Katihar.-01 no. | 12.00 | Month | 11034.00 | 3500.00 | 42000.00 | 9500.00 | 114000.00 | 1500.00 | 18000.00 | 18000.00 | ruhienterprises
9.00 | 250 KVA DG set {Engine-Cummins model no 6CTA8.3 G4, Alternator - Crompton} at MSSR Katihar .- 01 no. | 12.00 | Month | 12138.00 | 3500.00 | 42000.00 | 10000.00 | 120000.00 | 1500.00 | 18000.00 | 18000.00 | ruhienterprises
10.00 | Supply of B-Checks kit & carried out of B-Check twice in a year of following DG sets as given specification & terms & condition etc as required.(as when required)
11.00 | 25 KVA soundproof Kirloskar Green DG set- 03 nos. (one at MSSR & Two nos. at DVOR). B check kit consist of following materials as per under given below. (i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 7.5 ltr (v) coolent-01. | 6.00 | Job | 13669.00 | 20000.00 | 120000.00 | 11000.00 | 66000.00 | 8000.00 | 48000.00 | 48000.00 | ruhienterprises
12.00 | Supply of B-Checks kit & C-Check kit carried out in a year of following DG sets as given specification & terms & condition etc as required.(as when required) For 160KVA DG set {Engine- Cummins model no 6BTA 5.9G5, Alternator -stampford} at MSSR Katihar
13.00 | B check kit consist of following materials as per under given below:(i)Fuel Filter(3931063) : 1 No., (ii) Separator, Fuel water (4093731): 1 No, (iii) Inhibitor, corrosion(3816986) : 5 Ltr, (iv) Cartridge, lub oil filter (3937743): 1 No, Lub Oil Premium Blue C14: 40 Ltr. | 1.00 | Job | 34481.00 | 24000.00 | 24000.00 | 29000.00 | 29000.00 | 12000.00 | 12000.00 | 12000.00 | ruhienterprises
14.00 | C check kit consist of following materials as per under given below:(i)Fuel Filter(3931063) : 1 No., (ii) Separator, Fuel water (4093731): 1 No, (iii) Inhibitor, corrosion(3816986) : 5 Ltr, (iv) Cartridge, lub oil filter (3937743): 1 No,(v) Lub Oil Premium Blue C14: 40 Ltr,(vi) Element air cleaner-inner(3814312) : 1 No, (vii) Element air cleaner-outer(3814313): 1 No. | 1.00 | Job | 43390.00 | 28000.00 | 28000.00 | 37000.00 | 37000.00 | 15000.00 | 15000.00 | 15000.00 | ruhienterprises
15.00 | For 250 KVA DG set {Engine-Cummins model no 6CTA8.3G4, Alternator - Crompton} at MSSR Katihar B check kit consist of following materials as per under given below:(i)Fuel Filter(4962810) : 1 No., (ii) Separator, Fuel water (3815424): 1 No, (iii) Inhibitor, corrosion(3167217) : 5 Ltr, (iv) Elemenet, lub oil filter (3401544): 1 No,(v) Filter coolent (4104821) : 1 No, (vi) Lub Oil Premium Blue C14: 40 Ltr. | 1.00 | Job | 50560.00 | 28500.00 | 28500.00 | 41000.00 | 41000.00 | 12000.00 | 12000.00 | 12000.00 | ruhienterprises
16.00 | C check kit consist of following materials as per under given below:(i)Fuel Filter(4962810) : 1 No., (ii) Separator, Fuel water (3815424): 1 No, (iii) Inhibitor, corrosion(3167217) : 5 Ltr, (iv) Elemenet, lub oil filter (3401544): 1 No,(v) Filter coolent (4104821) : 1 No, (vi) Lub Oil Premium Blue C14: 40 Ltr. (vii) Element air cleaner-inner(3815928) : 1 No, (viii) Element air cleaner-outer(3814313): 1 No. | 1.00 | Job | 64023.00 | 36000.00 | 36000.00 | 54000.00 | 54000.00 | 15000.00 | 15000.00 | 15000.00 | ruhienterprises
17.00 | Replacment of Battery as per OEM recommendation for Cummins make 160 KVA DG set as per site condition | 2.00 | Job | 21780.00 | 14000.00 | 28000.00 | 17000.00 | 34000.00 | 12000.00 | 24000.00 | 24000.00 | ruhienterprises
18.00 | Replacment of Battery as per OEM recommendation for Cummins make 250 KVA DG set as per site condition | 2.00 | Job | 21780.00 | 14000.00 | 28000.00 | 17000.00 | 34000.00 | 12000.00 | 24000.00 | 24000.00 | ruhienterprises
19.00 | Service visit through OEM/Specialised Agency for carrying out Maintenance Services of fire alarm systems along with auto dialer installed at MSSR & at DVOR, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance, maintenance report of OEM or Specialized Agency complete in all respect. (Maintenance should be done through OEM's / Specialized Agency) maintenance of records/documentation etc. as per scope of work given in special conditions of contract as per direction of EIC. (Note:- Materials shall be provided by AAI). | 4.00 | Job | 43556.00 | 40000.00 | 160000.00 | 37000.00 | 148000.00 | 8000.00 | 32000.00 | 32000.00 | ruhienterprises
20.00 | Replacment of 12volts 150 AH Lead maintenance free Battery make - Exide EP150 or equivalent. | 4.00 | Job | 15290.00 | 13000.00 | 52000.00 | 12000.00 | 48000.00 | 12000.00 | 48000.00 | 48000.00 | SUPURAN CONSTRUCTION PVT. LTD., ruhienterprises
21.00 | SH-III: MISCELLANEOUS WORKS
22.00 | Supplying & topping of new insulating transformer oil (ISI mark conforming to IS 335-1993) having BDV not less than 50 KV on existing 11kV transformer and also filterate etc. complete as required. | 500.00 | Ltr | 163.00 | 40.00 | 20000.00 | 138.00 | 69000.00 | 20.00 | 10000.00 | 10000.00 | ruhienterprises
23.00 | Servicing of ACBs of various make having capacity of 400A to 800A i/c drawing out of breaker, cleaning of all contact parts, applying gel, termination of all control wires etc. Repositioning the same, testing and commissioning the breaker, submission of reports etc complete as required. | 4.00 | Job | 10454.00 | 5500.00 | 22000.00 | 8000.00 | 32000.00 | 1200.00 | 4800.00 | 4800.00 | ruhienterprises
24.00 | Servicing of Kirloskar electric - Make, 11 KV VCBs i/c drawing out of breaker, cleaning of all contact parts, applying gel, termination of all control wires etc. Repositioning the same, testing and commissioning the breaker, submission of reports etc complete as required. | 2.00 | Job | 20326.00 | 5500.00 | 11000.00 | 16000.00 | 32000.00 | 2000.00 | 4000.00 | 4000.00 | ruhienterprises
25.00 | Calibration and testing of relays & meters of 11 KV HT panel (1 incomer & 2 outgoing system) includes IDMT relay through secondary injection machine/calibration machine having valid calibrated certificate of Govt./NABL lab and submission of test reports complete as reqd. | 4.00 | Job | 4065.00 | 5000.00 | 20000.00 | 3500.00 | 14000.00 | 2500.00 | 10000.00 | 10000.00 | ruhienterprises
26.00 | Calibration and testing of Buchlotz Relay for 11/.433 KV Indoor Oil Cooled Transformers and submission of test reports as required. | 1.00 | Job | 3485.00 | 5000.00 | 5000.00 | 2800.00 | 2800.00 | 2500.00 | 2500.00 | 2500.00 | ruhienterprises
27.00 | Rewinding of the following with Cu-winding wires of required size including less for dismantled copper wire i/c transportation etc. as required (Dismantle cu-wire need not to return).
28.00 | Ceiling fans (Upto 1400mm Sweep) | 10.00 | Job | 755.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 450.00 | 4500.00 | 4500.00 | ruhienterprises
29.00 | Exhaust fans (Upto 300 mm Sweep) | 5.00 | Job | 697.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 600.00 | 3000.00 | 2500.00 | SUPURAN CONSTRUCTION PVT. LTD., MANNA ELECTRONICS AND ELECTRICAL WORKS
30.00 | Replacement of bearings(2nos.)/bushes for above fans | 15.00 | Job | 209.00 | 20.00 | 300.00 | 180.00 | 2700.00 | 90.00 | 1350.00 | 300.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
31.00 | Rewinding of single/three phase upto 3 HP capacity Motors/Pump/Submersible Pump by changing winding including applying the varnish, sealing of pump motor with sealant material, testing , titgtening the bolts,changing end terminals etc as required by AAI including transporting from the AAI store (as may be required) and returning back after through service etc. complete as required. (Burnt Cu Wire need not to return) | 2.00 | Job | 13357.00 | 10000.00 | 20000.00 | 11000.00 | 22000.00 | 3000.00 | 6000.00 | 6000.00 | ruhienterprises
32.00 | Supply and fixing of Battery charging unit for existing 250 KVA cummins make DG set suitable for 24 V DC with boost and trickle charger, the charger should be cut off when the engine is started and the batteries shall be charged from battery charging alternator provided in the engine complete as required. | 1.00 | Job | 3134.00 | 9500.00 | 9500.00 | 2400.00 | 2400.00 | 6500.00 | 6500.00 | 2400.00 | SUPURAN CONSTRUCTION PVT. LTD.
33.00 | Supply of following spares for maintenance of fire alarm system/Electrical installations as and when required.
34.00 | For installed Fire Alarm System
35.00 | Smoke Detectors (Conventional) | 10.00 | Each | 1150.00 | 750.00 | 7500.00 | 800.00 | 8000.00 | 2500.00 | 25000.00 | 7500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
36.00 | 12 V, 7.2 AH sealed maintenance free (SMF) Battery | 4.00 | Each | 1265.00 | 700.00 | 2800.00 | 1000.00 | 4000.00 | 1800.00 | 7200.00 | 2800.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
37.00 | General Spares for Electrical installations
38.00 | 2.5 µF capacitor suitable for ceiling fan | 10.00 | Each | 33.00 | 25.00 | 250.00 | 25.00 | 250.00 | 40.00 | 400.00 | 250.00 | SUPURAN CONSTRUCTION PVT. LTD., MANNA ELECTRONICS AND ELECTRICAL WORKS
39.00 | 20 W LED Batten Luminaire | 20.00 | Each | 433.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 200.00 | 4000.00 | 4000.00 | ruhienterprises
40.00 | 90 W street Light | 5.00 | Each | 4981.00 | 2300.00 | 11500.00 | 4000.00 | 20000.00 | 2000.00 | 10000.00 | 10000.00 | ruhienterprises
41.00 | 120W Flood Light | 5.00 | Each | 5576.00 | 3500.00 | 17500.00 | 4800.00 | 24000.00 | 6500.00 | 32500.00 | 17500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
42.00 | 1.1 KV grade Single core 1.5 Sq mm copper conductor(unsheathed)FRLS, PVC insulated flexible cable confirming to IS 694 with up to date amendments. | 90.00 | Mtr | 21.00 | 21.00 | 1890.00 | 15.00 | 1350.00 | 18.00 | 1620.00 | 1350.00 | SUPURAN CONSTRUCTION PVT. LTD.
43.00 | 1.1 KV grade Single core 2.5 Sq mm copper conductor(unsheathed)FRLS, PVC insulated flexible cable confirming to IS 694 with up to date amendments. | 90.00 | Mtr | 34.00 | 36.00 | 3240.00 | 25.00 | 2250.00 | 27.00 | 2430.00 | 2250.00 | SUPURAN CONSTRUCTION PVT. LTD.
44.00 | SH- IV: EXECUTION OF WORKS AS PER CPWD SCHEDULE OF WORK(E&M) AND SPECIFICATIONS AS AND WHEN REQUIRED.
45.00 | EXECUTION OF WORKS AS PER CPWD SCHEDULE OF WORK(E&M) AND SPECIFICATIONS AS AND WHEN REQUIRED. Complete items of CPWD schedule of rates (electrical) internal & External- 2022 of an Amount Rs 1,00,000/-. Note:- For quoting of rate of this item, follow the guidelines as mentioned in tender page no.- SCC. | 1.00 | Job | 100000.00 | 60000.00 | 60000.00 | 80000.00 | 80000.00 | 50000.00 | 50000.00 | 50000.00 | ruhienterprises
| Total in Figures |  |  |  |  | 3735844.00 |  | 3659250.00 |  | 3489240.00
Lowest Amount Quoted BY: ruhienterprises(3489240.00)

## BOQ Summary
BOQ Summary Details Tender Title: Work Contract for Operation and Maintenance of EandM Installations, Various Capacity of DG Sets at Katihar ACS for the year 2025-26. Tender ID: 2025_AAI_257767_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ruhienterprises (BID ID -945483) | 3489240.00 | L1
| 2 | SUPURAN CONSTRUCTION PVT. LTD. (BID ID -945475) | 3659250.00 | L2
| 3 | MANNA ELECTRONICS AND ELECTRICAL WORKS (BID ID -950444) | 3735844.00 | L3