## BoQ1
Government eProcurement System Created By: Mohammad Aamir Siddiqui Created Date/Time: 14-May-2026 11:26 AM Tender Title: Airfield Lighting Works including CAT-III Approach Lighting Tender ID: 2025_AAI_257987_1
Tender Inviting Authority: Senior Manager (Engg.-Elect),NR, CHQ on behalf of Chairman, A.A.I
Name of Work: Construction of New Terminal Building, Apron extension and Runway extension at Varanasi Airport. (SH - Airfield Lighting Works including CAT-III Approach Lighting)
Contract No: Tender ID: 2025_AAI_ 257987_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ADBSAFEGATE INDIA PRIVATE LIMITED (GSTN-NA) BID ID -944152 |  | HONEYWELL AUTOMATION INDIA LIMITED (GSTN-NA) BID ID -962606
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : SUPPLY OF GLF ITEMS
1.01 | Supply of FAA Certified Inset type LED Bidirectional high intensity Runway CENTRE LINE (CL) light fitting (RED/White) (Dual lead lights) for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 Amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 168.00 | Each |  | 110644.25 | 18588234.00 | 53611.76 | 9006775.68 | 9006775.68 | HONEYWELL AUTOMATION INDIA LIMITED
1.02 | Supply of FAA Certified Inset type LED Bidirectional high intensity Runway CENTRE LINE (CL) light fitting (White/White) (Dual lead lights) for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 Amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 403.00 | Each |  | 110644.25 | 44589632.75 | 53611.76 | 21605539.28 | 21605539.28 | HONEYWELL AUTOMATION INDIA LIMITED
1.03 | Supply of FAA Certified Inset type LED Uni Directional Runway Turn Pad medium intensity light fitting (Green) for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 Amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 125.00 | Each |  | 90122.69 | 11265336.25 | 38234.55 | 4779318.75 | 4779318.75 | HONEYWELL AUTOMATION INDIA LIMITED
1.04 | Supply of FAA Certified Inset type LED Uni directional high intensity TOUCH DOWN ZONE (TDZ) (White) light fitting for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete LED lamp with integral driver and electronics suitable for 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, clear lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 189.00 | Each |  | 101848.75 | 19249413.75 | 39703.46 | 7503953.94 | 7503953.94 | HONEYWELL AUTOMATION INDIA LIMITED
1.05 | Supply of FAA Certified Inset type LED Uni directional high intensity SIDE ROW (SR) (RED Color) Approach light fitting for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, red lenses and all standard accessories and ready for site installation conforming to latest ICAO / CAR requirement as per sepcifications complete as required. | 57.00 | Each |  | 108109.02 | 6162214.14 | 91139.99 | 5194979.43 | 5194979.43 | HONEYWELL AUTOMATION INDIA LIMITED
1.06 | Supply of FAA Certified Inset type LED fittings suitable for Uni directional high intensity APPROACH CENTRE LINE (APCL) (White) light fitting for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, clear lenses and all standard accessories and ready for site installation conforming to latest ICAO / CAR requirement as per sepcifications complete as required. | 75.00 | Each |  | 108109.02 | 8108176.50 | 91139.99 | 6835499.25 | 6835499.25 | HONEYWELL AUTOMATION INDIA LIMITED
1.07 | Supply of FAA Certified Elevated type LED Uni directional high intensity APPROACH CENTRE LINE (APCL) (White) light fitting for aviation visual aids requirements complete with base plate, breakable coupling, mounting assembly, gasket complete with LED lamp with integral driver and electronics suitable for 6.6 amps current and all standard accessories and ready for site installation conforming to latest ICAO / CAR requirement as per sepcifications complete as required. | 109.00 | Each |  | 107948.40 | 11766375.60 | 76815.83 | 8372925.47 | 8372925.47 | HONEYWELL AUTOMATION INDIA LIMITED
1.08 | Supply of FAA Certified Inset type LED high intensity THRESHOLD (THD) (Green) light fitting for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, green prism / lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 79.00 | Each |  | 151516.41 | 11969796.39 | 77737.05 | 6141226.95 | 6141226.95 | HONEYWELL AUTOMATION INDIA LIMITED
1.09 | Supply of FAA Certified elevated type uni-directional high intensity LED runway THRESHOLD (THD) (Green) light fitting complete for aviation visual aid at Threshold -WIng bar complete with LED Module, suitable electronic driver, clear outer prismatic dome, prismatic lens, lens holding mechanisam, ball joint for easy levelling, breakable coupling, central column mounting assembly, gaskets, suitable for 6.6 A , two pin secondary lead plug suitable for connection with isolating transformer, base plate with SS Hardware & other accessories etc. as per sepcifications complete as required. | 22.00 | Each |  | 107035.10 | 2354772.20 | 63798.00 | 1403556.00 | 1403556.00 | HONEYWELL AUTOMATION INDIA LIMITED
1.10 | Supply of FAA Certified Inset type LED high intensity Runway END (RED) light fitting for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, red prism / lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 35.00 | Each |  | 133706.15 | 4679715.25 | 116000.61 | 4060021.35 | 4060021.35 | HONEYWELL AUTOMATION INDIA LIMITED
1.11 | Supply of FAA Certified Inset type LED Uni directional Stop Bar (RED) light fitting suitable for straight section/straight section (off set) / curved section for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, red prism / lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 315.00 | Each |  | 100872.53 | 31774846.95 | 39586.67 | 12469801.05 | 12469801.05 | HONEYWELL AUTOMATION INDIA LIMITED
1.12 | Supply of high intensity Elevated Runway guard light with two flashing light fixtures with black independent visors, 6.6A Current driven input power supply, LED lamps/module , flashing rates 45-50 Per Minute, frangible support, high strength base plate for runway guard light to resist wind speed (300 mph) gaskets, SS hardware etc conforming to latest ICAO / CAR requirement as per sepcifications complete as required. | 57.00 | Set |  | 312439.46 | 17809049.22 | 201044.10 | 11459513.70 | 11459513.70 | HONEYWELL AUTOMATION INDIA LIMITED
1.13 | Supply of FAA Certified inset type LED Unidirectional Rapid Exit Taxi Indicator fitting (Yellow) for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, prism / lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 13.00 | Each |  | 99894.41 | 1298627.33 | 60777.43 | 790106.59 | 790106.59 | HONEYWELL AUTOMATION INDIA LIMITED
1.14 | Supply of FAA Certified inset type uni-directional Intermediate holding position light LED fitting (Yellow) for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, prism / lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 73.00 | Each |  | 90122.69 | 6578956.37 | 42354.21 | 3091857.33 | 3091857.33 | HONEYWELL AUTOMATION INDIA LIMITED
1.15 | Supply of FAA Certified inset type LED Bidirectional Runway Edge light fitting (White/Yellow or White/White) for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with LED lamp with integral driver and electronics suitable for 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, prism / lenses and all standard accessories and ready for site installation as per sepcifications complete as required. | 70.00 | Each |  | 137614.84 | 9633038.80 | 144281.69 | 10099718.30 | 9633038.80 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.16 | Supply of FAA Certified elevated type bi-directional high intensity LED runway edge light fitting complete for aviation visual aid at Runway Edge (White/Yellow or White/White) complete with LED Module, suitable electronic driver, clear outer prismatic dome, prismatic lens, lens holding mechanisam, ball joint for easy levelling, breakable coupling, central column mounting assembly, gaskets, suitable for 6.6 A , two pin secondary lead plug suitable for connection with isolating transformer, base plate with SS Hardware & other accessories etc. as per sepcifications complete as required. | 227.00 | Each |  | 96750.49 | 21962361.23 | 52271.47 | 11865623.69 | 11865623.69 | HONEYWELL AUTOMATION INDIA LIMITED
1.17 | Supply of FAA Certified elevated type Omni-directional Blue colour, medium intensity LED type Taxiway Edge Light fitting suitable for Taxiway, Apron Edge Lights, Turning Pad Lights suitable for operation at 6.6 Amps, series circuit supply, complete with Omni-directional, Lens clamping mechanism, breakable coupling, gasket, two pin secondary leads, base plate with SS Hardware and other accessories including integrated encapsulated electronic module complete as required conforming to latest ICAO / CAR requirement as per sepcifications complete as required. | 627.00 | Each |  | 32901.61 | 20629309.47 | 31457.10 | 19723601.70 | 19723601.70 | HONEYWELL AUTOMATION INDIA LIMITED
1.18 | Supply of FAA Certified LED type inset omnidirectional Blue colour light fitting for aviation visual aid at taxiway edge, apron edge, turning pad lights complete with LED and integral driver and electronics suitable for 6.6 Amps, lenses / prism, filters , lense protection ring , shallow base, matching body, single plug, inner & outer cover, two pin secondary leads complete with other accessories, ready for site installation on existing housing boxes etc. complete as required conforming to latest ICAO / CAR requirement and as per sepcifications complete as required. | 88.00 | Each |  | 72533.60 | 6382956.80 | 46023.97 | 4050109.36 | 4050109.36 | HONEYWELL AUTOMATION INDIA LIMITED
1.19 | Supply of FAA Certified LED type inset bidirectional light fitting for aviation visual aid at apron for lead-in, turning and lead-out lines (Green/Green, Green/Yellow) complete with LED and integral driver and electronics suitable for 6.6 Amps, lenses / prism, filters , lense protection ring , shallow base, matching body, single plug, inner & outer cover, two pin secondary leads complete with other accessories, ready for site installation on existing housing boxes etc. complete as required conforming to latest ICAO / CAR requirement and as per sepcifications complete as required. | 632.00 | Each |  | 100872.53 | 63751438.96 | 59463.26 | 37580780.32 | 37580780.32 | HONEYWELL AUTOMATION INDIA LIMITED
1.20 | Supply of FAA Certified LED type inset omnidirectional light fitting for aviation visual aid at apron for parking stand manoeuvring (Yellow/Red) complete with LED and integral driver and electronics suitable for 6.6 Amps, lenses / prism, filters , lense protection ring , shallow base, matching body, single plug, inner & outer cover, two pin secondary leads complete with other accessories, ready for site installation on existing housing boxes etc. complete as required conforming to latest ICAO / CAR requirement and as per sepcifications complete as required. | 1113.00 | Each |  | 115290.82 | 128318682.66 | 37528.24 | 41768931.12 | 41768931.12 | HONEYWELL AUTOMATION INDIA LIMITED
1.21 | Supply of FAA Certified 2 x 4 sqmm secondary lead made out of multi stranded copper conductor EPR insulated & PCP sheathed, anti-termite & anti rodent treated 600 V grade AGL cable as specified in particular specifications as required. | 116456.00 | Mtrs |  | 210.21 | 24480215.76 | 254.04 | 29584482.24 | 24480215.76 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.22 | Supply of FAA Certified 1 x 6 sq.mm, 5 KV grade, AFL cable, type-C stranded tinned copper conductor, XLPE insulated with copper braided screened PE sheathed Airfield Ground Lighting series cable as per specifications as required. | 350186.00 | Mtrs |  | 257.19 | 90064337.34 | 340.57 | 119262846.02 | 90064337.34 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.23 | Supply of FAA Certified 6 sqmm, 5 KV grade plug and receptacle of type I, class 'B' connector suitable for field attachment with 5 KV grade XLPE insulated, PE sheathed, single core copper conductor screened cable as required. | 9103.00 | Set |  | 4101.06 | 37331949.18 | 785.27 | 7148312.81 | 7148312.81 | HONEYWELL AUTOMATION INDIA LIMITED
1.24 | Supply of FAA Certified 2 pin plug and recepetacles suitable for 2X4 Sq mm copper conductor secondary lead | 4552.00 | Set |  | 1766.48 | 8041016.96 | 845.68 | 3849535.36 | 3849535.36 | HONEYWELL AUTOMATION INDIA LIMITED
1.25 | Supply of FAA Certified Indoor type air cooled constant current regulator of micro processor controlled, thyristor type suitable for remote as well as local control operations on input voltage 230/415 volts, 50Hz AC supply with 6.6A output having 5 steps brightness control with variation of current output and able to communicate with PC or PLC controlled system, with digital output ammeter (0-10A), overcurrent, overvoltage, open circuit and earth fault protection and digital earth leakage meter, two stage earth leakage detector, positive back indication equipments, LED/LCD display, suitable for connection and communication with ALCMS for operation of LED type AGL Circuits etc complete as required confirming to technical specifications for the following rating. a) 2.5KVA | 30.00 | Each |  | 1069636.59 | 32089097.70 | 1208095.85 | 36242875.50 | 32089097.70 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.26 | Supply of FAA Certified Indoor type air cooled constant current regulator of micro processor controlled, thyristor type suitable for remote as well as local control operations on input voltage 230/415 volts, 50Hz AC supply with 6.6A output having 5 steps brightness control with variation of current output and able to communicate with PC or PLC controlled system, with digital output ammeter (0-10A), overcurrent, overvoltage, open circuit and earth fault protection and digital earth leakage meter, two stage earth leakage detector, positive back indication equipments, LED/LCD display, suitable for connection and communication with ALCMS for operation of LED type AGL Circuits etc complete as required confirming to technical specifications for the following rating. a) 4 KVA | 6.00 | Each |  | 1194637.12 | 7167822.72 | 1278561.94 | 7671371.64 | 7167822.72 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.27 | Supply of FAA Certified Indoor type air cooled constant current regulator of micro processor controlled, thyristor type suitable for remote as well as local control operations on input voltage 230/415 volts, 50Hz AC supply with 6.6A output having 5 steps brightness control with variation of current output and able to communicate with PC or PLC controlled system, with digital output ammeter (0-10A), overcurrent, overvoltage, open circuit and earth fault protection and digital earth leakage meter, two stage earth leakage detector, positive back indication equipments, LED/LCD display, suitable for connection and communication with ALCMS for operation of LED type AGL Circuits etc complete as required confirming to technical specifications for the following rating. a) 7.5 KVA | 16.00 | Each |  | 1271589.39 | 20345430.24 | 1606155.20 | 25698483.20 | 20345430.24 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.28 | Supply of FAA Certified Indoor type air cooled constant current regulator of micro processor controlled, thyristor type suitable for remote as well as local control operations on input voltage 230/415 volts, 50Hz AC supply with 6.6A output having 5 steps brightness control with variation of current output and able to communicate with PC or PLC controlled system, with digital output ammeter (0-10A), overcurrent, overvoltage, open circuit and earth fault protection and digital earth leakage meter, two stage earth leakage detector, positive back indication equipments, LED/LCD display, suitable for connection and communication with ALCMS for operation of LED type AGL Circuits etc complete as required confirming to technical specifications for the following rating. a)15KVA | 6.00 | Each |  | 1492874.10 | 8957244.60 | 1905494.07 | 11432964.42 | 8957244.60 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.29 | Supply of FAA Certified Indoor type air cooled constant current regulator of micro processor controlled, thyristor type suitable for remote as well as local control operations on input voltage 230/415 volts, 50Hz AC supply with 6.6A output having 5 steps brightness control with variation of current output and able to communicate with PC or PLC controlled system, with digital output ammeter (0-10A), overcurrent, overvoltage, open circuit and earth fault protection and digital earth leakage meter, two stage earth leakage detector, positive back indication equipments, LED/LCD display, suitable for connection and communication with ALCMS for operation of LED type AGL Circuits etc complete as required confirming to technical specifications for the following rating. a) 25 KVA | 6.00 | Each |  | 1232925.56 | 7397553.36 | 2097989.01 | 12587934.06 | 7397553.36 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.30 | Supply of FAA Certified Indoor type air cooled constant current regulator of micro processor controlled, thyristor type suitable for remote as well as local control operations on input voltage 230/415 volts, 50Hz AC supply with 6.6A output having 5 steps brightness control with variation of current output and able to communicate with PC or PLC controlled system, with digital output ammeter (0-10A), overcurrent, overvoltage, open circuit and earth fault protection and digital earth leakage meter, two stage earth leakage detector, positive back indication equipments, LED/LCD display, suitable for connection and communication with ALCMS for operation of LED type AGL Circuits etc complete as required confirming to technical specifications for the following rating. a) 30 KVA | 3.00 | Each |  | 1950833.96 | 5852501.88 | 2245558.17 | 6736674.51 | 5852501.88 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.31 | Design, Supply & Installtion of ALCMS system with individual light control monitoring other features as per Type 'D' requirements of FAA Advisory Circular No. AC 150/5345-56 (current edition) i/c incorporating the control & opertion of microprocessor CCRs meant for CAT I/II/IIIB operations i/c software development, hardware connections/interconnections, testing, commissioning etc as required. Supply of Touch-Screen LCD type remote control panel cum display unit at Air traffic Control Tower suitable for remote operation of complet Airfield Lighting System. This item include complete hardware and software for CAT III B lighting system i/c all suppl and laying of interconnecting cables (OFC /CAT6 Control), switches, terminations etc. as required and capable of performing ON/OFF illuminated display, positive back indication, change over of circuits, mimic display of systems in operation with positive back indication and confirming to the specifications enclosed. i) Main power control 32A FP MCCB - 01 nos ii) Touch switch ON/OFF, 5 positions brightness control switch for CCR controlled GLF circuits of following air field lighting systems a) All microprocessor CCR up to 70 Nos. b) Illuminted Landing Direction Indicators-1set c) Illuminated Wind Cone Indicators-4 set d) AAI Apron Flood Light Towers - 46 Nos. Note -1: A Touch screen LCD type status display cum monitoring unit complete with interconnections, terminations etc shall also be included in this quote for CCR room. | 1.00 | Job |  | 66924674.56 | 66924674.56 | 40645550.12 | 40645550.12 | 40645550.12 | HONEYWELL AUTOMATION INDIA LIMITED
1.32 | Supply of FAA Certified encapsulated microprocessor driven Dual/Single channel switching device used for individual control and monitoring of one number lamp suitable for operation on 6.6 AGL series circuit etc complete as required as per technical specification. | 4552.00 | Each |  | 0.00 | 0.00 | 28598.23 | 130179142.96 | 0.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.33 | Supply of FAA Certified 15 Watt, 6.6/6.6 Amp rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5KV rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a Housing Box confirming to the specifications, complete as required. | 2077.00 | Each |  | 6500.65 | 13501850.05 | 5415.55 | 11248097.35 | 11248097.35 | HONEYWELL AUTOMATION INDIA LIMITED
1.34 | Supply of FAA Certified 45 Watt, 6.6/6.6 Amp rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5KV rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a Housing Box confirming to the specifications, complete as required. | 2197.00 | Each |  | 6783.28 | 14902866.16 | 5866.85 | 12889469.45 | 12889469.45 | HONEYWELL AUTOMATION INDIA LIMITED
1.35 | Supply of FAA Certified 65 Watt, 6.6/6.6 Amp rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5KV rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a Housing Box confirming to the specifications, complete as required. | 254.00 | Each |  | 7772.51 | 1974217.54 | 7220.73 | 1834065.42 | 1834065.42 | HONEYWELL AUTOMATION INDIA LIMITED
1.36 | Supply of 200 Watt, FAA Certified 6.6/6.6 Amp rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5KV rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a Housing Box confirming to the specifications, complete as required. | 24.00 | Each |  | 9185.69 | 220456.56 | 9025.92 | 216622.08 | 216622.08 | HONEYWELL AUTOMATION INDIA LIMITED
1.37 | Supply, Installation, testing & Commissioning of LED Guidance signage board of various sizes made out of 2 mm thick anodized aluminium frame with suitable angel support, 1.5 mm thick aluminium back symbols of sign should be screen printed on inside of sign face made of self-adhesive 3M film applied on the inside face with required coloring. Sign board shall be uniformly internally illuminated with required LED's i/c all other accessories to achieve uniform illumination level and with suitable driver and electronics to operate on 2.8 Amp to 6.6 Amp AC, made for water tightness and locking arrangements, mounting legs with frangible coupling & base frame etc. meeting the latest ICAO standards complete as per specifications etc. as required including Installation, Testing and Commissioning of guidance signboards of various sizes i/c supply & installation of isolating transformer of suitable rating and providing secondary leads etc. i/c pedestal of 1m all around the signage board with 1:2:4 (cement, concrete, coarse) of thickness 100mm with neat cement finish plaster, testing and commissioning etc. as required as per specification. | 70.00 | Sq. Mtrs |  | 52500.00 | 3675000.00 | 73038.24 | 5112676.80 | 3675000.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
1.38 | Supply of low/medium/high intensity LED type obstruction light for various locations as per ICAO specifiations complete as required. | 43.00 | Each |  | 4705.88 | 202352.84 | 4332.44 | 186294.92 | 186294.92 | HONEYWELL AUTOMATION INDIA LIMITED
2.00 | INSTALLATION, TESTING & COMMISSIONING
2.01 | Installation, testing and Commissioning of inset type fitting with deep core cutting upto 500 mm depth, aligning and setting i/c providing sealing material and installation of Isolating Transformer, Crimping / Jointing of secondary lead connectors & other accessories required for commissioning i/c supply of all materials except isolating transformer etc. as per specification complete as required. a) Fitting size up to 8 " / 12 " | 3212.00 | Job |  | 7058.82 | 22672929.84 | 9572.82 | 30747897.84 | 22672929.84 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.02 | Installation, testing & commissioning of Elevated type approach / runway edge / threshold / end / taxiway light fixtures/ Runway Guard light on existing housing boxes and Crimping / Jointing of secondary lead connectors, installation of isolating transformers, i/c supply of all materials except isolating transformer etc.as per specificaiton complete as required. | 947.00 | Job |  | 352.94 | 334234.18 | 683.78 | 647539.66 | 334234.18 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.03 | Installation, Testing, Commissioning of CCR (UP TO 30 KVA) including termination of incoming and outgoing power and control cables, inter connection, making foundation with 50mmx50mmx6mm angle iron raised to height of 30 mm from ground level as per site requirement for providing clearance for cable loop, GI strip earthing, complete as required. | 67.00 | Job |  | 8823.53 | 591176.51 | 12307.91 | 824629.97 | 591176.51 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.04 | Supply of following sizes HDPE Pipe suitable to lay in underground as per IS:4984/95 duly ISI marked, i) 63 mm outer dia PE100, PN10 | 14040.00 | Mtrs |  | 164.71 | 2312528.40 | 104.71 | 1470128.40 | 1470128.40 | HONEYWELL AUTOMATION INDIA LIMITED
2.05 | Supply of following sizes HDPE Pipe suitable to lay in underground as per IS:4984/95 duly ISI marked, i) Min. 110 mm outer dia PE100, PN10 | 720.00 | Mtrs |  | 152.94 | 110116.80 | 312.90 | 225288.00 | 110116.80 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.06 | Supply of following sizes HDPE Pipe suitable to lay in underground as per IS:4984/95 duly ISI marked, i) 160 mm outer dia PE100, PN10 | 400.00 | Mtrs |  | 223.53 | 89412.00 | 661.91 | 264764.00 | 89412.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.07 | Supply and laying of double wall corrugated high density polyethylene (DWC HDPE pipe) pipe confirming to IS:14930 (part-2) with latest amendment, complete along with 4mm nylon rope with accessories like couplers, bends, tee etc. in the soil for GLF supply/power supply work upto 750 mm deep, back filling & making good the same as per site requirement as per the direction of engineer in charge. a) 63 mm dia (OD-63 mm & ID-51 mm nominal) | 219196.00 | Mtrs |  | 223.53 | 48996881.88 | 337.69 | 74020297.24 | 48996881.88 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.08 | Laying of one number PVC / XLPE / EPR insulated & PVC / PE / PCP sheathed AFL copper conductor power cable of grade exceeding 0.4 KV but not exceeding 11 KV of size not exceeding 25 sq. mm. in the existing cable duct / RCC/HUME/METAL/HDPE/DWC pipes etc. as required. (Feeder and Looping cable) | 220585.00 | Mtrs |  | 21.18 | 4671990.30 | 41.03 | 9050602.55 | 4671990.30 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.09 | Laying of one number 2 X 4 sq mm AFL secondary cable along with 1 X 4 sq mm earth cable of voltage grade not exceeding 1.1 KV in the cable duct / masonary trench / RCC / HUME / METAL / GI / HDPE / DWC pipe etc. as required. | 84866.00 | Mtrs |  | 21.18 | 1797461.88 | 32.83 | 2786150.78 | 1797461.88 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.10 | Cutting kerf of suitable size in taxiway/runway/apron of PQC/bituminous surface i/c chipping, hammering, cleaning & drying etc. & refilling the kerf with sealant material including primer etc. as reqd. in bitumin/PQC area & laying following numbers of secondary leads:- a) 01 No. Secondary lead of size 2x4 sq.mm. | 2576.00 | Mtrs |  | 629.41 | 1621360.16 | 478.65 | 1233002.40 | 1233002.40 | HONEYWELL AUTOMATION INDIA LIMITED
2.11 | Cutting kerf of suitable size in taxiway/runway/apron of PQC/bituminous surface i/c chipping, hammering, cleaning & drying etc. & refilling the kerf with sealant material including primer etc. as reqd. in bitumin/PQC area & laying following numbers of secondary leads:- a) 2 No. Secondary lead of size 2x4 sq.mm. | 3676.00 | Mtrs |  | 641.18 | 2356977.68 | 547.02 | 2010845.52 | 2010845.52 | HONEYWELL AUTOMATION INDIA LIMITED
2.12 | Cutting kerf of suitable size in taxiway/runway/apron of PQC/bituminous surface i/c chipping, hammering, cleaning & drying etc. & refilling the kerf with sealant material including primer etc. as reqd. in bitumin/PQC area & laying following numbers of secondary leads:- a)3 No. Secondary lead of size 2x4 sq.mm. | 2829.00 | Nos. |  | 664.71 | 1880464.59 | 615.40 | 1740966.60 | 1740966.60 | HONEYWELL AUTOMATION INDIA LIMITED
2.13 | Cutting kerf of suitable size in taxiway/runway/apron of PQC/bituminous surface i/c chipping, hammering, cleaning & drying etc. & refilling the kerf with sealant material including primer etc. as reqd. in bitumin/PQC area & laying following numbers of secondary leads:- a) 4 No. or more up to 7 No. Secondary lead of size 2x4 sq.mm. | 14048.00 | Mtrs |  | 676.47 | 9503050.56 | 717.97 | 10086042.56 | 9503050.56 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.14 | Supply, Installation, testing and commissioning of Precision Approach Path Indicator ( PAPI) units ( 4Nos. in 01 set) including PAPI unit with all parts like outer body, lenses, reflector, isolating transformer, connectors, frangible adjustable legs, check stick with base, clinometer etc. including setting designs, foundations construction of checking stick base etc. & connection of isolating transformer, connecting kit, secondary leads complete as required | 2.00 | Each |  | 2088726.00 | 4177452.00 | 4058008.44 | 8116016.88 | 4177452.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.15 | Dismantling of existing CCRs of various capacities and handing over to AAI store as per the direction of Engineer-in-Charge. | 20.00 | Nos. |  | 2941.18 | 58823.60 | 6837.73 | 136754.60 | 58823.60 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.16 | Dismantling of existing RWY cable from HDPE pipes/masonry trenches etc. and handing over to AAI store as per the direction of Engineer-in-Charge. | 25000.00 | Mtrs |  | 11.76 | 294000.00 | 20.52 | 513000.00 | 294000.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.17 | Supply of yellow/ green 4 Sq.mm PVC insulated FRLS copper conductor single core flexible cable of 1.1 KV grade as per IS 694 for earth connection | 116456.00 | Mtrs |  | 76.47 | 8905390.32 | 71.28 | 8300983.68 | 8300983.68 | HONEYWELL AUTOMATION INDIA LIMITED
2.18 | Making connection of 5 KV grade, 6 Sq.mm Copper conductor cable with plug & receptacle (but excluding cost of plug & receptacles) i/c connecting continutity wire for screen etc. complete as required. | 9103.00 | Job |  | 294.12 | 2677374.36 | 369.24 | 3361191.72 | 2677374.36 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.19 | Supply and Fixing of secondary Connectors (male and Female) to 2 x 4 Sq.mm multi stranded annealed conductor PCP sheathed unshielded cable of 600 V grade on both ends. | 4552.00 | Job |  | 294.12 | 1338834.24 | 259.84 | 1182791.68 | 1182791.68 | HONEYWELL AUTOMATION INDIA LIMITED
2.20 | Numbering of Airfield Light Fixtures on the base/ top surface/ RCC foundation of light fixture with good quality of black color enamel paint with yellow background etc. complete as required. | 4552.00 | Job |  | 58.82 | 267748.64 | 68.38 | 311265.76 | 267748.64 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.21 | Design, supply and installation of Frangible & tiltable type pole/ lattice mast (base mounted/central hinge /counter balanced type ) of following height as mentioned below complying with relevant ICAO standards suitable for Cat –III Approach light system as per the indicative profile attached including necessary foundation as per specifications required and as per directions of the Engineer In charge. from 0.5 Metre - up to 1.2 Metre Frangible Pole | 30.00 | Each |  | 46470.59 | 1394117.70 | 33324.62 | 999738.60 | 999738.60 | HONEYWELL AUTOMATION INDIA LIMITED
2.22 | Design, supply and installation of Frangible & tiltable type pole/ lattice mast (base mounted/central hinge /counter balanced type ) of following height as mentioned below complying with relevant ICAO standards suitable for Cat –III Approach light system as per the indicative profile attached including necessary foundation as per specifications required and as per directions of the Engineer In charge. beyond 1.2 Metre - up to 2.0 Metre Frangible Pole | 30.00 | Each |  | 58235.29 | 1747058.70 | 43636.03 | 1309080.90 | 1309080.90 | HONEYWELL AUTOMATION INDIA LIMITED
2.23 | Construction of masonry Chamber 2m x 1.2 m x 1.5m (deep) inside, in precast cement concrete solid block made from 1:1.5:3 (1 Cement: 1.5 coarse and sand : 3 graded stone aggregate 20 mm nominal size ) in cement mortar 1:4 (1 cement :4 coarse and sand) including necessary excavation, foundation concrete 1:5:10 (1 cement :5 fine sand : 10 graded stone aggregated 40 mm nominla size ) of thickness 100 mm and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand ) 12 mm thick, finished with a floating coat of neat cement complete as per standard design. | 40.00 | Each |  | 41176.47 | 1647058.80 | 61539.52 | 2461580.80 | 1647058.80 | ADBSAFEGATE INDIA PRIVATE LIMITED
2.24 | Providing and placing in position 150 mm thick, factory made machine batched & machine precast RCC Rectangular Covers on chambers of various sizes of M-25 grade cement concrete for RCC work, including cost of centering, shuttering, reinforcement of 8 mm dia TMT mm dia bar for hooks etc, i/c cost of cartage, all leads & lift, handling at site etc. all complete as per direction of Engineer-in-Charge. Slab Size - 2.4 Metre x 1.6 Metre | 40.00 | Each |  | 17647.06 | 705882.40 | 47864.07 | 1914562.80 | 705882.40 | ADBSAFEGATE INDIA PRIVATE LIMITED
3.00 | APRON FLOOD LIGHTING
3.01 | Supply of LED flood light of of suitable wattage and beam angle as per site requirement with high pressure die cast Aluminium / standard alloy housing and LEDs of approved make pasted on diecast housing, driver installed on cast aluminium housing and prewired upto the terminal block.It has aluminaire efficiency of not less than 110lm/W, CCT of 5700 K, suitable for outdoor application complete as per technical specifications. (Considering 300 Watt light as per existing installation) | 356.00 | Each |  | 11529.41 | 4104469.96 | 10872.91 | 3870755.96 | 3870755.96 | HONEYWELL AUTOMATION INDIA LIMITED
3.02 | Design, manufacture, supply, installation, erection ,testing & commissioning of 18 meter integral type hot dipped galvanised high mast with built in power tool suitable for wind speed as per IS -875 , luminaries carrige suitable to install luminiries as per lightining design complete with accessories like lightning finial , double drum winch ,compensating disc , head frame ,SS wire rope ,trailing cable , connectors ,mannual handle , junction box complete as required as per manufacturer, including necessary design & costing of suitable foundation with M25 grade concrete as per site condition or OEM recommendated (considering soil bearing capacity 10 ton / Sqm.) along with all civil materials/supplies i/c supply and erection of foundation bolts , anchor plates,common template, nuts wahsers etc., and installation ,testing and commisioning of all required luminaries as per design with switch gears, required wiring/cabling, lantern carriage, connection and interconnection complete as reuired and as per particular specificaions enclosed. | 21.00 | Each |  | 441176.47 | 9264705.87 | 300349.90 | 6307347.90 | 6307347.90 | HONEYWELL AUTOMATION INDIA LIMITED
3.03 | Installation, testing & commissioning of Flood lights on existing High Mast (set of approx. 16 Nos. light fittings on each high mast) along with providing and fixing of suitable clamp, nut, bolts etc. as required including provision of rubber type or suitable counter-balancing arrangement required to maintain the horizontal level of the carriage and prevent any unbalance, including lifting the high mast carriage using existing motor pulley, including making connections to the LED flood lights, testing & commissioning complete as required as per site requirement. ( 01 Job - Installation of 1 set of fittings on 01 High Mast). | 21.00 | Each |  | 37647.06 | 790588.26 | 24615.81 | 516932.01 | 516932.01 | HONEYWELL AUTOMATION INDIA LIMITED
3.04 | S.I.T.C. of outdoor type Feeder Pillar/Panel PTTA type fabricated out of 14 SWG CRCA sheet having double doors with locking arrangement at front and openable back for easy access to cable alley, dust & vermin proof, totally enclosed, compartmentalised, rubber gasket on all doors. M S angle base frame, earth terminal bolts,internal wiring, connections etc comprising with the following switch gears suitable for operation on 415 V,3 phase, 4 wire, 50 Hz AC power supply complete as required. The feeder pillar shall have the provision of M S angle stand fabricated out of 50 x 50 x 6 mm angle ( legs of stand 300mm above ground and 300mm below grouted ) suitable for installation of feeder piller on M S stand including grouting the stand with cement concret mortar( upto 300mm above GL) , nut bolts etc as required and as per enclosed specification conforming to relevant IS specification. Incomer - 125 Amp, 4 pole, 25 KA MCCB with thermal and magnetic setting I/C - 2 Set 200 Amp TPN aluminium busbar - 1 Set Outgoing - 63 Amp, 4 pole, 25 KA MCCB - 04 sets Metering panel with Voltmeter, Ammeter of suitable ranged, Indication lamps RYB & Voltmeter & Ammeter Selector Switch | 9.00 | Job |  | 170588.24 | 1535294.16 | 164899.28 | 1484093.52 | 1484093.52 | HONEYWELL AUTOMATION INDIA LIMITED
3.05 | Supply, installation, testing and commissioning of dust & vermin proof ourdoor, IP-54, floor mounted PTTA type feeder pillar/panel of suitable size on cement concrete foundations generally conforming to IS 5039 and to withstand rough usage and weather. The panel shall be fabricated with 14 SWG M.S.sheet with hinged door on front side with locking arrangement, suitable angle/ channels frame in the bottom, legs for grouting in foundation, openable cable protection covers at bottom portion, painting etc. including supplying and fixing of following accessories and making inter connection, earth connection, neutral link, etc.as per the drawings. Incomer: 63 Amps.4P,25 KA MCCB (Ics = lcu= 100%) with extended rotary handle-- 1 No. MCBs connecting copper wire/strip to connect all outgoing MCBs LED type indication lamps with control fuse and bases-3 Nos. Outgoing : 6-32 Amps.SP,MCB C-series 10 KA -10 No. 15 Amps Socket and switch -1 set | 21.00 | Job |  | 76470.59 | 1605882.39 | 59948.65 | 1258921.65 | 1258921.65 | HONEYWELL AUTOMATION INDIA LIMITED
4.00 | MV Panel for GLF, Cable Laying etc.
4.01 | MV Panel (GLF TTA PANEL) Supply, Installation, Testing and Commissioning of TTA type indoor cubicle LT panel as per IEC 61439, IP42, suitable for 415V+/-10%, 3 Phase, 4 wire 50 Hz AC supply system, fabricated in compartmentalized modular design from CRCA sheet steel of 2 mm thick for frame work and covers, 3 mm thick for gland plates i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having TPN Aluminium alloy bus bars with 100% size neutral bus as that of phase bus, supported with SMC bus bar supports, with short circuit withstand capacity as per design subject to minimum 35 kA for 1 sec, bottom base channel of MS section not less than 75 mm x 40 mm, fabrication shall be done in transportable sections, entire panel shall have a common Copper earth bus bar of size as per IS 3043 subject to minimum 32 mm x 5 mm at the rear with 2 Nos. earth stud, solid/ flexible copper connections from main earth bus bar to switchgears with required size of Cooper conductors/ bus bars and control wiring with 2.5 sqmm FRLS PVC insulated copper conductor cable, cable alleys, cable gland plates in two halves, including control and interlocking of incomers, bus coupler and providing following switchgears/ accessories as per specifications. Incomer 2 Nos. 630A, 4P MCCB, Microprocessor based release (Ics = Icu = 35kA) with inbuilt O/L , S/C & E/F protection as per specification and each incommer shall be provided with following accessories with provision of 02 Nos. I/C supply in each I/C and Automatic Transfer Switch for selection of Master & slave supply from the Incomer. 1 Set of phase indicating LED lamps with 2 amp back up MCB 1 No. 96 x 96 sqmm Digital MFM meter and 3 nos. Cast resin CTs of ratio 630/5A , Class 0.5 accuracy and 10 VA burden, suitable to measure voltage, Ampere, Frequency, Power Factor, KVA, KW, KVAH, KWH, MDI & Individual Odd Harmonics for voltage and current including THD upto 31st Order with RS-485 port. 1 Set of ON/ OFF/TRIP Indicating LED Lamps With 2 Amp MCB Buscoupler 1 Nos. 630A 4P MCCB, Microprocessor based release (Ics = Icu = 35kA) with inbuilt O/L , S/C & E/F protection as per specification with following accessories. 1 Set of ON/ OFF/TRIP Indicating LED Lamps With 2 Amp MCB Electrical & Mechnical Interlocking between both incomers & Buscoupler Busbars 4P aluminium / copper bus bars of 800A capacity with heat shrinkable coloured sleeves including SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 35 KA for 1 sec. The electrical panel shall be fully ventilated to maintain internal body temp. < 40 deg 'C' when room amb. temp. is equal of less than 35 deg 'C'. Required ventilation fans shall be provided and tested. Outgoings 04 Nos. (02 main + 02 spare) 200A 4P MCCB with built in thermal magnetic release with adjustable setting (Ics = Icu =25 KA) 06 Nos. (04 main + 02 spare) 125A 4P MCCB with built in thermal magnetic release with adjustable setting (Ics = Icu =25 KA) 06 Nos. (04 main + 02 spare) 100A 4P MCCB with built in thermal magnetic release with adjustable setting (Ics = Icu =25 KA) 16 (12 Main + 04 spares) 63A 4P MCCB with built in thermal magnetic release with adjustable setting (Ics = Icu =25 KA) 36 (28 Main + 08 spares) 32A 4P MCCB with built in thermal magnetic release with adjustable setting (Ics = Icu =25 KA) For each busbar section-1 Set Surge protection device Type 2 ( Class C), 4 Module, MOV type suitable for 8/ 20µs surge,Voltage Protection level Up < 1.5kV, Operating Temperature -40 deg 'c' - +80 deg 'C', Connected Between 3Nos. phase to neutral and 1Nos. neutral to earth with discharge Current Imax. ≥ 40KA Per module & In ≥ 20kA per Module. SPD shall be with built in fuse and plugable type. For connecting SPD minimum 10sqmm copper wire must be used & length of connecting leads shall not be more than 500mm per mode connection including all necessary accessories. The SPD shall be complient and tested from KEMA KEUR / VDE / NABL tested as per IEC 61643-11 / UL. 1 Set of earth leakage relay (ELR) (30-3000mA) with CBCT & TRIP due to earth leakage Indicating LED Lamps with 2 Amp MCB for each outgoing MCCB. | 1.00 | Job |  | 4058823.53 | 4058823.53 | 3571910.48 | 3571910.48 | 3571910.48 | HONEYWELL AUTOMATION INDIA LIMITED
4.02 | Supplying of 1100V grade multicore stranded Aluminium Conductor XLPE insulated galvanised steel strip armoured & overall PVC sheathed armoured power cables as per IS: 7098 Part-I complete as required. a) 4C X 25 Sq.mm | 60.00 | Mtrs |  | 276.47 | 16588.20 | 322.77 | 19366.20 | 16588.20 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.03 | Supplying of 1100V grade multicore stranded Aluminium Conductor XLPE insulated galvanised steel strip armoured & overall PVC sheathed armoured power cables as per IS: 7098 Part-I complete as required. a)3.5 X 240 Sq.mm | 9855.00 | Mtrs |  | 1676.47 | 16521611.85 | 1517.33 | 14953287.15 | 14953287.15 | HONEYWELL AUTOMATION INDIA LIMITED
4.04 | Supply of following sizes of 1.1kV grade XLPE/PVC insulated, PVC FRLS sheathed, Copper conductor, Armoured cable as per IS: 7098 Part-I/ IS:1554(Part I) complete as required. Size - 10C x 2.5 Sq.mm | 1420.00 | Mtrs |  | 605.88 | 860349.60 | 507.44 | 720564.80 | 720564.80 | HONEYWELL AUTOMATION INDIA LIMITED
4.05 | Supply of following sizes of 1.1kV grade XLPE/PVC insulated, PVC FRLS sheathed, Copper conductor, Armoured cable as per IS: 7098 Part-I/ IS:1554(Part I) complete as required. Size - 24C x 2.5 Sq.mm | 3350.00 | Mtrs |  | 1323.53 | 4433825.50 | 1172.23 | 3926970.50 | 3926970.50 | HONEYWELL AUTOMATION INDIA LIMITED
4.06 | Supply and laying of double wall corrugated high density polyethylene (DWC HDPE pipe) pipe confirming to IS:14930 (part-2) with latest amendment, complete along with 4mm nylon rope with accessories like couplers, bends, tee etc. in the soil for GLF supply/power supply work upto 750 mm deep, back filling & making good the same as per site requirement as per the direction of engineer in charge. a) 90 mm dia (OD-90 mm & ID-76 mm nominal) | 8486.00 | Mtrs |  | 258.82 | 2196346.52 | 205.89 | 1747182.54 | 1747182.54 | HONEYWELL AUTOMATION INDIA LIMITED
4.07 | Laying of one number PVC insulated & PVC sheathed XLPE power cable of 1.1 KV grade of following size in the existing masonary open duct as required a) Above 35 sqmm and upto 95 sqmm | 500.00 | Mtrs |  | 29.41 | 14705.00 | 109.41 | 54705.00 | 14705.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.08 | Laying of one number PVC insulated & PVC sheathed XLPE power cable of 1.1 KV grade of following size in the existing masonary open duct as required a) Above 95 sqmm and upto 185 sqmm | 900.00 | Mtrs |  | 35.29 | 31761.00 | 164.11 | 147699.00 | 31761.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.09 | Laying of one number PVC insulated & PVC sheathe/XLPE power/Control cable of grade upto 1.1 KV of following size in the existing RCC/HUME/METAL/HDPE/DWC pipes etc. as required. A) Up to 35 sq.mm. | 4440.00 | Mtrs |  | 23.53 | 104473.20 | 136.76 | 607214.40 | 104473.20 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.10 | Laying of one number PVC insulated & PVC sheathe/XLPE power/Control cable of grade upto 1.1 KV of following size in the existing RCC/HUME/METAL/HDPE/DWC pipes etc. as required. A) Above 35 sq.mm. up to 95 sq.mm. | 6590.00 | Mtrs |  | 35.29 | 232561.10 | 164.11 | 1081484.90 | 232561.10 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.11 | Laying of one number PVC insulated & PVC sheathe/XLPE power/Control cable of grade upto 1.1 KV of following size in the existing RCC/HUME/METAL/HDPE/DWC pipes etc. as required. A) Above 185 sq.mm. up to 400 sq.mm. | 8486.00 | Mtrs |  | 35.29 | 299470.94 | 246.16 | 2088913.76 | 299470.94 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.12 | Supplying and installing following size of perforated Hot dipped G.I. cable trays with perforation not more than 17.5%, in convienient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc. as required. a) 300 mm width X 62.5 mm depth X 2.0 mm thickness | 390.00 | Mtrs |  | 1470.59 | 573530.10 | 965.18 | 376420.20 | 376420.20 | HONEYWELL AUTOMATION INDIA LIMITED
4.13 | Supplying and installing following size of perforated Hot dipped G.I. cable trays with perforation not more than 17.5%, in convienient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc. as required. a) 450 mm width X 62.5 mm depth X 2.0 mm thickness | 240.00 | Mtrs |  | 1823.53 | 437647.20 | 1305.75 | 313380.00 | 313380.00 | HONEYWELL AUTOMATION INDIA LIMITED
4.14 | Laying and fixing of one no. PVC insulated and PVC Sheathed/XLPE Power cable of 1.1 KV grade/airfield cable up to 11 kV grade of following sizes on the existing cable tray as required a) Upto 35 sqmm (clamped with 1mm thick saddle) | 9115.00 | Mtrs |  | 88.24 | 804307.60 | 109.41 | 997272.15 | 804307.60 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.15 | Supplying and making end termination with brass compression gland and Aluminimum lugs for following size of PVC insulated and PVC sheathed / XLPE Aluminium conductor cable of 1.1 KV grade as required. a) 3.5 X 240 Sq.mm | 36.00 | Set |  | 3529.41 | 127058.76 | 2647.61 | 95313.96 | 95313.96 | HONEYWELL AUTOMATION INDIA LIMITED
4.16 | Supplying and making end termination with brass compression gland and Aluminimum lugs for following size of PVC insulated and PVC sheathed / XLPE Aluminium conductor cable of 1.1 KV grade as required. a) 4 X 25 Sq.mm | 48.00 | Set |  | 1176.47 | 56470.56 | 562.02 | 26976.96 | 26976.96 | HONEYWELL AUTOMATION INDIA LIMITED
4.17 | Supplying and making end termination with brass compression gland and Copper lugs for following size of PVC insulated and PVC sheathed / XLPE Copper conductor cable of 1.1 KV grade as required. a) 10C x 2.5 Sq mm | 134.00 | Set |  | 1764.71 | 236471.14 | 395.94 | 53055.96 | 53055.96 | HONEYWELL AUTOMATION INDIA LIMITED
4.18 | Supplying and making end termination with brass compression gland and Copper lugs for following size of PVC insulated and PVC sheathed / XLPE Copper conductor cable of 1.1 KV grade as required. a) 24C x 2.5 Sq mm | 4.00 | Set |  | 2294.12 | 9176.48 | 673.94 | 2695.76 | 2695.76 | HONEYWELL AUTOMATION INDIA LIMITED
4.19 | Supply and fixing of fire retardant electrically insulated synthetic mat of class A, 2.5 mm thick suitable for all voltages not exceeding 11 KV AC and 240V DC system meeting requirements of IS 15652:2006 tested for breakdown strength, tensile/elongation, aging properties, insulation resistance, effect to acid, alkaline, diesel, transformer oil & leakage current test, fire test etc. having minimum width of 1000 mm ±20 mm along with all allied materials such as Pu-resin, Chemi bound, special PVC adhesive, liquid primer etc. in what so ever quantity required to complete the job as per site conditions and as per instructions from Engineer-in-Charge. | 200.00 | Mtrs |  | 1058.82 | 211764.00 | 1132.00 | 226400.00 | 211764.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.20 | Earthing with 'B' class G. I. earth pipe 4.5 Metres. long x 40 mm dia i/c accessories and providing masonry enclosures with cover plate having locking arrangement & watering pipe etc. i/c charcoal/ coke and salt complete as required as per specification. | 492.00 | Each |  | 8823.53 | 4341176.76 | 2888.30 | 1421043.60 | 1421043.60 | HONEYWELL AUTOMATION INDIA LIMITED
4.21 | Earthing with copper earth plate 600mm x 600mm x 3.0mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. Including charcoal and salt complete as required. | 18.00 | Set |  | 20000.00 | 360000.00 | 23581.70 | 424470.60 | 360000.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.22 | Providing and fixing of 25mm x 5mm copper strip in 40 mm dia GI pipe from earth electrode as required | 215.00 | Mtrs |  | 1411.76 | 303528.40 | 4212.10 | 905601.50 | 303528.40 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.23 | Providing and fixing of 25mm x 5mm copper strip on surface or recess for earth connection as required | 360.00 | Mtrs |  | 1411.76 | 508233.60 | 1612.63 | 580546.80 | 508233.60 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.24 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe medium class from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 2952.00 | Mtrs |  | 382.35 | 1128697.20 | 434.45 | 1282496.40 | 1128697.20 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.25 | Providing and fixing 6 SWG G. I. wire on surface or in recess or with HDE/DWC/GI/Hume pipe etc. for loop earthing as required. | 199726.00 | Mtrs |  | 25.88 | 5168908.88 | 37.31 | 7451777.06 | 5168908.88 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.26 | Design, manufacture, supply, installation, testing and commissioning of outdoor type feeder pillar box as per latest IS of size 0.60 m X 0.75 m X 0.30 m with double door fabricated from 2 mm thick MS steel including TPN Bus bar of 415V, 200 Amp, 50 Hz with suitable equidistant arrangement for connection of 01 I/c and 02 Outgoing cables, cable entry from bottom, arranegment for earth connection, totally enclosed type with free standing floor mounted, dust & vermin proof etc including MS angle iron stand as per site requirement complete as required. | 10.00 | Each |  | 21617.65 | 216176.50 | 20857.98 | 208579.80 | 208579.80 | HONEYWELL AUTOMATION INDIA LIMITED
4.27 | Providing, laying and fixing following dia RCC pipe NP2 class (light duty) of size 250 mm dia in ground complete with RCC collars, jointing with cement mortar 1:2 (1 cement : 2 fine sand) including trenching (75 cm deep) and refilling etc as required. | 1200.00 | Mtrs |  | 1050.59 | 1260708.00 | 4265.30 | 5118360.00 | 1260708.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
4.28 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 240 sq. mm | 18.00 | Each |  | 2470.59 | 44470.62 | 21736.74 | 391261.32 | 44470.62 | ADBSAFEGATE INDIA PRIVATE LIMITED
5.00 | SITC of UPS System for GLF
5.01 | Supply, Installation, Testing & Commissioning (SITC) of 120 KVA UPS capable to operate in parallel with existing 2 x 120 KVA UPS , 3 phase input, 3 phase output IGBT based, modular type, true online double conversion type with harmonic filter suitable to drive constant current regulators(CCR) with 100% unbalanced load at output at full load condition with standard features like 100% rated static bypass, maintenance bypass facilities active input power factor correction, phase sequence corrector, pure sinewave output, compatibility of generator supply, user friendly LCD display and having provision of upgrading UPS to run in load sharing mode in future, battery management features integrated with main UPS controller, operating condition 415V +15%, - 20%, 3 phase, 50Hz ±5%, IP20 capable of running at 100% 2 phase/single phase unbalance load with 3 phase of output and as per the enclosed technical specification, including connection/termination of copper cables in UPS using appropriate size lugs etc. . The job also includes: (a) Supply, Installation, Testing & Commissioning (SITC) of 12V, SMF 150 Ah , minimum 40 No batteries-02 sets to give a backup time of 30 min at full load with this UPS System along with suitable rating MCCBs, interconnection between the batteries, battery terminals, caps, cabling, glanding & termination by copper conductor between battery bank and UPS alongwith MS powder coated battery rack for housing the batteries. (b) SITC of minimum 100 kA TVSS (Surge Protector) with 10 mode protection response time <50 nanoseconds and other conditions complying as per the detailed Technical specifications , with 02 years defect liability period. (c ) SITC of External Isolation Transformer of 150 KVA rating or higher (as per recommendation of the OEM of the UPS) to be installed at the Input of the UPS including termination of copper power cables in the transformer using appropriate size lugs etc. complete as required. Note : This UPS system should operate in parallel with existing 3x120 KVA UPS of make - Eaton, model - 93PR installed at AAI VNS site. | 3.00 | Job |  | 4218842.35 | 12656527.05 | 3153141.14 | 9459423.42 | 9459423.42 | HONEYWELL AUTOMATION INDIA LIMITED
5.02 | Design, Fabricarication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor mounted, extendable on both sides, TTA type indoor LT panel made out of 2 mm thick (or as per standard) CRCA sheet duly rust inhibited, stove enameled, powder coated paint, fully compartmentalized complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand, control wiring, with mechanical interlocking, etc. and having following accessories. INCOMER FROM ESS. PANEL 2 Nos. 630A 4P MCCB (Ics=Icu=50 KA) with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction Meter, suitable for measuring Voltage, Current, Energy, frequency, power factor etc. with CT ratio programmable and auto ranging along with suitable range CTs. 2 Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON', and 'OFF' lamps with protection MCBs. Outgoing to Isolation Trasformer 3 Nos. 250A 4P MCCB (Ics=Icu=36 KA) with rotary operating mechanism including terminal extension. Each Outgoing shall have one set of the following items: Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON', and 'OFF' lamps with protection MCBs. BUS COUPLER 1 Nos. 630A 4P MCCB (Ics=Icu=50 KA) with rotary operating mechanism including terminal extension. Bus coupler shall have indication 'ON', and 'OFF' lamps with protection MCBs. BUS BAR 1 Set of 800A TPN Busbar of aluminum alloy.(Neutral Bus Bar should be same as Phase Bus Bar) INCOMER FROM UPS 3 Nos. 250A 4P MCCB (Ics=Icu=36 KA) with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON', and 'OFF' lamps with protection MCBs. OUTGOING TO GLF PANEL 2 Nos. 630A 4P MCCB (Ics=Icu=50 KA) with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction Meter, suitable for measure Voltage, Current, Energy, frequency, power factor etc. with CT ratio programmable and auto ranging along with suitable range CTs. 2 Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON', and 'OFF' lamps with protection MCBs. With suitable size busbar etc. for parallel operation of all three 120 KVA UPS. | 1.00 | Job |  | 1000000.00 | 1000000.00 | 1058128.38 | 1058128.38 | 1000000.00 | ADBSAFEGATE INDIA PRIVATE LIMITED
5.03 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre lonq etc. with charcoal/ coke and salt as required. | 6.00 | Set |  | 11647.06 | 69882.36 | 7822.46 | 46934.76 | 46934.76 | HONEYWELL AUTOMATION INDIA LIMITED
5.04 | Supply of 4C X 95 sq. mm. stranded Copper, XLPE Insulated, PVC Innersheathed, Unarmoured Copper conductor cable as per IS: 694 with upto Date Amendments. | 25.00 | Mtrs |  | 7882.35 | 197058.75 | 6757.16 | 168929.00 | 168929.00 | HONEYWELL AUTOMATION INDIA LIMITED
5.05 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade offollowing size on wall/surface as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 20.00 | Mtrs |  | 64.71 | 1294.20 | 109.41 | 2188.20 | 1294.20 | ADBSAFEGATE INDIA PRIVATE LIMITED
5.06 | Supplying and making end termination With brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed/XLPE Copper conductor cable of 1.1 KV grade as required. 4 C X 95 sq.mm. | 6.00 | Set |  | 1764.71 | 10588.26 | 1483.86 | 8903.16 | 8903.16 | HONEYWELL AUTOMATION INDIA LIMITED
6.00 | SITC of Photometric Field Test machine for GLF system
6.01 | Supply, Testing at site and Training of bi?directional Mobile Photometric measuring system along with Vehicle (5 Seater Pickup Truck) of Engine capacity not less than 1400 cc turbocharged and all measuring/monitoring, analysing, recording instruments and software required and comprises of Bi-Directional Light Sensors , Data Logger unit ,Alignment camera system , Distance measurement device , Integrated GPS and sensor , Laptop computer with printer, Interconnecting cable kit , Universal mounting brackets kit , Light measurement software program and license etc., suitable for in-field measurement of intensity, beam spread and orientation of Air Field Ground Lighting (AGL) system including CAT-II, CAT-IIIA & CAT-IIIB lighting system installed at in accordance with recommendations contained under para 10.5 of ICAO Annex. 14 (July 2016 Edition or FAA Circular AC 150/5345- 46E/150/5340-26C), calibration of the instruments as required and as specified. | 1.00 | Job |  | 7588235.29 | 6961447.06 | 13277459.46 | 12180741.31 | 6961447.06 | ADBSAFEGATE INDIA PRIVATE LIMITED
7.00 | All Inclusive comprehensive maintenance contract of the above systems as per SH 1 to 6 including yearly calibration of photometric measurement devices after Defect liability period of 2 years as per the direction of Engineer-in charge.
7.01 | For 1st year after defect liability period | 1.00 | Job |  | 6794409.21 | 5246642.79 | 2113196.97 | 1631810.70 | 1631810.70 | HONEYWELL AUTOMATION INDIA LIMITED
7.02 | For 2nd year after defect liability period | 1.00 | Job |  | 6794409.21 | 4813159.48 | 2282252.73 | 1616747.83 | 1616747.83 | HONEYWELL AUTOMATION INDIA LIMITED
7.03 | For 3rd year after defect liability period | 1.00 | Job |  | 6794409.21 | 4415686.55 | 2464832.95 | 1601894.93 | 1601894.93 | HONEYWELL AUTOMATION INDIA LIMITED
7.04 | For 4th year after defect liability period | 1.00 | Job |  | 6794409.21 | 4051506.21 | 2662019.58 | 1587362.28 | 1587362.28 | HONEYWELL AUTOMATION INDIA LIMITED
7.05 | For 5th year after defect liability period | 1.00 | Job |  | 6794409.21 | 3716541.84 | 2874981.15 | 1572614.69 | 1572614.69 | HONEYWELL AUTOMATION INDIA LIMITED
8.00 | Annual Operation & Routine Maintenance Contract OPERATION: Annual Operation and routine maintenance of complete AGL systems as mentioned Tender by providing requisite man-power, tools, consumables and technical support etc. during operations as specified in SCC, Technical Specification and particular specifications of operation & AICMC with complete in all respect.
8.01 | Year 1 (during DLP) | 12.00 | Month |  | 1988166.86 | 21887331.33 | 1341288.76 | 14765979.70 | 14765979.70 | HONEYWELL AUTOMATION INDIA LIMITED
8.02 | Year 2 (during DLP) | 12.00 | Month |  | 2104406.63 | 21255348.73 | 1364814.18 | 13785169.14 | 13785169.14 | HONEYWELL AUTOMATION INDIA LIMITED
8.03 | Year 3 | 12.00 | Month |  | 2227620.79 | 20642025.29 | 1526028.19 | 14140787.62 | 14140787.62 | HONEYWELL AUTOMATION INDIA LIMITED
8.04 | Year 4 | 12.00 | Month |  | 2358227.80 | 20046822.88 | 1628064.23 | 13839848.41 | 13839848.41 | HONEYWELL AUTOMATION INDIA LIMITED
8.05 | Year 5 | 12.00 | Month |  | 2496671.23 | 19471039.59 | 1726428.16 | 13464067.93 | 13464067.93 | HONEYWELL AUTOMATION INDIA LIMITED
8.06 | Year 6 | 12.00 | Month |  | 2643421.26 | 18915265.17 | 1851483.96 | 13248478.62 | 13248478.62 | HONEYWELL AUTOMATION INDIA LIMITED
8.07 | Year 7 | 12.00 | Month |  | 2798976.30 | 18372480.43 | 1986081.55 | 13036639.29 | 13036639.29 | HONEYWELL AUTOMATION INDIA LIMITED
| Total in Figures |  |  |  |  | 1155744278.46 |  | 1043496012.27
Lowest Amount Quoted BY: HONEYWELL AUTOMATION INDIA LIMITED(1043496012.27)

## BOQ Summary
BOQ Summary Details Tender Title: Airfield Lighting Works including CAT-III Approach Lighting Tender ID: 2025_AAI_257987_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HONEYWELL AUTOMATION INDIA LIMITED (BID ID -962606) | 1043496012.27 | L1
| 2 | ADBSAFEGATE INDIA PRIVATE LIMITED (BID ID -944152) | 1155744278.46 | L2