## BoQ1
Government eProcurement System Created By: AVDHESH AGGARWAL Created Date/Time: 13-Jan-2026 01:12 PM Tender Title: Miscellaneous repair works in terminal building, ATC tower, AAI Office etc. at Moradabad Airport Tender ID: 2025_AAI_258030_1
Tender Inviting Authority: DGM (Engg. Civil), Airports Authority Of India, Civil Enclave, Bareilly
Name of Work: Miscellaneous repair works in terminal building, ATC tower, AAI Office etc. at Moradabad Airport
Contract No: 2025_AAI_258030_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S SHRI PARASNATH CONST.CO (GSTN-07ADWPJ8203F2ZC) BID ID -946565 |  | SAMTA INTERIORS (GSTN-07AALPB7815K1ZJ) BID ID -950156 |  | ARR ESS INFRASTRUCTURES (GSTN-NA) BID ID -949802
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 17.00 | cum |  | 800.00 | 13600.00 | 1700.00 | 28900.00 | 225.00 | 3825.00 | 3825.00 | ARR ESS INFRASTRUCTURES
2.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 169.00 | sqm |  | 50.00 | 8450.00 | 50.00 | 8450.00 | 250.00 | 42250.00 | 8450.00 | M/S SHRI PARASNATH CONST.CO, SAMTA INTERIORS
3.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 2.00 | cum |  | 1000.00 | 2000.00 | 1800.00 | 3600.00 | 200.00 | 400.00 | 400.00 | ARR ESS INFRASTRUCTURES
4.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 180.00 | sqm |  | 80.00 | 14400.00 | 50.00 | 9000.00 | 550.00 | 99000.00 | 9000.00 | SAMTA INTERIORS
5.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 13.00 | each |  | 400.00 | 5200.00 | 150.00 | 1950.00 | 10000.00 | 130000.00 | 1950.00 | SAMTA INTERIORS
6.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 51.00 | cum |  | 2000.00 | 102000.00 | 1350.00 | 68850.00 | 423.00 | 21573.00 | 21573.00 | ARR ESS INFRASTRUCTURES
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 19.00 | cum |  | 3800.00 | 72200.00 | 4100.00 | 77900.00 | 6084.00 | 115596.00 | 72200.00 | M/S SHRI PARASNATH CONST.CO
8.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 2.00 | cum |  | 5000.00 | 10000.00 | 5500.00 | 11000.00 | 6700.00 | 13400.00 | 10000.00 | M/S SHRI PARASNATH CONST.CO
9.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 300.00 | sqm |  | 200.00 | 60000.00 | 280.00 | 84000.00 | 350.00 | 105000.00 | 60000.00 | M/S SHRI PARASNATH CONST.CO
10.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 216.00 | sqm |  | 1200.00 | 259200.00 | 785.00 | 169560.00 | 1100.00 | 237600.00 | 169560.00 | SAMTA INTERIORS
11.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600x600 mm | 185.00 | sqm |  | 1400.00 | 259000.00 | 970.00 | 179450.00 | 1250.00 | 231250.00 | 179450.00 | SAMTA INTERIORS
12.00 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, cherry/ruby red. Area of slab over 0.50 sqm. | 10.00 | sqm |  | 4500.00 | 45000.00 | 3200.00 | 32000.00 | 3500.00 | 35000.00 | 32000.00 | SAMTA INTERIORS
13.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 152.00 | kg |  | 90.00 | 13680.00 | 115.00 | 17480.00 | 110.00 | 16720.00 | 13680.00 | M/S SHRI PARASNATH CONST.CO
14.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers,grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece | 159.00 | sqm |  | 2000.00 | 318000.00 | 1150.00 | 182850.00 | 1205.00 | 191595.00 | 182850.00 | SAMTA INTERIORS
15.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 550.00 | sqm |  | 150.00 | 82500.00 | 75.00 | 41250.00 | 550.00 | 302500.00 | 41250.00 | SAMTA INTERIORS
16.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre. | 665.00 | sqm |  | 100.00 | 66500.00 | 65.00 | 43225.00 | 225.00 | 149625.00 | 43225.00 | SAMTA INTERIORS
17.00 | Finishing walls with Acrylic Smooth exterior paint of required shade: New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 ltr/10 sqm) | 460.00 | sqm |  | 100.00 | 46000.00 | 120.00 | 55200.00 | 200.00 | 92000.00 | 46000.00 | M/S SHRI PARASNATH CONST.CO
18.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 719.00 | sqm |  | 95.00 | 68305.00 | 135.00 | 97065.00 | 305.00 | 219295.00 | 68305.00 | M/S SHRI PARASNATH CONST.CO
19.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading,transporting, unloading to approved municipal dumping ground or asapproved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 19.00 | cum |  | 100.00 | 1900.00 | 380.00 | 7220.00 | 1500.00 | 28500.00 | 1900.00 | M/S SHRI PARASNATH CONST.CO
20.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 4.00 | each |  | 8000.00 | 32000.00 | 6000.00 | 24000.00 | 1800.00 | 7200.00 | 7200.00 | ARR ESS INFRASTRUCTURES
21.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Flat back wash basin size 450x 300 mm with single 15mm C.P. brass pillar tap | 4.00 | each |  | 1600.00 | 6400.00 | 2400.00 | 9600.00 | 4500.00 | 18000.00 | 6400.00 | M/S SHRI PARASNATH CONST.CO
22.00 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. | 4.00 | each |  | 1200.00 | 4800.00 | 4000.00 | 16000.00 | 1800.00 | 7200.00 | 4800.00 | M/S SHRI PARASNATH CONST.CO
23.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 4.00 | each |  | 800.00 | 3200.00 | 400.00 | 1600.00 | 2500.00 | 10000.00 | 1600.00 | SAMTA INTERIORS
24.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe. 32 mm dia | 4.00 | each |  | 100.00 | 400.00 | 110.00 | 440.00 | 170.00 | 680.00 | 400.00 | M/S SHRI PARASNATH CONST.CO
25.00 | Providing and fixing toilet paper holder : C.P. brass | 4.00 | each |  | 800.00 | 3200.00 | 1050.00 | 4200.00 | 1000.00 | 4000.00 | 3200.00 | M/S SHRI PARASNATH CONST.CO
26.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 4.00 | each |  | 1500.00 | 6000.00 | 850.00 | 3400.00 | 2000.00 | 8000.00 | 3400.00 | SAMTA INTERIORS
27.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 4.00 | each |  | 800.00 | 3200.00 | 1300.00 | 5200.00 | 2470.00 | 9880.00 | 3200.00 | M/S SHRI PARASNATH CONST.CO
28.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931. 15 mm nominal bore | 12.00 | each |  | 700.00 | 8400.00 | 600.00 | 7200.00 | 1250.00 | 15000.00 | 7200.00 | SAMTA INTERIORS
29.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (Minimum thickness of powder coating 50 micron) | 1058.00 | kg |  | 300.00 | 317400.00 | 450.00 | 476100.00 | 650.00 | 687700.00 | 317400.00 | M/S SHRI PARASNATH CONST.CO
30.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (Minimum thickness of powder coating 50 micron) | 579.00 | kg |  | 320.00 | 185280.00 | 470.00 | 272130.00 | 600.00 | 347400.00 | 185280.00 | M/S SHRI PARASNATH CONST.CO
31.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and artition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. Pre-laminated particle board with decorative lamination on both sides | 57.00 | sqm |  | 800.00 | 45600.00 | 900.00 | 51300.00 | 4842.00 | 275994.00 | 45600.00 | M/S SHRI PARASNATH CONST.CO
32.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 17.00 | sqm |  | 1400.00 | 23800.00 | 1200.00 | 20400.00 | 3700.00 | 62900.00 | 20400.00 | SAMTA INTERIORS
33.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | 20.00 | each |  | 2500.00 | 50000.00 | 2500.00 | 50000.00 | 3250.00 | 65000.00 | 50000.00 | M/S SHRI PARASNATH CONST.CO, SAMTA INTERIORS
34.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 20.00 | each |  | 800.00 | 16000.00 | 450.00 | 9000.00 | 4750.00 | 95000.00 | 9000.00 | SAMTA INTERIORS
35.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm) with necessary accessories and screws etc. complete. | 20.00 | each |  | 1200.00 | 24000.00 | 750.00 | 15000.00 | 2870.00 | 57400.00 | 15000.00 | SAMTA INTERIORS
36.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 100x63x4 mm | 60.00 | each |  | 100.00 | 6000.00 | 70.00 | 4200.00 | 4500.00 | 270000.00 | 4200.00 | SAMTA INTERIORS
37.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete : 250x10 mm | 40.00 | each |  | 100.00 | 4000.00 | 100.00 | 4000.00 | 950.00 | 38000.00 | 4000.00 | M/S SHRI PARASNATH CONST.CO, SAMTA INTERIORS
38.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 40.00 | each |  | 80.00 | 3200.00 | 90.00 | 3600.00 | 1750.00 | 70000.00 | 3200.00 | M/S SHRI PARASNATH CONST.CO
39.00 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. Twin rubber stopper | 11.00 | each |  | 80.00 | 880.00 | 100.00 | 1100.00 | 1500.00 | 16500.00 | 880.00 | M/S SHRI PARASNATH CONST.CO
40.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 5000.00 | per litre |  | 10.00 | 50000.00 | 8.20 | 41000.00 | 1750.00 | 8750000.00 | 41000.00 | SAMTA INTERIORS
41.00 | Dismantling of Sanitary Fixtures Europeon water closet /Urinal/Wash Basin including stacking of useful materials near the site and disposal of unserviceable materials within 50 metre lead as per direction of Engineer-in-charge. | 9.00 | each |  | 500.00 | 4500.00 | 100.00 | 900.00 | 35000.00 | 315000.00 | 900.00 | SAMTA INTERIORS
42.00 | Providing & fixing vitreous china wall hung European type water closet of make Jaquar cat no VGS-WHT-81953UF or equivalent with solid plastic lid cover and soft close cover with C.P. bolts, nuts, C.I. chair or other hanging arrangement, C.P. brass hinge rubber buffers with accessories, C.P. brass screws including cutting and making good the wall and floors wherever required as per the direction by Engineer-in-charge. | 1.00 | each |  | 12000.00 | 12000.00 | 19000.00 | 19000.00 | 5000.00 | 5000.00 | 5000.00 | ARR ESS INFRASTRUCTURES
43.00 | P/F suncontrol film Gurware polyster (or equivalent) film on glass panes after thoroughly cleaning of existing surface, (The rate inclusive removal of existing sun control film where ever required.) as per satisfaction of Engineer-in-charge | 63.00 | sqm |  | 1200.00 | 75600.00 | 750.00 | 47250.00 | 2750.00 | 173250.00 | 47250.00 | SAMTA INTERIORS
44.00 | Providing and Fixing CP Grating with frame and SS Screws casted heavy 100 mm dia complete as per the direction by Engineer-in-charge. | 8.00 | each |  | 300.00 | 2400.00 | 60.00 | 480.00 | 2500.00 | 20000.00 | 480.00 | SAMTA INTERIORS
45.00 | Providing and fixing 5mm thick Clear mirror on the wall with VHB Tape (3M) and 10mm brush finish stainless steel trims, machine cut in required size, approved shade & colour etc. complete at all levels as per the direction by Engineer-in-charge.(Sample of Mirror shall be got approved from Engineer-in-Charge). | 2.00 | sqm |  | 4000.00 | 8000.00 | 1800.00 | 3600.00 | 6500.00 | 13000.00 | 3600.00 | SAMTA INTERIORS
46.00 | Taking away dismantled Sanitary Fixtures Europeon WC with all accessories /Urinal/Wash Basin/sink/urinal paritions etc from airport premises and clean the site as per satisfaction of EIC. | 9.00 | each |  | 10.00 | -90.00 | 10.00 | -90.00 | 3000.00 | -27000.00 | -27000.00 | ARR ESS INFRASTRUCTURES
47.00 | Taking away CP/Brass bib cock/pillar cock/angle valve/angle cock/stop cock/gate valve/soap dish holder/coat hook/towel ring etc. from airport premises and clean the site as per satisfaction of EIC. | 10.00 | Kg |  | 20.00 | -200.00 | 280.00 | -2800.00 | 22000.00 | -220000.00 | -220000.00 | ARR ESS INFRASTRUCTURES
48.00 | Taking away aluminium door with frame & with all accessories from airport premises and clean the site as per satisfaction of EIC. | 9.00 | each |  | 10.00 | -90.00 | 1200.00 | -10800.00 | 15000.00 | -135000.00 | -135000.00 | ARR ESS INFRASTRUCTURES
49.00 | Taking away false ceiling tiles with frame & with all accessories from airport premises and clean the site as per satisfaction of EIC. | 159.00 | sqm |  | 8.00 | -1272.00 | 5.00 | -795.00 | 1250.00 | -198750.00 | -198750.00 | ARR ESS INFRASTRUCTURES
| Total in Figures |  |  |  |  | 2342543.00 |  | 2195165.00 |  | 12796483.00
Lowest Amount Quoted BY: SAMTA INTERIORS(2195165.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous repair works in terminal building, ATC tower, AAI Office etc. at Moradabad Airport Tender ID: 2025_AAI_258030_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAMTA INTERIORS (BID ID -950156) | 2195165.00 | L1
| 2 | M/S SHRI PARASNATH CONST.CO (BID ID -946565) | 2342543.00 | L2
| 3 | ARR ESS INFRASTRUCTURES (BID ID -949802) | 12796483.00 | L3