## BoQ1
Government eProcurement System Created By: Bhavesh P Mehta Created Date/Time: 13-Jan-2026 11:27 AM Tender Title: Construction of Emergency Medical Center at SV Airport Raipur SH Civil Works Tender ID: 2025_AAI_258242_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Construction of Emergency Medical Center at S.V. Airport, Raipur.
Contract No: 2025_AAI_258242_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | shri krishna enterprises (GSTN-NA) BID ID -953457 |  | AAKRITI CONSTRUCTION (GSTN-NA) BID ID -949814
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed. All kind of Soil | 440.00 | Cum |  | 185.00 | 81400.00 | 300.00 | 132000.00 | 81400.00 | shri krishna enterprises
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms,lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kind of Soil | 30.00 | Nos |  | 260.30 | 7809.00 | 200.00 | 6000.00 | 6000.00 | AAKRITI CONSTRUCTION
3.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m All kind of Soil Pipes, cables etc. exceeding 80 mm dia. but notexceeding 300 mm dia | 20.00 | Mtr |  | 352.15 | 7043.00 | 200.00 | 4000.00 | 4000.00 | AAKRITI CONSTRUCTION
4.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m All kind of Soil Pipes, cables etc. exceeding 300 mm dia but notexceeding 600 mm | 10.00 | Mtr |  | 549.75 | 5497.50 | 200.00 | 2000.00 | 2000.00 | AAKRITI CONSTRUCTION
5.00 | Filling available excavated earth (excluding rock)in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth : consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5m. | 380.00 | Cum |  | 196.00 | 74480.00 | 300.00 | 114000.00 | 74480.00 | shri krishna enterprises
6.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 240.00 | Cum |  | 126.80 | 30432.00 | 100.00 | 24000.00 | 24000.00 | AAKRITI CONSTRUCTION
7.00 | Supplying and filling in plinth with Local sand under floors, including watering, ramming, consolidating and dressing complete. | 62.00 | Cum |  | 2123.75 | 131672.50 | 300.00 | 18600.00 | 18600.00 | AAKRITI CONSTRUCTION
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) | 62.00 | Cum |  | 6000.00 | 372000.00 | 5500.00 | 341000.00 | 341000.00 | AAKRITI CONSTRUCTION
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : b) 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) (Under Footing & Plinth Beam) | 30.00 | Cum |  | 5200.00 | 156000.00 | 5600.00 | 168000.00 | 156000.00 | shri krishna enterprises
10.00 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including finishing the top smooth. | 120.00 | Sqm |  | 749.20 | 89904.00 | 3000.00 | 360000.00 | 89904.00 | shri krishna enterprises
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for
11.10 | Foundations, footings, bases of columns etc. for mass concrete | 290.00 | Sqm |  | 300.00 | 87000.00 | 300.00 | 87000.00 | 87000.00 | AAKRITI CONSTRUCTION, shri krishna enterprises
11.20 | Suspended floors, roofs, landings, balconies and access platform. | 10.00 | Sqm |  | 927.15 | 9271.50 | 100.00 | 1000.00 | 1000.00 | AAKRITI CONSTRUCTION
11.30 | Shelves (Cast in situ) | 7.00 | Sqm |  | 927.45 | 6492.15 | 100.00 | 700.00 | 700.00 | AAKRITI CONSTRUCTION
11.40 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 830.00 | Sqm |  | 450.00 | 373500.00 | 150.00 | 124500.00 | 124500.00 | AAKRITI CONSTRUCTION
11.50 | Columns, Pillars, Piers, Abutments, Posts and Struts | 130.00 | Sqm |  | 750.00 | 97500.00 | 300.00 | 39000.00 | 39000.00 | AAKRITI CONSTRUCTION
11.60 | Edges of slabs and breaks in floors and walls Under 20 cm wide | 25.00 | Rmt |  | 208.50 | 5212.50 | 200.00 | 5000.00 | 5000.00 | AAKRITI CONSTRUCTION
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars (Fe-500D) | 20800.00 | Kg |  | 95.00 | 1976000.00 | 78.00 | 1622400.00 | 1622400.00 | AAKRITI CONSTRUCTION
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars (Fe-500D) | 6000.00 | Kg |  | 100.00 | 600000.00 | 75.00 | 450000.00 | 450000.00 | AAKRITI CONSTRUCTION
14.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M30 grade with minimum cement content of 350 kg /cum | 130.00 | Cum |  | 7500.00 | 975000.00 | 6500.00 | 845000.00 | 845000.00 | AAKRITI CONSTRUCTION
15.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level Upto floor V level. Concrete of M30 grade with minimum cement content of 350 kg /cum | 40.00 | Cum |  | 8500.00 | 340000.00 | 6000.00 | 240000.00 | 240000.00 | AAKRITI CONSTRUCTION
16.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 40.00 | Quintal |  | 600.00 | 24000.00 | 200.00 | 8000.00 | 8000.00 | AAKRITI CONSTRUCTION
17.00 | Brick work with non modular Fly ash bricks conforming to IS:12894, class designation 5.0 average compressive strength in foundation and plinth in: a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 50.00 | Cum |  | 6500.00 | 325000.00 | 3400.00 | 170000.00 | 170000.00 | AAKRITI CONSTRUCTION
18.00 | Brick work with non modular Fly ash bricks conforming to IS:12894, class designation 5.0 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 100.00 | Cum |  | 6500.00 | 650000.00 | 4500.00 | 450000.00 | 450000.00 | AAKRITI CONSTRUCTION
19.00 | Half brick masonry with non modular Fly ash bricks conforming to IS:12894, class designation 5.0 in superstructure above plinth level up to floor V level. : a) cement mortar 1:4 (1 cement : 4 coarse sand) | 50.00 | Sqm |  | 1105.10 | 55255.00 | 300.00 | 15000.00 | 15000.00 | AAKRITI CONSTRUCTION
20.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 50.00 | Sqm |  | 104.80 | 5240.00 | 300.00 | 15000.00 | 5240.00 | shri krishna enterprises
21.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. a) Granite stone slab of colour black, Cherry/Ruby red i) Area of slab over 0.50 sqm | 5.00 | Sqm |  | 5136.30 | 25681.50 | 250.00 | 1250.00 | 1250.00 | AAKRITI CONSTRUCTION
22.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. a) Polished Granite stone slab of colour Black, Cherry/Ruby Red or equivalent | 20.00 | Sqm |  | 5136.30 | 102726.00 | 2500.00 | 50000.00 | 50000.00 | AAKRITI CONSTRUCTION
23.00 | Providing and fixing machine cut, mirror / eggshell polished , Granite stone work for wall lining including dado, skirting, risers of steps etc., in required design and pattern wherever required, stones of different finished surface texture, on 12 mm (average) thickcement mortar1:3(1cement:3coarsesand) laid and jointed with white cement slurry @ 3.3 kg/sqm including pointing with white cement slurry admixed with pigment of matching shade, including rubbing, curing, polishing etc. all complete as per Architectural drawings, and as directed by the Engineer-in-Charge. a) 18 mm thick Granite stone slab of approved colour & shade | 24.00 | Sqm |  | 5136.30 | 123271.20 | 1500.00 | 36000.00 | 36000.00 | AAKRITI CONSTRUCTION
24.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/Granite/stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 6.00 | Nos. |  | 981.00 | 5886.00 | 200.00 | 1200.00 | 1200.00 | AAKRITI CONSTRUCTION
25.00 | Providing edge moulding to 18 mm thick stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. a) Granite/Kota Stone work | 40.00 | Rmt |  | 510.95 | 20438.00 | 200.00 | 8000.00 | 8000.00 | AAKRITI CONSTRUCTION
26.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 31.00 | Sqm |  | 3000.00 | 93000.00 | 5500.00 | 170500.00 | 93000.00 | shri krishna enterprises
27.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. a) 1.0 mm thick | 62.00 | Sqm |  | 897.30 | 55632.60 | 200.00 | 12400.00 | 12400.00 | AAKRITI CONSTRUCTION
28.00 | Extra if louvers (not exceeding 0.2 sqm) are provided in flush door shutters (overall area of door shutters to be measured). a) Decorative type door | 10.00 | Sqm |  | 405.45 | 4054.50 | 200.00 | 2000.00 | 2000.00 | AAKRITI CONSTRUCTION
29.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 15.00 | Nos |  | 983.15 | 14747.25 | 800.00 | 12000.00 | 12000.00 | AAKRITI CONSTRUCTION
30.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 15.00 | Nos |  | 303.15 | 4547.25 | 700.00 | 10500.00 | 4547.25 | shri krishna enterprises
31.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
31.10 | 250x10 mm | 15.00 | Nos |  | 115.15 | 1727.25 | 300.00 | 4500.00 | 1727.25 | shri krishna enterprises
31.20 | 150x10 mm | 36.00 | Nos |  | 82.15 | 2957.40 | 300.00 | 10800.00 | 2957.40 | shri krishna enterprises
32.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 50.00 | Nos |  | 854.15 | 42707.50 | 400.00 | 20000.00 | 20000.00 | AAKRITI CONSTRUCTION
33.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 30.00 | Nos |  | 121.65 | 3649.50 | 400.00 | 12000.00 | 3649.50 | shri krishna enterprises
34.00 | Providing and fixing nickel plated M.S. pipe curtain rods with nickel plated brackets : a) 25 mm dia (heavy type) | 51.00 | Mtr. |  | 186.40 | 9506.40 | 300.00 | 15300.00 | 9506.40 | shri krishna enterprises
35.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2780.00 | Kg |  | 110.00 | 305800.00 | 130.00 | 361400.00 | 305800.00 | shri krishna enterprises
36.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. a) Electric resistance or induction butt welded tubes | 15650.00 | Kg |  | 105.00 | 1643250.00 | 140.00 | 2191000.00 | 1643250.00 | shri krishna enterprises
37.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. a) 80x1.25 mm M.S. laths with 1.25 mm thick top cover | 15.00 | Sqm |  | 3653.00 | 54795.00 | 3000.00 | 45000.00 | 45000.00 | AAKRITI CONSTRUCTION
38.00 | Providing and fixing ball bearing for rolling shutters. | 4.00 | Nos |  | 492.00 | 1968.00 | 3000.00 | 12000.00 | 1968.00 | shri krishna enterprises
39.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile B : Fixing with adjustable lugs with split end tall to each jamb | 80.00 | Mtr |  | 583.00 | 46640.00 | 120.00 | 9600.00 | 9600.00 | AAKRITI CONSTRUCTION
40.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 120.00 | Kg |  | 772.00 | 92640.00 | 450.00 | 54000.00 | 54000.00 | AAKRITI CONSTRUCTION
41.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides | 20.00 | Sqm |  | 1133.55 | 22671.00 | 800.00 | 16000.00 | 16000.00 | AAKRITI CONSTRUCTION
42.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. a) 40 mm thick with 20 mm nominal size stone aggregate | 6.00 | Sqm |  | 1250.00 | 7500.00 | 100.00 | 600.00 | 600.00 | AAKRITI CONSTRUCTION
43.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). a) Light shade pigment using white cement | 40.00 | Sqm |  | 1402.00 | 56080.00 | 500.00 | 20000.00 | 20000.00 | AAKRITI CONSTRUCTION
44.00 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. a) 18 mm thick | 2.00 | Sqm |  | 662.00 | 1324.00 | 100.00 | 200.00 | 200.00 | AAKRITI CONSTRUCTION
45.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 355.00 | Sqm |  | 1500.00 | 532500.00 | 1000.00 | 355000.00 | 355000.00 | AAKRITI CONSTRUCTION
46.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 312.00 | Sqm |  | 1500.00 | 468000.00 | 600.00 | 187200.00 | 187200.00 | AAKRITI CONSTRUCTION
47.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on interlocking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanized butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-incharge.
47.10 | 8 mm thick fully perforated calcium silicate board made with Calcareous & Siliceous materials reinforced with cellulose fiber manufactured through autoclaving process to give stable crystalline structure with minimum compressive strength 225 kg/ sq. cm, bending strength 100 kg/sq. cm , of size 595x595 mm, having perforation of dia. 10 mm with minimum perforated area 18 % with non woven tissue on the back side, having an NRC ( Noise Reduction Coefficient) of 0.85, with 50 mm thick rockwool of 48 kg /cum backing. | 50.00 | Sqm |  | 1500.00 | 75000.00 | 100.00 | 5000.00 | 5000.00 | AAKRITI CONSTRUCTION
48.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing
48.10 | compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge Glass Reinforced Gypsum (GRG) board conforming to IS: 2095- (Part 3):1996 (Boards with BIS certification marks) | 120.00 | Sqm |  | 1500.00 | 180000.00 | 1000.00 | 120000.00 | 120000.00 | AAKRITI CONSTRUCTION
49.00 | Providing and fixing mineral fibre false ceiling tiles at all heights of size 595X595 mm of approved texture, design and pattern. The tiles should have Humidity Resistance (RH) of 99%, Light Reflectance ≥ 85%, Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance as per (BS 476 pt - 6 &7)in true horizontal level suspended on interlocking T-Grid of hot dipped all round galvanized iron section of 0.33 mm thick (galvanized @120 gsm) comprising of main T runners of 15x32 mm of length 3000 mm, cross T of size 15x32 mm of length 1200 mm and secondary intermediate cross T of size 15x32 mm of length 600 mm to form grid module of size 600x600 mm suspended from ceiling using galvanized mild steel item (galvanised@80gsm) 50 mm long 8 mm outer diameter M-6 dash fasteners, 6 mm diameter fully threaded hanger rod up to 1000 mm length and L-shape level adjuster of size 85x25x2 mm, spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-in-charge. a) With 16 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.55 to 0.60) | 180.00 | Sqm |  | 1500.00 | 270000.00 | 900.00 | 162000.00 | 162000.00 | AAKRITI CONSTRUCTION
50.00 | Providing and fixing PUR/PUF panel roofing 50mm thick with 75-85mm at crest (size, shape and pitch of corrugation as approved by Engineer-in-Charge) with 0.5mm PPGI/PPGL sheets on both sides. The cost shall also include the required hardware accessories such as required Flashings, hardwares, Channel, Clamping device threaded GI sheet down rods etc. complete and the sheet shall be fixed using self drilling /self tapping screws with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required as per direction and satisfaction of Engineer-in-Charge. | 605.00 | Sqm |  | 1500.00 | 907500.00 | 1400.00 | 847000.00 | 847000.00 | AAKRITI CONSTRUCTION
51.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 60.00 | Sqm |  | 738.00 | 44280.00 | 650.00 | 39000.00 | 39000.00 | AAKRITI CONSTRUCTION
52.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : a) Flashings/ Aprons.( Upto 600 mm) | 55.00 | Sqm |  | 485.00 | 26675.00 | 550.00 | 30250.00 | 26675.00 | shri krishna enterprises
53.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : a) Crimp curve | 22.00 | Sqm |  | 1000.00 | 22000.00 | 800.00 | 17600.00 | 17600.00 | AAKRITI CONSTRUCTION
54.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. A) On steel work | 440.00 | Sqm |  | 200.00 | 88000.00 | 400.00 | 176000.00 | 88000.00 | shri krishna enterprises
55.00 | 12 mm cement plaster of mix : a) 1:6 (1 cement: 6 fine sand) | 830.00 | Sqm |  | 250.00 | 207500.00 | 200.00 | 166000.00 | 166000.00 | AAKRITI CONSTRUCTION
56.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 530.00 | Sqm |  | 200.00 | 106000.00 | 200.00 | 106000.00 | 106000.00 | AAKRITI CONSTRUCTION, shri krishna enterprises
57.00 | Washed stone grit plaster on exterior walls height upto 10 metre above ground level, in two layers, under layer 12 mm cement plaster 1:4 (1cement : 4 coarse sand ), furrowing the under layer with scratching tool,applying cement slurry on the under layer @ 2 Kg of cement per square metre, top layer 15 mm cement plaster 1:1/ 2:2 (1 cement: 1/2 coarse sand : 2 stone chipping 10 mm nominal size), in panels with groove all around as per approved pattern, including scrubbing and washing the top layer with brushes and water to expose the stone chippings ,complete as per specification and direction of Engineer-in-charge (payment for providing grooves shall be made separately). | 300.00 | Sqm |  | 900.00 | 270000.00 | 1800.00 | 540000.00 | 270000.00 | shri krishna enterprises
58.00 | Forming groove of uniform size in the top layer of washed stone grit plaster as per approved pattern using wooden battens, nailed to the under layer, including removal of wooden battens, repair to the edges of panels and finishing the groove complete as per specifications and direction of the Engineer-in-charge : a) 15 mm wide and 15 mm deep groove | 710.00 | Metre |  | 758.00 | 538180.00 | 1800.00 | 1278000.00 | 538180.00 | shri krishna enterprises
59.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 300.00 | Sqm |  | 160.00 | 48000.00 | 300.00 | 90000.00 | 48000.00 | shri krishna enterprises
60.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : a) Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 35.00 | Sqm |  | 155.00 | 5425.00 | 300.00 | 10500.00 | 5425.00 | shri krishna enterprises
61.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. a) Two Coats | 530.00 | Sqm |  | 137.00 | 72610.00 | 200.00 | 106000.00 | 72610.00 | shri krishna enterprises
62.00 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : a) 100mm | 3.00 | Nos. |  | 139.00 | 417.00 | 500.00 | 1500.00 | 417.00 | shri krishna enterprises
63.00 | Providing and fixing Stainless Steel towel rail (Jaquar cat no. ACN-1111SM) Kohler/Hindware or approved equivalent complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings. a) 600 mm long towel rail | 4.00 | Nos |  | 708.00 | 2832.00 | 1000.00 | 4000.00 | 2832.00 | shri krishna enterprises
64.00 | Providing and fixing toilet paper holder : a) C.P. brass | 7.00 | Nos |  | 800.00 | 5600.00 | 2000.00 | 14000.00 | 5600.00 | shri krishna enterprises
65.00 | Providing and fixing in position SWR UPVC soil waste vent or antisyphonage pipes approved Make as per IS- 13592 (working pressure of 6kg /cm2) including cutting, jointing with approve solvent cement compound as per IS-14735, wastage etc complete as per manufacturer's specifications and satisfaction of Engineer In-charge.
65.10 | 160 mm dia SWR UPVC pipe line laid complete | 16.00 | Mtr |  | 400.00 | 6400.00 | 500.00 | 8000.00 | 6400.00 | shri krishna enterprises
65.20 | 110mm dia SWR UPVC pipe lines laid complete | 19.00 | Mtr |  | 250.00 | 4750.00 | 500.00 | 9500.00 | 4750.00 | shri krishna enterprises
65.30 | 75mm dia SWR UPVC pipe lines laid complete | 24.00 | Mtr |  | 200.00 | 4800.00 | 500.00 | 12000.00 | 4800.00 | shri krishna enterprises
66.00 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge.
66.01 | 110mm dia Bend plain | 2.00 | Nos |  | 100.00 | 200.00 | 500.00 | 1000.00 | 200.00 | shri krishna enterprises
66.02 | 110 mm dia Single Junction 110 mm x 110 mm x 110 mm with door | 2.00 | Nos |  | 150.00 | 300.00 | 500.00 | 1000.00 | 300.00 | shri krishna enterprises
66.03 | 110mm dia End Cap | 2.00 | Nos |  | 150.00 | 300.00 | 500.00 | 1000.00 | 300.00 | shri krishna enterprises
66.04 | 110 mm dia cowls | 1.00 | Nos |  | 10.00 | 10.00 | 500.00 | 500.00 | 10.00 | shri krishna enterprises
66.05 | 110 mm dia collars | 3.00 | Nos |  | 100.00 | 300.00 | 500.00 | 1500.00 | 300.00 | shri krishna enterprises
66.06 | P-trap | 1.00 | Nos |  | 300.00 | 300.00 | 500.00 | 500.00 | 300.00 | shri krishna enterprises
66.07 | 110mm dia door bend/door Elbow | 8.00 | Nos |  | 250.00 | 2000.00 | 500.00 | 4000.00 | 2000.00 | shri krishna enterprises
66.08 | 75mm dia door bend/door Elbow | 2.00 | Nos |  | 200.00 | 400.00 | 500.00 | 1000.00 | 400.00 | shri krishna enterprises
66.09 | Tee 75 x 75 x 75 mm with door | 1.00 | Nos |  | 150.00 | 150.00 | 500.00 | 500.00 | 150.00 | shri krishna enterprises
66.10 | 75 mm dia Single Junction 75mm x 75 mm x 75 mm with door | 2.00 | Nos |  | 100.00 | 200.00 | 500.00 | 1000.00 | 200.00 | shri krishna enterprises
67.00 | Providing and fixing stainless steel grating along with PVC nahani trap etc. as per direction & satisfaction of Engineer-in-Charge. a) 100mm dia | 18.00 | Nos |  | 200.00 | 3600.00 | 1000.00 | 18000.00 | 3600.00 | shri krishna enterprises
68.00 | Providing and fixing vitreous china dual purpose closet suitable for use as squatting pan or European type water closet (Anglo Indian W.C pan) with seat & lid fixed with C.P. brass hinges and rubber buffers, 10 litre low level flushing cistern with fitting and brackets, 40 mm flush bend, 20 mm over flow pipe, with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required: a) White vitreous china dual purpose WC pan with white solid plastic seat and lid with white vitreous china flushing cistern and C.P. flush bend. | 7.00 | Nos |  | 4500.00 | 31500.00 | 7000.00 | 49000.00 | 31500.00 | shri krishna enterprises
69.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:- a) (a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 1.00 | Nos |  | 1850.00 | 1850.00 | 4600.00 | 4600.00 | 1850.00 | shri krishna enterprises
70.00 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. | 1.00 | Nos |  | 500.00 | 500.00 | 4600.00 | 4600.00 | 500.00 | shri krishna enterprises
71.00 | Providing & fixing of white vitreous china below counter oval wash basin (Jaquar cat no. FLS-WHT-5701 (550x425x195 mm) Kohler/Hindware or approved equivalent), Pillar Cock auto closing System (Ref CAT No. PRS-031L65 Pillar Cock Jaquar) and Bottle trap (Ref. CAT No. ALD-769L300x190 Jaquar) Size - 300x190, Waste Coupl. 32mm full thread Jaquar make CAT no. - ALD-705L130), wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 6.00 | Nos |  | 2150.00 | 12900.00 | 6000.00 | 36000.00 | 12900.00 | shri krishna enterprises
72.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. a) 15 mm nominal bore | 6.00 | Nos |  | 100.00 | 600.00 | 1200.00 | 7200.00 | 600.00 | shri krishna enterprises
73.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15 mm nominal bore | 1.00 | Nos |  | 150.00 | 150.00 | 1000.00 | 1000.00 | 150.00 | shri krishna enterprises
74.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board- a) 610x510 mm bowl depth 200 mm | 1.00 | Nos |  | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 2000.00 | AAKRITI CONSTRUCTION
75.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass(of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 4.00 | Nos |  | 2500.00 | 10000.00 | 2000.00 | 8000.00 | 8000.00 | AAKRITI CONSTRUCTION
76.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : a) Rectangular shape 1500x450mm | 2.00 | Nos |  | 1650.00 | 3300.00 | 2000.00 | 4000.00 | 3300.00 | shri krishna enterprises
77.00 | Providing and fixing Stainless Steel Liquid Soap Dispenser with Glass Bottler (Jaquar ACN-1135N/ Kohler/ Hindware or equivalent approved make with SS Screws including making good the wall wherever required complete as directed by the Engineer-in-charge. | 4.00 | Nos |  | 200.00 | 800.00 | 1000.00 | 4000.00 | 800.00 | shri krishna enterprises
78.00 | Providing and fixing brass stop cock of approved quality : a) 15 mm nominal bore | 17.00 | Nos |  | 1650.00 | 28050.00 | 450.00 | 7650.00 | 7650.00 | AAKRITI CONSTRUCTION
79.00 | Providing and fixing in position starwhite vitreous chinaware Urinal, of Jaquar Cat. no URS-WHT-13261/Kohler/Parryware with C.P. brass flush pile spreads, domed waste coupler and auto closing concealed urinal flush valve (reference Cat No.PRS-073 of Jaquar) etc. including other accessories complete in all respect as per manufacturer's specifications and satisfaction of Engineer In-charge including cutting and making good the walls and floor where ever required. | 3.00 | Nos |  | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 6000.00 | shri krishna enterprises
80.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. a) 15 mm nominal bore | 7.00 | Nos |  | 700.00 | 4900.00 | 1100.00 | 7700.00 | 4900.00 | shri krishna enterprises
81.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.
81.10 | 15 mm nominal outer dia pipe | 29.00 | Mtr |  | 175.00 | 5075.00 | 560.00 | 16240.00 | 5075.00 | shri krishna enterprises
81.20 | 20 mm nominal outer dia pipe | 13.00 | Mtr |  | 175.00 | 2275.00 | 560.00 | 7280.00 | 2275.00 | shri krishna enterprises
81.30 | 25 mm nominal outer dia pipe | 9.00 | Mtr |  | 175.00 | 1575.00 | 560.00 | 5040.00 | 1575.00 | shri krishna enterprises
81.40 | 32 mm nominal outer dia Pipes | 7.00 | Mtr |  | 175.00 | 1225.00 | 560.00 | 3920.00 | 1225.00 | shri krishna enterprises
82.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 40mm nominal outer dia Pipes | 14.00 | Mtr |  | 250.00 | 3500.00 | 800.00 | 11200.00 | 3500.00 | shri krishna enterprises
83.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work 25 mm dia nominal bore | 6.00 | Mtr |  | 275.00 | 1650.00 | 1000.00 | 6000.00 | 1650.00 | shri krishna enterprises
84.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 20 to 40 mm nominal bore | 1.00 | Nos. |  | 100.00 | 100.00 | 900.00 | 900.00 | 100.00 | shri krishna enterprises
85.00 | Providing and fixing gun metal gate valve of approved quality (quarter turn with pvc encased handle) :
85.10 | 20 mm nominal bore | 2.00 | Nos |  | 600.00 | 1200.00 | 900.00 | 1800.00 | 1200.00 | shri krishna enterprises
85.20 | 25 mm nominal bore | 1.00 | Nos |  | 600.00 | 600.00 | 900.00 | 900.00 | 600.00 | shri krishna enterprises
85.30 | 32 mm nominal bore | 1.00 | Nos |  | 1000.00 | 1000.00 | 900.00 | 900.00 | 900.00 | AAKRITI CONSTRUCTION
85.40 | 40 mm nominal bore | 2.00 | Nos |  | 1000.00 | 2000.00 | 900.00 | 1800.00 | 1800.00 | AAKRITI CONSTRUCTION
85.50 | 80 mm nominal bore | 1.00 | Nos |  | 3500.00 | 3500.00 | 900.00 | 900.00 | 900.00 | AAKRITI CONSTRUCTION
86.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 25 mm nominal bore | 2.00 | Nos |  | 2000.00 | 4000.00 | 900.00 | 1800.00 | 1800.00 | AAKRITI CONSTRUCTION
87.00 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately) : i) 100 mm diameter a) Class II | 5.00 | Nos |  | 3200.00 | 16000.00 | 900.00 | 4500.00 | 4500.00 | AAKRITI CONSTRUCTION
88.00 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : a) 25 mm diameter pipe | 16.00 | Mtr |  | 250.00 | 4000.00 | 900.00 | 14400.00 | 4000.00 | shri krishna enterprises
89.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : a) 25 mm nominal bore | 2.00 | Each |  | 200.00 | 400.00 | 900.00 | 1800.00 | 400.00 | shri krishna enterprises
90.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 3000.00 | Per litre |  | 12.00 | 36000.00 | 10.00 | 30000.00 | 30000.00 | AAKRITI CONSTRUCTION
91.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 3.00 | Cum |  | 3500.00 | 10500.00 | 2000.00 | 6000.00 | 6000.00 | AAKRITI CONSTRUCTION
92.00 | Providing and fixing square-mouth PVC gully trap with jali of approved make size 110 x 110 mm , complete with brick masonry chamber with water tight C.I. cover with frame of 300x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design complete in all respect to complete Satisfaction of Engineer-in-charge:With Fly ash (non-modular) bricks Class 5.0 conforming to I.S. 12894. | 4.00 | Nos |  | 700.00 | 2800.00 | 2800.00 | 11200.00 | 2800.00 | shri krishna enterprises
93.00 | Providing orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910, on 12 mm dia steel bar conforming to IS: 1786, having minimum cross section as 23 mmx25 mm and over all minimum length 263 mm and width as 165 mm with minimum 112mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture’s permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per design. | 16.00 | Nos |  | 1000.00 | 16000.00 | 1000.00 | 16000.00 | 16000.00 | AAKRITI CONSTRUCTION, shri krishna enterprises
94.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : i) Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 4.00 | Nos |  | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 10000.00 | shri krishna enterprises
95.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Extra for depth for manholes : Size 90x80 cm a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Mtr |  | 4500.00 | 9000.00 | 1000.00 | 2000.00 | 2000.00 | AAKRITI CONSTRUCTION
96.00 | Supplying and fixing C.I. cover without frame for manholes : a) 560 mm diameter C.I. cover (heavy duty) the weight of the cover to be not less than 108 kg | 3.00 | Nos |  | 10000.00 | 30000.00 | 1200.00 | 3600.00 | 3600.00 | AAKRITI CONSTRUCTION
97.00 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg), R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 fine sand : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand), finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design: i) Inside dimensions 500x700 mm and 45 cm deep for pipe line with one or two inlets : a) With Fly ash Brick (Class Designation 7.5) non modular | 2.00 | Nos |  | 2500.00 | 5000.00 | 1200.00 | 2400.00 | 2400.00 | AAKRITI CONSTRUCTION
98.00 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg), R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 fine sand : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand), finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design: i) Extra for depth beyond 45 cm of brick masonry chamber : For 500x700 mm size a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Mtr |  | 3100.00 | 6200.00 | 1300.00 | 2600.00 | 2600.00 | AAKRITI CONSTRUCTION
99.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : i) For fixed portion a) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 590.00 | Kg |  | 425.00 | 250750.00 | 550.00 | 324500.00 | 250750.00 | shri krishna enterprises
100.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : i) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) a) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 250.00 | Kg |  | 450.00 | 112500.00 | 550.00 | 137500.00 | 112500.00 | shri krishna enterprises
101.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 70.00 | Sqm |  | 950.00 | 66500.00 | 350.00 | 24500.00 | 24500.00 | AAKRITI CONSTRUCTION
102.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 240.00 | Kg |  | 610.00 | 146400.00 | 450.00 | 108000.00 | 108000.00 | AAKRITI CONSTRUCTION
103.00 | Providing and supplying aluminium extruded tubular and other aluminium sections as per the architectural drawings and approved shop drawings , the aluminium quality as per grade 6063 T5 or T6 as per BS 1474,including super durable powder coating of 60-80 microns conforming to AAMA 2604 of required colour and shade as approved by the Engineer-in-Charge. (The item includes cost of material such as cleats, sleeves, screws etc. necessary for fabrication of extruded aluminium frame work. Nothing extra shall be paid on this account). The weight of aluminium extruded section shall be taken for purpose of payment. | 150.00 | Kg |  | 500.00 | 75000.00 | 550.00 | 82500.00 | 75000.00 | shri krishna enterprises
104.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc.
104.10 | (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 48.00 | Sqm |  | 3500.00 | 168000.00 | 2400.00 | 115200.00 | 115200.00 | AAKRITI CONSTRUCTION
105.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 5.00 | Sqm |  | 1850.00 | 9250.00 | 5500.00 | 27500.00 | 9250.00 | shri krishna enterprises
106.00 | Providing & fixing Avery Dennison/3M make translucent, cast PVC, self - adhesive vinyl, special CRYSTAL-effect film to reproduce Sand - blasting effect on glass at required locations as per the direction of Engineer-In-Charge complete. a) Plain Frosted film | 5.00 | Sqm |  | 4000.00 | 20000.00 | 2000.00 | 10000.00 | 10000.00 | AAKRITI CONSTRUCTION
107.00 | Supplying and installation of vertical blinds as approved by EIC. The fabric should be polyester with both side acrylic coating and should be treated with dust repellent chemical.The size, color, shade and texture of the blind should be customized as per the direction of Engineer-in-charge. This rate is inclusive of all the supporting accessories like, head rail, control unit, carrier (Runner), spacer, installation bracket, bottom mechanism (weight and chain) etc all complete. | 80.00 | Sqm |  | 6500.00 | 520000.00 | 1000.00 | 80000.00 | 80000.00 | AAKRITI CONSTRUCTION
108.00 | Providing & Fixing of Sun Control film in windows upto 20 mtr height of approved make in required size and as per direction of Engineer-In-charge. Note: The fixing of membrane shall be got done through the authorised applicator of the manufacture of film. | 70.00 | Sqm |  | 600.00 | 42000.00 | 60.00 | 4200.00 | 4200.00 | AAKRITI CONSTRUCTION
| Total in Figures |  |  |  |  | 14812188.50 |  | 13860830.00
Lowest Amount Quoted BY: AAKRITI CONSTRUCTION(13860830.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Emergency Medical Center at SV Airport Raipur SH Civil Works Tender ID: 2025_AAI_258242_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AAKRITI CONSTRUCTION (BID ID -949814) | 13860830.00 | L1
| 2 | shri krishna enterprises (BID ID -953457) | 14812188.50 | L2