## BoQ1
Government eProcurement System Created By: Chandrakanth Gupta Gattu Created Date/Time: 16-Feb-2026 01:37 PM Tender Title: Replacement of roofing sheet of terminal and ATC tower, retrofitting of fire station, construction of fire sump and miscellaneous civil works in the operational area and terminal building at Agatti Airport , SH Electrical Works Tender ID: 2025_AAI_258247_1
Tender Inviting Authority: Assistant Manager (Engg-E). Airports Authority of India, Agatti Airport
Name of Work: Replacement of roofing sheet of terminal and ATC tower, retrofitting of fire station, construction of fire sump and miscellaneous civil works in the operational area and terminal building at Agatti Airport - SH : Electrical Works.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DEEPAKELECTRICALS (GSTN-33ALUPD3531C1ZI) BID ID -952410
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and fixing of 8 way,IP 43, IK 09, double door, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, interconnections, powder painted including earthing etc. as rquired. (But without MCB/RCCB/Isolator) | 2.00 | Each |  | 1500.00 | 3000.00 | 3000.00 | DEEPAKELECTRICALS
2.00 | Supplying and fixing of 8 way (8 + 24), IP 43, IK 09, Double door surface/ recess mounting, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder coated, inclusive of required capacity tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required | 3.00 | Each |  | 13000.00 | 39000.00 | 39000.00 | DEEPAKELECTRICALS
3.00 | Supplying and fixing of following Single pole ,240V, 10 Ka, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commisioning etc., as required.
3.10 | 6A | 18.00 | Each |  | 170.00 | 3060.00 | 3060.00 | DEEPAKELECTRICALS
3.20 | 10A | 35.00 | Each |  | 170.00 | 5950.00 | 5950.00 | DEEPAKELECTRICALS
3.30 | 16A | 31.00 | Each |  | 170.00 | 5270.00 | 5270.00 | DEEPAKELECTRICALS
4.00 | Supplying and fixing of 40A rating, Double pole, 240V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections etc., as required. | 2.00 | Each |  | 600.00 | 1200.00 | 1200.00 | DEEPAKELECTRICALS
5.00 | Supplying and fixing of following Four Pole , 415V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections etc., as required.
5.10 | 40A | 2.00 | Each |  | 1300.00 | 2600.00 | 2600.00 | DEEPAKELECTRICALS
5.20 | 63A | 1.00 | Each |  | 2091.00 | 2091.00 | 2091.00 | DEEPAKELECTRICALS
6.00 | Supplying and fixing following modular switch on the existing modular plate & switch box including connections etc. as required
6.10 | 5 / 6 amps Modular switch | 18.00 | Each |  | 35.00 | 630.00 | 630.00 | DEEPAKELECTRICALS
6.20 | 6 / 16 amps Modular switch | 10.00 | Each |  | 65.00 | 650.00 | 650.00 | DEEPAKELECTRICALS
7.00 | Supplying and fixing following modular socket on the existing modular plate & switch box including connections etc. as required
7.10 | 3 pin 5 / 6 amps Modular socket | 5.00 | Each |  | 90.00 | 450.00 | 450.00 | DEEPAKELECTRICALS
7.20 | 6 pin 15/16 amps modular socket | 6.00 | Each |  | 150.00 | 900.00 | 900.00 | DEEPAKELECTRICALS
8.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable confirming to IS 694 with upto ammendment in the existing surface/ recessed steel/ PVC conduit as required.
8.10 | 3 x 1.5 sq. mm | 200.00 | Metres |  | 100.00 | 20000.00 | 20000.00 | DEEPAKELECTRICALS
8.20 | 3 x 2.5 sq. mm | 200.00 | Metres |  | 160.00 | 32000.00 | 32000.00 | DEEPAKELECTRICALS
8.30 | 3 x 4 sq. mm | 200.00 | Metres |  | 230.00 | 46000.00 | 46000.00 | DEEPAKELECTRICALS
9.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same (if required) in case of recessed conduit as required.
9.10 | 20mm | 200.00 | Metres |  | 45.00 | 9000.00 | 9000.00 | DEEPAKELECTRICALS
9.20 | 25mm | 200.00 | Metres |  | 65.00 | 13000.00 | 13000.00 | DEEPAKELECTRICALS
10.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required.
10.10 | 3 Module | 8.00 | Each |  | 88.00 | 704.00 | 704.00 | DEEPAKELECTRICALS
10.20 | 4 Module | 2.00 | Each |  | 88.00 | 176.00 | 176.00 | DEEPAKELECTRICALS
10.30 | 6 Module | 3.00 | Each |  | 170.00 | 510.00 | 510.00 | DEEPAKELECTRICALS
11.00 | Supply of following sizes of XLPE insulated and PVC inner and outer Sheathed Armoured Aluminium conductor cable of 1.1 KV grade confirming to IS 7098 with upto ammendment etc. as required.
11.10 | 3.5C x 25 sq.mm | 216.00 | Meter |  | 300.00 | 64800.00 | 64800.00 | DEEPAKELECTRICALS
11.20 | 3.5C x35 sq.mm | 220.00 | Meter |  | 450.00 | 99000.00 | 99000.00 | DEEPAKELECTRICALS
11.30 | 4 Crore x 16 sq.mm | 127.00 | Meter |  | 250.00 | 31750.00 | 31750.00 | DEEPAKELECTRICALS
12.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.(Upto 35sqmm) | 87.00 | Meter |  | 35.00 | 3045.00 | 3045.00 | DEEPAKELECTRICALS
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ DWC/HUME/ METAL pipe as required.(upto 35sqmm) | 228.00 | Meter |  | 25.00 | 5700.00 | 5700.00 | DEEPAKELECTRICALS
14.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.(Upto 35sqmm) | 248.00 | Meter |  | 33.00 | 8184.00 | 8184.00 | DEEPAKELECTRICALS
15.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
15.10 | 3.5C x 25 sq.mm | 6.00 | Set |  | 450.00 | 2700.00 | 2700.00 | DEEPAKELECTRICALS
15.20 | 3.5C x35 sq.mm | 6.00 | Set |  | 550.00 | 3300.00 | 3300.00 | DEEPAKELECTRICALS
15.30 | 4Cx 16 sqmm | 4.00 | Set |  | 400.00 | 1600.00 | 1600.00 | DEEPAKELECTRICALS
16.00 | Supply, Installation, testing & commissioning of 3 Phase, 7.5 HP, Horizontal type Openwell Submersible Pump capable of discharge of 1325 LPM at a head of 15Mtrs, body made of Noryl Impellers, Stainless steel casing, stainer and shaft, suitable to operate on 415V, 3 Phase, 50Hz, supply along with suitable starter control panel, interconnecting cables etc., as required. | 2.00 | Each |  | 90000.00 | 180000.00 | 180000.00 | DEEPAKELECTRICALS
17.00 | Supplying and laying of following sizes of DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (50 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
17.10 | 63 mm dia | 228.00 | Meter |  | 400.00 | 91200.00 | 91200.00 | DEEPAKELECTRICALS
18.00 | Supplying and Installation of following size of perforated Hot Dipped Galvanised Iron cable tray, in convenient sections,Including supply of convenient sections joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required.
18.10 | 150 mm width X 50 mm depth X 1.6 | 248.00 | Meter |  | 840.00 | 208320.00 | 208320.00 | DEEPAKELECTRICALS
18.20 | 100 mm width X 50 mm depth X 1.6 | 248.00 | Meter |  | 660.00 | 163680.00 | 163680.00 | DEEPAKELECTRICALS
19.00 | Supply and Installation of following size of perforated Hot Dipped Galvanised Iron cable tray "bends", in convenient sections, Including supply of convenient sections joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required.
19.10 | 150 mm width X 50 mm depth X 1.6 | 10.00 | Nos |  | 850.00 | 8500.00 | 8500.00 | DEEPAKELECTRICALS
19.20 | 100 mm width X 50 mm depth X 1.6 | 10.00 | Nos |  | 650.00 | 6500.00 | 6500.00 | DEEPAKELECTRICALS
20.00 | Supply andInstallation of following size of perforated Hot Dipped Galvanised Iron cable tray "Tee", in convenient sections, Including supply of convenient sections joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required.
20.10 | 150 mm width X 50 mm depth X 1.6 | 10.00 | Nos |  | 900.00 | 9000.00 | 9000.00 | DEEPAKELECTRICALS
20.20 | 100 mm width X 50 mm depth X 1.6 | 10.00 | Nos |  | 750.00 | 7500.00 | 7500.00 | DEEPAKELECTRICALS
21.00 | Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS/HFFR outer sheath complete as required. | 350.00 | Metres |  | 185.00 | 64750.00 | 64750.00 | DEEPAKELECTRICALS
22.00 | Supply and laying of refrigerant grade copper piping for split air conditioners, with suitable Nitrile rubber insulations for both suction and liquid lines of required sizes, with suitable multicore cable for R-22/R-410A/R-32 systems as OEM etc., as required.
22.10 | 1.5TR Split AC | 30.00 | Metres |  | 700.00 | 21000.00 | 21000.00 | DEEPAKELECTRICALS
22.20 | 2TR Split AC | 30.00 | Metres |  | 800.00 | 24000.00 | 24000.00 | DEEPAKELECTRICALS
22.30 | 3TR Split AC | 30.00 | Metres |  | 900.00 | 27000.00 | 27000.00 | DEEPAKELECTRICALS
23.00 | Dismantling, shifting and re-commissioning of outdoor units of airconditioners of capacity ranging between 1 TR to 3 TR installed at various locations of Airport including supply and fixing suitable outdoor stand for mounting, disconnections of electrical and refrigerant lines, unmounting from supports and careful handling, charging of refrigerant if required. etc. complete as per directions of E-I-C. | 15.00 | Nos |  | 1500.00 | 22500.00 | 22500.00 | DEEPAKELECTRICALS
24.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 563.00 | Metres |  | 45.00 | 25335.00 | 25335.00 | DEEPAKELECTRICALS
25.00 | Supply and fixing of 250A, 440 Volts, 4 Pole, 3 Phase Bus Bar Junction Box, made out of MS, suitable for wall/floor mounting, with top/side/bottom cable entry, complete with copper/aluminum bus bars mounted on insulators, locking arrangement, including all necessary hardware, internal wiring, earthing provisions etc., as required. | 4.00 | Nos |  | 25000.00 | 100000.00 | 100000.00 | DEEPAKELECTRICALS
26.00 | Supply and fixing of 4-way Bus Bar Box suitable for use as junction boxes and electrical distribution systems complete with SMC base box, provision for simple surface or recess installation, including all accessories, hardwar etc. complete as required. | 4.00 | Nos |  | 30000.00 | 120000.00 | 120000.00 | DEEPAKELECTRICALS
27.00 | Supply and fixing of MCB protected socket on surface/recess along with 20A, 230V C curve SP MCB, suitble socket complete with connections etc. as required | 10.00 | Nos |  | 3000.00 | 30000.00 | 30000.00 | DEEPAKELECTRICALS
28.00 | Supply and fixing of Four Pole Enclosure on surface/ recess along with 20 A ,415 V, "C" curve, FP MCB, complete with connections etc., as required. | 10.00 | Nos |  | 3500.00 | 35000.00 | 35000.00 | DEEPAKELECTRICALS
29.00 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, Ics=100% Icu and Operational Voltage 415 V etc. as required.
29.10 | 200 A, 25 KA, 4 Pole | 2.00 | Nos |  | 35000.00 | 70000.00 | 70000.00 | DEEPAKELECTRICALS
29.20 | 400 A, 36 KA,4Pole | 1.00 | Nos |  | 75889.00 | 75889.00 | 75889.00 | DEEPAKELECTRICALS
30.00 | Supply, Installation, testing and commissioning of Indoor type, floor mounted, compartmentalized, cubical PTTA type panel board of 415 volts(nominal) extendable on both sides, fabricated out of 2mm thick cold rold sheet steel, free standing & totlly enclosed, weather proof/dust proof/vermin proof with bottom /top cable entires & cable alleys. The switch board shall be suitable for operation 3phase, 4 wire, 50HZ, A/C power supply and with busbars and following switchgear, instrumentation, protective devices etc., complete with connections, interconnections, earthing, painting and marking etc complete as required. For Incomming : a) 250 Amps, 4 Pole, MCCB having 25 KA breaking capacity,Thermal magnetic type - 03 Nos. ( 2Nos Incomers + 1 Nos Bus Coupler). b).Castle key arrangement for inter locking of switches for incoming power supply. For Outgoing : a) 125Amps 4 pole, MCCB having 25 KA breaking capacity, 80 -100amps thermal release range -- 02nos b) 100Amps 4 pole, MCCB having 16 KA breaking capacity, 80 -100amps thermal release range -- 02nos c) 63 Amps 4 pole, MCCB having 16 KA breaking capacity, 80 -100amps thermal release range -- 04 nos d) Spare compartments for Outgoing MCCB ------- 02 Nos Metering : a) 0 -500 volts, Digital type voltmeter with selector switches along with control fuses( voltmeter shall have provision to read single phase voltage and 3phase voltage). b) 0 to 250amp Digital type Ammeter with 3nos CT'S and with selector switch, c) LED type Indicating Lamps for 03 phase and Control fuses to Monitor incoming power supplies. d) Aluminium busbar suitable for 250 Amps.Power terminals, gland plates, earth terminals etc. | 1.00 | Nos |  | 700000.00 | 700000.00 | 700000.00 | DEEPAKELECTRICALS
31.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 40.00 | Metres |  | 200.00 | 8000.00 | 8000.00 | DEEPAKELECTRICALS
| Total in Figures |  |  |  |  | 2404444.00
Lowest Amount Quoted BY: DEEPAKELECTRICALS(2404444.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of roofing sheet of terminal and ATC tower, retrofitting of fire station, construction of fire sump and miscellaneous civil works in the operational area and terminal building at Agatti Airport , SH Electrical Works Tender ID: 2025_AAI_258247_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DEEPAKELECTRICALS (BID ID -952410) | 2404444.00 | L1