## BoQ1
Government eProcurement System Created By: Tushar Dixit Created Date/Time: 30-Jan-2026 06:07 PM Tender Title: Provision of EN Compensator Tender ID: 2025_AAI_258759_1
Tender Inviting Authority: Senior Manager (Engg.-E), AAI, DATS Complex, IGI Airport, New Delhi.
Name of Work: Provision of E-N Compensator in different panels at DATS complex and Bijwasan site.
Contract No: AAI/DATS/E-E/DG-Repl./2025-26/ENIT/04
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DSS Electric Corporation LLP (GSTN-NA) BID ID -947772 |  | Ground eca3g Private Limited (GSTN-NA) BID ID -951254
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of E-N Compensator Digital Grounding Device built in Low Impedance equipment Grounding & bonding system. Provides 100% protection against Lightning Surges, static charge, Noises, ESD, EPR and eliminates abnormal electrical disturbances which enter from power and other service lines and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0V with inbuilt connection facility the display of Resistance and Ground to Neutral values on existing scada with a facility to set threshold value on all equipments connected hereafter having pre wired, pulverent body painted metallic enclosure which is to be connected in parallel to the existing power supply circuit. This three phase E-N Compensator Digital Grounding Device should be tested and certified from CPRI, MIL STD810G, IEC61000-6-1, IEC 61000-6-3,IEC 61643-11-2011 & confirming to ISO 9000 & ISO 14001-2015 & CE. (DATS site )
1.01 | 480 KA, Wheel Mountable | 5.00 | Nos. |  | 478000.00 | 2390000.00 | 480000.00 | 2400000.00 | 2390000.00 | DSS Electric Corporation LLP
1.02 | 240KA, Wall Mounted | 26.00 | Nos. |  | 170900.00 | 4443400.00 | 171000.00 | 4446000.00 | 4443400.00 | DSS Electric Corporation LLP
2.00 | Supply, Installation, Testing & Commissioning of E-N Compensator Digital Grounding Device built in Low Impedance equipment Grounding & bonding system. Provides 100% protection against Lightning Surges, static charge, Noises, ESD, EPR and eliminates abnormal electrical disturbances which enter from power and other service lines and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0V with inbuilt facility to display of Resistance and Ground to Neutral values on all equipments connected hereafter having pre wired, pulverent body painted metallic enclosure which is to be connected in parallel to the existing power supply circuit. This three phase E-N Compensator Digital Grounding Device should be tested and certified from CPRI, MIL STD810G, IEC61000-6-1, IEC 61000-6-3,IEC 61643-11-2011 & confirming to ISO 9000 & ISO 14001-2015 & CE. (Bijwasan site )
2.01 | 480 KA, Wheel Mountable | 4.00 | Nos. |  | 478000.00 | 1912000.00 | 480000.00 | 1920000.00 | 1912000.00 | DSS Electric Corporation LLP
2.02 | 240KA, Wall Mounted | 2.00 | Nos. |  | 170900.00 | 341800.00 | 171000.00 | 342000.00 | 341800.00 | DSS Electric Corporation LLP
3.00 | Supply and Laying of flexible 2-core shielded cable suitable for electrical and signal communication | 2000.00 | Mtr. |  | 410.00 | 820000.00 | 420.00 | 840000.00 | 820000.00 | DSS Electric Corporation LLP
4.00 | Supply of two way multiple wire connector port shall be compatible with existin SCADA system | 35.00 | Nos. |  | 185.00 | 6475.00 | 190.00 | 6650.00 | 6475.00 | DSS Electric Corporation LLP
5.00 | Supply of PowerFlex4-Class DSI RJ45 Terminal block shall be compatible with existing SCADA system | 40.00 | Nos. |  | 3100.00 | 124000.00 | 3050.00 | 122000.00 | 122000.00 | Ground eca3g Private Limited
6.00 | Supply of PLC Cards to the existing SCADA system | 3.00 | Nos. |  | 81900.00 | 245700.00 | 82450.00 | 247350.00 | 245700.00 | DSS Electric Corporation LLP
7.00 | Integration of item no 1,4,5 and 6 in co- ordination with OEM i.e. M/s Rockwell In the existing SCADA sytem. | 1.00 | Job |  | 135900.00 | 135900.00 | 136540.00 | 136540.00 | 135900.00 | DSS Electric Corporation LLP
| Total in Figures |  |  |  |  | 10419275.00 |  | 10460540.00
Lowest Amount Quoted BY: DSS Electric Corporation LLP(10419275.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of EN Compensator Tender ID: 2025_AAI_258759_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DSS Electric Corporation LLP (BID ID -947772) | 10419275.00 | L1
| 2 | Ground eca3g Private Limited (BID ID -951254) | 10460540.00 | L2