## BoQ1
Government eProcurement System Created By: SURAJ E Created Date/Time: 19-Jan-2026 06:20 PM Tender Title: Provision of additional signages at Trichy Airport Tender ID: 2025_AAI_258963_1
Tender Inviting Authority: Senior Manager (Engg-E). Airports Authority of India, Trichy Airport, Trichy- 620 007
Name of Work: Provision of additional signages at Trichy Airport.
Contract No: AAI/TRY/ENGG(E)/CW-01/2025-26 Tender ID: 2025_AAI_258963_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vinayak Infra Signs and Projects Pvt Ltd (GSTN-27AAGCV8668N1ZA) BID ID -943487 |  | POSHDECOR (GSTN-27ABDFP5348N1ZO) BID ID -947098 |  | Mirage Advertising World (GSTN-07ABKPN4676Q1ZP) BID ID -952875 |  | GARIMA SALES CORPORATION (GSTN-NA) BID ID -951947
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge and as per technical specifications (Design attached as Annexure - A). Sign face: Sign face shall be made in 8 mm thick 040 white acrylic having graphics pasted in Plotter cut Blockout vinyl. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge. Sign Frame: Sign frame 50 mm wide Powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with 3M brand dual lock system in one side and 3M double side tape from the other side. The panel should be made easily openable for maintenance and as per technical specifications. Sign internal Structure: Providing and fixing Framework of Aluminium 25mmx 25 mm hollow square sections. Shall be directly fixed to the sign frame. Suspender: Providing and fixing Stainless steel 35 x 35 mm Hollow sections (assuming typical length of 1 metre) mounted on slabs/ beams/ walls. All hardware used for fixing of sign shall be Stainless steel. Lighting: All internal illumination shall be using Power LED Lights from Osram or equivalent with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. The actual structural design of the sign for its stability shall be responsibility of the contactor. Secret fixing methods should be used to fix parts together and as per technical specifications. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws, rivets, bolts, washers, nuts, etc. complete in all respect as per drawing/ specification as required.
1.01 | Size of Signage 2100x 255 mm (signage content / matter shall be as approved by AAI) | 18.00 | Each |  | 18000.00 | 324000.00 | 33000.00 | 594000.00 | 18000.00 | 324000.00 | 36000.00 | 648000.00 | 324000.00 | Vinayak Infra Signs and Projects Pvt Ltd, Mirage Advertising World
2.00 | Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge and as per technical specifications (Design attached as Annexure - A). Sign face: Sign face shall be made in 8 mm thick 040 white acrylic having graphics pasted in Plotter cut Blockout vinyl. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge. Sign Frame: Sign frame 50 mm wide Powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with 3M brand dual lock system in one side and 3M double side tape from the other side. The panel should be made easily openable for maintenance and as per technical specifications. Sign internal Structure: Providing and fixing Framework of Aluminium 25mmx 25 mm hollow square sections. Shall be directly fixed to the sign frame. Suspender: Providing and fixing Stainless steel 35 x 35 mm Hollow sections (assuming typical length of 1 metre) mounted on slabs/ beams/ walls. All hardware used for fixing of sign shall be Stainless steel. Lighting: All internal illumination shall be using Power LED Lights from Osram or equivalent with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. The actual structural design of the sign for its stability shall be responsibility of the contactor. Secret fixing methods should be used to fix parts together and as per technical specifications. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws, rivets, bolts, washers, nuts, etc. complete in all respect as per drawing/ specification as required.
2.01 | Size of Signage -2100 x 520mm (signage content / matter shall be as approved by AAI) | 9.00 | Each |  | 25000.00 | 225000.00 | 54000.00 | 486000.00 | 29000.00 | 261000.00 | 54000.00 | 486000.00 | 225000.00 | Vinayak Infra Signs and Projects Pvt Ltd
3.00 | Providing and fixing non-illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge and as per technical specifications (Design attached as Annexure - A). Sign face: Digitally printed Graphics on vinyl pasted on 3mm thick black acrylic mounted on walls/ claddings/ panelling's using 3M VHB Double Side Tape.
3.01 | Size of Signage - 250 x 300 (signage content / matter shall be as approved by AAI) | 11.00 | Each |  | 1000.00 | 11000.00 | 510.00 | 5610.00 | 400.00 | 4400.00 | 990.00 | 10890.00 | 4400.00 | Mirage Advertising World
4.00 | Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge and as per technical specifications (Design attached as Annexure - A). Sign face: Sign face shall be made in 8 mm thick 040 white acrylic having graphics pasted in Plotter cut Blockout vinyl. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge. Sign Frame: Sign frame 50 mm wide powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with the 3M brand dual lock system in one side and 3M bothway tape from the other side. The panel should be made easily openable for maintenance. Sign Structure: All structural members in SS square post 100 x 100 and horizontal cross tie member square sections 75x75mm, brush finished. base plate embedded below the floor finish and provided with a floor trim ring. All hardware used for fixing of sign shall be Stainless steel. Post including SS base Plate and Gussets in 6mm thick SS Plate as per drawing with holes to fix it on holding down bolts anchored in concrete slab. The post shall closed with a 3 mm thick SS plate as specified and approved by the Engineer-In-charge. The Post shall be always be a single continuous element without any joints. Cost to include all activities and temporary props used for a perfect vertical in plumb installation, etc. required for fixing the sign in an internal location. The actual structural design of the sign for its stability shall be responsibility of the contactor. Secret fixing methods should be used to fix parts together and as per technical specifications. All internal illumination shall be using Power LED Lights from Osram or equivalent with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. The actual structural design of the sign for its stability shall be responsibility of the contactor. Secret fixing methods should be used to fix parts together. Foundation: Providing and laying foundation for the sign including its compaction and all activities like Excavation, PCC base layer, providing and fixing in position electrical connection wherever applicable and finished as per drawing. The item cost includes cutting and opening the floor finish at location, and making good the location to the match the original finish after fixing and installation of sign. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws, rivets, bolts, washers, nuts, etc. complete in all respect as per drawing/ specification as required and as per technical specifications.
4.01 | Size of Signage - 2100 x 780 (signage content / matter shall be as approved by AAI) | 7.00 | Each |  | 75000.00 | 525000.00 | 99000.00 | 693000.00 | 85000.00 | 595000.00 | 63000.00 | 441000.00 | 441000.00 | GARIMA SALES CORPORATION
5.00 | Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge and as per technical specifications (Design attached as Annexure - A). Sign face: Sign face shall be made in 8 mm thick 040 white acrylic having graphics pasted in Plotter cut Blockout vinyl. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge. Sign Frame: Sign frame 50 mm wide powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with the 3M brand dual lock system in one side and 3M bothway tape from the other side. The panel should be made easily openable for maintenance and as per technical specifications. Lighting: All internal illumination shall be using Power LED Lights from Osram or equivalent with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. The actual structural design of the sign for its stability shall be responsibility of the contactor. Secret fixing methods should be used to fix parts together. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws, rivets, bolts, washers, nuts, etc. complete in all respect as per drawing/ specification as required.>>
5.01 | Size of Signage 900 x 450 (signage content / matter shall be as approved by AAI) | 2.00 | Each |  | 24000.00 | 48000.00 | 17500.00 | 35000.00 | 9000.00 | 18000.00 | 18000.00 | 36000.00 | 18000.00 | Mirage Advertising World
6.00 | Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge and as per technical specifications (Design attached as Annexure - A). Sign face: Sign face shall be made in 8 mm thick 040 white acrylic having graphics pasted in Plotter cut Blockout vinyl. Entire panel covered with a protective over laminate. The films to wrap around the edge of the acrylic to a distance of 25mm on the back side.The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge. Sign Frame: Sign frame 50 mm wide powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to receive the sign face. The sign face shall be fixed to sign frame with the 3M brand dual lock system in one side and 3M bothway tape from the other side. The panel should be made easily openable for maintenance. Sign Structure (Type - 1 - Wall Projected) : Wall projected signage internal supports of Stainless Steel 50x50 SHS. Lighting: All internal illumination shall be using Power LED strip edge Lights with electronic controllers, having even spread and overlaps to avoid banding and dark spots. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. The actual structural design of the sign for its stability shall be responsibility of the contactor. Secret fixing methods should be used to fix parts together. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws, rivets, bolts, washers, nuts, etc. complete in all respect as per drawing/ specification as required.>>
6.01 | Size of signage - 450 x 450 - TYPE 1 - WALL PROJECTED - 2.4a-1 (signage content / matter shall be as approved by AAI) | 4.00 | Each |  | 15000.00 | 60000.00 | 15000.00 | 60000.00 | 6000.00 | 24000.00 | 13500.00 | 54000.00 | 24000.00 | Mirage Advertising World
7.00 | Supply installation ,testing & commissioning of outdoor illuminated LED channel letters made up of SS304 material with 1mm top base & 0.8 mm side thickness walling Material colour ROSEGOLD / Titanium stain less steel return side 1.5 inch depth, including providing LED module (IP 65) with drivers, (Design dimmesions of channel letters shall be as per the illustrative design attached in technical specifications (Design attached in Annexure - B) fixing on existing Brick wall of size approximate 35 Feet X15 Feet with core cutting & fixing hole properly, Providing interconnection cables & laying in conduit, providing loop in-loop out IP 65 polycarbonate boxes with suitable cable gland etc., as per site requirement. Following content required to provide in three languages.(Tamil/Hindi/English) TIRUCHIRAPPALLI INTERNATIONAL AIRPORT, AAI LOGO & Airports Authority of India तिरुचिरापल्ली अंतर्राष्ट्रीय हवाई अड्डा, एएआई लोगो और भारतीय विमानपत्तन प्राधिकरण திருச்சிராப்பள்ளி சர்வதேச விமான நிலையம், AAI லோகோ & இந்திய விமான நிலையங்கள் ஆணையம் | 2.00 | Job |  | 750000.00 | 1500000.00 | 420000.00 | 840000.00 | 455000.00 | 910000.00 | 396000.00 | 792000.00 | 792000.00 | GARIMA SALES CORPORATION
8.00 | Providing and fixing plotter cut Blockout vinyl graphics in specified colours for sign backgound and graphics, pasted directly on the surface of the existing acrylic sign facia etc., complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge and as per technical specifications. (signage content / matter shall be as approved by AAI) | 37.00 | Sq.Mtr |  | 10000.00 | 370000.00 | 420.00 | 15540.00 | 4000.00 | 148000.00 | 9999.00 | 369963.00 | 15540.00 | POSHDECOR
9.00 | Supply and fixing of 25 mm dia double wall corrugated flexible steel conduit along with accessories in surface /recess including painting in case of surface conduit as per IS, and cutting the wall and making good the same in case of recessed conduit as required. | 200.00 | Mtrs |  | 450.00 | 90000.00 | 120.00 | 24000.00 | 30.00 | 6000.00 | 54.00 | 10800.00 | 6000.00 | Mirage Advertising World
10.00 | Supply of 3C x 2.5 sqmm copper conductor cable of FRLS, PVC inner sheathed, XLPE insulated, Armoured cable, 1.1 KV grade cable as per IS 7098 - Part - I. | 500.00 | Mtrs |  | 150.00 | 75000.00 | 180.00 | 90000.00 | 170.00 | 85000.00 | 162.00 | 81000.00 | 75000.00 | Vinayak Infra Signs and Projects Pvt Ltd
11.00 | Supply of 4C x 4 sqmm copper conductor cable of FRLS, PVC inner sheathed, XLPE insulated, Armoured cable, 1.1 KV grade cable as per IS 7098 - Part - I. | 200.00 | Mtrs |  | 225.00 | 45000.00 | 330.00 | 66000.00 | 340.00 | 68000.00 | 333.00 | 66600.00 | 45000.00 | Vinayak Infra Signs and Projects Pvt Ltd
12.00 | Laying of LT cable of 1.1 KV grade cable in existing race way /cable tray/pipe/duct as required (upto 35 sqmm) | 600.00 | Mtrs |  | 150.00 | 90000.00 | 21.00 | 12600.00 | 170.00 | 102000.00 | 54.00 | 32400.00 | 12600.00 | POSHDECOR
13.00 | Installation of Suspended Sign board of various sizes (2100mmx780mm,900mmx450mm) including providing suitable suspender of SS of size 35x35 mm hallow sections, supporting clamps to support the board weight etc., as per site requirement .(Sign board shall be issued from AAI store) | 2.00 | Job |  | 2000.00 | 4000.00 | 2700.00 | 5400.00 | 15000.00 | 30000.00 | 36000.00 | 72000.00 | 4000.00 | Vinayak Infra Signs and Projects Pvt Ltd
14.00 | Installation of Projected Sign board of various sizes(900mmx450mm) on wall/piller/coloumn including providing sutiable supporting clamps to support the board weight etc as per site requirement. (Sign board shall be issued from AAI store) | 10.00 | Job |  | 500.00 | 5000.00 | 900.00 | 9000.00 | 10000.00 | 100000.00 | 1980.00 | 19800.00 | 5000.00 | Vinayak Infra Signs and Projects Pvt Ltd
15.00 | Installation of surface Sign board of various sizes (450mmx450mm, 400mmx400mm) on wall / plain surface including providing suitable supporting clamps to support the board weight etc., as per site requirement.(Sign board shall be issued from AAI store) | 15.00 | Job |  | 500.00 | 7500.00 | 300.00 | 4500.00 | 3000.00 | 45000.00 | 1440.00 | 21600.00 | 4500.00 | POSHDECOR
16.00 | Fixing of cable G.I Raceway of size upto 300 mm, including junction box including cutting in flooring & Refixing properly with proper allignment inside NITB etc as per site requirement. (Raceway shall be issued from AAI store) | 100.00 | Mtrs |  | 150.00 | 15000.00 | 180.00 | 18000.00 | 100.00 | 10000.00 | 396.00 | 39600.00 | 10000.00 | Mirage Advertising World
| Total in Figures |  |  |  |  | 3394500.00 |  | 2958650.00 |  | 2730400.00 |  | 3181653.00
Lowest Amount Quoted BY: Mirage Advertising World(2730400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of additional signages at Trichy Airport Tender ID: 2025_AAI_258963_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mirage Advertising World (BID ID -952875) | 2730400.00 | L1
| 2 | POSHDECOR (BID ID -947098) | 2958650.00 | L2
| 3 | GARIMA SALES CORPORATION (BID ID -951947) | 3181653.00 | L3
| 4 | Vinayak Infra Signs and Projects Pvt Ltd (BID ID -943487) | 3394500.00 | L4